## Slide 1: VM Performance Review Meeting
January 11, 2021
overall_0_132149625091576866 columns_1_132149625091576866

## Slide 2: QC Mileage, Sampling and Performance Targets
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill
SAMPLING – 100% QC inspection is performed on 2161 circuit miles. These 2161 miles represent ≥ 80% REAX Range and present ≥ 93.87% of the risk
QUALITY: An Acceptable Quality Level of 100% RCD has been established for VM. This is the highest program expectation of all T&D QC Programs
QC inspection is performed on a “circuit mileage” basis. Vegetation within the selected circuit mile is assessed for compliance to UVM Program requirements. Judgmental sampling is performed to select circuit mileage with known adjacent vegetation

## Slide 3: QC Mileage / Productivity for WMP and Stretch Miles
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 4: RCD / CCD Performance – Last 3 Months and YTD
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD and CCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 5: YTD VM Performance – Transmission & Distribution
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
YTD data reflects work completed in 2020 only. This does not include any January/February report data
NOTE: RCD & CCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 6: YTD VM Performance – Transmission
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD & CCD results indicate tree condition clearance at time of QC, not at time of trim
YTD data reflects work completed in 2020 only. This does not include any January/February report data
VM Lead: Bill

## Slide 7: Transmission HFRA / Non-HFRA RCD & CCD Breakdown
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD and CCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 8: YTD VM Performance – Distribution
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
YTD data reflects work completed in 2020 only. This does not include any January/February report data
NOTE: RCD & CCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 9: Distribution HFRA / Non-HFRA RCD & CCD Breakdown
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD and CCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 10: T & D RCD Clearance Breakdown
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 11: RCD Overall Performance (Pruning) – Monthly and YTD
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 12: RCD Overall Performance (Inspection) – Monthly and YTD
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 13: Quality Control for HTMP
overall_0_132149625091576866 columns_1_132149625091576866
VM Lead: Bill

## Slide 14: HTMP – QC Mitigation Inspections (1/1/19 to 12/31/20)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 15: HTMP – QC Results of Mitigations (1/1/19 to 12/31/20)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
QC Actions being taken to address rework issues:
QC is working with Supply chain to incorporate a Conformance Rate for mitigations in 2021 Scorecards
VM Lead: Bill

## Slide 16: HTMP – QC of Risk Assessment Quality
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
QC is targeting to perform 14,000 risk assessments annually (99/1%)
Between 4/1/20 and 12/31/20, 7997 QC assessments performed (trending 99/1.4%)
YTD – average risk score was 40.04; QC risk score was 43.02 (overall good)
  Risk Scores ≥ 50 are classified as P2s and require mitigation
  Risk Scores < 50 are P3s and require no mitigation
  QC primarily targets risk scores between 35 – 49
  YTD 7446 P3 RAs were selected for QC
    2020 of 7446 (27%) RAs were risk scored by QC and scored as a P2
    1330 of the 2020 (66%) had a risk score delta exceeding 15 points
  YTD 531 P2 RAs were selected for QC
    143 of 531 (27%) RAs were risk scored by QC and scored as a P3
    114 of the 143 (79%) had a risk score delta exceeding 15 points
As a result of the variance in scores between HTMP assessors and QC, feedback is provided to crews, a revision to the HTMP job aid was made to help close the gap
VM Lead: Bill

## Slide 17: Compliance – Other
overall_0_132149625091576866 columns_1_132149625091576866
VM Lead: Bill

## Slide 18: SB-247 – WMP Goals and Thresholds for Reporting to WSD
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 19: WSD Actions for SCE’s “Class A” Remedial Compliance Plans
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 20: WMP Update
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
2021 WMP Update/Filing Schedule:
11/6 Activity intake forms due (VM on track)
11/20 First scope & strategic review
12/4 First draft due
12/18 Second scope & strategic review
1/8 Second draft due – VM on track
1/20 EMC review
1/22 MRD/Board Review
1/25 OpCo review
2/5 2021 WMP Update
VM Lead: Bill

## Slide 21: ASD Audits
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
ASD Audit Y20-53070 Follow-up to 2019 VM Field Audit
4 Observations Issued to VM
VM Lead: Bill

## Slide 22: Data Requests
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
No Data Requests received in December
VM Lead: Bill

## Slide 23: APPENDIX – Contractor Performance Trending
overall_0_132149625091576866 columns_1_132149625091576866
VM Lead: Bill

## Slide 24: Pruning Contractor – Overall Performance (T&D)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 25: Pruning Contractor – Overall Performance (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 26: Pruning Contractor – Arborworks (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 27: Pruning Contractor – Davey Tree Experts (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 28: Pruning Contractor – Mowbrays Tree Service (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 29: Pruning Contractor – Rolling Green (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 30: Pruning Contractor – Utility Tree Service (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 31: Pruning Contractor – Overall Performance (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 32: Pruning Contractor – Arborworks (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 33: Pruning Contractor – Davey Tree Experts (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 34: Pruning Contractor – Mowbrays Tree Service (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 35: Pruning Contractor – Rolling Green (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 36: Pruning Contractor – Utility Tree Service (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 37: Inspection Contractor – Overall Performance (T&D)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 38: Inspection Contractor – YTD Missed Tree Trend (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 39: Inspection Contractor – ACRT (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 40: Inspection Contractor – CNUC (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 41: Inspection Contractor – Davey (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 42: Inspection Contractor – UPE (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 43: Inspection Contractor – YTD Missed Tree Trend (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 44: Inspection Contractor – ACRT (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 45: Inspection Contractor – CNUC (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 46: Inspection Contractor – Davey (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 47: Inspection Contractor – UPE (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill