## Slide 1: VM Performance Review Meeting
December 3, 2020
overall_0_132149625091576866 columns_1_132149625091576866

## Slide 2: QC Mileage, Sampling and Performance Targets
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill
SAMPLING – 100% QC inspection is performed on 2161 circuit miles. These 2161 miles represent ≥ 80% REAX Range and present ≥ 93.87% of the risk
QUALITY: An Acceptable Quality Level of 100% RCD has been established for VM. This is the highest program expectation of all T&D QC Programs
QC inspection is performed on a “circuit mileage” basis. Vegetation within the selected circuit mile is assessed for compliance to UVM Program requirements. Judgmental sampling is performed to select circuit mileage with known adjacent vegetation

## Slide 3: QC Mileage / Productivity for WMP and Stretch Miles
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
QC inspected 929 circuit miles in November. On track to exceed stretch mileage target of 8145 circuit miles
Forest service closures and Fire Air Quality issues have hampered work in HFRA
VM crews are unable to complete all assigned work due to current conditions which impacts QC assignments
  QC HFRA stretch goal is “at risk” if crews are unable to complete assigned work
VM Lead: Bill

## Slide 4: RCD / CCD Performance – Last 3 Months and YTD
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD and CCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 5: YTD VM Performance – Transmission & Distribution
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
YTD data reflects work completed in 2020 only. This does not include any January/February report data
NOTE: RCD & CCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 6: YTD VM Performance – Transmission
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD & CCD results indicate tree condition clearance at time of QC, not at time of trim
YTD data reflects work completed in 2020 only. This does not include any January/February report data
VM Lead: Bill

## Slide 7: YTD VM Performance – Distribution
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
YTD data reflects work completed in 2020 only. This does not include any January/February report data
NOTE: RCD & CCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 8: RCD Overall Performance (Pruning) – Monthly and YTD
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 9: RCD Overall Performance (Inspection) – Monthly and YTD
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
NOTE: RCD results indicate tree condition clearance at time of QC, not at time of trim
VM Lead: Bill

## Slide 10: APPENDIX – Contractor Performance Trending
overall_0_132149625091576866 columns_1_132149625091576866
VM Lead: Bill

## Slide 11: Pruning Contractor – Overall Performance (T&D)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 12: Pruning Contractor – Overall Performance (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 13: Pruning Contractor – Overall Performance (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 14: Pruning Contractor – Davey Tree Experts (T & D)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 15: Pruning Contractor – Davey Tree Experts (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 16: Pruning Contractor – Davey Tree Experts (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 17: Pruning Contractor – Mowbrays (T & D)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 18: Pruning Contractor – Mowbrays (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 19: Pruning Contractor – Mowbrays (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 20: Pruning Contractor – UTS (T & D)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 21: Pruning Contractor – UTS (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 22: Pruning Contractor – UTS (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
VM Lead: Bill

## Slide 23: Inspection Contractor – Overall Performance (T&D)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 24: Inspection Contractor – Overall Performance (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 25: Inspection Contractor – Overall Performance (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 26: Inspection Contractor – Davey (T&D)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 27: Inspection Contractor – Davey (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 28: Inspection Contractor – Davey (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 29: Inspection Contractor – UPE (T&D)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 30: Inspection Contractor – UPE (Transmission)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill

## Slide 31: Inspection Contractor – UPE (Distribution)
overall_0_132083107041691217 columns_2_132048702459405524 7_1_132048702466692635 10_1_132048702466852189 21_1_132048721872633283 23_1_132049640018006217 26_1_132049645698177263 29_1_132083107019594412 33_1_132083107019594412 13_1_132083204190616292
Missed Tree Quantity: Amount of trees identified by QC but not listed in VM tree database
Inventory Inflation Quantity: Amount of trees listed in VM database but not located in the field
VM Lead: Bill