## Table8
Table 8: Map file requirements for recent and modelled conditions of utility service territory, last 5 years
Layer name | Measurements | Units | Attachment location | Sharing Status | GIS layer name
Recent weather patterns | Average annual number of Red Flag Warning days per square mile across service territory | Area, days, square mile resolution | 6.1 | Non-Confidential | Table8_Attachment6_1_A_NonConfidential
| Average 95th and 99th percentile wind speed and prevailing direction (actual) | Area, miles per hour, at a square mile resolution or better, noting where measurements are actual or interpolated |  | Non-Confidential | wind_dir_from_dailymax_95thpct_NonConfidential wind_dir_from_dailymax_99thpct_NonConfidential wind_gust_from_dailymax_95thpct_NonConfidential wind_gust_from_dailymax_99thpct_NonConfidential
Recent drivers of ignition probability | Date of recent ignitions categorized by ignition probability driver | Point, GPS coordinate, days, square mile resolution | 6.2 | Non-Confidential | Table8_Attachment6_2_NonConfidential
Recent use of PSPS | Duration of PSPS events and area of the grid affected in customer hours per year | Area, customer hours, square mile resolution | 6.3 | Non-Confidential | Table8_Attachment6_3_NonConfidential

## Table9
Table 9: Map file requirements for recent and modelled conditions of utility service territory, last 5 years
Layer name | Measurements / variables | Units | Appendix location | Protection Status | GIS layer name
Current baseline state of service territory and utility equipment | Non-HFTD vs HFTD (Zone 1, Tier 2, Tier 3) regions of utility service territory | Area, square mile resolution per type | 6.4 | Non-Confidential | Table9_Attachment6_4_A_B_C_NonConfidential
| Urban vs. rural vs. highly rural regions of utility service territory | Area, square mile resolution per type |  | Non-Confidential | Table9_Attachment6_4_A_B_C_NonConfidential
| WUI regions of utility service territory | Area, square mile resolution |  | Non-Confidential | Table9_Attachment6_4_A_B_C_NonConfidential
| Number and location of critical facilities | Point, GPS coordinate |  | Confidential | Table9_Attachment6_4_D_Confidential
| Number and location of customers | Area, number of people, square mile resolution |  | Non-Confidential | Table9_Attachment6_4_E_F_NonConfidential
| Number and location of customers belonging to access and functional needs populations | Area, number of people, square mile resolution |  | Non-Confidential | Table9_Attachment6_4_E_F_NonConfidential
| Overhead transmission lines | Line, quarter mile resolution |  | OH - Confidential UG - Confidential OH - Non-Confidential UG - Non-Confidential | Table9_Attachment6_4_G_Transmission_Confidential Table9_Attachment6_4_G_SubTransmission_NonConfidential
| Overhead distribution lines | Line, quarter mile resolution |  | OH - Non-Confidential UG - Non-Confidential | Table9_Attachment6_4_H_NonConfidential
| Location of substations | Point, GPS coordinate |  | Confidential | Table9_Attachment6_4_I_Confidential
| Location of weather stations | Point, GPS coordinate |  | Non-Confidential | Table9_Attachment6_4_J_NonConfidential
| All utility assets by asset type, model, age, specifications, and condition | Point, GPS coordinate |  | Confidential | AutomaticRecloser_Table9_Appendix6_4K_Confidential B_Splice_Table9_Appendix6_4K_Confidential BranchLineFuse_Table9_Appendix6_4K_Confidential Burd_Table9_Appendix6_4K_Confidential FaultInterrupter_Table9_Appendix6_4K_Confidential MANHOLE_Table9_Appendix6_4K_Confidential OH_Dist_Switches_Table9_Appendix6_4K_Confidential OHTransformers_Table9_Appendix6_4K_Confidential PAD_Table9_Appendix6_4K_Confidential PEGearSwitch_Table9_Appendix6_4K_Confidential POLE_Table9_Appendix6_4K_Confidential SECTIONALIZER_Table9_Appendix6_4K_Confidential TOWER_WUI_HFRA_Table9_Appendix6_4K_Confidential Trans_POLE_Table9_Appendix6_4K_Confidential Trans_SWITCH_Table9_Appendix6_4K_Confidential UG_Dist_Switches_Table9_Appendix6_4K_Confidential UGTransformers_Table9_Appendix6_4K_Confidential VAULT__Table9_Appendix6_4K_Confidential VoltageRegulators_Table9_Appendix6_4K_Confidential
Location of planned utility equipment additions or removal | Non-HFTD vs HFTD (Zone 1, Tier 2, Tier 3) regions of utility service territory | Line, quarter mile resolution | 6.5 | N/A | N/A
| Urban vs. rural vs. highly rural regions of utility service territory | Line, quarter mile resolution |  | N/A | N/A
| WUI regions of utility service territory | Line, quarter mile resolution |  | N/A | N/A
| Circuit miles of overhead transmission lines | Line, quarter mile resolution |  | Confidential | Table9_Attachment6_5_Transmission_Confidential
| Circuit miles of overhead distribution lines | Line, quarter mile resolution |  | N/A | N/A
| Location of substations | Point, GPS coordinate |  | Non-Confidential | Table9_Attachment6_5_Substations_NonConfidential
Planned 2020 WMP initiative activity per year | Location of 2020 WMP initiative activity for each activity as planned to be completed by the end of each year of the plan term | Line, quarter mile resolution | 6.6 | Non-Confidential | Table9_Attachment6_6_CoveredConductor_NonConfidential
|  |  |  | Non-Confidential | Table9_Attachment6_6_TreeAttachments_NonConfidential
|  |  |  | Confidential | Table9_Attachment6_6_CurrentLimitingFuse_Confidential