## Table9_Attachment6_4_D
OBJECTID * | Shape * | LABEL | WUIFLAG10 | Critical
System Generated Number | Feature Shape | HFRA Information | WUI Flag | Critical Customer

## Table9_Attachment6_4_E_F
OBJECTID * | Shape * | id | Customers | Non_HFTD | HFTD_Zone_1 | HFTD_Tier_2 | HFTD_Tier_3 | Critical_Facilities | Critical_Facilities_Non_HFTD | Critical_Facilities_HFTD_Zone_1 | Critical_Facilities_HFTD_Tier_2 | Critical_Facilities_HFTD_Tier_3 | Critical_Facilities_WUI | Critical_Facilities_WUI_Non_HFTD | Critical_Facilities_WUI_HFTD_Zone_1 | Critical_Facilities_WUI_HFTD_Tier_2 | Critical_Facilities_WUI_HFTD_Tier_3 | Customers_WUI | Customers_WUI_Non_HFTD | Customers_WUI_Zone_1 | Customers_WUI_Tier_2 | Customers_WUI_Tier_3 | AFN | AFN_Non_HFTD | AFN_Zone_1 | AFN_Tier_2 | AFN_Tier_3 | AFN_WUI | AFN_WUI_Non_HFTD | AFN_WUI_Zone_1 | AFN_WUI_Tier_2 | AFN_WUI_Tier_3 | Shape_Length | Shape_Area
System Generated Number | Feature Shape | ID | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Customer Information | Length | Area

## Table8_Attachment6_1_A
FID | Shape * | OBJECTID | PHENOM | SIG | NWS_UGC | AVERAGE | Shape_Leng | Shape_Area
Unique Number | Feature Shape | System Generated Number | Weather Information | Weather Information | Weather Zone | Average | Length | Area

## Table8_Attachment6_1_B
wind_dir_from_dailymax_95thpct.tif | Wind Direction
wind_dir_from_dailymax_99thpct.tif | Wind Direction
wind_gust_from_dailymax_95thpct.tif | Wind Gust
wind_gust_from_dailymax_99thpct.tif | Wind Gust

## Table8_Attachment6_2
FID | Shape | FID_WMPIgn | Numbering | Date | Time | Year | Latitude | Longitude | Material_a | Size | Facility_I | FLOC | HFRA | Voltage__V | Equipment_ | Type | Suspected_ | Equipment1 | Contact_Fr | Facility_C | Contributi | STATUS | NAME | TIER | SAP_NAME
Unique Number | Feature Shape | Unique Number | Ignition Information | Date Information | Time Information | Year Information | Latitude | Longitude | Ignition Information | Ignition Information | Ignition Information | Unique Number | Ignition Information | Voltage Information | Equipment Information | Ignition Information | Ignition Information | Ignition Information | Ignition Information | Ignition Information | Ignition Information | HFRA Information | HFRA Tier Name | HFRA Tier | HFRA Information

## Table8_Attachment6_3
FID | Shape * | FID_PSPS_2 | OBJECTID | COUNTY | kV | OUTAGE_DAT | CIRCUIT | CUST_COUNT | FID_tl_201 | STATEFP | COUNTYFP | TRACTCE | GEOID | NAME | NAMELSAD | MTFCC | FUNCSTAT | ALAND | AWATER | INTPTLAT | INTPTLON
Unique Number | Feature Shape | Unique Number | System Generated Number | County | kV Information | PSPS Information | Circuit Information | Customer Information | PSPS Information | PSPS Information | PSPS Information | PSPS Information | PSPS Information | PSPS Information | PSPS Information | PSPS Information | PSPS Information | PSPS Information | PSPS Information | PSPS Information | PSPS Information

## Table9_Attachment6_4_A_B_C
FID | Shape * | SQ_MILES | BLK10 | WUIFLAG10 | WUICLASS10 | POPDEN2010 | PopDen20_1 | PopDenSqMi | NAME_1
Unique Number | Feature Shape | Square Miles | WUI BlockGroup | WUI Information | WUI Information | WUI Information | WUI Population Density 2010 square km | (WUI Population Density 2010 square km) divided by .3861 to convert to square miles | HFRA Tier Name

## Table9_Attachment6_4_G_H
FID | Shape * | CIRCUIT_NA | VOLTAGE | CONDUCTOR_ | GESW_ID | Miles | Calc_Miles | FID_SCE_Hi | STATUS | NAME | TIER | SAP_NAME | FID_CONUS_ | BLK10 | WATER10 | PUBFLAG | VEG11PC | WUIFLAG10 | WUICLASS10 | HU2010 | SHU2010 | HHU2010 | POP2010 | HUDEN2010 | SHUDEN2010 | HHUDEN2010 | POPDEN2010 | Shape_Leng
Unique Number | Feature Shape | Circuit Name | Voltage | Conductor Type | ID Number | Length in Miles | Length in Miles | HFRA Information | HFRA Information | HFRA Tier Name | HFRA Tier | HFRA Name | WUI Data | WUI BlockGroup | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Population Density 2010 square km | Systeam Generated Length

## Table9_Attachment6_4_J
FID | Shape | Serial_Num | Date_Insta | Status | Collection | Notes | Station_Na | Circuit_Na | Lat | Longitude | Elev_ft | Service_Ce | Pole_Struc | BMC_WorkOr | ALMS_SW_Be | Network | IP_Address | Account_Ph | IMEI_Numbe | SIM_Number | Modem_Mode | Modem_SN | Logger_Mod | OS | Pakbus | Datalogger | Modem_Temp | Datalogg_1 | CH200_SN | NAME | TIER | SAP_NAME | FID_CONUS_ | BLK10 | WATER10 | PUBFLAG | VEG92PC | VEG01PC | VEG11PC | WUIFLAG90 | WUICLASS90 | WUIFLAG00 | WUICLASS00 | WUIFLAG10 | WUICLASS10 | BUFVEG | HU1990 | SHU1990 | HHU1990 | POP1990 | HUDEN1990 | SHUDEN1990 | HHUDEN1990 | POPDEN1990 | HU2000 | SHU2000 | HHU2000 | POP2000 | HUDEN2000 | SHUDEN2000 | HHUDEN2000 | POPDEN2000 | HU2010 | SHU2010 | HHU2010 | POP2010 | HUDEN2010 | SHUDEN2010 | HHUDEN2010 | POPDEN2010 | PopDen20_1
Unique Number | Feature Shape | Serial Number | Date | Status | Weather Station Information | Weather Station Information | Station Name | Circuit Name | Latitude | Longitude | Elevation | Weather Station Information | Weather Station Information | Weather Station Information | Weather Station Information | Network | IP Address | Weather Station Information | Weather Station Information | Weather Station Information | Weather Station Information | Weather Station Information | Weather Station Information | Weather Station Information | Weather Station Information | Weather Station Information | Weather Station Information | Weather Station Information | Weather Station Information | HFRA Tier Name | HFRA Tier | HFRA SAP Name | WUI Data | WUI BlockGroup | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Population Density 2010 square km | (WUI Population Density 2010 square km) divided by .3861 to convert to square miles

## Table9_Attachment6_6_CC
FID | Shape * | OBJECTID | FID_GESW_C | FID_GESW_1 | FID_ | MAIN_LINE | CONCAT_SIZ | M3I_ATTRIB | CIRCUIT_NA | CIRCUIT_NO | PHASE_ORDE | SAP_LINE_N | PHASE | LIFECYCLE_ | WIRE_SIZE | HAS_NEUTRA | M3I_LINE_T | SUBSTATION | M3I_OBJECT | VOLTAGE | FEATURE_CL | PHASING | SWID | AMPACITY | TYPE | CIRCT_ID1 | MATERIAL | CONDUCTOR_ | CALCULATED | export_sdf | OBJECTID_1 | Numbering | ID | GE_FID | Scope_Year | FID_SCE_HF | NAME | TIER | SAP_NAME | FID_CONUS_ | BLK10 | WATER10 | PUBFLAG | VEG92PC | VEG01PC | VEG11PC | WUIFLAG10 | WUICLASS10 | BUFVEG | HU2010 | SHU2010 | HHU2010 | POP2010 | HUDEN2010 | SHUDEN2010 | HHUDEN2010 | POPDEN2010 | SHAPE_Leng | PopDen20_1 | Urban_Rura | Calced_Mil
Unique Number | Feature Shape | System Generated Number | GESW Unique Number | GESW Unique Number | Unique Number | Covered Conductor Information | Covered Conductor Information | Covered Conductor Information | Circuit Name | Circuit Number | Covered Conductor Information | Covered Conductor Information | Covered Conductor Information | Covered Conductor Information | Wire | Covered Conductor Information | Covered Conductor Information | Substation | Object | Voltage | Covered Conductor Information | Covered Conductor Information | ID Number | Covered Conductor Information | Covered Conductor Information | Covered Conductor Information | Meterial | Conductor Type | Covered Conductor Information | System Generated Number | System Generated Number | Covered Conductor Information | Identification Number | Covered Conductor Information | Covered Conductor Information | HFRA Unique Number | HFRA Tier Name | HFRA Tier | HFRA Tier SAP Name | WUI Data | WUI BlockGroup | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Population Density 2010 square km | Systeam Generated Length | (WUI Population Density 2010 square km) divided by .3861 to convert to square miles | Urban Rural Classification | Length in Miles

## Table9_Attachment6_5_Transmissi
FID | Shape * | PROJECT_NA | NAME | FID_CONUS_ | BLK10 | WATER10 | PUBFLAG | VEG11PC | WUIFLAG10 | WUICLASS10 | BUFVEG | HU2010 | SHU2010 | HHU2010 | POP2010 | HUDEN2010 | SHUDEN2010 | HHUDEN2010 | POPDEN2010 | Shape_Leng | PopDen20_1 | CalcedMile | UrbanRural
Unique Number | Feature Shape | Project Name | HFRA Tier Name | WUI Data | WUI Block group Data | WUI Data | WUI Data | WUI Data | WUI Data | WUI BlockGroup | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Population Density 2010 square km | System Generated Length | (WUI Population Density 2010 square km) divided by .3861 to convert to square miles | Length in Miles | Urban Rural Classification

## Table9Attachment6_4_I
FID | Shape * | OBJECTID | FID_Substa | Functional | Descriptio | System_sta | LONGITUDE | LATITUDE | IN_SERVICE | STATUS_COD | HIGH_FIRE_ | Street | COMPLIANCE | SWITCHING_ | A_BANK_COD | SYSTEM_VOL | LOW_SIDE_V | SUBSTATION | COMPLIAN_1 | OUT_OF_SER | SUBSTATI_1 | SCE_OWNED_ | F100__CUST | ADDED_FACI | ADDED_FA_1 | NEB_FILE__ | LGIA_SGIA_ | LONG_Num | LAT_Num | STATUS | NAME | TIER | SAP_NAME | FID_CONUS_ | BLK10 | WATER10 | PUBFLAG | VEG92PC | VEG01PC | VEG11PC | WUIFLAG10 | WUICLASS10 | BUFVEG | HU2010 | SHU2010 | HHU2010 | POP2010 | HUDEN2010 | SHUDEN2010 | HHUDEN2010 | POPDEN2010 | PopDen20_1
Unique Number | Feature Shape | System Generated Number | Unique Number | Unique Number | Description | Table9Attachment6_4_I Information | Longitude | Latitude | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Substation | Street | Compliance Information | Switching Information | A Bank Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Table9Attachment6_4_I Information | Longitude | Latitude | HFRA Information | HFRA Tier Name | HFRA Tier | HFRA SAP Name | WUI Data | WUI BlockGroup | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Population Density 2010 square km | (WUI Population Density 2010 square km) divided by .3861 to convert to square miles

## Table9_Attachment6_6_TAStructur
FID | Shape | SCE_FLOC | SCE_STRUCT | SCE_ID_USA | OBJECTID_1 | TA_Structu | Circuit_Na | FID_SCE_HF | NAME | TIER | SAP_NAME | FID_CONUS_ | BLK10 | WATER10 | PUBFLAG | VEG11PC | WUIFLAG10 | WUICLASS10 | BUFVEG | HU2010 | SHU2010 | HHU2010 | POP2010 | HUDEN2010 | SHUDEN2010 | HHUDEN2010 | POPDEN2010 | PopDen20_1
Unique Number | Feature Shape | Unique Number | Structure Number | TA Information | System Generated Number | TA Structure Number | Circuit Name | HFRA Unique Number | HFRA Tier Name | HFRA Tier | HFRA SAP Name | WUI Data | WUI BlockGroup | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Population Density 2010 square km | (WUI Population Density 2010 square km) divided by .3861 to convert to square miles

## Table9_Attachment6_6_CLF
FID | Shape | SCE_FLOC | SCE_STRUCT | SCE_ID_USA | OBJECTID_1 | Batch | Structure_ | Circuit | District | Scheduled | Ryan_Notes | StructureJ | FID_SCE_HF | NAME | TIER | SAP_NAME | FID_CONUS_ | BLK10 | WATER10 | PUBFLAG | VEG11PC | WUIFLAG10 | WUICLASS10 | BUFVEG | HU2010 | SHU2010 | HHU2010 | POP2010 | HUDEN2010 | SHUDEN2010 | HHUDEN2010 | POPDEN2010 | PopDen20_1
System Generated Number | Feature Shape | Unique Number | SCE Structure Number | IDENTIFICATION NUMBER | System Generated Number | CLF Batch | Structure Number | Circuit Name | District Name | CLF Information | Phase | Structure Number | HFRA Unique Number | HFRA Tier Name | HFRA Name | HFRA SAP Name | WUI Data | WUI BlockGroup | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Population Density 2010 square km | (WUI Population Density 2010 square km) divided by .3861 to convert to square miles

## Table9_Attachment6_5_Substation
FID | Shape * | OBJECTID | PROJECT_NA | STATUS | SOURCE | NAME | TIER | LABEL | SAP_NAME | BLK10 | WATER10 | PUBFLAG | VEG92PC | VEG01PC | VEG11PC | WUIFLAG10 | WUICLASS10 | BUFVEG | HU2010 | SHU2010 | HHU2010 | POP2010 | HUDEN2010 | SHUDEN2010 | HHUDEN2010 | POPDEN2010 | SHAPE_Leng | SHAPE_Area
System Generated Number | Feature Shape | System Generated Number | Project Name | HFRA Information | HFRA Information | HFRA Name | HFRA Tier | HFRA Information | HFRA Information | WUI BlockGroup | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Information | WUI Population Density 2010 square km | Length | Area