## Combined ME
| IN-1.1 (Inspection) | VM-1 (HTMP) | VM-2 (Pole Brushing) | VM-NA (Line Clearing) | Combined Interim Activities | Average Ignition 2015-2018 | Confirmed Reportable Ignition Events | Average (2015-2018) |  |  | Average (2015-2018)
Driver | ME | ME | ME | ME | ME |  | Subdriver Type | HFRA | Non-HFRA | System Wide | HFRA | Non-HFRA | System Wide
D1 - Veg. contact- Distribution | 36% | 63.3% | 0% | 36.7% | 85.13% | 16% | Veg. contact- Distribution | 5.75 | 4.5 | 10.25 | 15.75% | 9.836% | 12.42%
D2 - Animal contact- Distribution | 66.08% | 0% | 0% | 0% | 66.08% | 12% | Animal contact (includes bird nests)- Distribution | 4.5 | 3.75 | 8.25 | 12.33% | 8.197% | 10%
D3 - Balloon contact- Distribution | 0% | 0% | 0% | 0% | 0% | 16% | Balloon contact- Distribution | 6 | 11.25 | 17.25 | 16.44% | 24.59% | 20.91%
D4 - Vehicle contact- Distribution | 0% | 0% | 0% | 0% | 0% | 10% | Vehicle contact- Distribution | 3.5 | 4.5 | 8 | 9.589% | 9.836% | 9.697%
D5 - Unknown contact - Distribution | 0% | 0% | 0% | 0% | 0% | 0% | Other contact from object - Distribution | 2.25 | 1.25 | 3.5 | 6.164% | 2.732% | 4.242%
D6 - Unknown - Distribution | 12.17% | 0% | 0% | 0% | 12.17% | 10% | Wire-to-wire contact / contamination- Distribution | 1 | 0.75 | 1.75 | 2.74% | 1.639% | 2.121%
D7 - Other contact from object - Distribution | 95.9% | 0% | 0% | 0% | 95.9% | 6% | Anchor / guy damage or failure - Distribution | 0 | 0 | 0 | 0% | 0% | 0%
D8 - Wire-to-wire contact / contamination- Distribution | 0% | 0% | 0% | 0% | 0% | 3% | Conductor damage or failure — Distribution | 2.5 | 4.25 | 6.75 | 6.849% | 9.29% | 8.182%
D9 - Anchor / guy damage or failure - Distribution | 96.34% | 0% | 0% | 0% | 96.34% | 0% | Connection device damage or failure - Distribution | 1.75 | 0.75 | 2.5 | 4.795% | 1.639% | 3.03%
D10 - Conductor damage or failure — Distribution | 77.61% | 0% | 0% | 0% | 77.61% | 7% | Crossarm damage or failure - Distribution | 0.25 | 0.75 | 1 | 0.6849% | 1.639% | 1.212%
D11 - Connection device damage or failure - Distribution | 0% | 0% | 38.66% | 0% | 38.66% | 5% | Fuse damage or failure - Distribution | 0.25 | 0.5 | 0.75 | 0.6849% | 1.093% | 0.9091%
D12 - Connector damage or failure- Distribution | 85.52% | 0% | 38.66% | 0% | 91.12% | 0% | Insulator and brushing damage or failure - Distribution | 1.5 | 0 | 1.5 | 4.11% | 0% | 1.818%
D13 - Crossarm damage or failure - Distribution | 94.03% | 0% | 38.66% | 0% | 96.34% | 1% | Lightning arrestor damage or failure- Distribution | 0 | 1 | 1 | 0% | 2.186% | 1.212%
D14 - Fuse damage or failure - Distribution | 81.46% | 0% | 38.66% | 0% | 88.63% | 1% | Other - Distribution | 1.75 | 2.25 | 4 | 4.795% | 4.918% | 4.848%
D15 - Insulator and bushing damage or failure - Distribution | 93.71% | 0% | 38.66% | 0% | 96.14% | 4% | Pole damage or failure - Distribution | 0 | 1 | 1 | 0% | 2.186% | 1.212%
D16 - Lightning arrestor damage or failure- Distribution | 94.67% | 0% | 38.66% | 0% | 96.73% | 0% | Recloser damage or failure - Distribution | 0 | 0 | 0 | 0% | 0% | 0%
D17 - Other - Distribution | 0% | 0% | 38.66% | 0% | 38.66% | 5% | Voltage regulator / booster damage or failure - Distribution | 0 | 0 | 0 | 0% | 0% | 0%
D18 - Pole damage or failure - Distribution | 94.83% | 0% | 0% | 0% | 94.83% | 0% | Capacitor bank damage or failure- Distribution | 0 | 0 | 0.25 | 0% | 0% | 0.303%
D19 - Recloser damage or failure - Distribution | 96.5% | 0% | 38.66% | 0% | 97.85% | 0% | Switch damage or failure- Distribution | 0.25 | 0 | 0.25 | 0.6849% | 0% | 0.303%
D20 - Splice damage or failure — Distribution | 96.5% | 0% | 0% | 0% | 96.5% | 0% | Transformer damage or failure - Distribution | 1 | 3 | 4 | 2.74% | 6.557% | 4.848%
D21 - Tie wire damage or failure - Distribution | 0% | 0% | 0% | 0% | 0% | 0% | Sectionalizer damage or failure - Distribution | 0 | 0 | 0 | 0% | 0% | 0%
D22 - Voltage regulator / booster damage or failure - Distribution | 48.25% | 0% | 38.66% | 0% | 68.26% | 0% | All Other- Distribution | 0.75 | 0.25 | 1 | 2.055% | 0.5464% | 1.212%
D23 - Contamination - Distribution | 0% | 0% | 0% | 0% | 0% | 0% | Contamination - Distribution | 0 | 0.25 | 0.25 | 0% | 0.5464% | 0.303%
D24 - Capacitor bank damage or failure- Distribution | 56.19% | 0% | 38.66% | 0% | 73.13% | 0% | Utility work / Operation - Distribution | 0 | 0 | 0 | 0% | 0% | 0%
D25 - Switch damage or failure- Distribution | 63.59% | 0% | 38.66% | 0% | 77.67% | 1% | Vandalism / Theft - Distribution | 0 | 0.75 | 0.75 | 0% | 1.639% | 0.9091%
D26 - Transformer damage or failure - Distribution | 39.83% | 0% | 38.66% | 0% | 63.09% | 3% | Unknown - Distribution | 3.5 | 5 | 8.5 | 9.589% | 10.93% | 10.3%
D27 - Tap damage or failure - Distribution | 0% | 0% | 0% | 0% | 0% | 0%
D28 - Sectionalizer damage or failure - Distribution | 0% | 0% | 38.66% | 0% | 38.66% | 0%
D29 - All Other- Distribution | 88.58% | 0% | 0% | 0% | 88.58% | 0%
D30 - Utility work / Operation - Distribution | 0% | 0% | 0% | 0% | 0% | 0%
D31 - Vandalism / Theft - Distribution | 0% | 0% | 0% | 0% | 0% | 0%
D32 - Veg. contact- Transmission | 0% | N/A | N/A | N/A |  | 100%
D33 - Animal contact- Transmission | 0% | N/A | N/A | N/A
D34 - Balloon contact- Transmission | 0% | N/A | N/A | N/A
D35 - Vehicle contact- Transmission | 0% | N/A | N/A | N/A
D36 - Other contact from object - Transmission | 0% | N/A | N/A | N/A
D37 - Contamination - Transmission | 0% | N/A | N/A | N/A
D38 - Vandalism / Theft - Transmission | 0% | N/A | N/A | N/A
D39 - Wire-to-wire contact / contamination- Transmission | 0% | N/A | N/A | N/A
D40 - Anchor / guy damage or failure - Transmission | 0% | N/A | N/A | N/A
D41 - Capacitor bank damage or failure- Transmission | 0% | N/A | N/A | N/A
D42 - Conductor damage or failure — Transmission | 0% | N/A | N/A | N/A
D43 - Connection device damage or failure - Transmission | 0% | N/A | N/A | N/A
D44 - Connector damage or failure- Transmission | 0% | N/A | N/A | N/A
D45 - Crossarm damage or failure - Transmission | 0% | N/A | N/A | N/A
D46 - Fuse damage or failure - Transmission | 0% | N/A | N/A | N/A
D47 - Insulator and brushing damage or failure - Transmission | 0% | N/A | N/A | N/A
D48 - Lightning arrestor damage or failure- Transmission | 0% | N/A | N/A | N/A
D49 - Other - Transmission | 0% | N/A | N/A | N/A
D50 - Recloser damage or failure - Transmission | 0% | N/A | N/A | N/A
D51 - Splice damage or failure — Transmission | 0% | N/A | N/A | N/A
D52 - Switch damage or failure- Transmission | 0% | N/A | N/A | N/A
D53 - Transformer damage or failure - Transmission | 0% | N/A | N/A | N/A
D54 - Voltage regulator / booster damage or failure - Transmission | 0% | N/A | N/A | N/A
D55 - Pole damage or failure - Transmission | 0% | N/A | N/A | N/A
D56 - Sectionalizer damage or failure - Transmission | 0% | N/A | N/A | N/A
D57 - Tap damage or failure - Transmission | 0% | N/A | N/A | N/A
D58 - Tie wire damage or failure - Transmission | 0% | N/A | N/A | N/A
D59 - All Other- Transmission | 0% | N/A | N/A | N/A
D60 - Unknown - Transmission | 0% | N/A | N/A | N/A
Consequence | ME | ME | ME
Average 2015-2018 Overall in HFRA |  |  |  |  | 46.19%