## Gross Load
Southern California Edison Company
Monthly Peaks and Energy @ ISO (MWh)
Month | Peak | Energy
Jan | 11495.0849 | 6868163.208
Feb | 11519.8022 | 6471603.087
Mar | 10907.8522 | 6542647.7602
Apr | 12920.9526 | 6262057.8028
May | 13649.3036 | 6877281.4023
Jun | 16473.8313 | 7612514.7344
Jul | 18280.1246 | 8991631.4937
Aug | 19434.3177 | 9334680.9804
Sep | 20758.2366 | 8423291.0032
Oct | 15581.5293 | 7366315.4159
Nov | 11800.1598 | 6517496.3876
Dec | 12092.4277 | 6868929.4797
Total | 174913.6225 | 88136612.7553

## 2022 Eastwood True-Up
Southern California Edison Company
2022 Monthly Eastwood Pump Amounts
Month | Energy (MWh)
Jan | 22.631
Sep | 176.785
Total: | 199.416
2020 True-Up Calculation
2022 Forecast (MWh) | 18762 | Reference: TO2022 Schedule 32, Line 2
True-Up Calculation (MWh) | -18562.584 | = Total 2022 Actuals less 2022 Forecast
Note: 2022 was a dryer than normal water year and water levels in Shaver lake were below minimum levels in the first half of the year and therefore, pumping was not possible during that period
When conditions became suitable for pumping, Eastwood pump was then on outage during most of the second half of 2022 as a result of a circuit breaker failure.

## Eastwood Actual Detail
Southern California Edison Company
2022 Daily Pump Load Amounts at Eastwood Pump
Year | MonthDay | HE | SC-EASTWOD-1
2022 | 01/03 | 13 | 22.631
2022 | 09/15 | 10 | 176.785
Total |  |  | 199.416