## WP Schedule 16 ISO Non-Inc
|  |  |  | High/ Low |  | Project Total (ISO & non-ISO) |  |  |  | ISO Portion
PIN | Project Title | C-WBS | Order # | Voltage | OD | Prior | 2024 | 2025 | Total | Prior | 2024 | 2025 | Total
Non-Incentive Transmission Projects include Direct Installation and Removal Expenditures, but exclude any C-WBS or Order # with 0% ISO.
Other Transmission
08308 | Install 4 N60 lgc processing relay Red Bluff Substation | CET-ET-CR-WC-830802 | 903162574 | High | 2024-04-11 | 706.0776 | 0 | 0 | 706.0776 | 706.0776 | 0 | 0 | 706.0776
08389 | Hinson Sub (RNU) Install one (1) 220 kV line position | CET-ET-CR-WC-838906 | 903714980 | High | 2024-12-31 | 1246.28 | 743 | 620 | 2609.28 | 1246.28 | 743 | 620 | 2609.28
08394 | Vincent Substation. i. Install one (1) 220 kV line position which includes the following equipment: 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disc | CET-ET-CR-WC-839401 | 903516981 | High | 2025-08-05 | 737.4389 | 1057.243 | 365.165 | 2159.8469 | 737.4389 | 1057.243 | 365.165 | 2159.8469
08090 | Eldorado Substation (NU): install the following equipment on a dedicated 220kV double breaker line position (position 25) at the Eldorado Sub to terminate the Eldorado-Sloan Canyon 220kV T/L. | CET-ET-LG-AF-809000 | 902249125 | High | 2019-12-10 | 0 | 28 | 0 | 28 | 0 | 28 | 0 | 28
08393 | Walnut Substation Interconnection (RNU): 1. Generation Tie-Line to Existing Pos. 2. Utilize the following: a) Two (2) 220 kV circuit breakers b) One (1) 220 kV group operated disconnect switch with grounding attachment c) Three (3) 220 kV group operated s | CET-ET-CR-WC-839301 | 903549492 | High | 2025-03-31 | 1444.3097 | 325 | 631 | 2400.3097 | 1444.3097 | 325 | 631 | 2400.3097
08393 | Transmission: Interconnection (RNU) Relocate existing 220 kV Mesa-Walnut Line to new Position 4. | CET-ET-CR-WC-839306 | 903555087 | High | 2024-05-28 | 0.81641 | 417 | 1252 | 1669.8164 | 0.81641 | 417 | 1252 | 1669.8164
08393 | Total Kestrel Storage Project |  |  |  |  | 1445.1261 | 742 | 1883 | 4070.1261 | 1445.1261 | 742 | 1883 | 4070.1261
08398 | Pardee Substation (RNU): Moorpark CRAS – monitoring infrastructure. 1. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. 2. Perform CRAS programming and testing to the new CRAS. 3. Install two (2) ethernet switches. 4. Install one (1) satellite clock. | CET-ET-CR-WC-839801 | 903724397 | High | 2024-09-26 | 1.0013 | 725 | 538 | 1264.0013 | 1.0013 | 725 | 538 | 1264.0013
08398 | Moorpark Substation (RNU): Moorpark centralized RAS (“CRAS”) – tripping infrastructure 1. Install six (6) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform CRAS programming and testing to the new CRAS relays.* Add points to the RTUs. | CET-ET-CR-WC-839802 | 903724398 | High | 2024-09-26 | 8.0856 | 365 | 417 | 790.0856 | 8.0856 | 365 | 417 | 790.0856
08398 | Sylmar Substation (RNU): Moorpark CRAS – monitoring infrastructure. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. 2. Perform CRAS programming and testing to the new CRAS relays. | CET-ET-CR-WC-839807 | 903724708 | High | 2025-02-14 | 1.9761 | 742 | 848 | 1591.9761 | 1.9761 | 742 | 848 | 1591.9761
08398 | Moorpark Substation (RNU). 1. Install facilities for a new 220 kV switchrack position to terminate the Generation Tie-Line. This work includes the following: a. One (1) 220 kV dead-end substation structure. b. Three (3) 220 kV coupling capacitor voltage | CET-ET-CR-WC-839800 | 903507849 | High | 2025-05-23 | 29.1693 | 395.85 | 505 | 930.0193 | 29.1693 | 395.85 | 505 | 930.0193
08398 | Goldback: 1. Install one (1) RTU at the Large Generating Facility to monitor typical generation elements such as MW, MVAR, terminal voltage and circuit breaker status for the Large Generating Facility and plant auxiliary load, and transmit the informat | CET-ET-CR-WC-839805 | 903724702 | High | 2024-07-15 | 2.0952 | 16.575 | 24 | 42.6701 | 2.0952 | 16.575 | 24 | 42.6701
08398 | Moorpark Substation (RNU). i. Install one (1) 220 kV line position which includes the following equipment: 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disconnect switches | CET-ET-CR-WC-839808 | 903724709 | High | 2024-12-23 | 112.1836 | 929 | 1028.4 | 2069.5836 | 112.1836 | 929 | 1028.4 | 2069.5836
08398 | Goldback Solar Center |  |  |  |  | 154.511 | 3173.425 | 3360.4 | 6688.336 | 154.511 | 3173.425 | 3360.4 | 6688.336
| Total Other Transmission |  |  |  |  | 4289.4337 | 5743.668 | 6228.565 | 16261.6667 | 4289.4337 | 5743.668 | 6228.565 | 16261.6667
TSP Projects
07767 | Johanna: Install new 280MVA Bank,Equip new 220kV & 66kV Positions, Rpl (19) 66kVCBs & (1) 12kV CB | CET-ET-LG-TS-776700 | 901487156 | High | 2020-05-18 | 0 | 0.914 | 0 | 0.914 | 0 | 0.0457 | 0 | 0.0457
| Total TSP Projects |  |  |  |  | 0 | 0.914 | 0 | 0.914 | 0 | 0.0457 | 0 | 0.0457
Transmission Project Reliability
07727 | Inyokern Substation: Expand existing MEER at Inyokern Substation. | CET-ET-TP-RL-772700 | 901394462 | Low | 2024-11-27 | 363.1223 | 50 | 0 | 413.1223 | 134.3552 | 18.5 | 0 | 152.8552
07727 | Control Substation: Install 12 N60 relays, one satellite clock, and two ethernet switches in the existing MEER at Control Substation. | CET-ET-TP-RL-772701 | 901394533 | Low | 2024-04-03 | 1222.5413 | 58.424 | 0 | 1280.9653 | 1051.3856 | 50.2446 | 0 | 1101.6302
7727 | Total Digital 395 Project: North-of-Kramer Area Telecom Network and RAS Upgrades |  |  |  |  | 1585.6636 | 108.424 | 0 | 1694.0876 | 1185.7408 | 68.7446 | 0 | 1254.4854
07763 | Eldorado-Lugo 500 kV line: CA side - Install 85 miles of new OPGW between CA/NV border and Pisgah Substation. | CET-ET-TP-RN-776304 | 901665563 | High | 2024-07-19 | 12936.5585 | 16362 | 3000 | 32298.5585 | 12936.5585 | 16362 | 3000 | 32298.5585
07763 | Eldorado-Lugo 500 kV line: NV Side -Install 2 miles of new OPGW between CA/NV border and MI52-T2. | CET-ET-TP-RN-776305 | 901665564 | High | 2024-07-02 | 960.0272 | 649 | 0 | 1609.0272 | 960.0272 | 649 | 0 | 1609.0272
07763 | Mohave 500 kV: Install two (2) N60 relays Install one (1) ethernet switch Install one (1) satellite switch 1PSC- RTU Point additions at Mohave substation. | CET-ET-TP-RN-776302 | 901484315 | High | 2024-04-22 | 314.366 | 35 | 0 | 349.366 | 314.366 | 35 | 0 | 349.366
07763 | Lugo Sub: Install new control cables, update station drawings, and modify settings on existing N60 relays to accommodate monitoring of Lugo-Mohave 500kV line. | CET-ET-TP-RN-776307 | 902249120 | High | 2024-07-16 | 85.5461 | 33 | 0 | 118.5461 | 85.5461 | 33 | 0 | 118.5461
07763 | Eldorado: Install equipment to support N-2 monitoring of Eldorado-Lugo 500kV and Lugo-Mohave 500kV lines. | CET-ET-TP-RN-776308 | 902249121 | High | 2024-04-16 | 62.8017 | 82 | 0 | 144.8017 | 62.8017 | 82 | 0 | 144.8017
07763 | Real Properties - Land Acquisition | CET-RP-TP-RL-776308 | 47022 | High | 2025-03-31 | 0 | 250 | 1500 | 1750 | 0 | 220 | 1320 | 1540
07763 | Contingency | CET-ET-TP-RN-776399 | 7763-Cont | High | 2025-03-31 | 0 | 0 | 8669 | 8669 | 0 | 0 | 7628.72 | 7628.72
7763 | Total Lugo-Victorville 500 kV SPS |  |  |  |  | 14359.2994 | 17411 | 13169 | 44939.2994 | 14359.2994 | 17381 | 11948.72 | 43689.0194
07227 | Inyo Substation: Replace Inyo phase shifter and new hybrid circuit breaker. Install 2 pairs of protection relays. | CET-ET-TP-RN-722701 | 902379073 | High | 2021-10-22 | 0 | 3 | 0 | 3 | 0 | 3 | 0 | 3
07227 | Control: Install two N60 relays | CET-ET-TP-RN-722700 | 902448105 | Low | 2024-04-05 | 110.011 | 10 | 0 | 120.011 | 110.011 | 10 | 0 | 120.011
7227 | Total Casa Diablo IV Project Interconnection |  |  |  |  | 110.011 | 13 | 0 | 123.011 | 110.011 | 13 | 0 | 123.011
07546 | (Removal/Expense) Lugo Sub: Upgrade Terminal Equipment and Series Capacitors on Eldorado-Lugo 500kV T/L. | CET-ET-TP-RL-754601 | 902287735 | High | 2025-02-28 | 0 | 500 | 537 | 1037 | 0 | 500 | 537 | 1037
07546 | (Removal/Expense) Eldorado | CET-ET-TP-RL-754600 | 902287734 | High | 2023-06-30 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
07546 | (Removal/Expense) Mohave | CET-ET-TP-RL-754604 | 902287736 | High | 2023-05-10 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
7546 | Total Eldorado-Lugo-Mohave (ELM) Series Cap Upgrades Project |  |  |  |  | 0 | 502 | 537 | 1039 | 0 | 502 | 537 | 1039
07558 | Magunden-Springville 230 kV No.1: Remove 14 existing 220kV lattice structures; Install nine new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 130'), and four new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 185') which will support an approximate 2000' span across the lake, within the current ROW. Total project length is approximately 2 miles. | CET-ET-TP-RL-755800 | 901192344 | High | 2022-02-25 | 0 | 100 | 525 | 625 | 0 | 100 | 525 | 625
07558 | Magunden-Springville 230 kV No.2: Remove 14 existing 220kV lattice structures; Install nine new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 130'), and four new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 185') which will support an approximate 2000' span across the lake, within the current ROW. Total project length is approximately 2 miles. | CET-ET-TP-RL-755801 | 901192345 | High | 2021-12-27 | 0 | 100 | 525 | 625 | 0 | 100 | 525 | 625
07558 | Lake Success - Contingency | CET-ET-TP-RL-755800 | 7558-Cont | High | 2024-06-20 | 0 | 0 | 1600 | 1600 | 0 | 0 | 1600 | 1600
7558 | Magunden-Springville No.1 & No.2 Tower Replacement ("Lake Success Towers in Water") |  |  |  |  | 0 | 200 | 2650 | 2850 | 0 | 200 | 2650 | 2850
08077 | Inyokern 115 kV Relay Upgrades for ATRA | CET-ET-TP-RL-807709 | 902739835 | Low | 2024-12-02 | 258.0432 | 102.624 | 0 | 360.6672 | 258.0432 | 102.624 | 0 | 360.6672
08077 | Control 115 kV CBs and MEER for ATRA | CET-ET-TP-RL-807706 | 902739832 | Low | 2024-04-01 | 9602.2858 | 223.381 | 0 | 9825.6668 | 9602.2858 | 223.381 | 0 | 9825.6668
08077 | Kramer 115 kV Relay Upgrades for ATRA | CET-ET-TP-RL-807710 | 902739836 | Low | 2024-10-31 | 2108.6274 | 1402.889 | 0 | 3511.5164 | 1054.3137 | 701.4445 | 0 | 1755.7582
08077 | Tortilla 115 kV CBs nand MEER for ATRA | CET-ET-TP-RL-807713 | 902739979 | Low | 2024-05-01 | 2543.3426 | 1133.289 | 0 | 3676.6316 | 2543.3426 | 1133.289 | 0 | 3676.6316
08077 | Eldorado 220 kV (Option 2): Cima-Pisgah #1 220kV (Pos 9N) and Cima-Pisgah #2 220kV (Pos 10N) A. 220 kV Switchrack -6 BCT Upgrades B. Relays -2 Racks -2 L90 -4 C60 | CET-ET-TP-RL-807703 | 902739829 | High | 2024-12-06 | 198.1037 | 268 | 179 | 645.1037 | 198.1037 | 268 | 179 | 645.1037
08077 | Pisgah 220 kV (Option 2): A. 220 kV Switchrack -8 BCT Upgrades B. Relays -8 Racks -4 L90 -4 C60 | CET-ET-TP-RL-807711 | 902739837 | High | 2024-10-25 | 807.3559 | 794 | 458 | 2059.3559 | 807.3559 | 794 | 458 | 2059.3559
8077 | Total Annual Transmission Reliability Assessment 2016 - Protection Upgrades (ATRA) |  |  |  |  | 15517.7587 | 3924.183 | 637 | 20078.9417 | 14463.445 | 3222.7385 | 637 | 18323.1835
08078 | Antelope Sub (RNU) - Install two (2) G.E N60 Logic Processing Relays or equivalent successor to send additional tripping signals to the Large Generating Facility. | CET-ET-TP-RN-807800 | 902220556 | High | 2022-12-15 | 0 | 21 | 0 | 21 | 0 | 21 | 0 | 21
08078 | Antelope Sub (RNU) - Power System Control. i. Expand existing RTU at SCE Antelope Substation and the generation facility to include points for status and alarms related to the new RAS relays ii. Modify the programs for the Tehachapi RAS. iii. Point additions to the existing RTU at SCE Antelope Substation for new protection relay status/alarm/control. | CET-ET-TP-RN-807801 | 902220557 | High | 2024-02-22 | 68.109 | 2.82 | 0 | 70.929 | 68.109 | 2.82 | 0 | 70.929
8078 | Antelope 2 Solar Project Reliability Network Upgrades at Antelope Substation |  |  |  |  | 68.109 | 23.82 | 0 | 91.929 | 68.109 | 23.82 | 0 | 91.929
08104 | New Moorpark-Pardee #4 230 kV line: String roughly 25.5 mile section on vacant side of existing structures with 2B-1590. String roughly 6 miles of 1/2" EHS GW on existing structures. | CET-ET-TP-RL-810402 | 902315828 | High | 2022-01-15 | 0 | 26.258 | 0 | 26.258 | 0 | 26.258 | 0 | 26.258
8104 | Total Moorpark-Pardee 230 kV No. 4 Circuit Project |  |  |  |  | 0 | 26.258 | 0 | 26.258 | 0 | 26.258 | 0 | 26.258
08223 | Whirlwind AA Bank Centralized RAS. i. Whirlwind Substation. Utilize two GE N60 logic processing relays or equivalent successor, identified under Section 2(b)(i)1.b.i of this Appendix A, to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-822300 | 902705074 | High | 2024-08-09 | 267.5547 | 144.59 | 0 | 412.1447 | 267.5547 | 144.59 | 0 | 412.1447
08223 | Tehachapi CRAS: i. Whirlwind Substation. Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-822301 | 902705075 | High | 2024-08-09 | 52.0331 | 327.593 | 0 | 379.6261 | 52.0331 | 327.593 | 0 | 379.6261
8223 | Willy Interconnection at Whirlwind Substation |  |  |  |  | 319.5877 | 472.183 | 0 | 791.7707 | 319.5877 | 472.183 | 0 | 791.7707
08238 | San Bernardino Substation: West of Colorado River CRAS – Devers Extension – generation addition. 1. Install four (4) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility associated with the West of Colorado River CRAS-Devers Extention-Generation Addition. | CET-ET-TP-RN-823804 | 902760267 | High | 2024-04-11 | 424.1428 | 0 | 0 | 424.1428 | 424.1428 | 0 | 0 | 424.1428
08238 | Total Mountainview Generating Station Pmax Increase Project |  |  |  |  | 424.1428 | 0 | 0 | 424.1428 | 424.1428 | 0 | 0 | 424.1428
08246 | Victor Substation- North of Lugo CRAS –Monitoring infrastructure i. Install four (4) GE N60 logic processing relays or equivalent successor for transmission line outage detection. ii. Install one (1) SEL-2407 satellite clock. iii. Install two (2) GE D400 Gateways | CET-ET-TP-RN-824600 | 902768480 | High | 2024-08-30 | 2.1724 | 0 | 0 | 2.1724 | 2.1724 | 0 | 0 | 2.1724
08246 | Lugo Substation- North of Lugo CRAS –Monitoring infrastructure i. Install four (4) GE N60 logic processing relays or equivalent successor for AA bank outage detection. ii. Install one (1) SEL-2407 satellite clock. iii. Install two (2) GE D400 Gateways | CET-ET-TP-RN-824601 | 902768481 | High | 2024-04-30 | 10.9699 | 0 | 0 | 10.9699 | 10.9699 | 0 | 0 | 10.9699
08246 | Kramer Substation- North of Lugo CRAS –Monitoring infrastructure Install two (2) GE N60 logic processing relays to send tripping signals to the Large Generating Facility. Power System Controls. i. Perform CRAS programming and testing to the new CRAS relays. ii. Add Points to the RTUs | CET-ET-TP-RN-824602 | 902768482 | High | 2025-12-29 | 7.515 | 0 | 0 | 7.515 | 7.515 | 0 | 0 | 7.515
08246 | Roadway Substation 115/33 North of Lugo CRAS – generator addition. (a) Roadway Substation. Install two (2) GE N60 logic processing relays to send tripping signals to the Large Generating Facility. Power System Controls. i. Perform CRAS programming and tes | CET-ET-TP-RN-824603 | 902768483 | Low | 2024-04-17 | 54.0433 | 60 | 0 | 114.0433 | 54.0433 | 60 | 0 | 114.0433
08246 | Roadway Substation– generator addition. Mojave Desert RAS. Install two (2) GE N60 logic processing relays to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-824604 | 902768484 | Low | 2024-01-18 | 459.1922 | 25 |  | 484.1922 | 459.1922 | 25 | 0 | 484.1922
8246 | Baldy Mesa Project Reliability Network Upgrades |  |  |  |  | 533.8928 | 85 | 0 | 618.8928 | 533.8928 | 85 | 0 | 618.8928
08298 | Windhub Substation. i. Install one (1) 220 kV line position which includes the following equipment. 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disconnect switches. 4. Fourteen (14) 220 kV bus support post insulators. ii. Protection Relays: 1. Install two (2) local breaker failure backup relays. | CET-ET-TP-RN-829803 | 903123443 | High | 2024-08-06 | 952.1821 | 617.297 | 700 | 2269.4791 | 952.1821 | 617.297 | 700 | 2269.4791
08298 | Tehachapi centralized RAS – generator addition i. Windhub Substation. Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-829800 | 903123440 | High | 2024-11-21 | 178.3785 | 243.676 | 100 | 522.0545 | 178.3785 | 243.676 | 100 | 522.0545
08298 | Windhub AA Bank centralized RAS – monitoring infrastructure i. Windhub Substation. 1. Install eight (8) GE N60 logic processing relays or equivalent successor to monitor and send tripping signals to the generating facilities. 2. Install two (2) Ethernet switches. 3. Install one (1) satellite clock. ii. Power System Controls. 1. Modify the existing RAS program to support the additional relays. 2. Install two (2) RTUs for monitoring of affected lines. iii. Corporate Security. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets, per compliance standards, at Windhub Substation. | CET-ET-TP-RN-829801 | 903123441 | High | 2024-10-01 | 2266.3015 | 14.207 | 0 | 2280.5085 | 2266.3015 | 14.207 | 0 | 2280.5085
08298 | Windhub AA Bank centralized RAS – generation addition i. Windhub Substation. Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. Power System Controls. 1. Perform RAS programming and testing to the new RAS relays for the tripping signals. 2. Add points to the RTU at Windhub Substation for the tripping signals. | CET-ET-TP-RN-829802 | 903123442 | High | 2024-11-21 | 84.6808 | 0 | 0 | 84.6808 | 84.6808 | 0 | 0 | 84.6808
08298 | Vincent Substation (RNU).1. Remove and salvage Green panels 3R thru 8R in 220kV Relay room, relocate all necessary various auxiliary equipment from green boards to new steel Relay Racks..2. Install new RTU in place of removed green boards, cutover existin | CET-ET-TP-RN-829800 | 904138914 | High | 2025-01-06 | 107.1746 | 545.146 | 200 | 852.3206 | 107.1746 | 545.146 | 200 | 852.3206
8298 | Bellefield Solar Farm Reliability Network Upgrades |  |  |  |  | 3588.7176 | 1420.326 | 1000 | 6009.0436 | 3588.7176 | 1420.326 | 1000 | 6009.0436
08294 | Pardee Substation Upgrade 220kV Position 17 CB's (#4172, 5172, 6172) and Position 19 CB's (#4192, 5192, 6192) and associated equipment. | CET-ET-TP-RL-829400 | 903135849 | High | 2024-10-04 | 6479.5668 | 1427.576 | 0 | 7907.1428 | 6479.5668 | 1427.576 | 0 | 7907.1428
08294 | Pardee-Sylmar 220kV Transmission Line [North Coast Grid ET-00664-04601]: Replace one structure with a 15’ taller tower (M0-T2), including new foundations, in order to mitigate line clearance issues. | CET-ET-TP-RL-829401 | 903135850 | High | 2023-02-15 | 0 | 0.045 | 0 | 0.045 | 0 | 0.045 | 0 | 0.045
08294 | Sylmar Substation (Work to be paid for by SCE but performed by LADWP): Upgrade 220kV Position E8 CB's | CET-ET-TP-RL-829400 | 903769370 | High | 2025-07-30 | 0 | 2000 | 2000 | 4000 | 0 | 2000 | 2000 | 4000
8294 | Pardee-Sylmar No. 1 and No. 2 230kV Line Rating Increase Project |  |  |  |  | 6479.5668 | 3427.621 | 2000 | 11907.1878 | 6479.5668 | 3427.621 | 2000 | 11907.1878
08355 | Tehachapi CRAS – Monitoring infrastructure Whirlwind Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Whirlwind Substation. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTU at W Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Whirlwind Substations. | CET-ET-TP-RN-835500 | 903429710 | High | 2024-10-23 | 342.975 | 140.991 | 4 | 487.966 | 342.975 | 140.991 | 4 | 487.966
08355 | Tehachapi CRAS – Monitoring infrastructure Vincent Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Vincent Substation. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTUs at Vincent Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Vincent Substations. | CET-ET-TP-RN-835502 | 903429712 | High | 2024-09-25 | 18.7396 | 55 | 100 | 173.7396 | 18.7396 | 55 | 100 | 173.7396
08355 | Tehachapi CRAS – Monitoring infrastructure Midway Substation Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Midway Substation. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. 2. Install lightwave, routers, firewall access switches, data traffic monitoring devices, and data circuits to support centralized RAS network at Windhub and Midway substations. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTUs at Midway Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Midway Substation. | CET-ET-TP-RN-835503 | 903429713 | High | 2024-10-09 | 2.5638 | 60 | 100 | 162.5638 | 2.5638 | 60 | 100 | 162.5638
08355 | Tehachapi CRAS – Monitoring infrastructure Windhub Substation 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Windhub Substation. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. 2. Install lightwave, routers, firewall access switches, data traffic monitoring devices, and data circuits to support centralized RAS network at Windhub and Midway substations. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTU at Windhub Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Antelope, Midway, Whirlwind, Windhub Substations. | CET-ET-TP-RN-835504 | 903429714 | High | 2024-07-16 | 223.9546 | 347.253 | 11.994 | 583.2016 | 223.9546 | 347.253 | 11.994 | 583.2016
08355 | Whirlwind Substation Tehachapi CRAS – Tripping infrastructure i. Whirlwind Substation. 1. Install six (6) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Perform centralized RAS programming and testing to the new centralized RAS relay. | CET-ET-TP-RN-835500 | 903548050 | High | 2024-07-02 | 127.7303 | 150.26 | 145 | 422.9903 | 127.7303 | 150.26 | 145 | 422.9903
8355 | TOT909-Q1631 -Glenfeliz Solar Farm |  |  |  |  | 715.9633 | 753.504 | 360.994 | 1830.4613 | 715.9633 | 753.504 | 360.994 | 1830.4613
08358 | Eldorado Substation IF (RNU) Participate and modify the planned Lugo-Victorville CRAS a. Install two (2) GE N60 logic processing relays or equivalent successor for AA bank outage detection for participation of the Sloan Canyon RAS programming and testing to the new RAS relays. b. Install one (1) Satellite clock c. Perform programming and testing to the new RAS relays. Eldorado Sub (PSC) RNU a. Add points to the RTUs at Eldorado Substation and the Interconnection Customer’s Generating Facility (Mark for Deletion pending detailed Engineering) | CET-ET-TP-RN-835800 | 903427639 | High | 2024-08-13 | 127.3387 | 5 | 387 | 519.3387 | 127.3387 | 5 | 387 | 519.3387
08358 | Eldorado RNU (IF) Participate in and modify the existing Lugo-Victorville RAS a. Install two (2) GE N60 logic processing relays (two relays total) or equivalent successor for logic processing and sending generation trip signals to the Generating Facility Eldorado (PSC) a. Perform RAS programming and testing to the new RAS relays at Eldorado Substation. b. Add points to the RTUs at Eldorado Substation and the Interconnection Customer’s Generating Facility. | CET-ET-TP-RN-835801 | 903427640 | High | 2023-08-31 | 458.392 | 5 | 0 | 463.392 | 458.392 | 5 | 0 | 463.392
8358 | TOT796/Q1341, Yellow Pine 2, LLC, Install Reliability Network Upgrades Eldorado 500/220kV (T)7588 |  |  |  |  | 585.7307 | 10 | 387 | 982.7307 | 585.7307 | 10 | 387 | 982.7307
08107 | Kramer Substation (RNU): a. Engineer and construct one 220 kV line position, which includes the following equipment: i. Two 220 kV circuit breakers. ii. Three 220 kV group operated disconnect switches. iii. One (1) 220 kV group operated disconnect switch with grounding attachment. | CET-ET-TP-RN-810701 | 902342409 | High | 2025-04-11 | 3370.2005 | 50.357 | 0 | 3420.5575 | 3370.2005 | 50.357 | 0 | 3420.5575
08171 | Eldorado Substation (Reliability Network Upgrades): a. Install one (1) 220 kV transmission line position, which includes the following equipment: i. Two (2) 220 kV circuit breakers. ii. One (1) 220 kV group operated disconnect switch with grounding attachment. iii. Three (3) 220 kV group operated disconnect switches. iv. Fourteen (14) 220 kV bus support insulators. v. Perform ground grid study. vi. Ivanpah RAS: 1. Install two (2) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Perform RAS programming and testing to the new Ivanpah RAS relays. vii. Lugo-Victorville RAS: 1. Install two (2) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Perform RAS programming and testing to the new Lugo-Victorville RAS relays. b. Protection Relays: Two (2) local breaker failure backup relays Power System Controls i. Perform RAS programming and testing to the new Ivanpah RAS relays. ii. Add points to the RTUs at the Participating TO-Owned Eldorado 220 kV Substation and the Large Generating Facility to support the Ivanpah RAS. iii. Perform RAS programming and testing to the new Lugo-Victorville RAS relays. iv. Add points to the RTUs at the Participating TO-Owned Eldorado 220 kV Substation and the Large Generating Facility to support the Lugo-Victorville RAS | CET-ET-TP-RN-817100 | 902460358 | High | 2024-04-22 | 3192.6894 | 380 | 0 | 3572.6894 | 3192.6894 | 380 | 0 | 3572.6894
08207 | Colorado River Substation (RNU) (i) Colorado River Substation. 1. Engineer and construct one (1) 220 kV line position which includes the following equipment: a. Two (2) 220 kV circuit breakers; b. Three (3) 220 kV group operated disconnect switches; c. One (1) 220 kV group operated disconnect switch with grounding attachment; and d. Fourteen (14) 220 kV bus support post insulators; e. One (1) ground grid study. 2. Protection Relays: a. Install two (2) local breaker failure backup (‘LBFB”) relays, GE C60 or equivalent models. Colorado River Corridor centralized RAS (cRAS) – generator tripping infrastructure (RNU). 1. Colorado River Substation: a. Install two (2) G.E. N60 logic processing relays or equivalent successor, at the Participating TO’s Colorado River Substation and to send additional tripping signals to the matching N60 relays or equivalent successor located at the Large Generating Facility to add the Large Generating Facility to the Colorado River Corridor centralized RAS. b. Perform centralized RAS programming and testing to the new centralized RAS relays. c. Perform one (1) relay coordination study and re-set/test protection relays to account for the interconnection of the Large Generating Facility. | CET-ET-TP-RN-820700 | 902598927 | High | 2024-05-16 | 1500.7955 | 1052.304 | 927.192 | 3480.2915 | 1500.7955 | 1052.304 | 927.192 | 3480.2915
08214 | Red Bluff Substation (RNU): 1. Engineer and construct one (1) 220 kV line position which includes the following equipment: i. Two (2) 220 kV circuit breakers; ii. Three (3) 220 kV group operated disconnect switches; iii. One (1) 220 kV group operated disconnect switch with grounding attachment; and iv. Fourteen (14) 220 kV bus support post insulators. 2. Protection Relays: i. Install two (2) local breaker failure backup relays, GE C60 or equivalent successor. 3. Perform ground grid study West of Colorado River centralized RAS (RNU): 1. Red Bluff Substation: i. Install two (2) GE N60 logic processing relays, or equivalent successor, at the Participating TO’s Red Bluff Substation and to send tripping signals to the matching N60 relays, or equivalent successor, located at the Large Generating Facility to add the Large Generating Facility to the West of Colorado River centralized RAS. 2. Telecommunications: i. Install required channel banks, cross connects, fiber optic cable, and associated equipment, supporting the centralized RAS requirements at the Participating TO’s Red Bluff Substation. Add monitoring infrastructure to monitor the Red Bluff 2nd AA Bank (RNU): 1. Red Bluff Substation. i. Install two (2) GE N60 logic processing relays or equivalent successor for transmission line outage detection (Red Bluff 2nd AA bank) 2. Power System Control. i. Add points to the existing RTUs at Red Bluff Substation to support centralized RAS requirements. 3. Telecommunications. i. Install required channel banks, cross connects, and associated equipment (including terminal equipment) at Red Bluff Substation to support the monitoring centralized RAS requirements. | CET-ET-TP-RN-821401 | 902630576 | High | 2024-03-18 | 2487.8862 | 25 | 1862.132 | 4375.0182 | 2487.8862 | 25 | 1862.132 | 4375.0182
08214 | Power System Control (RNU) - Expand CRAS RTUs at Red Bluff Substation to include points for status and alarms related to the new CRAS relays. Modify the CRAS program to support the additional relays. | CET-ET-TP-RN-821400 | 902631060 | High | 2024-05-29 | 0.40266 | 26.797 | 0 | 27.1997 | 0.40266 | 26.797 | 0 | 27.1997
08376 | VISTA RNU-SCD | CET-ET-TP-RN-837603 | 903901445 | Low | 2024-03-25 | 0.20902 | 3.55 | 39.591 | 43.35 | 0.20902 | 3.55 | 39.591 | 43.35
08392 | Red Bluff Sub (RNU)-West of Colorado River centralized RAS. a.Red Bluff Substation. i.Install two (2) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility; and ii.Perform RAS programming and testing to the new centralized RAS relays; and iii.Modify the existing automation program to support the new centralized RAS relays. b.Telecommunications. i.Install required channel banks (including terminal equipment) at the Participating TO’s Red Bluff Substation, supporting the centralized RAS requirements. c.Power System Controls. i.Expand existing HMI points at the Participating TO’s Red Bluff Substation to include points for status and alarms related to the new centralized RAS relays; and ii.Modify the existing centralized RAS program to support the additional relay(s). | CET-ET-CR-WC-839202 | 903531605 | High | 2024-10-01 | 101.5604 | 3.656 | 48.618 | 153.8344 | 101.5604 | 3.656 | 48.618 | 153.8344
07073 | Red Bluff RNU: Install 220kV line position. | CET-ET-TP-RN-707300 | 902494149 | High | 2024-05-20 | 389.8641 | 27.727 | 30.266 | 447.8571 | 389.8641 | 27.727 | 30.266 | 447.8571
08100 | Whirlwind Substation (NU): a. Utilize the shared 230 kV position at Whirlwind Substation to terminate the Rattlesnake-Whirlwind 220kV Transmission Line. | CET-ET-TP-RN-810000 | 902326568 | High | 2024-08-08 | 0 | 475 | 130 | 605 | 0 | 475 | 130 | 605
08195 | Devers Substation (RNU): Engineer and construct one (1) 220 kV line position which includes the following equipment: i. Two (2) 220 kV circuit breakers; ii. Three (3) 220 kV group operated disconnect switches; iii. One (1) 220 kV group operated disconnect switch with grounding attachment; and iv. Fourteen (14) 220 kV bus support post insulators. b. Protection Relays: i. Install two (2) local breaker failure backup relays, GE C60 or equivalent successor. | CET-ET-TP-RN-819500 | 902748920 | High | 2024-04-11 | 2695.8993 | 0 | 0 | 2695.8993 | 2695.8993 | 0 | 0 | 2695.8993
08199 | Windhub Substation (RNU) a. Install one (1) 220 kV transmission line position which includes the following equipment: (i) Two (2) 220 kV circuit breakers. (ii) Four (4) sets of 220 kV group-operated disconnect switches. b. Install the following protection relays: (i) Two (2) local breaker failure backup relays. | CET-ET-TP-RL-819901 | 902663178 | High | 2021-08-02 | 0 | 48 | 60 | 108 | 0 | 48 | 60 | 108
08220 | Red Bluff Sub:Install line/relays/add points. | CET-ET-TP-RN-822004 | 902699211 | High | 2021-12-03 | 0 | 50 | 50 | 100 | 0 | 50 | 50 | 100
08201 | Whirlwind Substation (RNU): Whirlwind AA-Bank RAS: Utilize two GE N60 logic processing relays or equivalent successor, identified in Section 2(b)(i).1.c.i of this Appendix A, to send tripping signals to the matching N60 relays located at the Large Generating Facility for loss of one Whirlwind 500/200 kV transformer bank to add the Large Generating Facility to the Whirlwind AA-Bank RAS. | CET-ET-TP-RN-820100 | 902668204 | High | 2024-06-27 | 56.992 | 373.66 | 244.289 | 674.941 | 56.992 | 373.66 | 244.289 | 674.941
08285 | Whirlwind Substation: a. Install one (1) 230 kV line position which includes the following equipment: i. Two (2) 230 kV circuit breakers and foundations. ii. One (1) 230 kV group operated disconnect switch with grounding attachment. iii. Four (4) sets of 223 kV disconnect switches, steel support structures, and foundations. b. Protection Relays: Two local breaker failure backup relays, General Electric ("GE") C60 or equivalent successor. | CET-ET-TP-RN-828500 | 903099017 | High | 2025-07-29 | 23.464 | 565 | 732.689 | 1321.153 | 23.464 | 565 | 732.689 | 1321.153
08380 | Kramer Substation (RNU)- Perform one local relay coordination study and re-set/test protection relays to account for the additional interconnection facilities for the interconnection of the Large Generating Facility. | CET-ET-TP-RN-838002 | 903505987 | High | 2025-06-27 | 2.0777 | 29 | 30.096 | 61.1737 | 2.0777 | 29 | 30.096 | 61.1737
08380 | Mojave Desert RAS – tripping infrastructure (GRNU) a. Kramer Substation. i. Install two (2) G.E. N60 logic processing relays or equivalent successor to monitor and send tripping signals to the Large Generating Facility; and ii. Reconnect and test two (2) | CET-ET-TP-RN-838000 | 903505985 | High | 2025-06-27 | 15.3743 | 168.999 | 107.174 | 291.5473 | 15.3743 | 168.999 | 107.174 | 291.5473
08380 | North of Lugo (“NOL”) cRAS – tripping infrastructure (GRNU) a. Kramer Substation. i. Install two (2) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. b. Telecommunication. i. Install req | CET-ET-TP-RN-838001 | 903505986 | High | 2025-06-27 | 6.7184 | 295.307 | 150 | 452.0254 | 6.7184 | 295.307 | 150 | 452.0254
08380 | Aratina Solar Center 2 Project |  |  |  |  | 24.1703 | 493.306 | 287.27 | 804.7463 | 24.1703 | 493.306 | 287.27 | 804.7463
08448 | Laguna Bell Sub 1.Replace existing 220kV CB 21 with new 220kV CB, 4000A, 63kA, with new foundation 2.Replace existing 220kV CB 22 with new 220kV CB, 4000A, 63kA, with new foundation 3.Replace existing two (2) 230kV group operated DS, horizontal, center | CET-ET-TP-RL-844800 | 903728254 | High | 2025-05-30 | 4859.0542 | 5823.977 | 0 | 10683.0312 | 4859.0542 | 5823.977 | 0 | 10683.0312
08448 | Reconductor approximately 5 miles of existing Laguna Bell - Mesa No.1 230 kV Line with ACCC conductor. | CET-ET-TP-RL-844801 | 903728255 | High | 2024-06-20 | 3563.8771 | 1672.153 | 0 | 5236.0301 | 3563.8771 | 1672.153 | 0 | 5236.0301
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 2 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795047 | High | 2024-06-23 | 9.142 | 86.501 | 0 | 95.643 | 9.142 | 86.501 | 0 | 95.643
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 3 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795050 | High | 2024-06-23 | 8.524 | 88.074 | 0 | 96.598 | 8.524 | 88.074 | 0 | 96.598
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 4 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795052 | High | 2024-06-23 | 7.2982 | 87.093 | 0 | 94.3912 | 7.2982 | 87.093 | 0 | 94.3912
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 5 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795054 | High | 2024-06-23 | 15.4618 | 87.153 | 0 | 102.6148 | 15.4618 | 87.153 | 0 | 102.6148
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 6 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795055 | High | 2024-06-23 | 7.9727 | 89.453 | 0 | 97.4258 | 7.9727 | 89.453 | 0 | 97.4258
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 8 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795373 | High | 2024-06-23 | 22.819 | 86.323 | 0 | 109.142 | 22.819 | 86.323 | 0 | 109.142
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 7 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795403 | High | 2024-06-23 | 14.4894 | 86.186 | 0 | 100.6754 | 14.4894 | 86.186 | 0 | 100.6754
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 903795372 | High | 2024-06-23 | 9.0771 | 87.546 | 0 | 96.6231 | 9.0771 | 87.546 | 0 | 96.6231
8448 | Laguna Bell-Mesa No. 1 230 kV Line Rating Increase Project |  |  |  |  | 8517.7156 | 8194.459 | 0 | 16712.1746 | 8517.7156 | 8194.459 | 0 | 16712.1746
08269 | Whirlwind Substation: Power System Controls. 1. Add points to the RTUs at Whirlwind Substation. 2. Modify the existing RAS program to support the additional relays. | CET-ET-TP-RL-826900 | 903115822 | High | 2024-11-07 | 82.8993 | 465.108 | 298.193 | 846.2002 | 82.8993 | 465.108 | 298.193 | 846.2002
08270 | Whirlwind Substation: - Perform relay coordination study. - Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility [Tehachapi CRAS] - Install two (2) GE N60 logic processing relays | CET-ET-CR-WC-827000 | 902924856 | High | 2024-11-07 | 89.3875 | 512.944 | 331.485 | 933.8165 | 89.3875 | 512.944 | 331.485 | 933.8165
08300 | Reliability Network Upgrades. The Distribution Provider shall: 1. West of Colorado River CRAS Inland/Devers Extension - additional remote monitoring a. Serrano Substation. Install two (2) GE N60 logic processing relays or equivalent successor for transmi | CET-ET-CR-WC-830001 | 1025188 | High | 2022-06-30 | 0 | 0 | 149.104 | 149.104 | 0 | 0 | 149.104 | 149.104
08426 | Eldorado Substation (NU) IRNU 1. Conduct relay coordination study 2. Review As-Built drawings Eldorado Substation-(NU) 1. Install two GE N60 logic processing relays or equivalent 2. Modity the existing program to support new relays Eldorado Substation | CET-ET-CR-WC-842600 | 903606178 | High | 2025-02-03 | 29.3898 | 241 | 321 | 591.3898 | 29.3898 | 241 | 321 | 591.3898
08506 | Victor 220 kV Substation:..Equip Position 11 with one (1) circuit breaker (4000 Amp) and two disconnects...Relocate the Victor-Lugo No. 3 220 kV T/L from Position 7 South Bus to 11 South and install all necessary protection per SCE standards. ..Equip Posi | CET-ET-TP-RL-850600 | 903911198 | High | 2025-08-12 | 14.908 | 1983.296 | 8000 | 9998.204 | 14.908 | 1983.296 | 8000 | 9998.204
08474 | Antelope Sub: Replace all 41 66 kV Circuit Breakers from 40 kA to 50 kA.Perform Ground Grid Study.Replace 101 66 kV disconnect switches & 45 66 kV PTs.Remove 15 steel lattice structures .Install 15 dead-end structures..Relay that needs to be reset.At Ante | CET-ET-TP-RN-847401 | 903773209 | Low | 2025-12-31 | 2542.0066 | 7591.722 | 5796.533 | 15930.2616 | 2542.0066 | 7591.722 | 5796.533 | 15930.2616
08457 | Red Bluff Substation (RNU).i.Install one (1) 500 kV line position which includes the following equipment:. 1.Two (2) 500 kV circuit breaker units. Each unit comprises of three (3) single-phase circuit breakers.. 2.Twelve (12) 1-phase 500 kV disconne | CET-ET-CR-WC-845703 | 903803894 | High | 2025-10-30 | 0 | 217.598 | 330.961 | 548.559 | 0 | 217.598 | 330.961 | 548.559
08538 | Red Bluff (GRNU):.a.West of Colorado River CRAS and/or West of Colorado River CRAS Inland/Devers Extension – tripping infrastructure. 1.Red Bluff Substation.. i.Install one (1) set (2 total) of GE N60 logic processing relays or equivalent successor | CET-ET-TP-RN-853800 | 904099164 | High | 2025-04-02 | 52.8959 | 292.744 | 181.666 | 527.3059 | 52.8959 | 292.744 | 181.666 | 527.3059
08602 | Sylmar Sub: Replace 230kV/220kV Transformer with one rated for 1290 MVA normal and 1610 MVA Emergency (Procurement Only) | CET-ET-LG-SU-860200 | 904209302 | High | 2025-04-29 | 0.28964 | 59 | 50 | 109.2896 | 0.28964 | 59 | 50 | 109.2896
08576 | Antelope - Whirlwind - Raise approximately 9 towers in order to fix ground clearance and increase line rating to 3421/3880 MVA | CET-ET-TP-RN-857600 | 904186957 | High | 2025-12-31 | 1.0914 | 880 | 5118 | 5999.0914 | 1.0914 | 880 | 5118 | 5999.0914
08336 | COLORADO RIVER-INSTA | CET-ET-CR-WC-833600 | 903207593 | High | 2024-10-24 | 154.2413 | 357.41 | 313.29 | 824.9413 | 154.2413 | 357.41 | 313.29 | 824.9413
08336 | Atlas Solar Generating Facility: Power System Controls (RNU) Add points to the RTUs at the Generating Facility. | CET-ET-CR-WC-833600 | 1002367 | High | 2022-10-01 | 0 | 14.619 | 8.586 | 23.205 | 0 | 14.619 | 8.586 | 23.205
08336 | Atlas Solar Project |  |  |  |  | 154.2413 | 372.029 | 321.876 | 848.1463 | 154.2413 | 372.029 | 321.876 | 848.1463
08411 | 2. Whirlwind AA Bank CRAS a. Whirlwind Substation Utilize two (2) GE N60 logic processing relays or equivalent successor, identified under Section 2.(b)(i)3.a of this Appendix A, to send tripping signals to the Large Generating Facility. b. Telecommunica | CET-ET-TP-RN-841101 | 903567160 | High | 2024-08-01 | 8.4117 | 229.155 | 168.98 | 406.5467 | 8.4117 | 229.155 | 168.98 | 406.5467
08411 | 3. Tehachapi CRAS a. Whirlwind Substation Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. b. Telecommunication Install channel banks and associated equipment at Whirlwind S | CET-ET-TP-RN-841100 | 903566458 | High | 2024-08-01 | 9.0696 | 228.997 | 163.625 | 401.6916 | 9.0696 | 228.997 | 163.625 | 401.6916
08411 | Cyclone Solar Project |  |  |  |  | 17.4813 | 458.152 | 332.605 | 808.2383 | 17.4813 | 458.152 | 332.605 | 808.2383
08418 | Laguna Bell Substation Interconnection Reliability Network Upgrades | CET-ET-TP-RN-841802 | 903627525 | High | 2024-12-30 | 908.2429 | 628.303 | 300 | 1836.5459 | 908.2429 | 628.303 | 300 | 1836.5459
08418 | Rio Hondo Substation General Reliability Network Upgrades: Conduct ground grid study | CET-ET-TP-RN-841801 | 903627524 | High | 2024-12-16 | 15.7732 | 5 | 9.407 | 30.1802 | 15.7732 | 5 | 9.407 | 30.1802
08418 | Lewis Substation General Reliability Network Upgrades: Conduct ground grid study | CET-ET-TP-RN-841800 | 903627521 | High | 2024-03-20 | 0.44564 | 9.877 | 19.857 | 30.1796 | 0.44564 | 9.877 | 19.857 | 30.1796
08418 | Commerce Energy Storage Project |  |  |  |  | 924.4618 | 643.18 | 329.264 | 1896.9058 | 924.4618 | 643.18 | 329.264 | 1896.9058
08433 | Install one RTU at the Large Generating Facility (SCE IF) - Add points to existing RTU at Mohave Switchyard to include points for new protection relay/status/alarm/control | CET-ET-CR-WC-843300 | 1126908 | High | 2025-06-02 | 0 | 14 | 32 | 46 | 0 | 14 | 32 | 46
08433 | Large Generating Facility (SCE IF) TOT905/Q1647 Angora Solar Farm: Install meters required to meter the Charging Capacity at the Large Generating Facility. Notwithstanding that the meters will be located on the Interconnection Customer’s side of the Point | CET-ET-CR-WC-843300 | 903697891 | High | 2025-06-02 | 14.7078 | 38 | 88 | 140.7078 | 14.7078 | 38 | 88 | 140.7078
08433 | Mohave 500kV Switching Station (SCE IF) (i) Real Properties: Obtain easements and/or acquire land for the installation of SCE’s Interconnection Facilities. (ii) Environmental Activities, Permits, and Licensing: Perform and/or coordinate the required envi | CET-ET-CR-WC-843301 | 1126911 | High | 2025-06-02 | 0 | 8 | 19 | 27 | 0 | 8 | 19 | 27
08433 | Mohave 500kV Switching Station (SCE IF) SCE shall install security cabinets, locks, and other security measures at the Large Generating Facility to comply with regulatory standards. | CET-ET-CR-WC-843301 | 1126912 | High | 2025-06-02 | 0 | 5 | 11 | 16 | 0 | 5 | 11 | 16
08433 | CRAS Point Additions | CET-ET-CR-WC-843301 | 1126916 | High | 2025-06-02 | 0 | 5 | 12 | 17 | 0 | 5 | 12 | 17
08433 | Mohave Sub: Install Tripping Infrastructure | CET-ET-CR-WC-843301 | 903697892 | High | 2025-12-09 | 8.5482 | 163 | 380 | 551.5482 | 8.5482 | 163 | 380 | 551.5482
08433 | ED&P scope of work for 500kV Gen-Tie Project |  |  |  |  | 23.2559 | 233 | 542 | 798.2559 | 23.2559 | 233 | 542 | 798.2559
08342 | Windhub Substation Transmission Substation (IRNU) -Install two (2) 500 kV line position. -Install Four (4) 500 kV circuit breakers. -Install Twenty-four (24) 500 kV disconnect switches. -Install protection relays. | CET-ET-CR-WC-834205 | 903654150 | High | 2025-07-29 | 10.9124 | 3292.032 | 4404.541 | 7707.4854 | 10.9124 | 3292.032 | 4404.541 | 7707.4854
08342 | Windhub Substation Transmission Substation (GRNU) Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages -Install two (2) ethernet switches -Install one (1) satellite clock -Perform cen | CET-ET-CR-WC-834204 | 903654149 | High | 2025-07-29 | 7.8514 | 205.951 | 472.702 | 686.5044 | 7.8514 | 205.951 | 472.702 | 686.5044
08342 | Whirlwind Sub- Perform centralized RAS programming and testing to the new centralized RAS relays -Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Whirlwind Substation | CET-ET-CR-WC-834203 | 903654148 | High | 2025-07-29 | 7.035 | 33.738 | 74.69 | 115.463 | 7.035 | 33.738 | 74.69 | 115.463
08342 | Vincent Substation Transmission Substation (GRNU) -Install six (6) GE N60 logic processing relays or equivalent successor to send tripping signals to the Generating Facility. -Perform centralized RAS programming and testing to the new centralized RAS rel | CET-ET-CR-WC-834202 | 903654147 | High | 2025-07-29 | 12.4734 | 33.738 | 113.252 | 159.4634 | 12.4734 | 33.738 | 113.252 | 159.4634
08342 | Midway Substation Transmission Substation (GRNU) -Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages -Install two (2) ethernet switches -Install one (1) satellite clock -Perform cen | CET-ET-CR-WC-834201 | 903654146 | High | 2025-04-24 | 2.1545 | 150.21 | 335.661 | 488.0255 | 2.1545 | 150.21 | 335.661 | 488.0255
08342 | Sanborn Hybrid 3 |  |  |  |  | 40.4267 | 3715.669 | 5400.846 | 9156.9417 | 40.4267 | 3715.669 | 5400.846 | 9156.9417
08430 | Valley Substation: Transmission Substation (Valley Substation) Reliability Network Upgrades: West of Colorado River Centralized RAS and West of Colorado River Centralized RAS Inland/Devers Extension – tripping infrastructure 1). Valley Substation. | CET-ET-TP-RN-843000 | 903643004 | High | 2024-07-29 | 300.147 | 336.927 | 0 | 637.074 | 300.147 | 336.927 | 0 | 637.074
08430 | Valley Substation- Reliability Network Upgrades: 1.Valley Substation. (a) Replace the following relays: (i) Two (2) Local Breaker Failure Back-Up relays (b) Conduct ground grid study | CET-ET-TP-RN-843001 | 903642998 | High | 2024-02-28 | 354.7668 | 42.15 | 0 | 396.9168 | 354.7668 | 42.15 | 0 | 396.9168
08430 | Trans Line SOW Re-install jumpers | CET-ET-CR-WC-843002 | 903891473 | High | 2024-10-15 | 0 | 4.299 | 0 | 4.299 | 0 | 4.299 | 0 | 4.299
08430 | Trans Line SOW Re-install jumpers on the Romola Valley 500kV Line | CET-ET-CR-WC-843003 | 903891474 | High | 2024-10-15 | 0 | 4.657 | 0 | 4.657 | 0 | 4.657 | 0 | 4.657
08430 | Menifee Power Bank Project |  |  |  |  | 654.9138 | 388.033 | 0 | 1042.9468 | 654.9138 | 388.033 | 0 | 1042.9468
08490 | Eldorado Sub Ivanpah Area RAS (GRNU) Add project as an eligible participant for tripping i. Eldorado Substation 1. Utilize existing N60 relays. 2. Modify relay settings, update document controls, test relays for new logic for tripping BESS units. ii.P | CET-ET-CR-WC-849002 | 903912132 | High | 2025-03-05 | 0 | 69 | 46 | 115 | 0 | 69 | 46 | 115
08490 | Eldorado Substation Lugo-Victorville CRAS (GRNU) 1. Utilize planned CRAS relays planned for RAS to CRAS conversion. 2. Modify and perform CRAS programming and testing to the existing CRAS relays to trip entire project as a single tripping block. ii | CET-ET-CR-WC-849000 | 903876312 | High | 2025-03-05 | 12.5374 | 207 | 138 | 357.5375 | 12.5374 | 207 | 138 | 357.5375
08490 | Silver State South Solar Project |  |  |  |  | 12.5374 | 276 | 184 | 472.5375 | 12.5374 | 276 | 184 | 472.5375
08357 | Moorpark Substation Interconnection-(RNU): Telecommunication: b. Install required channel banks, cross connects and associated equipment (including terminal equipment). c. Install lightwave, routers, firewall access switches, data traffic monitoring | CET-ET-CR-WC-835708 | 903503023 | Low | 2024-08-13 | 2.0474 | 50 | 0 | 52.0474 | 2.0474 | 50 | 0 | 52.0474
08357 | Eagle Rock Substation Interconnection-(RNU): Telecommunication: b. Install required channel banks, cross connects and associated equipment (including terminal equipment). | CET-ET-CR-WC-835707 | 903503022 | Low | 2024-08-13 | 0.3294 | 25 | 0 | 25.3294 | 0.3294 | 25 | 0 | 25.3294
08357 | Pardee Substation Interconnection-(RNU): 1. a. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. b. Perform centralized RAS programming and testing to the new centralized RAS relays | CET-ET-CR-WC-835706 | 903503019 | Low | 2024-06-17 | 1.9132 | 75 | 0 | 76.9132 | 1.9132 | 75 | 0 | 76.9132
08357 | Pardee Substation Interconnection-(RNU): 1. a. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. b. Perform centralized RAS programming and testing to the new centralized RAS relays | CET-ET-CR-WC-835709 | 903503024 | Low | 2024-06-17 | 0.79218 | 85 | 0 | 85.7922 | 0.79218 | 85 | 0 | 85.7922
08357 | Pardee Substation Interconnection-(RNU): 1. a. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. b. Perform centralized RAS programming and testing to the new centralized RAS relays | CET-ET-CR-WC-835710 | 903503025 | Low | 2024-12-09 | 3.0275 | 25 | 0 | 28.0275 | 3.0275 | 25 | 0 | 28.0275
[6 empty] | 8.1097 | 260 | 0 | 268.1097 | 8.1097 | 260 | 0 | 268.1097
08456 | Sylmar.CRAS - Sylmar Sub (OTC).i.Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Sylmar Substation..ii.Perform centralized RAS programming and testing to the new centralized RAS rel | CET-ET-TP-RN-845606 | 903743082 | High | 2024-12-31 | 0.42679 | 3 | 1 | 4.4268 | 0.42679 | 3 | 1 | 4.4268
08456 | Sylmar.CRAS - Sylmar Sub (RNU).i.Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Sylmar Substation..ii.Perform centralized RAS programming and testing to the new centralized RAS rel | CET-ET-TP-RN-845605 | 903743080 | High | 2024-07-16 | 1.0404 | 130 | 386 | 517.0404 | 1.0404 | 130 | 386 | 517.0404
08456 | Pardee.CRAS - Pardee Sub (RNU).i.Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Pardee Substation..ii.Perform centralized RAS programming and testing to the new centralized RAS re | CET-ET-TP-RN-845607 | 903743083 | High | 2024-09-16 | 15.941 | 336 | 168.5 | 520.441 | 15.941 | 336 | 168.5 | 520.441
[6 empty] | 17.4082 | 469 | 555.5 | 1041.9082 | 17.4082 | 469 | 555.5 | 1041.9082
08473 | DEVERS 220 KV/115 KV | CET-ET-TP-RL-847301 | 903870439 | High | 2024-08-28 | 25.1948 | 693.434 | 4385.891 | 5104.5198 | 25.1948 | 693.434 | 4385.891 | 5104.5198
08473 | Devers 220 kV/115 kV Substation: 1. Moving the Devers-Vista No.2 220 kV T/L from Position 8 South to Position 7 South ― Install one Breaker and two Disconnectors 2. Moving the Devers No.1AA Bank from Position 1X North to Position 1 North ― | CET-ET-TP-RL-847300 | 903870398 | High | 2024-06-26 | 27.2213 | 401.64 | 0 | 428.8613 | 27.2213 | 401.64 | 0 | 428.8613
08473 | DEVERS 220 KV: 220KV | CET-ET-TP-RL-847302 | 903870440 | High | 2025-06-01 | 13.6745 | 223.369 | 4962.054 | 5199.0975 | 13.6745 | 223.369 | 4962.054 | 5199.0975
[6 empty] | 66.0905 | 1318.443 | 9347.945 | 10732.4785 | 66.0905 | 1318.443 | 9347.945 | 10732.4785
08038 | Ellis Ph2 RLA SCE:Re | CET-ET-CR-WS-803800 | 902179842 | High | 2019-01-09 | 0 | 23 | 167.59 | 190.59 | 0 | 5.796 | 42.2327 | 48.0287
08556 | ELDORADO SUBSTATION | CET-ET-TP-RN-855600 | 904215732 | High | 2025-03-04 | 4.2857 | 102 | 204 | 310.2858 | 4.2857 | 102 | 204 | 310.2858
08555 | ELDORADO SUBSTATION | CET-ET-TP-RN-855500 | 904215733 | High | 2025-03-04 | 1.4435 | 94 | 189 | 284.4435 | 1.4435 | 94 | 189 | 284.4435
[6 empty] | 5.7292 | 219 | 560.59 | 785.3192 | 5.7292 | 201.796 | 435.2327 | 642.7579
06957 | AAR and DLR program | CET-ET-TP-EC-999999 |  | High | Blanket Specifics | 0 | 4100 | 7677 | 11777 | 0 | 2326.34 | 2494.7395 | 4821.0795
| Total Transmission Project Reliability |  |  |  |  | 71387.8163 | 64842.053 | 70981.609 | 207211.4783 | 69933.5798 | 62280.0651 | 64453.7112 | 196667.3561
Infrastructure Replacement
03138 | Sylmar Convertor Station: Misc Cap | CET-OT-OT-ME-313800 |  | High | Blanket Specifics | 0 | 5424.8038 | 3368.77 | 8793.5737 | 0 | 5424.8038 | 3368.77 | 8793.5737
04651 | Palo Verde Switchrack: Misc Cap | CET-OT-OT-ME-465100 |  | High | Blanket Specifics | 0 | 5701.291 | 4351.199 | 10052.49 | 0 | 5701.291 | 4351.199 | 10052.49
| Total LADWP/Palo Verde - WORK PERFORMED BY OPERATING AGENT |  |  |  |  | 0 | 11126.0948 | 7719.969 | 18846.0638 | 0 | 11126.0948 | 7719.969 | 18846.0638
04211 | Replace Bulk Power Circuit Breakers (220kV and Above) | CET-ET-IR-CB-421100 |  | High | Blanket Specifics | 0 | 6465.348 | 2605.943 | 9071.291 | 0 | 6465.348 | 2605.943 | 9071.291
04343 | Non-Bulk Relay Replacement Program ("SRRP") | CET-ET-IR-RP-434301 |  | Low | Blanket Specifics | 0 | 444.3315 | 80.575 | 524.9065 | 0 | 444.3315 | 80.575 | 524.9065
04756 | Substation Miscellaneous Equipment Additions & Betterment | CET-ET-IR-ME-475600 |  | High | Blanket Specifics | 0 | 10869.5121 | 7703.459 | 18572.9711 | 0 | 10869.5121 | 7703.459 | 18572.9711
04837 | Replace SAS Infrastructure (FERC) | CET-ET-IR-RP-483701 |  | High | Blanket Specifics | 0 | 131.1049 | 671.3275 | 802.4324 | 0 | 131.1049 | 671.3275 | 802.4324
05089 | Bulk Power 500kV & 220kV Line Relay Replacement | CET-ET-IR-RP-508900 |  | High | Blanket Specifics | 0 | 4056.925 | 1902.046 | 5958.971 | 0 | 4056.925 | 1902.046 | 5958.971
8399 | Bulk Capital Relay Replacement Program | CET-ET-IR-RP-839900 |  | High | Blanket Specifics | 0 | 71.617 | 0 | 71.617 | 0 | 71.617 | 0 | 71.617
05210 | Substation Transformer Bank Replacement Program (AA-Bank & A-Bank) | CET-ET-IR-TB-521001 |  | High | Blanket Specifics | 0 | 3.171 | 0 | 3.171 | 0 | 3.171 | 0 | 3.171
06197 | On-line Dissolved Gas Analysis of Bulk Power Transformer Banks | CET-ET-IR-ME-619700 |  | High | Blanket Specifics | 0 | 549.643 | 1238.8931 | 1788.5361 | 0 | 549.643 | 1238.8931 | 1788.5361
07713 | Substation Switchrack Rebuilds (FERC) | CET-ET-IR-RB-771301 |  | High | Blanket Specifics | 0 | 4213.7393 | 5385.5593 | 9599.2986 | 0 | 4213.7393 | 5385.5593 | 9599.2986
07716 | Substation Batteries & Chargers (FERC) | CET-ET-IR-ME-771601 |  | High | Blanket Specifics | 0 | 292.613 | 0 | 292.613 | 0 | 292.613 | 0 | 292.613
07637 | Substation Facility Capital Maintenance | COS-00-RE-MA-NE7637 |  | High | Blanket Specifics | 0 | 8895.7792 | 17896.0452 | 26791.8244 | 0 | 3113.5227 | 6263.6158 | 9377.1385
06987 | Substation HVAC Redundancy Program | COS-00-RE-MA-SBHVAC |  | High | Blanket Specifics | 0 | 0 | 7180 | 7180 | 0 | 0 | 2513 | 2513
07392 | Seismic Program - Bus Rel (FERC) | COS-00-SP-BR-000000 |  | High | Blanket Specifics |  | 175 | 125 | 300 | 0 | 158.165 | 112.975 | 271.14
07392 | Seismic Program - Trans Subs (FERC) | COS-00-SP-TD-000000 |  | High | Blanket Specifics | 0 | 11500 | 12000 | 23500 | 0 | 7480.75 | 7806 | 15286.75
07392 | Seismic Program - Trans Lines | COS-00-SP-TD-000002 |  | High | Blanket Specifics | 0 | 3300 | 3300 | 6600 | 0 | 2582.25 | 2582.25 | 5164.5
07392 | Seismic Assessment and Mitigation Program for Transmission Assets |  |  |  |  | 0 | 14975 | 15425 | 30400 | 0 | 10221.165 | 10501.225 | 20722.39
Physical Security Enhancement Programs:
07949 | Protection of Grid Infrastructure Assets (formerly, Physical Security Systems - Electric Facilities) | COS-00-CS-CS-745400 |  | High | Blanket Specifics | 0 | 11869.0953 | 22370.8598 | 34239.9551 | 0 | 7338.6616 | 13831.9026 | 21170.5642
07949 | Protection of Grid Infrastructure Assets (formerly, Physical Security Systems - Electric Facilities) | COS-00-CS-CS-745401 |  | High | Blanket Specifics | 0 | 7922.28 | 0 | 7922.28 | 0 | 4740.8084 | 0 | 4740.8084
07573 | Substation Fence/Gate (Cu Theft) (aka, Security Fence and Lights Upgrade) (FERC) | CET-ET-IR-ME-757301 |  | High | Blanket Specifics | 0 | 98.3047 | 2397.1621 | 2495.4668 | 0 | 98.3047 | 2397.1621 | 2495.4668
08042 | 500/230 kV (ES-5067): Physical Security Tier 2 | CET-ET-IR-ME-804200 | 902210275 | High | 2023-09-26 | 0 | 35.99 | 0 | 35.99 | 0 | 30.2316 | 0 | 30.2316
08042 | 500/230 kV (ES-5047): Physical Security Tier 2 | CET-ET-IR-ME-804202 | 902210277 | High | 2023-09-26 | 0 | 161.286 | 0 | 161.286 | 0 | 161.286 | 0 | 161.286
08042 | 500/230 kV (ES-8060): Physical Security Tier 2 | CET-ET-IR-ME-804203 | 902210452 | High | 2024-04-30 | 3110.3267 | 2227.884 | 0 | 5338.2107 | 3110.3267 | 2227.884 | 0 | 5338.2107
08042 | 500/230 kV (ES-5079): Physical Security Tier 2 | CET-ET-IR-ME-804204 | 902210453 | High | 2024-04-30 | 2050.8606 | 3056.575 | 0 | 5107.4356 | 1825.266 | 2720.3517 | 0 | 4545.6177
08042 | 500/230 kV (ES-5070): Physical Security Tier 2 | CET-ET-IR-ME-804201 | 903511341 | High | 2024-12-26 | 999.5788 | 4627.2 | 7756.222 | 13383.0008 | 399.8315 | 1850.88 | 3102.4888 | 5353.2003
08042 | 500/230 kV (ES-5031): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903897059 | High | 2025-02-14 | 311.4245 | 404.584 | 4998.022 | 5714.0305 | 292.7079 | 380.2685 | 4697.6409 | 5370.6173
08042 | 500/230 kV (ES-8369): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903897060 | High | 2025-08-19 | 25.4586 | 880.384 | 2398.354 | 3304.1966 | 25.4586 | 880.384 | 2398.354 | 3304.1966
08042 | 500/230 kV (ES-5071): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903864281 | High | 2024-06-17 | 26.6421 | 1555.224 | 0 | 1581.8661 | 6.2316 | 363.7669 | 0 | 369.9985
08042 | 500/230 kV (ES-8367): Physical Security Tier 2 | CET-ET-IR-ME-804200 | 903897669 | High | 2025-05-08 | 26.6315 | 669.723 | 2684.268 | 3380.6225 | 26.6315 | 669.723 | 2684.268 | 3380.6225
08042 | 500/230 kV (ES-5023): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903907357 | High | 2024-09-30 | 175.953 | 937.575 | 217.138 | 1330.666 | 54.5454 | 290.6483 | 67.3128 | 412.5065
08042 | 500/230 kV (ES-5084): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903978044 | High | 2024-09-09 | 45.0454 | 876.955 | 360.6 | 1282.6004 | 5.3964 | 105.0592 | 43.1999 | 153.6555
08042 | Inyokern Town Sub SB-699-Provide infrastructure (foundation, trenching) for security camera poles and Charles cabinet | CET-ET-IR-ME-804206 | 903885784 | Low | 2024-04-01 | 35.9026 | 344.097 | 0 | 379.9996 | 8.9182 | 85.4737 | 0 | 94.3919
08042 | Physical Security Projects (Tiers 2 & 3) |  |  |  |  | 6807.8239 | 15777.477 | 18414.604 | 40999.9049 | 5755.3138 | 9765.9569 | 12993.2643 | 28514.5351
[7 empty] | 0 | 0
| Total Physical Security Enhancement Programs |  |  |  |  | 6807.8239 | 35667.157 | 43182.6259 | 85657.6067 | 5755.3138 | 21943.7317 | 29222.329 | 56921.3745
| Total Infrastructure Replacement |  |  |  |  | 6807.8239 | 97762.0357 | 110991.443 | 215561.3026 | 5755.3138 | 73502.5189 | 75807.9418 | 155065.7745
Grid Applications
08284 | Colorado River Substation (Removal CRC RAS) | CET-ET-CR-WC-828400 | 903109578 | High | 2024-04-11 | 482.8233 | 750 | 0 | 1232.8233 | 482.8233 | 750 | 0 | 1232.8233
08284 | Vista Sub: Install relays/Add points. Vista Substation (RNU): a. Install four (4) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS Inland/Devers extension. b. Install one (1) Ethernet switch associated with the West of Colorado River CRAS Inland/Devers extension. c. Install one (1) satellite clock associated with the West of Colorado River CRAS Inland/Devers extension. d. Install one (1) new standard pre-fabricated drop-in MEER. e. Perform Ground Grid Study.Power System Control Add points to the RTUs at Vista Substation and the Large Generating Facility to support the West of Colorado River CRAS Inland/Devers extension. | CET-ET-GA-CR-828401 | 902699207 | High | 2024-04-11 | 2557.1974 | 0 | 0 | 2557.1974 | 2557.1974 | 0 | 0 | 2557.1974
08284 | San Bernardino Sub:Install relays/add points San Bernardino Substation (RNU): a. Install two (2) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS Inland/Devers extension. b. Install one (1) Ethernet switch associated with the West of Colorado River CRAS Inland/Devers extension. c. Install one (1) satellite clock associated with the West of Colorado River CRAS Inland/Devers extension. Power System Control Add points to the RTUs at San Bernardino Substation and the Large Generating Facility to support the West of Colorado River CRAS Inland/Devers extension. PIN 8220 | CET-ET-GA-CR-828407 | 902699210 | High | 2024-04-11 | 940.9565 | 0 | 0 | 940.9565 | 940.9565 | 0 | 0 | 940.9565
08284 | Mira Loma Sub:Add relays/add points Mira Loma Substation (RNU): a. Install two (2) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS Inland/Devers extension. b. Install one (1) Ethernet switch associated with the West of Colorado River CRAS Inland/Devers extension. c. Install one (1) satellite clock associated with the West of Colorado River CRAS Inland/Devers extension. Power System Control Add points to the RTUs at Mira Loma Substation and the Large Generating Facility to support the West of Colorado River CRAS Inland/Devers extension. PIN 8220 | CET-ET-GA-CR-828402 | 902699212 | High | 2024-04-12 | 797.9234 | 0 | 0 | 797.9234 | 797.9234 | 0 | 0 | 797.9234
08284 | Serrano Sub (RNU): Install relays/add points. | CET-ET-GA-CR-828401 | 902699209 | High | 2024-04-12 | 953.3124 | 0 | 0 | 953.3124 | 953.3124 | 0 | 0 | 953.3124
08284 | Valley Sub (RNU):Add relays/points. | CET-ET-GA-CR-828400 | 902699208 | High | 2024-04-12 | 1296.0744 | 0 | 0 | 1296.0744 | 1296.0744 | 0 | 0 | 1296.0744
08284 | Etiwanda Sub:Install relays/Add points. | CET-ET-GA-CR-828403 | 902699213 | High | 2024-04-11 | 883.2017 | 0 | 0 | 883.2017 | 883.2017 | 0 | 0 | 883.2017
08284 | Devers Sub:Install relays/add points Devers Substation (RNU): a. Install two (2) G.E. logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS expansion. Power System Control Add points to the RTUs at Devers Substation and the Large Generating Facility to support the West of Colorado River CRAS expansion. PIN 8220 | CET-ET-GA-CR-828403 | 902699214 | High | 2024-04-11 | 1665.6611 | 0 | 0 | 1665.6611 | 1665.6611 | 0 | 0 | 1665.6611
8284 | West of Colorado River CRAS Inland/Devers Extension |  |  |  |  | 9577.1502 | 750 | 0 | 10327.1502 | 9577.1502 | 750 | 0 | 10327.1502
08345 | Install corporate security equipment to support CRAS Mohave, Eldorado and Lugo Substations. | CET-ET-GA-CR-834500 | 1070716 | High | 2025-05-19 | 0 | 0 | 500 | 500 | 0 | 0 | 500 | 500
08345 | Power system controls (PSC) sofware application updates | CET-ET-GA-CR-834500 | 8345-PCS | High | 2025-05-19 | 0 | 0 | 792 | 792 | 0 | 0 | 792 | 792
08345 | Mohave -Install 150 linear -ft of 4' x 4' cable tray -Install one (1) pair of monitoring relays -Install one (1) SEL-2407 Satellite Clock -Install six (6) sets of tripping relays to trip interconnection customers -Install two (2) Ethernet Switch -Remove existing RAS relays & infrastructure | CET-ET-GA-CR-834500 | 903333163 | High | 2025-05-19 | 219.0646 | 150 | 400 | 769.0646 | 219.0646 | 150 | 400 | 769.0646
08345 | Eldorado -Install 150 linear -ft of 4' x 4' cable tray -Install four (4) Ethernet Switches -Install four (4) pairs of monitoring relays -Install fourteen (14) pairs of tripping relays to customers -Install one (1) SEL-2407 Satellite Clock -Remove existing RAS relays & infrastructure | CET-ET-GA-CR-834501 | 903333164 | High | 2025-05-19 | 76.8301 | 200 | 600 | 876.8301 | 76.8301 | 200 | 600 | 876.8301
08345 | Lugo -Install 150 linear -ft of 4' x 4' cable tray -Install two (2) Ethernet Switches -Install one (1) pair of monitoring relays -Install one (1) SEL-2407 Satellite Clock -Remove existing RAS relays & infrastructure | CET-ET-GA-CR-834501 | 903333165 | High | 2025-05-19 | 119.8075 | 150 | 400 | 669.8075 | 119.8075 | 150 | 400 | 669.8075
08345 | Total Lugo-Victorville Centralized RAS |  |  |  |  | 415.7022 | 500 | 2692 | 3607.7022 | 415.7022 | 500 | 2692 | 3607.7022
06446 | VARIOUS: INSTALL PHASOR MEASUREMENT SYSTEM | CET-ET-GA-EM-644600 |  | High | Blanket Specifics | 0 | 1620.1323 | 139.9509 | 1760.0833 | 0 | 1620.1323 | 139.9509 | 1760.0833
| Total Grid Apps |  |  |  |  | 9992.8524 | 2870.1323 | 2831.9509 | 15694.9356 | 9992.8524 | 2870.1323 | 2831.9509 | 15694.9356
PWRD Blankets
03363 | Substation Planned Maintenance Replacements | CET-PD-IR-SP-SUBSNW |  | High | Blanket Specifics | 0 | 18536.4508 | 11768.6082 | 30305.059 | 0 | 7812.9853 | 4960.3866 | 12773.3719
03363 | Substation Unplanned Maintenance Replacements | CET-PD-BM-SU-SUBSNW |  | High | Blanket Specifics | 0 | 26254.8453 | 25736.3303 | 51991.1755 | 0 | 6661.2554 | 6529.7002 | 13190.9555
03363 | Substation - Storm | CET-PD-ST-SS-SUBSNW |  | High | Blanket Specifics | 0 | 855.6605 | 859.1575 | 1714.818 | 0 | 7.0711 | 7.1 | 14.1711
03363 | Substation Maintenance, Breakdown, & Storm |  |  |  |  | 0 | 45646.9565 | 38364.096 | 84011.0525 | 0 | 14481.3117 | 11497.1868 | 25978.4985
07890 | Pardee-Pastoria 220kV: Re-conductor (San Joaquin & North Coast) | CET-PD-IR-TP-789000 | 904260319 | High | 2025-12-31 | 99.8686 | 14978.789 | 10167 | 25245.6576 | 99.8686 | 14978.789 | 10167 | 25245.6576
07890 | Pardee-Pastoria 220kV: Re-conductor (San Joaquin & North Coast) | CET-PD-IR-TP-789000 | 904260320 | High | 2025-12-01 | 21.879 | 15549.295 | 20333 | 35904.174 | 21.879 | 15549.295 | 20333 | 35904.174
07890 | Transmission Maintenance Planned - OH Conductors | CET-PD-IR-TP-789000 |  | High | Blanket Specifics | 0 | 1942.0731 | 1018.9778 | 2961.0509 | 0 | 1942.0731 | 1018.9778 | 2961.0509
03364 | Transmission Breakdown Maintenance Unplanned | CET-PD-BM-TU-TRSJAC |  | High | Blanket Specifics | 0 | 3133.1402 | 2962.7624 | 6095.9027 | 0 | 745.8252 | 705.2678 | 1451.0929
03364 | Transmission Tower Corrosion Program | CET-PD-IR-TS-TRSJAC |  | High | Blanket Specifics | 0 | 14657.286 | 6615.8008 | 21273.0868 | 0 | 10260.1002 | 4631.0606 | 14891.1608
03364 | Transmission Small Civil | CET-PD-IR-TC-TRSJAC |  | Low | Blanket Specifics | 0 | 12645.1397 | 4093.2748 | 16738.4144 | 0 | 6061.917 | 1962.2632 | 8024.1802
03364 | Transmission Grid-Based Maintenance | CET-PD-IR-TG-TRSJAC |  | High | Blanket Specifics | 0 | 12763.4613 | 10211.9499 | 22975.4112 | 0 | 3049.1333 | 2439.5888 | 5488.7221
| Transmission Maintenance & Breakdown Maintenance |  |  |  |  | 121.7476 | 75669.1843 | 55402.7657 | 131193.6976 | 121.7476 | 52587.1328 | 41257.1581 | 93966.0385
03364 | Transmission Deteriorated Pole Repl & Restoration | CET-PD-IR-TR-TRSJAC |  | Low | Blanket Specifics | 0 | 118126.755 | 99606.316 | 217733.071 | 0 | 8676.3008 | 7315.9917 | 15992.2925
04057 | Pole Loading Transmission Pole Replacements | CET-PD-IR-PT-TRSJAC |  | Low | Blanket Specifics | 0 | 13803.7143 | 302.861 | 14106.5753 | 0 | 111.48 | 2.4459 | 113.9259
04056 | Steel Stub Pole Remediation (Trans) | CET-PD-OT-SF-TRORAN |  | Low | Blanket Specifics | 0 | 59.6882 | 96.4396 | 156.1278 | 0 | 1.1247 | 1.8172 | 2.9419
| Transmission Poles (Pole Loading & Deteriorated Pole Programs) |  |  |  |  | 0 | 131990.1575 | 100005.6166 | 231995.7742 | 0 | 8788.9054 | 7320.2548 | 16109.1602
[7 empty] | 0 | 0
07298 | Transmission Line Rating Remediation (Exempt from Licensing) | CET-PD-OT-PJ-729801 |  | High | Blanket Specifics | 0 | 21378.884 | 58764.166 | 80143.05 | 0 | 21378.884 | 58764.166 | 80143.05
03362 | Critical Infrastructure Spares - FERC Spare Transformer Equipment Program (STEP)/Emergency | CET-PD-CI-CI-CRINSP |  | High | Blanket Specifics | 0 | 4207.4967 | 4403.4925 | 8610.9893 | 0 | 4207.4967 | 4403.4925 | 8610.9893
03367 | Substation - Claim | CET-PD-CL-SC-SUBSNW |  | High | Blanket Specifics | 0 | 523.9632 | 517.2527 | 1041.2159 | 0 | 10.1093 | 9.9799 | 20.0892
03367 | Transmission - Claim | CET-PD-CL-TC-TRSJAC |  | High | Blanket Specifics | 0 | 3757.0891 | 3597.6827 | 7354.7718 | 0 | 264.9211 | 253.681 | 518.6021
03367 | Transmission - Storm | CET-PD-ST-TS-TRSJAC |  | High | Blanket Specifics | 0 | 8403.8487 | 8243.9543 | 16647.803 | 0 | 3989.0074 | 3913.1112 | 7902.1186
03367 | Transmission Storm & Claims |  |  |  |  | 0 | 12684.901 | 12358.8897 | 25043.7907 | 0 | 4264.0378 | 4176.7721 | 8440.8099
08224 | Trans Emerg Dry Fuels Remediation FERC | CET-PD-FR-TF-822601 |  | Low | Blanket Specifics | 0 | 4.5503 | 4.1159 | 8.6662 | 0 | 4.5503 | 4.1159 | 8.6662
08224 | EOI Replacements - T (FERC) | CET-PD-WM-TP-822401 |  | Low | Blanket Specifics | 0 | 280.6256 | 276.9588 | 557.5845 | 0 | 280.6256 | 276.9588 | 557.5845
08224 | Transmission Splice FERC | CET-PD-WM-TS-822401 |  | Low | Blanket Specifics | 0 | 0 | 6.6644 | 6.6644 | 0 | 0 | 6.6644 | 6.6644
08224 | [5 empty] | 0 | 285.176 | 287.7391 | 572.9151 | 0 | 285.176 | 287.7391 | 572.9151
| Total PWRD Blankets |  |  |  |  | 121.7476 | 291862.7561 | 269586.7657 | 561571.2693 | 121.7476 | 105992.9445 | 127706.7694 | 233821.4616
Total Non-Incentive Transmission Projects | [5 empty] | 92599.6739 | 463081.5591 | 460620.3336 | 1016301.5666 | 90092.9273 | 250389.3746 | 277028.9383 | 617511.2402
Total Forecast Specific Project Expenditures (Closing by December 2025) | [5 empty] | 92599.6739 | 114042.196 | 121139.778 | 327781.6479 | 90092.9273 | 107241.4797 | 114372.801 | 311707.208
Total Forecast Blanket Expenditures (Closing by December 2025) | [5 empty] | 0 | 349039.3631 | 339480.5556 | 688519.9187 | 0 | 143147.8949 | 162656.1373 | 305804.0322