## WP Schedule 16 ISO Non-Inc
|  |  |  | High/ Low |  | Project Total (ISO & non-ISO) |  |  |  | ISO Portion
PIN | Project Title | C-WBS | Order # | Voltage | OD | Prior | 2026 | 2027 | Total | Prior | 2026 | 2027 | Total
Non-Incentive Transmission Projects include Direct Installation and Removal Expenditures, but exclude any C-WBS or Order # with 0% ISO.
Other Transmission
08389 | Hinson Sub (RNU) Install one (1) 220 kV line position | CET-ET-CR-WC-838906 | 903714980 | High | 2027-04-06 | 2985.3657 | 200 | 0 | 3185.3657 | 2985.3657 | 200 | 0 | 3185.3657
08896 | ELDORADO SUB (AF) SC | CET-ET-AF-SF-889600 | 904804160 | High | 2027-06-03 | 57.2602 | 200 | 378 | 635.2602 | 57.2602 | 200 | 378 | 635.2602
08633 | Tehachapi, Windhub, and New South of Vincent CRAS - tripping infrastructure (GRNU):.a. Tehachapi cen | CET-ET-CR-WS-863300 | 904298290 | High | 2027-02-01 | 5.2017 | 404.152 | 175 | 584.3537 | 4.6332 | 359.9782 | 155.8725 | 520.4839
08393 | Walnut Substation Interconnection (RNU): 1. Generation Tie-Line to Existing Pos. 2. Utilize the following: a) Two (2) 220 kV circuit breakers b) One (1) 220 kV group operated disconnect switch with grounding attachment c) Three (3) 220 kV group operated s | CET-ET-CR-WC-839301 | 903549492 | High | 2027-10-27 | 2032.3427 | 940.607 | 0 | 2972.9497 | 2032.3427 | 940.607 | 0 | 2972.9497
08393 | Transmission: Interconnection (RNU) 1. Install an appropriate number of 220 kV transmission structure including insulator/hardware assemblies, and appropriate number of spans of conductor between the Last Structure and the dead-end substation structure at | CET-ET-CR-WC-839307 | 903555223 | High | 2025-12-31 | 1.0172e-14 | 1086 | 200 | 1286 | 1.0172e-14 | 1086 | 200 | 1286
08393 | Transmission: Interconnection (RNU) Relocate existing 220 kV Mesa-Walnut Line to new Position 4. | CET-ET-CR-WC-839306 | 903555087 | High | 2027-07-29 | 359.5897 | 1235 | 300 | 1894.5897 | 359.5897 | 1235 | 300 | 1894.5897
08393 | Total Kestrel Storage Project |  |  |  |  | 2391.9324 | 3261.607 | 500 | 6153.5394 | 2391.9324 | 3261.607 | 500 | 6153.5394
08301 | Ivanpah Sub- 115 kV Switchrack: Install two (2) new 115 kV line positions One (1) Standard Facilities (SF) One (1) Added Facilities (AF) which includes the following equipment per position: • Two (2) 115 kV circuit breakers, 1200 A, 40 kA • One (1) voltag | CET-ET-AF-CF-830100 | 903111590 | Low | 2027-12-27 | 321.8995 | 663.571 | 1099.601 | 2085.0715 | 199.5777 | 411.414 | 681.7526 | 1292.7443
08301 | Total Las Vegas HSR DesertXpress (Virgin Train) |  |  |  |  | 321.8995 | 663.571 | 1099.601 | 2085.0715 | 199.5777 | 411.414 | 681.7526 | 1292.7443
| Total Other Transmission |  |  |  |  | 5761.6596 | 4729.33 | 2152.601 | 12643.5906 | 5638.7692 | 4432.9992 | 1715.6251 | 11787.3936
TSP Projects
08534 | Neenach Substation: Install a 14.4 MVAR capacitor bank | CET-ET-LG-TS-853400 | 904042381 | Low | 2025-09-19 | 0 | 15.571 | 0 | 15.571 | 0 | 1.9822 | 0 | 1.9822
08568 | Valley EFG 500/115- Procure, Install and Program GE F35(1) and SEL-2440(4) Relays to permit dropping designated busses at satellite distribution substations | CET-ET-LG-TS-856801 | 904254544 | High | 2025-11-21 | 0 | 531.558 | 0 | 531.558 | 0 | 37.7938 | 0 | 37.7938
08835 | Install 1-28.8 MVAR capacitor on position 6 on the West bus and design it in such a way we can have a 2-stage 57.6 MVAR (2x28.8 MVAR) cap bank in the future. | CET-ET-LG-TS-883500 | 904650139 | Low | 2027-06-01 | 55.8027 | 275.386 | 93 | 424.1887 | 55.8027 | 275.386 | 93 | 424.1887
| Total TSP Projects |  |  |  |  | 55.8027 | 822.515 | 93 | 971.3177 | 55.8027 | 315.162 | 93 | 463.9646
Transmission Project Reliability
07763 | Eldorado-Lugo 500 kV line: CA side - Install 85 miles of new OPGW between CA/NV border and Pisgah Substation. | CET-ET-TP-RN-776304 | 901665563 | High | 2025-06-30 | 0 | 1000 | 233 | 1233 | 0 | 1000 | 233 | 1233
07763 | Eldorado-Lugo 500 kV line: NV Side -Install 2 miles of new OPGW between CA/NV border and MI52-T2. | CET-ET-TP-RN-776305 | 901665564 | High | 2026-01-16 | 1372.6742 | 100 | 20 | 1492.6742 | 1372.6742 | 100 | 20 | 1492.6742
07763 | Mohave 500 kV: Install two (2) N60 relays Install one (1) ethernet switch Install one (1) satellite switch 1PSC- RTU Point additions at Mohave substation. | CET-ET-TP-RN-776302 | 901484315 | High | 2026-06-01 | 325.9699 | 54 | 0 | 379.9699 | 325.9699 | 54 | 0 | 379.9699
07763 | Lugo Sub: Install new control cables, update station drawings, and modify settings on existing N60 relays to accommodate monitoring of Lugo-Mohave 500kV line. | CET-ET-TP-RN-776307 | 902249120 | High | 2026-08-24 | 117.1322 | 53 | 0 | 170.1322 | 117.1322 | 53 | 0 | 170.1322
07763 | Eldorado: Install equipment to support N-2 monitoring of Eldorado-Lugo 500kV and Lugo-Mohave 500kV lines. | CET-ET-TP-RN-776308 | 902249121 | High | 2026-06-25 | 92.1243 | 83 | 0 | 175.1243 | 92.1243 | 83 | 0 | 175.1243
07763 | Lugo-Victorville 500 kV T/L SPS: Contingency and Known Risk for RAS | CET-ET-TP-RN-776399 | 7763-Cont | High | 2026-08-24 | 0 | 0 | 1000 | 1000 | 0 | 0 | 880 | 880
7763 | Total Lugo-Victorville 500 kV SPS |  |  |  |  | 1907.9006 | 1290 | 1253 | 4450.9006 | 1907.9006 | 1290 | 1133 | 4330.9006
07546 | Eldorado-Lugo-Mohave Upgrade Known Risk | CET-ET-TP-RL-754699 | 569352 | High | 2026-06-30 | 0 | 324 | 0 | 324 | 0 | 301.32 | 0 | 301.32
07546 | Eldorado-Lugo-Mohave Upgrade Contingency | CET-ET-TP-RL-754699 | 569353 | High | 2026-06-30 | 0 | 0 | 2799 | 2799 | 0 | 0 | 2603.07 | 2603.07
07546 | (Removal/Expense) Lugo Sub: Upgrade Terminal Equipment and Series Capacitors on Eldorado-Lugo 500kV T/L. | CET-ET-TP-RL-754601 | 902287735 | High | 2024-11-05 | 0 | 30 | 0 | 30 | 0 | 30 | 0 | 30
7546 | Total Eldorado-Lugo-Mohave (ELM) Series Cap Upgrades Project |  |  |  |  | 0 | 354 | 2799 | 3153 | 0 | 331.32 | 2603.07 | 2934.39
07558 | Magunden-Springville 230 kV No.1: Remove 14 existing 220kV lattice structures; Install nine new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 130'), and four new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 185') which will support an approximate 2000' span across the lake, within the current ROW. Total project length is approximately 2 miles. | CET-ET-TP-RL-755800 | 901192344 | High | 2022-02-25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25
07558 | Magunden-Springville 230 kV No.2: Remove 14 existing 220kV lattice structures; Install nine new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 130'), and four new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 185') which will support an approximate 2000' span across the lake, within the current ROW. Total project length is approximately 2 miles. | CET-ET-TP-RL-755801 | 901192345 | High | 2021-12-27 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25
7558 | Total Magunden-Springville No.1 & No.2 Tower Replacement ("Lake Success Towers in Water") |  |  |  |  | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50
08077 | Eldorado 220 kV (Option 2): Cima-Pisgah #1 220kV (Pos 9N) and Cima-Pisgah #2 220kV (Pos 10N) A. 220 kV Switchrack -6 BCT Upgrades B. Relays -2 Racks -2 L90 -4 C60 | CET-ET-TP-RL-807703 | 902739829 | High | 2025-12-22 | 0 | 314.443 | 0 | 314.443 | 0 | 314.443 | 0 | 314.443
08077 | Pisgah 220 kV (Option 2): A. 220 kV Switchrack -8 BCT Upgrades B. Relays -8 Racks -4 L90 -4 C60 | CET-ET-TP-RL-807711 | 902739837 | High | 2025-12-22 | 0 | 294.097 | 0 | 294.097 | 0 | 294.097 | 0 | 294.097
08077 | Coolwater-Tortilla (Position 6): Relays L90 & 411L | CET-ET-TP-RL-807707 | 904085828 | Low | 2027-09-13 | 0.52604 | 130.968 | 123 | 254.494 | 0.52604 | 130.968 | 123 | 254.494
08077 | Coolwater-Kramer: 115kV (Position 2S) Relays 411L & (1) rack with 220kV (Position 8N) Relays L90 & 411L | CET-ET-TP-RL-807707 | 904085829 | High | 2027-12-30 | 9.895 | 150 | 172.853 | 332.748 | 9.895 | 150 | 172.853 | 332.748
08077 | Coolwater-Ivanpah-Baker-Dunn Siding-Mt Pass (Y21): Only perform coordination studies and adjust settings to existing relays, UC #149. | CET-ET-TP-RL-807707 | 904085831 | Low | 2026-06-17 | 0 | 26.644 | 0 | 26.644 | 0 | 26.644 | 0 | 26.644
8077 | Total Annual Transmission Reliability Assessment 2016 - Protection Upgrades (ATRA) |  |  |  |  | 10.4211 | 916.152 | 295.853 | 1222.4261 | 10.4211 | 916.152 | 295.853 | 1222.4261
08298 | Vincent Substation (RNU).1. Remove and salvage Green panels 3R thru 8R in 220kV Relay room, relocate all necessary various auxiliary equipment from green boards to new steel Relay Racks..2. Install new RTU in place of removed green boards, cutover existin | CET-ET-TP-RN-829800 | 904138914 | High | 2026-11-30 | 2016.7725 | 520.55 | 0 | 2537.3225 | 2016.7725 | 520.55 | 0 | 2537.3225
8298 | Total Bellefield Solar Farm Reliability Network Upgrades |  |  |  |  | 2016.7725 | 520.55 | 0 | 2537.3225 | 2016.7725 | 520.55 | 0 | 2537.3225
08355 | Tehachapi CRAS – Monitoring infrastructure Whirlwind Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Whirlwind Substation. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTU at W Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Whirlwind Substations. | CET-ET-TP-RN-835500 | 903429710 | High | 2026-08-10 | 848.7009 | 94.905 | 50 | 993.6059 | 848.7009 | 94.905 | 50 | 993.6059
08355 | Tehachapi CRAS – Monitoring infrastructure Vincent Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Vincent Substation. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTUs at Vincent Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Vincent Substations. | CET-ET-TP-RN-835502 | 903429712 | High | 2026-08-24 | 79.4906 | 30 | 80 | 189.4906 | 79.4906 | 30 | 80 | 189.4906
08355 | Tehachapi CRAS – Monitoring infrastructure Midway Substation Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Midway Substation. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. 2. Install lightwave, routers, firewall access switches, data traffic monitoring devices, and data circuits to support centralized RAS network at Windhub and Midway substations. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTUs at Midway Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Midway Substation. | CET-ET-TP-RN-835503 | 903429713 | High | 2026-04-01 | 2.9496 | 0 | 0 | 2.9496 | 2.9496 | 0 | 0 | 2.9496
08355 | Tehachapi CRAS – Monitoring infrastructure Windhub Substation 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Windhub Substation. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. 2. Install lightwave, routers, firewall access switches, data traffic monitoring devices, and data circuits to support centralized RAS network at Windhub and Midway substations. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTU at Windhub Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Antelope, Midway, Whirlwind, Windhub Substations. | CET-ET-TP-RN-835504 | 903429714 | High | 2026-04-30 | 597.5821 | 169.708 | 50 | 817.2901 | 597.5821 | 169.708 | 50 | 817.2901
08355 | Whirlwind Substation Tehachapi CRAS – Tripping infrastructure i. Whirlwind Substation. 1. Install six (6) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Perform centralized RAS programming and testing to the new centralized RAS relay. | CET-ET-TP-RN-835500 | 903548050 | High | 2026-04-01 | 210.6683 | 0 | 0 | 210.6683 | 210.6683 | 0 | 0 | 210.6683
8355 | Total TOT909-Q1631 -Glenfeliz Solar Farm |  |  |  |  | 1739.3916 | 294.613 | 180 | 2214.0046 | 1739.3916 | 294.613 | 180 | 2214.0046
08107 | Kramer Substation (RNU): a. Engineer and construct one 220 kV line position, which includes the following equipment: i. Two 220 kV circuit breakers. ii. Three 220 kV group operated disconnect switches. iii. One (1) 220 kV group operated disconnect switch with grounding attachment. | CET-ET-TP-RN-810701 | 902342409 | High | 2025-10-30 | 0 | 400.944 | 0 | 400.944 | 0 | 400.944 | 0 | 400.944
08107 | VICTOR SUB EXPAND HD | CET-ET-TP-RN-810702 | 904526347 | High | 2026-01-06 | 4.6629e-15 | 100 | 0 | 100 | 4.6629e-15 | 100 | 0 | 100
08270 | WHIRLWIND SUBSTATION | CET-ET-TP-RN-827000 | 904898432 | High | 2025-05-30 | 1.8971 | 0.956 | 0 | 2.8531 | 1.8971 | 0.956 | 0 | 2.8531
08285 | Whirlwind Substation: a. Install one (1) 230 kV line position which includes the following equipment: i. Two (2) 230 kV circuit breakers and foundations. ii. One (1) 230 kV group operated disconnect switch with grounding attachment. iii. Four (4) sets of 223 kV disconnect switches, steel support structures, and foundations. b. Protection Relays: Two local breaker failure backup relays, General Electric ("GE") C60 or equivalent successor. | CET-ET-TP-RN-828500 | 903099017 | High | 2026-10-16 | 121.8552 | 2540 | 898 | 3559.8552 | 121.8552 | 2540 | 898 | 3559.8552
08448 | Laguna Bell Sub 1.Replace existing 220kV CB 21 with new 220kV CB, 4000A, 63kA, with new foundation 2.Replace existing 220kV CB 22 with new 220kV CB, 4000A, 63kA, with new foundation 3.Replace existing two (2) 230kV group operated DS, horizontal, center | CET-ET-TP-RL-844800 | 903728254 | High | 2025-01-17 | 0 | 38.085 | 0 | 38.085 | 0 | 38.085 | 0 | 38.085
08448 | Reconductor approximately 5 miles of existing Laguna Bell - Mesa No.1 230 kV Line with ACCC conductor. | CET-ET-TP-RL-844801 | 903728255 | High | 2025-03-24 | 0 | 128.775 | 0 | 128.775 | 0 | 128.775 | 0 | 128.775
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 2 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795047 | High | 2024-06-23 | 10.21 | 0 | 0 | 10.21 | 10.21 | 0 | 0 | 10.21
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 3 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795050 | High | 2024-06-23 | 382.2446 | 0 | 0 | 382.2446 | 382.2446 | 0 | 0 | 382.2446
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 4 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795052 | High | 2024-06-23 | 41.9507 | 0 | 0 | 41.9507 | 41.9507 | 0 | 0 | 41.9507
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 5 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795054 | High | 2024-06-23 | 16.5864 | 0 | 0 | 16.5864 | 16.5864 | 0 | 0 | 16.5864
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 6 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795055 | High | 2024-06-23 | 8.1735 | 0 | 0 | 8.1735 | 8.1735 | 0 | 0 | 8.1735
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 8 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795373 | High | 2024-06-23 | 23.0372 | 0 | 0 | 23.0372 | 23.0372 | 0 | 0 | 23.0372
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 7 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795403 | High | 2024-06-23 | 436.3391 | 0 | 0 | 436.3391 | 436.3391 | 0 | 0 | 436.3391
08448 | Laguna Bell-Velasco 220kv NEW Getaway TS | CET-ET-TP-RL-844801 | 904312243 | High | 2026-06-01 | 36.698 | 629.975 | 0 | 666.673 | 36.698 | 629.975 | 0 | 666.673
08448 | La Fresa-Laguna Bell 220kv NEW Getaway T | CET-ET-TP-RL-844801 | 904312244 | High | 2026-06-01 | 91.0828 | 166.686 | 0 | 257.7688 | 91.0828 | 166.686 | 0 | 257.7688
08448 | Del Amo-Laguna Bell 220kv NEW Getaway TS | CET-ET-TP-RL-844801 | 904312245 | High | 2026-06-01 | 164.3768 | 180.321 | 0 | 344.6978 | 164.3768 | 180.321 | 0 | 344.6978
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312246 | High | 2024-05-22 | 464.6868 | 0 | 0 | 464.6868 | 464.6868 | 0 | 0 | 464.6868
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312248 | High | 2024-10-31 | 16.3957 | 73.103 | 0 | 89.4986 | 16.3957 | 73.103 | 0 | 89.4986
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312249 | High | 2025-02-07 | 4.7838 | 2188.249 | 0 | 2193.0328 | 4.7838 | 2188.249 | 0 | 2193.0328
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312251 | High | 2024-11-15 | 3.5364 | 175.73 | 0 | 179.2664 | 3.5364 | 175.73 | 0 | 179.2664
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312252 | High | 2025-03-28 | 3.578 | 2495.747 | 0 | 2499.325 | 3.578 | 2495.747 | 0 | 2499.325
08448 | Laguna Bell-Mesa No. 1 Reconductor - Sec | CET-ET-TP-RL-844801 | 904312253 | High | 2024-11-15 | 4.3668 | 186.63 | 0 | 190.9968 | 4.3668 | 186.63 | 0 | 190.9968
08448 | Laguna Bell-Mesa No. 1 Reconductor Contingency | CET-ET-TP-RL-844800 | 8448-Cont | High | 2026-06-01 | 0 | 0 | 3366.036 | 3366.036 | 0 | 0 | 3366.036 | 3366.036
08448 | Laguna Bell-Mesa No. 1 Reconductor Known Risk | CET-ET-TP-RL-844800 | 8448-Risk | High | 2026-06-01 | 0 | 0 | 1769.881 | 1769.881 | 0 | 0 | 1769.881 | 1769.881
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 9 M0T2 to M0T1 | CET-ET-TP-RL-844801 | 904312254 | High | 2024-10-22 | 3.4936 | 65.925 | 0 | 69.4186 | 3.4936 | 65.925 | 0 | 69.4186
8448 | Total Laguna Bell-Mesa No. 1 230 kV Line Rating Increase Project |  |  |  |  | 1711.5402 | 6329.226 | 5135.917 | 13176.6832 | 1711.5402 | 6329.226 | 5135.917 | 13176.6832
08270 | Whirlwind Substation: - Perform relay coordination study. - Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility [Tehachapi CRAS] - Install two (2) GE N60 logic processing relays | CET-ET-CR-WC-827000 | 902924856 | High | 2025-06-06 | 994.1736 | 0 | 0 | 994.1736 | 994.1736 | 0 | 0 | 994.1736
08426 | Eldorado Substation (NU) IRNU 1. Conduct relay coordination study 2. Review As-Built drawings Eldorado Substation-(NU) 1. Install two GE N60 logic processing relays or equivalent 2. Modity the existing program to support new relays Eldorado Substation | CET-ET-CR-WC-842600 | 903606178 | High | 2027-07-28 | 29.0818 | 25.5 | 50 | 104.5818 | 29.0818 | 25.5 | 50 | 104.5818
08474 | Antelope Sub: Replace all 41 66 kV Circuit Breakers from 40 kA to 50 kA.Perform Ground Grid Study.Replace 101 66 kV disconnect switches & 45 66 kV PTs.Remove 15 steel lattice structures .Install 15 dead-end structures..Relay that needs to be reset.At Ante | CET-ET-TP-RN-847401 | 903773209 | Low | 2026-12-24 | 15582.5238 | 1700.216 | 766.198 | 18048.9378 | 15582.5238 | 1700.216 | 766.198 | 18048.9378
08576 | Antelope - Whirlwind - Raise approximately 9 towers in order to fix ground clearance and increase line rating to 3421/3880 MVA | CET-ET-TP-RN-857600 | 904186957 | High | 2026-03-10 | 2486.6571 | 572.784 | 0 | 3059.4411 | 2486.6571 | 572.784 | 0 | 3059.4411
08411 | 2. Whirlwind AA Bank CRAS a. Whirlwind Substation Utilize two (2) GE N60 logic processing relays or equivalent successor, identified under Section 2.(b)(i)3.a of this Appendix A, to send tripping signals to the Large Generating Facility. b. Telecommunica | CET-ET-TP-RN-841101 | 903567160 | High | 2026-07-13 | 104.8172 | 0 | 0 | 104.8172 | 104.8172 | 0 | 0 | 104.8172
08411 | 3. Tehachapi CRAS a. Whirlwind Substation Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. b. Telecommunication Install channel banks and associated equipment at Whirlwind S | CET-ET-TP-RN-841100 | 903566458 | High | 2026-07-09 | 14.4513 | 0 | 0 | 14.4513 | 14.4513 | 0 | 0 | 14.4513
08411 | Total Cyclone Solar Project |  |  |  |  | 119.2685 | 0 | 0 | 119.2685 | 119.2685 | 0 | 0 | 119.2685
08418 | Laguna Bell Substation Interconnection Reliability Network Upgrades | CET-ET-TP-RN-841802 | 903627525 | High | 2026-06-26 | 1562.3676 | 45 | 456 | 2063.3676 | 1562.3676 | 45 | 456 | 2063.3676
08418 | Rio Hondo Substation General Reliability Network Upgrades: Conduct ground grid study | CET-ET-TP-RN-841801 | 903627524 | High | 2026-10-23 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10
08418 | Lewis Substation General Reliability Network Upgrades: Conduct ground grid study | CET-ET-TP-RN-841800 | 903627521 | High | 2025-10-17 | 0 | 32.857 | 0 | 32.857 | 0 | 32.857 | 0 | 32.857
08418 | Total Commerce Energy Storage Project |  |  |  |  | 1562.3676 | 87.857 | 456 | 2106.2246 | 1562.3676 | 87.857 | 456 | 2106.2246
08342 | Windhub Substation Transmission Substation (IRNU) -Install two (2) 500 kV line position. -Install Four (4) 500 kV circuit breakers. -Install Twenty-four (24) 500 kV disconnect switches. -Install protection relays. | CET-ET-CR-WC-834205 | 903654150 | High | 2026-08-10 | 8303.2106 | 2003.793 | 2568.558 | 12875.5616 | 8303.2106 | 2003.793 | 2568.558 | 12875.5616
08342 | Windhub Substation Transmission Substation (GRNU) Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages -Install two (2) ethernet switches -Install one (1) satellite clock -Perform cen | CET-ET-CR-WC-834204 | 903654149 | High | 2026-09-22 | 2414.5283 | 110.94 | 150.282 | 2675.7503 | 2056.2123 | 94.4765 | 127.9802 | 2278.6689
08342 | Whirlwind Sub- Perform centralized RAS programming and testing to the new centralized RAS relays -Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Whirlwind Substation | CET-ET-CR-WC-834203 | 903654148 | High | 2026-06-03 | 16.6672 | 27.067 | 107.286 | 151.0202 | 16.6672 | 27.067 | 107.286 | 151.0202
08342 | Vincent Substation Transmission Substation (GRNU) -Install six (6) GE N60 logic processing relays or equivalent successor to send tripping signals to the Generating Facility. -Perform centralized RAS programming and testing to the new centralized RAS rel | CET-ET-CR-WC-834202 | 903654147 | High | 2026-10-02 | 356.8501 | 167.01 | 77.15 | 601.0101 | 356.8501 | 167.01 | 77.15 | 601.0101
08342 | Midway Substation Transmission Substation (GRNU) -Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages -Install two (2) ethernet switches -Install one (1) satellite clock -Perform cen | CET-ET-CR-WC-834201 | 903654146 | High | 2026-08-21 | 2.4688 | 135.606 | 306.012 | 444.0868 | 2.4688 | 135.606 | 306.012 | 444.0868
08342 | Total Sanborn Hybrid 3 |  |  |  |  | 11093.7249 | 2444.416 | 3209.288 | 16747.4289 | 10735.4089 | 2427.9525 | 3186.9862 | 16350.3475
08357 | Pardee Substation Interconnection-(RNU): 1. a. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. b. Perform centralized RAS programming and testing to the new centralized RAS relays | CET-ET-CR-WC-835706 | 903503019 | High | 2023-10-18 | 29.4922 | 0 | 0 | 29.4922 | 29.4922 | 0 | 0 | 29.4922
08357 | Pardee Substation Interconnection-(RNU): 1. a. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. b. Perform centralized RAS programming and testing to the new centralized RAS relays | CET-ET-CR-WC-835710 | 903503025 | High | 2025-05-14 | 3.4137 | 0 | 0 | 3.4137 | 3.4137 | 0 | 0 | 3.4137
08357 | Total Pardee Substation Interconnection-(RNU) |  |  |  |  | 32.9059 | 0 | 0 | 32.9059 | 32.9059 | 0 | 0 | 32.9059
08473 | DEVERS 220 KV/115 KV | CET-ET-TP-RL-847301 | 903870439 | High | 2026-06-01 | 2440.7167 | 2020.095 | 0 | 4460.8117 | 2440.7167 | 2020.095 | 0 | 4460.8117
08473 | DEVERS 220 KV: 220KV | CET-ET-TP-RL-847302 | 903870440 | High | 2027-05-20 | 216.0856 | 1282.977 | 3191.17 | 4690.2326 | 216.0856 | 1282.977 | 3191.17 | 4690.2326
08473 | DEVERS-VISTA NO. 2 2 | CET-ET-TP-RL-847303 | 904872726 | High | 2027-04-07 | 39.3788 | 263.472 | 0 | 302.8508 | 39.3788 | 263.472 | 0 | 302.8508
08473 | Total Devers 230 kV Bus Configuration Upgrade |  |  |  |  | 2696.1811 | 3566.544 | 3191.17 | 9453.8951 | 2696.1811 | 3566.544 | 3191.17 | 9453.8951
08038 | Ellis Ph2 RLA SCE:Re | CET-ET-CR-WS-803800 | 902179842 | High | 2019-01-09 | 0 | 20 | 70 | 90 | 0 | 5 | 17.5 | 22.5
08556 | ELDORADO SUBSTATION | CET-ET-TP-RN-855600 | 904215732 | High | 2027-04-12 | 10.715 | 30 | 290 | 330.7149 | 10.715 | 30 | 290 | 330.7149
08555 | ELDORADO SUBSTATION | CET-ET-TP-RN-855500 | 904215733 | High | 2027-04-12 | 5.3398 | 20 | 50 | 75.3398 | 5.3398 | 20 | 50 | 75.3398
08599 | New Inyo 230 kV Shunt Reactor | CET-ET-TP-RL-859900 | 904188170 | High | 2026-12-02 | 1483.6892 | 2571.972 | 0 | 4055.6612 | 1483.6892 | 2571.972 | 0 | 4055.6612
08519 | Barre-Del Amo: Relocate Barrre-Del Amo from position 4 to position 5N: Install one rack span. | CET-ET-TP-RL-851903 | 904860856 | High | 2027-08-05 | 0 | 182.309 | 152.691 | 335 | 0 | 182.309 | 152.691 | 335
08519 | Barre-Ellis: Relocate Barre-Ellis No3 from position 1 to position 6S: Install two double circuit LSTs, one double circuit TSP, and two single circuit TSPs and eight spans. (spend split between Barre-Ellis No3 and No4 relocations). | CET-ET-TP-RL-851904 | 904860857 | High | 2027-08-05 | 0.69444 | 558.958 | 4700.347 | 5259.9994 | 0.69444 | 558.958 | 4700.347 | 5259.9994
08519 | Barre-Ellis: Relocate Barre-Ellis No4 from position 8 to position 5S: Install two double circuit LSTs, one double circuit TSP, and two single circuit TSPs and eight spans. (spend split between Barre-Ellis No3 and No4 relocations). | CET-ET-TP-RL-851905 | 904860858 | High | 2027-08-05 | 0.16058 | 557.419 | 649.42 | 1206.9996 | 0.16058 | 557.419 | 649.42 | 1206.9996
08519 | Barre-Lewis: Relocate Barre-Lewis from position 6 to position 7S: Install new spans. | CET-ET-TP-RL-851906 | 904861019 | High | 2027-08-05 | 0 | 264.101 | 101 | 365.101 | 0 | 264.101 | 101 | 365.101
08519 | Barre-Villa Park: Relocate Barre-Villa Park from position 7 to position 10S: Install new spans. | CET-ET-TP-RL-851907 | 904861020 | High | 2027-08-05 | 0 | 240 | 240 | 480 | 0 | 240 | 240 | 480
08519 | Total Barre 230 kV Switchrack Conversion to Breaker-And-A-Half Project |  |  |  |  | 0.85502 | 1802.787 | 5843.458 | 7647.1 | 0.85502 | 1802.787 | 5843.458 | 7647.1
8277 | Whirlwind Substation – - Perform one (1) local relay coordination study - a. Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. b. Power System Controls. i. Perform centraliz | CET-ET-CR-WC-827700 | 903033063 | High | 2026-01-21 | 120.9849 | 0 | 62 | 182.9849 | 120.9849 | 0 | 62 | 182.9849
8319 | WHIRLWIND SUBSTATION | CET-ET-CR-WC-831900 | 903197596 | High | 2026-02-23 | 2566.3749 | 0 | 0 | 2566.3749 | 2566.3749 | 0 | 0 | 2566.3749
8320 | VESTAL-INSTALL FACIL | CET-ET-CR-WC-832000 | 903173302 | High | 2024-06-28 | 0 | 4.155 | 0 | 4.155 | 0 | 2.4097 | 0 | 2.4097
8320 | PARDEE - PASTORIA - | CET-ET-CR-WC-832005 | 903226976 | High | 2025-10-15 | 0 | 29.793 | 0 | 29.793 | 0 | 29.793 | 0 | 29.793
8528 | Kramer Substation (GRNU): One Time Cost Mojave Desert RAS - Tripping Infrastructure Note: Analytic associated with the Mojave Desert RAS to be incorporated by the initial sync date which is scheduled for March of 2025. The analytic associated with the NO | CET-ET-TP-RN-852800 | 904089124 | High | 2027-07-15 | 16.9718 | 261.858 | 20 | 298.8298 | 16.9718 | 261.858 | 20 | 298.8298
8541 | Colorado River Substation (GRNU).- Conduct a relay coordination study.- Add points to the RTU at Colorado River Substation | CET-ET-TP-RN-854101 | 904146701 | High | 2025-01-30 | 0 | 34.257 | 0 | 34.257 | 0 | 34.257 | 0 | 34.257
8541 | Power System Controls. (GRNU). a.Perform CRAS programming and testing to the new CRAS relays at Colorado River Substation.. b.Add points to the RTUs at Colorado River Substation and Cielo Azul Switchyard or Interconnecting PTO’s series capacitor st | CET-ET-CR-WC-854104 | 904146707 | High | 2026-07-17 | 0 | 7 | 30.167 | 37.167 | 0 | 7 | 30.167 | 37.167
8541 | Colorado River Substation (IRNU)."As-Built" drawings Review .Review “As-Built” drawings, information, and documents, as applicable for the Interconnection Customer’s Interconnection Facilities and Generating Facility submitted by the Interconnection Custo | CET-ET-TP-RN-854102 | 904146703 | High | 2025-01-30 | 0 | 4.179 | 0 | 4.179 | 0 | 4.179 | 0 | 4.179
8541 | Total Centennial Flats (TOT899/Q1529) |  |  |  |  | 0 | 45.436 | 30.167 | 75.603 | 0 | 45.436 | 30.167 | 75.603
8546 | Colorado River Substation - (IRNU Dedicated) a. Install one (1) 220 kV line position which includes the following equipment: i. Two (2) 220 kV circuit breakers. ii. One (1) 220 kV group operated disconnect switch with grounding attachment. iii. Three (3) | CET-ET-CR-WC-854604 | 904410099 | High | 2026-12-18 | 16.1379 | 1135.975 | 1269.641 | 2421.7539 | 16.1379 | 1135.975 | 1269.641 | 2421.7539
8546 | Environmental Activities, Permits, and Licensing. - (IRNU Dedicated) 1. Perform the required environmental activities and obtain the required licensing and permits for the installation of the Dedicated Interconnection Reliability Network Upgrades. | CET-ET-TP-RN-854601 | 1210881 | High | 2026-12-18 | 0 | 6.49 | 9.871 | 16.361 | 0 | 6.49 | 9.871 | 16.361
8546 | Total Gracesol Substation: Colorado River Substation-(IRNU-Shared) - TOT1006 (Q1761) Grace Energy Center |  |  |  |  | 16.1379 | 1142.465 | 1279.512 | 2438.1149 | 16.1379 | 1142.465 | 1279.512 | 2438.1149
8547 | COLORADO RIVER SUBST | CET-ET-CR-WC-854705 | 904409771 | High | 2027-08-23 | 15.9856 | 1423.34 | 1211.418 | 2650.7436 | 15.9856 | 1423.34 | 1211.418 | 2650.7436
8547 | COLORADO RIVER SUBST | CET-ET-CR-WC-854706 | 904409772 | High | 2027-08-23 | 19.2253 | 1084.78 | 1284.159 | 2388.1643 | 19.2253 | 1084.78 | 1284.159 | 2388.1643
8547 | Note: Shared cost split between TOT1006 Grace Energy Project (50%) & TOT1013 Cobalt Project(50%). Environmental Activities, Permits, and Licensing - (IRNU Shared) Perform and/or coordinate the required environmental activities and obtain required licensi | CET-ET-TP-RN-854701 | 1373717 | High | 2027-08-23 | 0 | 7.232 | 20.705 | 27.937 | 0 | 7.232 | 20.705 | 27.937
8547 | Environmental Activities, Permits, and Licensing - (IRNU Sole) Perform and/or coordinate the required environmental activities and obtain required licensing and permits for the installation of the Interconnection Reliability Network Upgrades, if applicabl | CET-ET-TP-RN-854702 | 1373712 | High | 2027-08-23 | 0 | 7.232 | 9.468 | 16.7 | 0 | 0 | 0 | 0
8547 | Total Bolt Substation: Colorado River Substation-(IRNU-Shared) - TOT1013 (Q1757) Cobalt Project |  |  |  |  | 35.2109 | 2522.584 | 2525.75 | 5083.5449 | 35.2109 | 2515.352 | 2516.282 | 5066.8449
9228 | Antelope Substation: i. Install one (1) 220 kV line position which includes the following equipment: 1.Two (2) 220 kV circuit breakers. 2.One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disconn | CET-ET-CR-WC-922800 | 905088087 | High | 2027-07-23 | 0 | 10 | 10 | 20 | 0 | 10 | 10 | 20
8483 | Lugo Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission lines outages. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. 3. Install two (2) eth | CET-ET-CR-WC-848300 | 903803606 | High | 2027-11-24 | 8.9455 | 785.971 | 675 | 1469.9165 | 8.9455 | 785.971 | 675 | 1469.9165
8483 | Mesa Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission lines outages. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. 3. Install two (2) eth | CET-ET-CR-WC-848302 | 903902739 | High | 2027-11-24 | 288.1474 | 539.969 | 675 | 1503.1164 | 288.1474 | 539.969 | 675 | 1503.1164
8483 | Vincent Substation Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission lines outages. 2. Perform centralized RAS programming and testing to the new centralized RAS relays | CET-ET-CR-WC-848306 | 903902743 | High | 2027-11-24 | 122.8568 | 665.983 | 675 | 1463.8398 | 122.8568 | 665.983 | 675 | 1463.8398
8483 | Total TOT983 - Keyhole Wind |  |  |  |  | 419.9497 | 1991.923 | 2025 | 4436.8727 | 419.9497 | 1991.923 | 2025 | 4436.8727
8394 | Vincent Substation. i. Install one (1) 220 kV line position which includes the following equipment: 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disc | CET-ET-CR-WC-839401 | 903516981 | High | 2027-10-20 | 3918.4927 | 449.639 | 618.717 | 4986.8487 | 3918.4927 | 449.639 | 618.717 | 4986.8487
8434 | Vincent Substation. Install one (1) 500 kV line position which includes the following equipment: i. Four (4) 500 kV circuit breakers. ii. Three (3) 500 kV group operated disconnect switch with grounding attachment. iii. Nine (9) 500 kV group operated disc | CET-ET-CR-WC-843401 | 903659196 | High | 2027-07-29 | 2895.0734 | 692.065 | 1412.76 | 4999.8984 | 2895.0734 | 692.065 | 1412.76 | 4999.8984
8523 | Pardee 220 kV SCD Mitigation (GRNU): Remove and install appropriate structures/spans to de-loop the two (2) transmission lines and create the Pastoria-Warne-Santa Clara 220kV line. The Phase II study assumed removing two (2) 220kV spans of conductor and i | CET-ET-CR-WC-852301 | 904046552 | High | 2026-12-24 | 1.3098 | 7.38 | 0 | 8.6898 | 1.3098 | 7.38 | 0 | 8.6898
8523 | Pastoria Substation (GRNU): -Perform one (1) relay coordination study and adjust relay settings. -Add point additions | CET-ET-CR-WC-852301 | 904046652 | High | 2026-06-03 | 0 | 4.444 | 0 | 4.444 | 0 | 4.444 | 0 | 4.444
8523 | Santa Clara Substation (GRNU): -Perform one (1) relay coordination study and adjust relay settings. -Add point additions | CET-ET-TP-RN-852302 | 904046653 | High | 2026-06-03 | 0 | 4.444 | 0 | 4.444 | 0 | 4.444 | 0 | 4.444
8523 | Warne Substation (GRNU): -Perform one (1) relay coordination study and adjust relay settings. -Add point additions | CET-ET-TP-RN-852303 | 904046654 | High | 2026-06-03 | 0 | 4.443 | 0 | 4.443 | 0 | 4.443 | 0 | 4.443
8523 | Total TOT996/Q1766/QC14 - Laguna Bell 220/66 (S) - Interconnection Facilities for Commerce Energy Storage 2 |  |  |  |  | 1.3098 | 20.711 | 0 | 22.0208 | 1.3098 | 20.711 | 0 | 22.0208
8029 | Lugo Substation: Replace (3) 500kV CBs (CB#762, 862, 962), (6) 500kV disconnects (#761, 763, 861, 863, 961, 963), terminal equipment and line drop at position 6, conductor on CB #862, legs on CB #762, 862, & 962, and 500kV wavetrap. This will increase rat | CET-ET-TP-RL-802900 | 902148910 | High | 2027-06-30 | 3179.8071 | 903 | 6014.927 | 10097.7341 | 3179.8071 | 903 | 6014.927 | 10097.7341
8029 | Lugo-Victorville 500kV Transmission Line (SCE-owned): Fix the appropriate number of spans to achieve 3950 amps normal and 4500 amps emergency on this transmission line. | CET-ET-TP-RL-802901 | 902148911 | High | 2019-03-15 | 0 | 880 | 0 | 880 | 0 | 880 | 0 | 880
8523 | Pardee 220 kV SCD Mitigation (GRNU-Pardee Substation): - Remove the following equipment associated to the Pardee-Santa Clara and Pastoria-Warne-Pardee 220kV lines. -Three (3) 220kV circuit breakers, foundations, conductor and pullboxes. -Two (2) sets of l | CET-ET-TP-RN-852300 | 903995456 | High | 2026-07-09 | 0 | 36.328 | 0 | 36.328 | 0 | 36.328 | 0 | 36.328
8525 | i. Install one (1) 220 kV line position which includes the following equipment: 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disconnect switches. ii. I | CET-ET-TP-RN-852500 | 904049651 | High | 2027-01-27 | 773.684 | 2215.675 | 169.51 | 3158.869 | 773.684 | 2215.675 | 169.51 | 3158.869
8616 | Mesa-Mira Loma 500 kV - Install a third 5000 kcmil underground cable on the underground section of the existing Mira Loma-Mesa 500 kV circuit in existing spare duct between East and West Transition Stations..- At East and West Transition Stations, install | CET-ET-TP-RN-861600 | 904236874 | High | 2026-11-16 | 472.7459 | 40000 | 15625.312 | 56098.0579 | 472.7459 | 40000 | 15625.312 | 56098.0579
8616 | East Transition Station: Install line drops, bushings, instrument transformers (CT, VT), and terminating equipment as required to terminate new cable segment on 500 kV bus. | CET-ET-TP-RN-861603 | 904587912 | High | 2026-12-31 | 0 | 32.269 | 0 | 32.269 | 0 | 32.269 | 0 | 32.269
8616 | West Transition Station: Install line drops, bushings, instrument transformers (CT, VT), and terminating equipment as required to terminate new cable segment on 500 kV bus. . | CET-ET-TP-RN-861604 | 904587913 | High | 2026-12-31 | 0 | 32.269 | 0 | 32.269 | 0 | 32.269 | 0 | 32.269
8616 | Mesa - Mira Loma 500 kV UG Third Cable Contingency | CET-ET-TP-RN-861600 | 8616-Cont | High | 2026-12-31 | 0 | 0 | 9112.794 | 9112.794 | 0 | 0 | 9112.794 | 9112.794
8616 | Mesa - Mira Loma 500 kV UG Third Cable Known Risk | CET-ET-TP-RN-861600 | 8616-Risk | High | 2026-12-31 | 0 | 0 | 4728.711 | 4728.711 | 0 | 0 | 4728.711 | 4728.711
8616 | Total Mesa - Mira Loma 500 kV UG Third Cable |  |  |  |  | 472.7459 | 40064.538 | 29466.817 | 70004.1009 | 472.7459 | 40064.538 | 29466.817 | 70004.1009
8617 | Etiwanda-Vista 230 kV Line Upgrade - Raise 16 structures to eliminate current-limiting ground clearance issues to attain full conductor rating of 988/1331 MVA (2480/3340 Amps) | CET-ET-TP-RN-861700 | 904238942 | High | 2024-09-04 | 0 | 0 | 453 | 453 | 0 | 0 | 453 | 453
8617 | ETIWANDA-VISTA LINE | CET-ET-TP-RN-861700 | 904484617 | High | 2027-01-29 | 103.7161 | 510 | 39959 | 40572.7161 | 103.7161 | 510 | 39959 | 40572.7161
8617 | Total Etiwanda-Vista 230 kV Line Upgrade |  |  |  |  | 103.7161 | 510 | 40412 | 41025.7161 | 103.7161 | 510 | 40412 | 41025.7161
8631 | FIP REMOVAL WO: LUGO | CET-ET-TP-RN-863104 | 904726270 | High | 2027-04-27 | 0 | 1041 | 874 | 1915 | 0 | 1041 | 874 | 1915
8631 | FIP REMOVAL WO: LUGO | CET-ET-TP-RN-863105 | 904726272 | High | 2027-09-17 | 0 | 20 | 1590 | 1610 | 0 | 20 | 1590 | 1610
8631 | FIP REMOVAL WO: LUGO | CET-ET-TP-RN-863106 | 904726273 | High | 2027-12-20 | 0 | 20 | 1816 | 1836 | 0 | 20 | 1816 | 1836
8631 | FIP REMOVAL WO: LUGO | CET-ET-TP-RN-863107 | 904726274 | High | 2027-12-20 | 0 | 20 | 1590 | 1610 | 0 | 20 | 1590 | 1610
8631 | Total Lugo-Victor 230 kV Line Reconductor |  |  |  |  | 0 | 1101 | 5870 | 6971 | 0 | 1101 | 5870 | 6971
8326 | MOHAVE-EXPAND SWITCH | CET-ET-CR-WC-832603 | 903203521 | High | 2027-07-15 | 3043.2318 | 870 | 1382.966 | 5296.1978 | 3043.2318 | 870 | 1382.966 | 5296.1978
8380 | Mojave Desert RAS – tripping infrastructure (GRNU) a. Kramer Substation. i. Install two (2) G.E. N60 logic processing relays or equivalent successor to monitor and send tripping signals to the Large Generating Facility; and ii. Reconnect and test two (2) | CET-ET-TP-RN-838000 | 903505985 | High | 2026-05-01 | 107.678 | 89.993 | 130 | 327.671 | 107.678 | 89.993 | 130 | 327.671
8380 | Kramer Substation (RNU)- Perform one local relay coordination study and re-set/test protection relays to account for the additional interconnection facilities for the interconnection of the Large Generating Facility. | CET-ET-TP-RN-838002 | 903505987 | High | 2026-05-01 | 4.9248 | 0.63 | 26.404 | 31.9588 | 4.9248 | 0.63 | 26.404 | 31.9588
8380 | Total TOT904/Q1604 - Aratina Solar Center 2 Project |  |  |  |  | 112.6028 | 90.623 | 156.404 | 359.6298 | 112.6028 | 90.623 | 156.404 | 359.6298
8456 | Sylmar.CRAS - Sylmar Sub (RNU).i.Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Sylmar Substation..ii.Perform centralized RAS programming and testing to the new centralized RAS rel | CET-ET-TP-RN-845605 | 903743080 | High | 2026-08-24 | 1.0404 | 0 | 380 | 381.0404 | 1.0404 | 0 | 380 | 381.0404
8457 | Red Bluff Substation (RNU).i.Install one (1) 500 kV line position which includes the following equipment:. 1.Two (2) 500 kV circuit breaker units. Each unit comprises of three (3) single-phase circuit breakers.. 2.Twelve (12) 1-phase 500 kV disconne | CET-ET-CR-WC-845703 | 903803894 | High | 2027-10-11 | 45.0284 | 47.868 | 179.124 | 272.0204 | 45.0284 | 47.868 | 179.124 | 272.0204
8498 | Eldorado Sub (IRNU) 1. Install one 220 kV line position -Two (2) 220 kV CBs. -One (1) 220 kV group operated disconnect switch with grounding attachment. -Three (3) 220 kV group operated disconnect switches. 2. Install protection relays: One LBFB per C | CET-ET-CR-WC-849803 | 903921975 | High | 2027-04-27 | 587.5845 | 1438 | 411 | 2436.5845 | 587.5845 | 1438 | 411 | 2436.5845
8506 | Victor Lugo No. 3 and No. 4 220 kV T/L- .Install a new double circuit 220 kV structure and two spans of double circuit conductor. The line should be rated for 1710/2310 Amps (Normal/Emergency) and designed to allow undercrossing of Gen-ties. | CET-ET-TP-RL-850600 | 904815293 | High | 2027-04-23 | 0 | 50 | 3950 | 4000 | 0 | 50 | 3950 | 4000
8563 | Lugo Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission lines outages. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. 3. Install two (2) ethernet | CET-ET-TP-RN-856300 | 904196793 | High | 2027-02-01 | 0.38295 | 419.166 | 480.737 | 900.2859 | 0.38295 | 419.166 | 480.737 | 900.2859
8563 | Windhub Substation - Environmental Activities, Permits, and Licensing. Perform and/or coordinate the required environmental activities and obtain required licensing and permits for the installation of the Interconnection Reliability Network Upgrades, if a | CET-ET-TP-RN-856302 | 1375447 | High | 2027-01-02 | 0 | 20.912 | 0 | 20.912 | 0 | 20.912 | 0 | 20.912
8563 | Windhub Substation - IRNU i. Install one (1) 220 kV line position which includes the following equipment: 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated | CET-ET-TP-RN-856303 | 904196795 | High | 2027-02-01 | 403.8752 | 1496.512 | 1557.527 | 3457.9142 | 403.8752 | 1496.512 | 1557.527 | 3457.9142
8563 | Vincent Substation. 1. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission lines outages. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. iv. Telecommunication. | CET-ET-TP-RN-856303 | 904196796 | High | 2027-02-01 | 0 | 838.72 | 841.095 | 1679.815 | 0 | 838.72 | 841.095 | 1679.815
8563 | Total Windhub 220 kV - TOT985 - Q1791 - Sanborn 5 Hybrid |  |  |  |  | 404.2581 | 2775.31 | 2879.359 | 6058.9271 | 404.2581 | 2775.31 | 2879.359 | 6058.9271
8577 | Tortilla - Remove 115kV bank on bus configuration with (2) 115kV transformer positions along with associated switching and protection equipment. | CET-ET-LG-SU-857700 | 904186958 | Low | 2026-03-23 | 4287.1036 | 1303.172 | 0 | 5590.2756 | 4287.1036 | 1303.172 | 0 | 5590.2756
8600 | LUGO SUBSTATION: REM | CET-ET-TP-RL-860001 | 904919281 | High | 2027-07-23 | 0 | 6 | 45.556 | 51.556 | 0 | 6 | 45.556 | 51.556
8615 | San Bernardino-Vista: Reconductor approximately 5 miles of transmission line using 2-bundled 1590 ACSR conductor or equivalent conductor such as ACCC Fort Worth or equivalent with sufficient ground clearance to achieve a minimum rating of 3230/4360 Amps ( | CET-ET-TP-RN-861500 | 904413478 | High | 2027-04-30 | 89.8989 | 141 | 1500 | 1730.8989 | 89.8989 | 141 | 1500 | 1730.8989
8664 | RIO HONDO SUBSTATION | CET-ET-CR-WC-866401 | 904425203 | High | 2026-12-01 | 1004.8786 | 325 | 375 | 1704.8786 | 1004.8786 | 325 | 375 | 1704.8786
8672 | Walnut Substation (IRNU).1) Install one (1) 220 kV line position which includes the following equipment: ..a. Two (2) 220 kV circuit breakers..b. One (1) 220 kV group operated disconnect switch with grounding attachment..c. Three (3) 220 kV group operated | CET-ET-TP-RN-867200 | 904442159 | High | 2026-12-01 | 635.1266 | 2981.385 | 1000 | 4616.5116 | 635.1266 | 2981.385 | 1000 | 4616.5116
8673 | WHIRLWIND SUBSTATION | CET-ET-CR-WC-867301 | 904425207 | High | 2027-10-21 | 129.1006 | 496.989 | 458.2 | 1084.2896 | 129.1006 | 496.989 | 458.2 | 1084.2896
8926 | Calcite Substation:.- Install two (2) GE N60 logic processing relays or equivalent successors for line monitoring. .- Perform centralized RAS programming and testing to the new CRAS relays. | CET-ET-GA-CR-892600 | 904858046 | High | 2027-07-21 | 0 | 47.452 | 106.599 | 154.051 | 0 | 47.452 | 106.599 | 154.051
8926 | Lugo Substation:.- Install two (2) GE N60 logic processing relays or equivalent successors for line monitoring. | CET-ET-GA-CR-892601 | 904858047 | High | 2027-07-20 | 0 | 1234.645 | 2773.586 | 4008.231 | 0 | 1234.645 | 2773.586 | 4008.231
8926 | Pisgah Substation:.- Install two (2) GE N60 logic processing relays or equivalent successors for line monitoring. .- Install new junior MEER. . | CET-ET-GA-CR-892602 | 904858048 | High | 2027-07-20 | 0 | 47.601 | 106.933 | 154.534 | 0 | 47.601 | 106.933 | 154.534
8926 | Total Calcite CRAS - Monitoring Infrastructure |  |  |  |  | 0 | 1329.698 | 2987.118 | 4316.816 | 0 | 1329.698 | 2987.118 | 4316.816
| Total Transmission Project Reliability |  |  |  |  | 68467.5747 | 90374.732 | 130109.771 | 288952.0777 | 68109.2587 | 90311.6112 | 129709.5712 | 288130.4411
Infrastructure Replacement
03138 | Sylmar Convertor Station: Misc Cap | CET-OT-OT-ME-313800 |  | High | Blanket Specifics | 0 | 4836.972 | 4338.96 | 9175.932 | 0 | 4836.972 | 4338.96 | 9175.932
04651 | Palo Verde Switchrack: Misc Cap | CET-OT-OT-ME-465100 |  | High | Blanket Specifics | 0 | 6056.458 | 328.6906 | 6385.1486 | 0 | 6056.458 | 328.6906 | 6385.1486
| Total LADWP/Palo Verde - WORK PERFORMED BY OPERATING AGENT |  |  |  |  | 0 | 10893.43 | 4667.6506 | 15561.0806 | 0 | 10893.43 | 4667.6506 | 15561.0806
04211 | Replace Bulk Power Circuit Breakers (220kV and Above) | CET-ET-IR-CB-421100 |  | High | Blanket Specifics | 0 | 555.195 | 932 | 1487.195 | 0 | 555.195 | 932 | 1487.195
04756 | Substation Miscellaneous Equipment Additions & Betterment | CET-ET-IR-ME-475600 |  | High | Blanket Specifics | 0 | 2429.7232 | 9122.6335 | 11552.3566 | 0 | 2429.7232 | 9122.6335 | 11552.3566
04837 | Replace SAS Infrastructure (FERC) | CET-ET-IR-RP-483701 |  | High | Blanket Specifics | 0 | 2576.0739 | 3433.74 | 6009.8139 | 0 | 2576.0739 | 3433.74 | 6009.8139
05089 | Bulk Power 500kV & 220kV Line Relay Replacement | CET-ET-IR-RP-508900 |  | High | Blanket Specifics | 0 | 1252.138 | 1323.688 | 2575.826 | 0 | 1252.138 | 1323.688 | 2575.826
05210 | Substation Transformer Bank Replacement Program (AA-Bank & A-Bank) | CET-ET-IR-TB-521001 |  | High | Blanket Specifics | 0 | 987.331 | 4097.842 | 5085.173 | 0 | 987.331 | 4097.842 | 5085.173
07713 | Substation Switchrack Rebuilds (FERC) | CET-ET-IR-RB-771301 |  | High | Blanket Specifics | 0 | 4998.2925 | 4693.4952 | 9691.7878 | 0 | 4998.2925 | 4693.4952 | 9691.7878
07716 | Substation Batteries & Chargers (FERC) | CET-ET-IR-ME-771601 |  | High | Blanket Specifics | 0 | 3199.6895 | 2030.644 | 5230.3335 | 0 | 3199.6895 | 2030.644 | 5230.3335
07637 | Substation Facility Capital Maintenance | COS-00-RE-MA-NE7637 |  | High | Blanket Specifics | 0 | 12766.7278 | 13086.1922 | 25852.92 | 0 | 4468.3547 | 4580.1673 | 9048.522
06987 | Substation HVAC Redundancy Program | COS-00-RE-MA-SBHVAC |  | High | Blanket Specifics | 0 | 3734.04 | 3821.7908 | 7555.8308 | 0 | 1306.914 | 1337.6268 | 2644.5408
08074 | Lighthipe Substation Control Room Expansion Feasibility | COS-00-RE-IU-250002 | 802194331 | High | 2027-12-01 | 102.0902 | 10 | 350 | 462.0902 | 36.7525 | 3.6 | 126 | 166.3525
7924 | Substation Reliability Upgrades - Antelope | COS-00-RE-AD-SR0001 | 802304660 | High | 2027-03-31 | 6448.6817 | 8272.3332 | 2765.7837 | 17486.7986 | 6444.8125 | 8267.3698 | 2764.1242 | 17476.3065
7956 | Substation Reliability Upgrades - Pardee | COS-00-RE-AD-SR0003 | 802304661 | High | 2026-12-31 | 4381.7733 | 5120 | 2960 | 12461.7733 | 4070.2292 | 4755.968 | 2749.544 | 11575.7412
07392 | Seismic Program - Bus Rel (FERC) | COS-00-SP-BR-000000 |  | High | Blanket Specifics | 0 | 837.0119 | 838.1223 | 1675.1342 | 0 | 678.8167 | 679.7172 | 1358.5338
07392 | Seismic Program - Trans Subs (FERC) | COS-00-SP-TD-000000 |  | High | Blanket Specifics | 0 | 11087.0119 | 4693.1223 | 15780.1342 | 0 | 7212.1012 | 3052.876 | 10264.9773
07392 | Seismic Program - Trans Lines | COS-00-SP-TD-000002 |  | High | Blanket Specifics | 0 | 3337.0119 | 3338.1223 | 6675.1342 | 0 | 3308.6473 | 3309.7482 | 6618.3955
07392 | Total Seismic Assessment and Mitigation Program for Transmission Assets |  |  |  |  | 0 | 15261.0357 | 8869.3668 | 24130.4025 | 0 | 11199.5652 | 7042.3414 | 18241.9066
Physical Security Enhancement Programs:
07949 | Protection of Grid Infrastructure Assets (formerly, Physical Security Systems - Electric Facilities) | COS-00-CS-CS-745400 |  | High | Blanket Specifics | 0 | 13103.4723 | 14338.6717 | 27442.144 | 0 | 8101.8769 | 8865.6007 | 16967.4776
07949 | Protection of Grid Infrastructure Assets (formerly, Physical Security Systems - Electric Facilities) | COS-00-CS-CS-745401 |  | High | Blanket Specifics | 0 | 10491.8497 | 14681.0554 | 25172.905 | 0 | 6278.3228 | 8785.1435 | 15063.4664
07573 | Substation Fence/Gate (Cu Theft) (aka, Security Fence and Lights Upgrade) (FERC) | CET-ET-IR-ME-757301 |  | High | Blanket Specifics | 0 | 1148.7968 | 954.4807 | 2103.2774 | 0 | 1148.7968 | 954.4807 | 2103.2774
08042 | 500/230 kV (ES-5070): Physical Security Tier 2 | CET-ET-IR-ME-804201 | 903511341 | High | 2026-12-31 | 5121.3808 | 18485.42 | 0 | 23606.8008 | 2048.5523 | 7394.168 | 0 | 9442.7203
08042 | 500/230 kV (ES-5031): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903897059 | High | 2026-12-31 | 486.9832 | 337.415 | 2766.644 | 3591.0422 | 457.7643 | 317.1701 | 2600.6454 | 3375.5797
08042 | 500/230 kV (ES-8369): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903897060 | High | 2026-08-03 | 2466.6314 | 2086.109 | 0 | 4552.7404 | 2466.6314 | 2086.109 | 0 | 4552.7404
08042 | 500/230 kV (ES-8367): Physical Security Tier 2 | CET-ET-IR-ME-804200 | 903897669 | High | 2026-06-05 | 3469.257 | 2576.996 | 0 | 6046.253 | 3469.257 | 2576.996 | 0 | 6046.253
08042 | 500/230 kV (ES-5023): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903907357 | High | 2026-06-29 | 1705.7676 | 174.859 | 0 | 1880.6266 | 516.3358 | 52.9298 | 0 | 569.2657
08042 | 500/230 kV (ES-5021): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 904406179 | High | 2027-09-14 | 485.9413 | 741.629 | 0 | 1227.5703 | 92.2803 | 140.8353 | 0 | 233.1156
08042 | 500/230 kV (ES-5064): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 904587232 | High | 2027-03-30 | 25.5007 | 312.864 | 4561.712 | 4900.0767 | 7.0127 | 86.0376 | 1254.4708 | 1347.5211
08042 | 500/230 kV (ES-5067): Physical Security Tier 2 | CET-ET-IR-ME-804200 | 902210275 | High | 2023-09-26 | 0 | 1.919 | 0 | 1.919 | 0 | 1.4788 | 0 | 1.4788
08042 | 500/230 kV (ES-5047): Physical Security Tier 2 | CET-ET-IR-ME-804202 | 902210277 | High | 2023-09-26 | 0 | 1.252 | 0 | 1.252 | 0 | 1.252 | 0 | 1.252
08042 | 500/230 kV (ES-8060): Physical Security Tier 2 | CET-ET-IR-ME-804203 | 902210452 | High | 2024-12-23 | 0 | 446.447 | 0 | 446.447 | 0 | 446.447 | 0 | 446.447
08042 | 500/230 kV (ES-5079): Physical Security Tier 2 | CET-ET-IR-ME-804204 | 902210453 | High | 2024-12-23 | 0 | 135.252 | 0 | 135.252 | 0 | 120.3743 | 0 | 120.3743
08042 | 500/230 kV (ES-5056): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 902210455 | High | 2027-12-30 | 184.6273 | 199.382 | 2277 | 2661.0093 | 49.8841 | 53.8706 | 615.218 | 718.9727
08042 | 500/230 kV (ES-5045): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 904612013 | High | 2027-02-01 | 129.9096 | 168.888 | 3283.307 | 3582.1046 | 129.9096 | 168.888 | 3283.307 | 3582.1046
08042 | Total Physical Security Projects (Tiers 2 & 3) |  |  |  |  | 14075.999 | 25668.432 | 12888.663 | 52633.094 | 9237.6275 | 13446.5565 | 7753.6411 | 30437.8252
| Total Physical Security Enhancement Programs |  |  |  |  | 14075.999 | 50412.5507 | 42862.8708 | 107351.4205 | 9237.6275 | 28975.5531 | 26358.8661 | 64572.0466
| Total Infrastructure Replacement |  |  |  |  | 25008.5442 | 122468.5606 | 105017.6975 | 252494.8023 | 19789.4217 | 85869.1979 | 75260.363 | 180918.9826
Grid Applications
08345 | Eldorado -Install 150 linear -ft of 4' x 4' cable tray -Install four (4) Ethernet Switches -Install four (4) pairs of monitoring relays -Install fourteen (14) pairs of tripping relays to customers -Install one (1) SEL-2407 Satellite Clock -Remove existing RAS relays & infrastructure | CET-ET-GA-CR-834501 | 903333164 | High | 2027-11-18 | 946.7593 | 1311 | 1000 | 3257.7593 | 946.7593 | 1311 | 1000 | 3257.7593
08345 | Total Lugo-Victorville Centralized RAS |  |  |  |  | 946.7593 | 1311 | 1000 | 3257.7593 | 946.7593 | 1311 | 1000 | 3257.7593
06446 | VARIOUS: INSTALL PHASOR MEASUREMENT SYSTEM | CET-ET-GA-EM-644606 |  | High | Blanket Specifics | 0 | 87.0545 | 355.1604 | 442.2149 | 0 | 87.0545 | 355.1604 | 442.2149
| Total Grid Apps |  |  |  |  | 946.7593 | 1398.0545 | 1355.1604 | 3699.9741 | 946.7593 | 1398.0545 | 1355.1604 | 3699.9741
PWRD Blankets
03363 | Substation Planned Maintenance Replacements | CET-PD-IR-SP-SUBSNW |  | High | Blanket Specifics | 0 | 16537.3176 | 18226.2939 | 34763.6116 | 0 | 5673.0315 | 6252.4251 | 11925.4565
03363 | Substation Unplanned Maintenance Replacements | CET-PD-BM-SU-SUBSNW |  | High | Blanket Specifics | 0 | 37142.7398 | 36316.0391 | 73458.7789 | 0 | 7571.1897 | 7402.6747 | 14973.8645
03363 | Substation - Storm | CET-PD-ST-SS-SUBSNW |  | High | Blanket Specifics | 0 | 1071.3039 | 1043.9929 | 2115.2968 | 0 | 0.9182 | 0.89479 | 1.813
03363 | Total Substation Maintenance, Breakdown, & Storm |  |  |  |  | 0 | 54751.3613 | 55586.3259 | 110337.6873 | 0 | 13245.1394 | 13655.9946 | 26901.134
07890 | Pardee-Pastoria 220kV: Re-conductor (San Joaquin & North Coast) | CET-PD-IR-TP-789000 | 904260319 | High | 2025-07-29 | 0 | 119.706 | 0 | 119.706 | 0 | 119.706 | 0 | 119.706
07890 | Pardee-Pastoria 220kV: Re-conductor (San Joaquin & North Coast) | CET-PD-IR-TP-789000 | 904260320 | High | 2025-07-29 | 0 | 147.023 | 0 | 147.023 | 0 | 147.023 | 0 | 147.023
03364 | Transmission Breakdown Maintenance Unplanned | CET-PD-BM-TU-TRSJAC |  | High | Blanket Specifics | 0 | 3351.4657 | 3351.3954 | 6702.8611 | 0 | 421.4605 | 421.4517 | 842.9122
03364 | Transmission Deteriorated Pole Program | CET-PD-IR-TR-TRSJAC |  | High | Blanket Specifics | 0 | 97935.9802 | 81325.0383 | 179261.0185 | 0 | 7036.591 | 5843.1133 | 12879.7043
03364 | Transmission Tower Corrosion Program | CET-PD-IR-TS-TRSJAC |  | High | Blanket Specifics | 0 | 21778.617 | 18086.4892 | 39865.1063 | 0 | 21227.618 | 17628.9011 | 38856.5191
03364 | Transmission Small Civil | CET-PD-IR-TC-TRSJAC |  | High | Blanket Specifics | 0 | 18291.0125 | 7122.746 | 25413.7586 | 0 | 9842.8948 | 3832.9447 | 13675.8395
03364 | Transmission Grid-Based Maintenance | CET-PD-IR-TG-TRSJAC |  | High | Blanket Specifics | 0 | 25754.2335 | 12943.2476 | 38697.4811 | 0 | 5457.3972 | 2742.7119 | 8200.1091
| Total Transmission Maintenance & Breakdown Maintenance |  |  |  |  | 0 | 167378.038 | 122828.9166 | 290206.9546 | 0 | 44252.6906 | 30469.1227 | 74721.8133
04056 | Steel Stub Pole Remediation (Trans) | CET-PD-OT-SF-TRORAN |  | Low | Blanket Specifics | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Transmission Poles (Pole Loading & Deteriorated Pole Programs) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07298 | Transmission Line Rating Remediation (Exempt from Licensing) | CET-PD-OT-PJ-729801 |  | High | Blanket Specifics | 0 | 52330.224 | 60000 | 112330.224 | 0 | 52330.224 | 60000 | 112330.224
03362 | Critical Infrastructure Spares - FERC Spare Transformer Equipment Program (STEP)/Emergency | CET-PD-CI-CI-CRINSP |  | High | Blanket Specifics | 0 | 3034.2836 | 1667.255 | 4701.5386 | 0 | 3034.2836 | 1667.255 | 4701.5386
03367 | Substation - Claim | CET-PD-CL-SC-SUBSNW |  | High | Blanket Specifics | 0 | 423.5201 | 411.522 | 835.0421 | 0 | 10.6741 | 10.3717 | 21.0459
03367 | Transmission - Claim | CET-PD-CL-TC-TRSJAC |  | High | Blanket Specifics | 0 | 5037.0487 | 5036.943 | 10073.9917 | 0 | 727.0986 | 727.0833 | 1454.1819
03367 | Transmission - Storm | CET-PD-ST-TS-TRSJAC |  | High | Blanket Specifics | 0 | 7353.1269 | 7082.3523 | 14435.4792 | 0 | 4024.4076 | 3876.2111 | 7900.6187
03367 | Total Transmission Storm & Claims |  |  |  |  | 0 | 12813.6957 | 12530.8173 | 25344.513 | 0 | 4762.1803 | 4613.6661 | 9375.8464
08224 | Trans Emerg Dry Fuels Remediation FERC | CET-PD-FR-TF-822601 |  | Low | Blanket Specifics | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08224 | EOI Replacements - T (FERC) | CET-PD-WM-TP-822401 |  | Low | Blanket Specifics | 0 | 1035.7913 | 1035.3494 | 2071.1407 | 0 | 1035.7913 | 1035.3494 | 2071.1407
08224 | Transmission Splice FERC | CET-PD-WM-TS-822401 |  | Low | Blanket Specifics | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08224 | Total Transmission EOI Capital Remediation Program |  |  |  |  | 0 | 1035.7913 | 1035.3494 | 2071.1407 | 0 | 1035.7913 | 1035.3494 | 2071.1407
| Total PWRD Blankets |  |  |  |  | 0 | 291343.394 | 253648.6642 | 544992.0581 | 0 | 118660.3091 | 111441.3878 | 230101.697
Total Non-Incentive Transmission Projects | [5 empty] | 100240.3404 | 511136.586 | 492376.8941 | 1103753.8206 | 94540.0115 | 300987.334 | 319575.1075 | 715102.453
Total Forecast Specific Project Expenditures (Closing by December 2027) | [5 empty] | 100240.3404 | 136575.0712 | 152319.8187 | 389135.2303 | 94540.0115 | 123110.9958 | 145911.5056 | 363562.5129
Total Forecast Blanket Expenditures (Closing by December 2027) | [5 empty] | 0 | 374561.5148 | 340057.0754 | 714618.5902 | 0 | 177876.3382 | 173663.6019 | 351539.9401