| Program Implementer Name: | Southern California Edison |
| --- | --- |
| Program Title: | Statewide Nonresidential Standard Performance Contract Program - PGC |
| Program Number: | 1240-04 |
| Month: | March 2005 |

- Program Status

Program Description

The statewide Nonresidential Standard Performance Contract (SPC) program offered by Pacific Gas and Electric Company, Southern California Edison, and San Diego Gas and Electric Company is a pay-for-performance program that offers cash incentives for custom-designed, cost effective energy saving retrofits of existing business facilities.  Designed primarily for large and medium businesses, small and very small businesses can also participate if the energy efficiency measures do not qualify for the statewide Express Efficiency program. Depending on the energy-efficiency measure installed, an itemized or calculated approach is used to estimate the energy savings and incentive. An itemized measure will be based on a pre-determined rate and no kWh savings calculation by the applicant is necessary. For all other measures not included as an itemized measure, the estimated payment will be determined by the quantity of kilowatt-hours (kWh) or therms of gas saved.

    - Budgets and Expenditures

| Budget and Expenditures | Budget | Mar-05 | % of Bdgt | Cumulative | % of Bdgt | Committed | % of Bdgt | Cumulative & Committed | % of Bdgt | Unspent |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total | $18,626,000 | $884,256 | 5% | $5,551,618 | 30% | $6,064,039 | 33% | $11,615,657 | 62% | $13,074,382 |
| Admin | $2,418,400 | $110,758 | 5% | $1,433,085 | 59% |  |  | $1,433,085 | 59% | $985,315 |
| Marketing | $1,579,000 | $83,921 | 5% | $853,444 | 54% |  |  | $853,444 | 54% | $725,556 |
| DI | $14,002,600 | $689,578 | 5% | $3,265,089 | 23% | $6,064,039 | 43% | $9,329,128 | 67% | $10,737,511 |
| EM&V | $626,000 |  |  |  |  |  |  |  |  | $626,000 |
| Financing |  |  | NA |  | NA |  | NA |  | NA |  |

Note – negative values, if any, reflect accounting adjustments made to correct errors/oversights made during previous reporting periods.

    - Energy Effects

| Energy Effects | Goals | Mar-05 | % of Goals | Cumulative | % of Goals | Committed | % of Goals | Cumulative & Committed | % of Goals | Goals Minus Cumulative |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Coinc Peak kW | 15,291 | 1,287 | 8% | 5,119 | 33% | 8,998 | 59% | 14,117 | 92% | 10,172 |
| Annual kWh | 102,917,493 | 7,713,912 | 7% | 31,533,717 | 31% | 58,753,167 | 57% | 90,286,884 | 88% | 71,383,776 |
| Lifecyc kWh | 1,532,954,893 | 119,495,357 | 8% | 452,287,689 | 30% | 846,560,034 | 55% | 1,298,847,723 | 85% | 1,080,667,204 |
| Annual Therms |  |  | NA |  | NA |  | NA |  | NA |  |
| Lifecyc Therms |  |  | NA |  | NA |  | NA |  | NA |  |

The difference in cumulative kWh savings is due to the annual adjustment of the SPC early retirement projects. For this feature, the SPC incentive is calculated for multiple years to account for the remaining years of useful life. If an applicant replaces their existing AC unit, chiller or motor before the end of its useful life, the SPC program pays for the savings achieved over those additional years.  In the workbook, since the reported savings are annual numbers, the kWh savings are adjusted to only reflect one year of savings rather than the multiple years which the program pays.  For the purposes of reporting, the workbook attributes an “average” estimated remaining useful life for packaged AC units, chillers and motors. Actual projects may deviate from this “average,” therefore actual remaining useful life results will be reconciled at year end.

    - Performance Goals

This program does not have performance goals.

  - Activities/Accomplishments

    - Administrative -

- During the month of March, 62 new applications were received and sent for review, 28 applications were approved and contracted, and 7 installation reports were approved for payment.

- Weekly team meetings were held with internal staff to review current projects, discuss new submittals, and update the application, reporting and payment processes.

- Weekly reports were generated and distributed to SCE account representatives and engineering staff providing timely status updates on active SPC projects.

- Weekly conference calls were held with statewide SPC program managers from PG&E and SDG&E to discuss policy issues,

- SPC staff attended several SCE staff meetings to discuss the SPC program and provide program updates.

- Weekly phone conferences with project reviewers and inspectors were held to discuss the status of submitted applications, resolve specific project issues and review other items as necessary to ensure timely completion of reviews.

- Program staff mailed 500 program packets and SPC CDs to customers, internal staff, and requests from the SPC mailbox.

    - Marketing -

On March 9-10, 2005 SCE Express Efficiency and SPC programs hosted a booth at the SYSCO 2005 Food Show at the Anaheim Convention Center in Anaheim, CA. Information was distributed to over 500 attendees regarding the statewide incentive programs focusing on rebates available for food service equipment and refrigeration measures.

Program fact sheets, early retirement fact sheets, and SPC brochures were reprinted to reflect 2005 program updates. These materials will be distributed to customers, SCE account representatives, and at trade shows, special events, meetings, and other program coordination activities.

    - Direct Implementation –

      - Audits, Site Surveys and Partnerships -

Not Applicable

      - Direct Installations, Rebates, Equipment Maintenance and Optimization –

| Measure | Installations in March |
| --- | --- |
| Com. Customized - Space Conditioning | 4,319 kWh |
| Com. Chillers | 450,944 kWh |
| Com. Indoor Lighting Sys. Mod. | 5,168 kWh |
| Com. Indoor Lighting Sys. Repl. | 3,688,302 kWh |
| Com. Lighting Controls | 1,506,430 kWh |
| Com. Customized - Process | 260,870 kWh |
| Com. Customized - Refrigeration | 977,176 kWh |
| Ind. Customized - Process | 331,126 kWh |
| Variable-Frequency Drives - HVAC Fans | 77 hp units |
| Cool Roofs | 200,000 sq ft. |
| Screw-in Compact Fluorescent Lamp, 5 - 13 watts | 162 units |
| Screw-in Compact Fluorescent Lamp, 14-26 watts | 31 units |
| Screw-in Compact Fluorescent Lamp, 14-26 watts w/ reflector | 44 units |
| Hardwired Fluorescent Fixture, 27-65 watts(incandescent basecase) | 12 units |
| LED Exit Sign | 170 units |
| T-8 or T-5 Lamp and Electronic ballast - 4 foot | 11,671 units |
| T-8 or T5 Lamp and Electronic, 4-foot lamp removed | 1,902 units |
| T-8 or T-5 Lamp and Electronic, 8-foot lamp removed | 62 units |
| Interior pulse start HID fixture 71-100 watts incandescent basecase | 31 |
| Interior pulse start HID fixture 71-100 watts mercury vapor basecase | 8 |
| Interior pulse start HID fixture 251-400 watts incandescent basecase | 3 |
| Interior HO T-5 4 lamp fixture retrofits | 1354 fixtures |
| Occupancy Sensor ceiling mounted | 413 |
| Infiltration Barrier for Walk-ins (strip curtains) | 24 |
| Main Door Freezer Door Gaskets( Walk-in) | 18 |
| Oversized Evaporative Cooled Condenser | 709 |

      - Calculated and Actual Payment Reconciliation -

Since actual incentives payable to customers are capped at 50% of each measure cost, certain measures only receive partial incentive payments. As a result, the financial incentives to customers in Tab 1A - Expenditures Worksheet may differ from the calculated financial incentives in Tab 2A - Recorded EE Activities Worksheet.

    - EM&V

None

- Program Challenges

None

- Customer Disputes

None

- Compliance Items

None

- Coordination Activities

SCE hosted a Non-Residential Energy Efficiency Customer/ESCO/Vendor workshop in conjunction with San Diego Gas & Electric and SoCal Gas Company on March 24, 2005.  The agenda included a review of the utility rebate programs, and vendor displays allowed customers to browse available products and technologies. SCE also staffed a booth which included information on all available utility incentive and education programs.

- Changes to Subcontractors or Staffing

None

- Additional Items

Program staff began preparation for the Summer Initiative Lighting Reduction Program, a proposal submitted to the CPCU on February 25, 2005 as an additional incentive for peak reduction. Software upgrades, program applications, database improvements, and process enhancements are being developed in anticipation of the program approval. This preparation will allow the initiative to begin immediately upon approval.