## WP Schedule 16 ISO Non-Inc
|  |  |  | High/ Low |  | Project Total (ISO & non-ISO) |  |  |  | ISO Portion
PIN | Project Title | C-WBS | Order # | Voltage | OD | Prior | 2023 | 2024 | Total | Prior | 2023 | 2024 | Total
Non-Incentive Transmission Projects include Direct Installation and Removal Expenditures, but exclude any C-WBS or Order # with 0% ISO.
Other Transmission
07861 | Colorado River 500/220kV Substation (NU): Terminate the Centipede-Colorado River 220kV T/L at Colorado River Sub position 1. Install the following equipment for a dedicated 220kV double breaker line position on a breaker-and-a-half configuration. | CET-ET-TP-RN-786100 | 901713069 | High | 2022-08-31 | 0 | 1.124 | 0 | 1.124 | 0 | 1.124 | 0 | 1.124
08308 | Install 4 N60 lgc processing relay Red Bluff Substation | CET-ET-CR-WC-830802 | 903162574 | High | 2023-12-01 | 288.741 | 166.455 | 0 | 455.196 | 288.741 | 166.455 | 0 | 455.196
08338 | Windhub Substation: (IF): 1. Install facilities for a new 220kV switchrack position to terminate the Generation Tie-Line. This work includes the following: a. One (1) 220kV dead-end substation structure. b. Three (3) 220kV coupling capacitor voltage | CET-ET-CR-WC-833800 | 903222903 | High | 2022-07-22 | 0 | 153.26 | 32.996 | 186.256 | 0 | 91.956 | 19.7976 | 111.7536
08389 | Hinson Sub (RNU) Install one (1) 220 kV line position | CET-ET-CR-WC-838906 | 903714980 | High | 2024-06-04 | 5.2911 | 1325 | 442.709 | 1773.0001 | 5.2911 | 1325 | 442.709 | 1773.0001
08394 | Vincent Substation. i. Install one (1) 220 kV line position which includes the following equipment: 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disc | CET-ET-CR-WC-839401 | 903516981 | High | 2024-09-03 | 48.5685 | 1778.15 | 639.352 | 2466.0705 | 48.5685 | 1778.15 | 639.352 | 2466.0705
08090 | Eldorado Substation (NU): install the following equipment on a dedicated 220kV double breaker line position (position 25) at the Eldorado Sub to terminate the Eldorado-Sloan Canyon 220kV T/L. | CET-ET-LG-AF-809000 | 902249125 | High | 2019-12-10 | 0 | 105 | 0 | 105 | 0 | 105 | 0 | 105
08322 | Whirlwind Substation: 4. Expand Tehachapi CRAS a. Whirlwind Substation Install two (2) G.E. N60 logic processing relays, or equivalent successor, to send tripping signals to the matching N60 relays located at Large Generating Facility for loss of Tehachapi 500 kV Transmission Lines to add the Project to the Tehachapi CRAS. | CET-ET-CR-WC-832203 | 903471106 | High | 2024-08-12 | 35.2483 | 58.114 | 167.204 | 260.5663 | 35.2483 | 58.114 | 167.204 | 260.5663
08322 | Total Rosamond South East |  |  |  |  | 35.2483 | 58.114 | 167.204 | 260.5663 | 35.2483 | 58.114 | 167.204 | 260.5663
08393 | Walnut Substation Interconnection (RNU): 1. Generation Tie-Line to Existing Pos. 2. Utilize the following: a) Two (2) 220 kV circuit breakers b) One (1) 220 kV group operated disconnect switch with grounding attachment c) Three (3) 220 kV group operated s | CET-ET-CR-WC-839301 | 903549492 | High | 2024-05-28 | 757.1392 | 675 | 371.861 | 1804.0002 | 757.1392 | 675 | 371.861 | 1804.0002
08393 | Transmission: Interconnection (RNU) Relocate existing 220 kV Mesa-Walnut Line to new Position 4. | CET-ET-CR-WC-839306 | 903555087 | High | 2024-05-28 | 0.19576 | 150 | 1215 | 1365.1958 | 0.19576 | 150 | 1215 | 1365.1958
08393 | Transmission: Interconnection (RNU) 1. Install an appropriate number of 220 kV transmission structure including insulator/hardware assemblies, and appropriate number of spans of conductor between the Last Structure and the dead-end substation structure at | CET-ET-CR-WC-839307 | 903555223 | High | 2024-05-28 | 8.9939 | 225 | 1136.006 | 1369.9999 | 8.9939 | 225 | 1136.006 | 1369.9999
08393 | Total Kestrel Storage Project |  |  |  |  | 766.3289 | 1050 | 2722.867 | 4539.1959 | 766.3289 | 1050 | 2722.867 | 4539.1959
08398 | Pardee Substation (RNU): Moorpark CRAS – monitoring infrastructure. 1. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. 2. Perform CRAS programming and testing to the new CRAS. 3. Install two (2) ethernet switches. 4. Install one (1) satellite clock. | CET-ET-CR-WC-839801 | 903724397 | High | 2024-09-24 | 0.29136 | 624 | 1084 | 1708.2914 | 0.29136 | 624 | 1084 | 1708.2914
08398 | Moorpark Substation (RNU): Moorpark centralized RAS (“CRAS”) – tripping infrastructure 1. Install six (6) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform CRAS programming and testing to the new CRAS relays.* Add points to the RTUs. | CET-ET-CR-WC-839802 | 903724398 | High | 2024-09-24 | 1.2845 | 373 | 533 | 907.2845 | 1.2845 | 373 | 533 | 907.2845
08398 | Sylmar Substation (RNU): Moorpark CRAS – monitoring infrastructure. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages. 2. Perform CRAS programming and testing to the new CRAS relays. | CET-ET-CR-WC-839807 | 903724708 | High | 2024-09-24 | 1.0531 | 891 | 817 | 1709.0531 | 1.0531 | 891 | 817 | 1709.0531
08398 | Moorpark Substation (RNU). i. Install one (1) 220 kV line position which includes the following equipment: 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disconnect switches | CET-ET-CR-WC-839808 | 903724709 | High | 2024-09-24 | 22.695 | 810 | 1691.305 | 2524 | 22.695 | 810 | 1691.305 | 2524
08398 | Goldback Solar Center |  |  |  |  | 25.3239 | 2698 | 4125.305 | 6848.6289 | 25.3239 | 2698 | 4125.305 | 6848.6289
| Total Other Transmission |  |  |  |  | 1169.5017 | 7335.103 | 8130.433 | 16635.0377 | 1169.5017 | 7273.799 | 8117.2346 | 16560.5353
TSP Projects
06824 | La Fresa: Install new MEER building and cut over existing protection and upgrade CTs on existing banks. | CET-ET-LG-TS-682400 | 900522611 | High | 2019-12-24 | 0 | 46.055 | 0 | 46.055 | 0 | 17.0404 | 0 | 17.0404
| Total TSP Projects |  |  |  |  | 0 | 46.055 | 0 | 46.055 | 0 | 17.0404 | 0 | 17.0404
Transmission Project Reliability
07727 | Inyokern Substation: Expand existing MEER at Inyokern Substation. | CET-ET-TP-RL-772700 | 901394462 | Low | 2023-12-29 | 306.126 | 2.014 | 0 | 308.14 | 113.2666 | 0.74518 | 0 | 114.0118
07727 | Control Substation: Install 12 N60 relays, one satellite clock, and two ethernet switches in the existing MEER at Control Substation. | CET-ET-TP-RL-772701 | 901394533 | Low | 2023-12-29 | 1047.2758 | 2.181 | 0 | 1049.4568 | 900.6572 | 1.8757 | 0 | 902.5328
7727 | Total Digital 395 Project: North-of-Kramer Area Telecom Network and RAS Upgrades |  |  |  |  | 1353.4017 | 4.195 | 0 | 1357.5967 | 1013.9238 | 2.6208 | 0 | 1016.5446
07763 | Eldorado-Lugo 500 kV line: CA side - Install 85 miles of new OPGW between CA/NV border and Pisgah Substation. | CET-ET-TP-RN-776304 | 901665563 | High | 2023-12-13 | 10769.9746 | 19140 | 2566 | 32475.9746 | 10769.9746 | 19140 | 2566 | 32475.9746
07763 | Eldorado-Lugo 500 kV line: NV Side -Install 2 miles of new OPGW between CA/NV border and MI52-T2. | CET-ET-TP-RN-776305 | 901665564 | High | 2023-12-13 | 788.1489 | 672 | 57 | 1517.1489 | 788.1489 | 672 | 57 | 1517.1489
07763 | Mohave 500 kV: Install two (2) N60 relays Install one (1) ethernet switch Install one (1) satellite switch 1PSC- RTU Point additions at Mohave substation. | CET-ET-TP-RN-776302 | 901484315 | High | 2023-12-13 | 311.023 | 38 | 0 | 349.023 | 311.023 | 38 | 0 | 349.023
07763 | Lugo Sub: Install new control cables, update station drawings, and modify settings on existing N60 relays to accommodate monitoring of Lugo-Mohave 500kV line. | CET-ET-TP-RN-776307 | 902249120 | High | 2023-12-13 | 79.47 | 39 | 0 | 118.47 | 79.47 | 39 | 0 | 118.47
07763 | Eldorado: Install equipment to support N-2 monitoring of Eldorado-Lugo 500kV and Lugo-Mohave 500kV lines. | CET-ET-TP-RN-776308 | 902249121 | High | 2023-12-13 | 59.7708 | 85 | 0 | 144.7708 | 59.7708 | 85 | 0 | 144.7708
07763 | CFF-Pisgah Sub: Install new telecommunication room | CET-ET-TP-RN-776300 | 901671834 | High | 2018-01-02 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
07763 | Real Properties - Land Acquisition | CET-RP-TP-RL-776308 | 47022 | High | 2023-12-13 | 0 | 1877 | 0 | 1877 | 0 | 1651.76 | 0 | 1651.76
7763 | Total Lugo-Victorville 500 kV SPS |  |  |  |  | 12008.3873 | 21852 | 2623 | 36483.3873 | 12008.3873 | 21626.76 | 2623 | 36258.1473
08019 | CONTROL-SILVER PEAK "A" 55KV Install 11 sets of Remote Fault Indicators (RFIs) | CET-ET-TP-RL-801900 | TD1269146 | Low | 2022-08-31 | 707.104 | 4.432 | 0 | 711.536 | 707.104 | 4.432 | 0 | 711.536
08019 | CONTROL-SILVER PEAK "C" 55KV Install 11 sets of Remote Fault Indicators (RFIs) | CET-ET-TP-RL-801902 | TD1269499 | Low | 2022-05-26 | 232.5887 | 3.757 | 0 | 236.3457 | 232.5887 | 3.757 | 0 | 236.3457
8019 | Total Control-Silver Peak "A" Transmission Project |  |  |  |  | 939.6928 | 8.189 | 0 | 947.8818 | 939.6928 | 8.189 | 0 | 947.8818
07227 | Inyo Substation: Replace Inyo phase shifter and new hybrid circuit breaker. Install 2 pairs of protection relays. | CET-ET-TP-RN-722701 | 902379073 | High | 2021-10-22 | 0 | 19 | 0 | 19 | 0 | 19 | 0 | 19
07227 | Control: Install two N60 relays | CET-ET-TP-RN-722700 | 902448105 | Low | 2023-07-21 | 82.9128 | 3 | 0 | 85.9128 | 82.9128 | 3 | 0 | 85.9128
7227 | Total Casa Diablo IV Project Interconnection |  |  |  |  | 82.9128 | 22 | 0 | 104.9128 | 82.9128 | 22 | 0 | 104.9128
0
07911 | Phase 2-5-CRAS-install new settings. Utilizing existing N60 relays assigned to Gaskell West , install new settings to incorporate new phases into Tehachapi CRAS. | CET-ET-TP-RN-791100 | 903500935 | High | 2023-06-07 | 38.4909 | 101.837 | 0 | 140.3279 | 38.4909 | 101.837 | 0 | 140.3279
07911 | Phase 2-5-Relay Coordination Study | CET-ET-TP-RN-791100 | 903500934 | High | 2023-06-07 | 3.2578 | 17.242 | 0 | 20.4998 | 3.2578 | 17.242 | 0 | 20.4998
07911 | Total Gaskell West Project |  |  |  |  | 41.7487 | 119.079 | 0 | 160.8277 | 41.7487 | 119.079 | 0 | 160.8277
07546 | (Removal/Expense) Lugo Sub: Upgrade Terminal Equipment and Series Capacitors on Eldorado-Lugo 500kV T/L. | CET-ET-TP-RL-754601 | 902287735 | High | 2023-12-12 | 0 | 270 | 270 | 540 | 0 | 270 | 270 | 540
07546 | (Removal/Expense) L-M (CA): Install OPGW, Splice Fiber, and clear Infractions on the Lugo-Mohave 500 kV T/L (CA). | CET-ET-TP-RL-754608 | 902287738 | High | 2023-12-12 | 0 | 1388 | 0 | 1388 | 0 | 1388 | 0 | 1388
07546 | (Removal/Expense) L-M (NV): Install OPGW, Splice Fiber, and clear Infractions on the Lugo-Mohave 500 kV T/L (NV). | CET-ET-TP-RL-754609 | 902288039 | High | 2023-12-12 | 0 | -2266 | 0 | -2266 | 0 | -2266 | 0 | -2266
7546 | Total Eldorado-Lugo-Mohave (ELM) Series Cap Upgrades Project |  |  |  |  | 0 | -608 | 270 | -338 | 0 | -608 | 270 | -338
07555 | Mesa: Remove 230/66/16kV switchracks & equipment, substructures, and foundations. | CET-ET-TP-RL-755505 | 901192482 | High | 2023-01-11 | 0 | -3706.336 | 0 | -3706.336 | 0 | -1186.0275 | 0 | -1186.0275
07555 | Lighthipe-Mesa: Remove 8 structures, 2 shoofly ESPs, 1200 ckt ft of shoofly conductor, and 1800 ckt ft of conductor | CET-ET-TP-RL-755546 | 902124391 | High | 2019-12-31 | 0 | 2.245 | 0 | 2.245 | 0 | 2.245 | 0 | 2.245
7555 | Total Mesa Substation Project |  |  |  |  | 0 | -3704.091 | 0 | -3704.091 | 0 | -1183.7825 | 0 | -1183.7825
07558 | Magunden-Springville 230 kV No.1: Remove 14 existing 220kV lattice structures; Install nine new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 130'), and four new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 185') which will support an approximate 2000' span across the lake, within the current ROW. Total project length is approximately 2 miles. | CET-ET-TP-RL-755800 | 901192344 | High | 2022-02-25 | 0 | 150 | 575 | 725 | 0 | 150 | 575 | 725
07558 | Magunden-Springville 230 kV No.2: Remove 14 existing 220kV lattice structures; Install nine new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 130'), and four new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 185') which will support an approximate 2000' span across the lake, within the current ROW. Total project length is approximately 2 miles. | CET-ET-TP-RL-755801 | 901192345 | High | 2021-12-27 | 0 | 150 | 575 | 725 | 0 | 150 | 575 | 725
7558 | Magunden-Springville No.1 & No.2 Tower Replacement ("Lake Success Towers in Water") |  |  |  |  | 0 | 300 | 1150 | 1450 | 0 | 300 | 1150 | 1450
08077 | Inyokern 115 kV Relay Upgrades for ATRA | CET-ET-TP-RL-807709 | 902739835 | Low | 2023-08-21 | 242.4488 | 80.7 | 0 | 323.1488 | 242.4488 | 80.7 | 0 | 323.1488
08077 | Control 115 kV CBs and MEER for ATRA | CET-ET-TP-RL-807706 | 902739832 | Low | 2023-05-05 | 7441.2053 | 960.088 | 0 | 8401.2933 | 7441.2053 | 960.088 | 0 | 8401.2933
08077 | Kramer 115 kV Relay Upgrades for ATRA | CET-ET-TP-RL-807710 | 902739836 | Low | 2024-03-28 | 1156.875 | 911.139 | 0 | 2068.014 | 578.4375 | 455.5695 | 0 | 1034.007
08077 | Tortilla 115 kV CBs nand MEER for ATRA | CET-ET-TP-RL-807713 | 902739979 | Low | 2023-07-31 | 1509.7538 | 674.771 | 0 | 2184.5248 | 1509.7538 | 674.771 | 0 | 2184.5248
08077 | Pastoria 220 kV: Install four (4) new Bus Differential Relay Racks.* Install a second set of BCTs for Bus Differential Protection on six (6)* 220 kV Circuit Breakers. | CET-ET-TP-RL-807702 | 902459932 | High | 2021-04-26 | 0 | 3.399 | 0 | 3.399 | 0 | 3.399 | 0 | 3.399
08077 | Eldorado 220 kV (Option 2): Cima-Pisgah #1 220kV (Pos 9N) and Cima-Pisgah #2 220kV (Pos 10N) A. 220 kV Switchrack -6 BCT Upgrades B. Relays -2 Racks -2 L90 -4 C60 | CET-ET-TP-RL-807703 | 902739829 | High | 2024-07-02 | 197.4572 | 165 | 182 | 544.4572 | 197.4572 | 165 | 182 | 544.4572
08077 | Lugo 220 kV Relay Upgrades for ATRA | CET-ET-TP-RL-807704 | 902739830 | High | 2024-02-23 | 940.834 | 285 | 0 | 1225.834 | 940.834 | 285 | 0 | 1225.834
08077 | Coolwater 220/115 kV: A. 220 kV Switchrack -1 L90 -1 SLE311C -2 Racks (Bus) -2 SEL587 (Bus) | CET-ET-TP-RL-807707 | 902739833 | High | 2024-12-31 | 91.9094 | 4725.49 | 7948.974 | 12766.3734 | 91.9094 | 4725.49 | 7948.974 | 12766.3734
08077 | Pisgah 220 kV (Option 2): A. 220 kV Switchrack -8 BCT Upgrades B. Relays -8 Racks -4 L90 -4 C60 | CET-ET-TP-RL-807711 | 902739837 | High | 2024-04-26 | 405.4067 | 454 | 1086 | 1945.4067 | 405.4067 | 454 | 1086 | 1945.4067
8077 | Total Annual Transmission Reliability Assessment 2016 - Protection Upgrades (ATRA) |  |  |  |  | 11985.8902 | 8259.587 | 9216.974 | 29462.4512 | 11407.4527 | 7804.0175 | 9216.974 | 28428.4442
08078 | Antelope Sub (RNU) - Install two (2) G.E N60 Logic Processing Relays or equivalent successor to send additional tripping signals to the Large Generating Facility. | CET-ET-TP-RN-807800 | 902220556 | High | 2022-12-15 | 0 | 5.771 | 0 | 5.771 | 0 | 5.771 | 0 | 5.771
08078 | Antelope Sub (RNU) - Power System Control. i. Expand existing RTU at SCE Antelope Substation and the generation facility to include points for status and alarms related to the new RAS relays ii. Modify the programs for the Tehachapi RAS. iii. Point additions to the existing RTU at SCE Antelope Substation for new protection relay status/alarm/control. | CET-ET-TP-RN-807801 | 902220557 | High | 2023-07-01 | 14.3076 | 3.81 | 0 | 18.1176 | 14.3076 | 3.81 | 0 | 18.1176
8078 | Antelope 2 Solar Project Reliability Network Upgrades at Antelope Substation |  |  |  |  | 14.3076 | 9.581 | 0 | 23.8886 | 14.3076 | 9.581 | 0 | 23.8886
08104 | Moorpark 230 kV Switchrack: Relocate the Ormond Beach No. 3 & 4 lines into positions 10N & 11N. Relocate Santa Clara No. 1 & 2 lines into position 12N & 13N. Equip Position 10 with two (2) new 230 kV CBs rated at 4000A/63kA and four (4) new disconnects rated at 4000A. In Position 12, remove and install one (1) new 220kV CB rated at 4000A, 63kA (CB No. 55). Terminate new Pardee #4 line in Position 12S. | CET-ET-TP-RL-810400 | 902315805 | High | 2022-05-18 | 0 | 8.149 | 0 | 8.149 | 0 | 1.8743 | 0 | 1.8743
08104 | Pardee 230 kV: Equip vacant Position 16E with two CBs rated at 4000A/63kA and four disconnects rated at 4000A for new Moorpark #4 line. | CET-ET-TP-RL-810401 | 902315808 | High | 2021-04-30 | 0 | 2.192 | 0 | 2.192 | 0 | 2.192 | 0 | 2.192
08104 | New Moorpark-Pardee #4 230 kV line: String roughly 25.5 mile section on vacant side of existing structures with 2B-1590. String roughly 6 miles of 1/2" EHS GW on existing structures. | CET-ET-TP-RL-810402 | 902315828 | High | 2022-01-15 | 0 | 19.136 | 0 | 19.136 | 0 | 19.136 | 0 | 19.136
8104 | Total Moorpark-Pardee 230 kV No. 4 Circuit Project |  |  |  |  | 0 | 29.477 | 0 | 29.477 | 0 | 23.2023 | 0 | 23.2023
08204 | Tehachapi C-RAS. i. Whirlwind Substation. Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the matching N60 relays located at the Large Generating Facility for loss of Northern Area 500 kV transmission lines to add the Large Generating Facility to the Tehachapi CRAS. Telecommunication. Install required channel bank, fiber optic cable, and associated equipment (including terminal equipment), supporting the Tehachapi CRAS requirements at Whirlwind Substation. Notwithstanding that certain telecommunication equipment, including the telecommunications terminal equipment, will be located on the Interconnection Customer’s side of the Point of Change of Ownership, the Participating TO shall own, operate and maintain such telecommunication equipment as part of the Participating TO’s Interconnection Facilities." | CET-ET-TP-RN-820401 | 902722024 | High | 2022-11-17 | 0 | 34.427 | 0 | 34.427 | 0 | 34.427 | 0 | 34.427
8204 | Rabbitbrush Solar Project Reliability Network Upgrades |  |  |  |  | 0 | 34.427 | 0 | 34.427 | 0 | 34.427 | 0 | 34.427
08223 | Whirlwind AA Bank Centralized RAS. i. Whirlwind Substation. Utilize two GE N60 logic processing relays or equivalent successor, identified under Section 2(b)(i)1.b.i of this Appendix A, to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-822300 | 902705074 | High | 2023-04-21 | 79.6678 | 249.777 | 115.305 | 444.7498 | 79.6678 | 249.777 | 115.305 | 444.7498
08223 | Tehachapi CRAS: i. Whirlwind Substation. Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-822301 | 902705075 | High | 2023-04-21 | 7.0301 | 322.415 | 115.305 | 444.7501 | 7.0301 | 322.415 | 115.305 | 444.7501
8223 | Willy Interconnection at Whirlwind Substation |  |  |  |  | 86.6979 | 572.192 | 230.61 | 889.4999 | 86.6979 | 572.192 | 230.61 | 889.4999
08238 | San Bernardino Substation: West of Colorado River CRAS – Devers Extension – generation addition. 1. Install four (4) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility associated with the West of Colorado River CRAS-Devers Extention-Generation Addition. | CET-ET-TP-RN-823804 | 902760267 | High | 2023-06-01 | 390.2702 | 50 | 0 | 440.2702 | 390.2702 | 50 | 0 | 440.2702
8238 | Total Mountainview Generating Station Pmax Increase Project |  |  |  |  | 390.2702 | 50 | 0 | 440.2702 | 390.2702 | 50 | 0 | 440.2702
08246 | Victor Substation- North of Lugo CRAS –Monitoring infrastructure i. Install four (4) GE N60 logic processing relays or equivalent successor for transmission line outage detection. ii. Install one (1) SEL-2407 satellite clock. iii. Install two (2) GE D400 Gateways | CET-ET-TP-RN-824600 | 902768480 | High | 2023-12-08 | 2.1724 | 0 | 0 | 2.1724 | 2.1724 | 0 | 0 | 2.1724
08246 | Lugo Substation- North of Lugo CRAS –Monitoring infrastructure i. Install four (4) GE N60 logic processing relays or equivalent successor for AA bank outage detection. ii. Install one (1) SEL-2407 satellite clock. iii. Install two (2) GE D400 Gateways | CET-ET-TP-RN-824601 | 902768481 | High | 2023-12-08 | 10.9699 | 0 | 0 | 10.9699 | 10.9699 | 0 | 0 | 10.9699
08246 | Kramer Substation- North of Lugo CRAS –Monitoring infrastructure Install two (2) GE N60 logic processing relays to send tripping signals to the Large Generating Facility. Power System Controls. i. Perform CRAS programming and testing to the new CRAS relays. ii. Add Points to the RTUs | CET-ET-TP-RN-824602 | 902768482 | High | 2023-12-08 | 7.515 | 0 | 0 | 7.515 | 7.515 | 0 | 0 | 7.515
8246 | Baldy Mesa Project Reliability Network Upgrades |  |  |  |  | 20.6573 | 0 | 0 | 20.6573 | 20.6573 | 0 | 0 | 20.6573
08298 | Windhub Substation. i. Install one (1) 220 kV line position which includes the following equipment. 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disconnect switches. 4. Fourteen (14) 220 kV bus support post insulators. ii. Protection Relays: 1. Install two (2) local breaker failure backup relays. | CET-ET-TP-RN-829803 | 903123443 | High | 2024-06-01 | 868.0969 | 864.835 | 50 | 1782.9319 | 868.0969 | 864.835 | 50 | 1782.9319
08298 | Tehachapi centralized RAS – generator addition i. Windhub Substation. Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-829800 | 903123440 | High | 2024-06-01 | 76.4024 | 187.689 | 0 | 264.0914 | 76.4024 | 187.689 | 0 | 264.0914
08298 | Windhub AA Bank centralized RAS – monitoring infrastructure i. Windhub Substation. 1. Install eight (8) GE N60 logic processing relays or equivalent successor to monitor and send tripping signals to the generating facilities. 2. Install two (2) Ethernet switches. 3. Install one (1) satellite clock. ii. Power System Controls. 1. Modify the existing RAS program to support the additional relays. 2. Install two (2) RTUs for monitoring of affected lines. iii. Corporate Security. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets, per compliance standards, at Windhub Substation. | CET-ET-TP-RN-829801 | 903123441 | High | 2024-06-01 | 719.7174 | 311.695 | 60 | 1091.4124 | 719.7174 | 311.695 | 60 | 1091.4124
08298 | Windhub AA Bank centralized RAS – generation addition i. Windhub Substation. Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. Power System Controls. 1. Perform RAS programming and testing to the new RAS relays for the tripping signals. 2. Add points to the RTU at Windhub Substation for the tripping signals. | CET-ET-TP-RN-829802 | 903123442 | High | 2024-06-01 | 50.1118 | 90.581 | 30 | 170.6928 | 50.1118 | 90.581 | 30 | 170.6928
8298 | Bellefield Solar Farm Reliability Network Upgrades |  |  |  |  | 1714.3285 | 1454.8 | 140 | 3309.1285 | 1714.3285 | 1454.8 | 140 | 3309.1285
08294 | Pardee Substation Upgrade 220kV Position 17 CB's (#4172, 5172, 6172) and Position 19 CB's (#4192, 5192, 6192) and associated equipment. | CET-ET-TP-RL-829400 | 903135849 | High | 2024-12-09 | 3063.2213 | 3784.597 | 0 | 6847.8183 | 3063.2213 | 3784.597 | 0 | 6847.8183
08294 | Pardee-Sylmar 220kV Transmission Line [North Coast Grid ET-00664-04601]: Replace one structure with a 15’ taller tower (M0-T2), including new foundations, in order to mitigate line clearance issues. | CET-ET-TP-RL-829401 | 903135850 | High | 2024-12-09 | 1385.686 | 877.973 | 0 | 2263.659 | 1385.686 | 877.973 | 0 | 2263.659
08294 | Pardee-Sylmar 220kV Transmission Line [Metro West Grid ET-00664-04645]: Raise four towers by 15’ (M9-T3, M9-T4, M10-T1, M10-T2) in order to mitigate line clearance issues. Note: Scope will also include lowering one subtrans/distribution crossing (between M10-T3 to M10-T4), which may be separated into a new element at a future point in time. | CET-ET-TP-RL-829402 | 903135851 | High | 2024-12-09 | 672.135 | 24.322 | 0 | 696.457 | 672.135 | 24.322 | 0 | 696.457
08294 | Sylmar Substation (Work to be paid for by SCE but performed by LADWP): Upgrade 220kV Position E8 CB's | CET-ET-TP-RL-829400 | 903769370 | High | 2024-12-09 | 0 | 1222.726 | 7855.777 | 9078.503 | 0 | 1222.726 | 7855.777 | 9078.503
8294 | Pardee-Sylmar No. 1 and No. 2 230kV Line Rating Increase Project |  |  |  |  | 5121.0422 | 5909.618 | 7855.777 | 18886.4372 | 5121.0422 | 5909.618 | 7855.777 | 18886.4372
08355 | Tehachapi CRAS – Monitoring infrastructure Whirlwind Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Whirlwind Substation. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTU at W Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Whirlwind Substations. | CET-ET-TP-RN-835500 | 903429710 | High | 2024-05-13 | 117.2773 | 88.593 | 90 | 295.8703 | 117.2773 | 88.593 | 90 | 295.8703
08355 | Tehachapi CRAS – Monitoring infrastructure Vincent Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Vincent Substation. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTUs at Vincent Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Vincent Substations. | CET-ET-TP-RN-835502 | 903429712 | High | 2024-05-13 | 1.5039 | 204.366 | 90 | 295.87 | 1.5039 | 204.366 | 90 | 295.87
08355 | Tehachapi CRAS – Monitoring infrastructure Midway Substation Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Midway Substation. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. 2. Install lightwave, routers, firewall access switches, data traffic monitoring devices, and data circuits to support centralized RAS network at Windhub and Midway substations. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTUs at Midway Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Midway Substation. | CET-ET-TP-RN-835503 | 903429713 | High | 2024-05-13 | 0.74 | 205.13 | 90 | 295.87 | 0.74 | 205.13 | 90 | 295.87
08355 | Tehachapi CRAS – Monitoring infrastructure Windhub Substation 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Windhub Substation. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. 2. Install lightwave, routers, firewall access switches, data traffic monitoring devices, and data circuits to support centralized RAS network at Windhub and Midway substations. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTU at Windhub Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Antelope, Midway, Whirlwind, Windhub Substations. | CET-ET-TP-RN-835504 | 903429714 | High | 2024-05-13 | 120.8796 | 85.99 | 90 | 296.8696 | 120.8796 | 85.99 | 90 | 296.8696
08355 | Whirlwind Substation Tehachapi CRAS – Tripping infrastructure i. Whirlwind Substation. 1. Install six (6) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Perform centralized RAS programming and testing to the new centralized RAS relay. | CET-ET-TP-RN-835500 | 903548050 | High | 2024-05-13 | 98.1119 | 385.671 | 263 | 746.7829 | 98.1119 | 385.671 | 263 | 746.7829
8355 | TOT909-Q1631 -Glenfeliz Solar Farm |  |  |  |  | 338.5127 | 969.75 | 623 | 1931.2627 | 338.5127 | 969.75 | 623 | 1931.2627
08358 | Eldorado Substation IF (RNU) Participate and modify the planned Lugo-Victorville CRAS a. Install two (2) GE N60 logic processing relays or equivalent successor for AA bank outage detection for participation of the Sloan Canyon RAS programming and testing to the new RAS relays. b. Install one (1) Satellite clock c. Perform programming and testing to the new RAS relays. Eldorado Sub (PSC) RNU a. Add points to the RTUs at Eldorado Substation and the Interconnection Customer’s Generating Facility (Mark for Deletion pending detailed Engineering) | CET-ET-TP-RN-835800 | 903427639 | High | 2023-09-26 | 64.5438 | 62 | 295 | 421.5438 | 64.5438 | 62 | 295 | 421.5438
08358 | Eldorado RNU (IF) Participate in and modify the existing Lugo-Victorville RAS a. Install two (2) GE N60 logic processing relays (two relays total) or equivalent successor for logic processing and sending generation trip signals to the Generating Facility Eldorado (PSC) a. Perform RAS programming and testing to the new RAS relays at Eldorado Substation. b. Add points to the RTUs at Eldorado Substation and the Interconnection Customer’s Generating Facility. | CET-ET-TP-RN-835801 | 903427640 | High | 2023-09-26 | 201.7064 | 147 | 0 | 348.7064 | 201.7064 | 147 | 0 | 348.7064
8358 | TOT796/Q1341, Yellow Pine 2, LLC, Install Reliability Network Upgrades Eldorado 500/220kV (T)7588 |  |  |  |  | 266.2502 | 209 | 295 | 770.2502 | 266.2502 | 209 | 295 | 770.2502
07115 | Johanna: Install double breakers on 3A+4A. | CET-ET-TP-RL-711500 | 902067053 | High | 2021-12-22 | 0 | 1.192 | 0 | 1.192 | 0 | 0.97744 | 0 | 0.97744
08107 | Kramer Substation (RNU): a. Engineer and construct one 220 kV line position, which includes the following equipment: i. Two 220 kV circuit breakers. ii. Three 220 kV group operated disconnect switches. iii. One (1) 220 kV group operated disconnect switch with grounding attachment. | CET-ET-TP-RN-810701 | 902342409 | High | 2023-11-09 | 2770.6425 | 421.277 | 107.622 | 3299.5415 | 2770.6425 | 421.277 | 107.622 | 3299.5415
08171 | Eldorado Substation (Reliability Network Upgrades): a. Install one (1) 220 kV transmission line position, which includes the following equipment: i. Two (2) 220 kV circuit breakers. ii. One (1) 220 kV group operated disconnect switch with grounding attachment. iii. Three (3) 220 kV group operated disconnect switches. iv. Fourteen (14) 220 kV bus support insulators. v. Perform ground grid study. vi. Ivanpah RAS: 1. Install two (2) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Perform RAS programming and testing to the new Ivanpah RAS relays. vii. Lugo-Victorville RAS: 1. Install two (2) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Perform RAS programming and testing to the new Lugo-Victorville RAS relays. b. Protection Relays: Two (2) local breaker failure backup relays Power System Controls i. Perform RAS programming and testing to the new Ivanpah RAS relays. ii. Add points to the RTUs at the Participating TO-Owned Eldorado 220 kV Substation and the Large Generating Facility to support the Ivanpah RAS. iii. Perform RAS programming and testing to the new Lugo-Victorville RAS relays. iv. Add points to the RTUs at the Participating TO-Owned Eldorado 220 kV Substation and the Large Generating Facility to support the Lugo-Victorville RAS | CET-ET-TP-RN-817100 | 902460358 | High | 2024-07-03 | 864.2907 | 1811 | 851 | 3526.2907 | 864.2907 | 1811 | 851 | 3526.2907
08205 | Whirlwind Substation (NU) Install one GE N60 logic processing relay or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-820501 | 903437595 | High | 2022-08-30 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125
08207 | Colorado River Substation (RNU) (i) Colorado River Substation. 1. Engineer and construct one (1) 220 kV line position which includes the following equipment: a. Two (2) 220 kV circuit breakers; b. Three (3) 220 kV group operated disconnect switches; c. One (1) 220 kV group operated disconnect switch with grounding attachment; and d. Fourteen (14) 220 kV bus support post insulators; e. One (1) ground grid study. 2. Protection Relays: a. Install two (2) local breaker failure backup (‘LBFB”) relays, GE C60 or equivalent models. Colorado River Corridor centralized RAS (cRAS) – generator tripping infrastructure (RNU). 1. Colorado River Substation: a. Install two (2) G.E. N60 logic processing relays or equivalent successor, at the Participating TO’s Colorado River Substation and to send additional tripping signals to the matching N60 relays or equivalent successor located at the Large Generating Facility to add the Large Generating Facility to the Colorado River Corridor centralized RAS. b. Perform centralized RAS programming and testing to the new centralized RAS relays. c. Perform one (1) relay coordination study and re-set/test protection relays to account for the interconnection of the Large Generating Facility. | CET-ET-TP-RN-820700 | 902598927 | High | 2024-06-30 | 59.9546 | 400 | 1806.17 | 2266.1246 | 59.9546 | 400 | 1806.17 | 2266.1246
08214 | Red Bluff Substation (RNU): 1. Engineer and construct one (1) 220 kV line position which includes the following equipment: i. Two (2) 220 kV circuit breakers; ii. Three (3) 220 kV group operated disconnect switches; iii. One (1) 220 kV group operated disconnect switch with grounding attachment; and iv. Fourteen (14) 220 kV bus support post insulators. 2. Protection Relays: i. Install two (2) local breaker failure backup relays, GE C60 or equivalent successor. 3. Perform ground grid study West of Colorado River centralized RAS (RNU): 1. Red Bluff Substation: i. Install two (2) GE N60 logic processing relays, or equivalent successor, at the Participating TO’s Red Bluff Substation and to send tripping signals to the matching N60 relays, or equivalent successor, located at the Large Generating Facility to add the Large Generating Facility to the West of Colorado River centralized RAS. 2. Telecommunications: i. Install required channel banks, cross connects, fiber optic cable, and associated equipment, supporting the centralized RAS requirements at the Participating TO’s Red Bluff Substation. Add monitoring infrastructure to monitor the Red Bluff 2nd AA Bank (RNU): 1. Red Bluff Substation. i. Install two (2) GE N60 logic processing relays or equivalent successor for transmission line outage detection (Red Bluff 2nd AA bank) 2. Power System Control. i. Add points to the existing RTUs at Red Bluff Substation to support centralized RAS requirements. 3. Telecommunications. i. Install required channel banks, cross connects, and associated equipment (including terminal equipment) at Red Bluff Substation to support the monitoring centralized RAS requirements. | CET-ET-TP-RN-821401 | 902630576 | High | 2024-05-28 | 599.6074 | 650 | 2922.832 | 4172.4394 | 599.6074 | 650 | 2922.832 | 4172.4394
06791 | Lugo 500kV Sub breaker installation for No. 1AA & No. 2AA banks | CET-ET-TP-RL-679100 | 800308934 | High | 2024-12-30 | 5255.5875 | 84 | 971 | 6310.5875 | 5255.5875 | 84 | 971 | 6310.5875
08376 | Vista Substation Power System Controls (RNU) -Perform cRAS programming and testing to the new cRAS relays at Vista Substation and Interconnection Customer’s Generating Facility supporting the cRAS requirements. | CET-ET-TP-RN-837603 | 903495657 | High | 2024-06-05 | 0.93687 | 0 | 254.884 | 255.8209 | 0.93687 | 0 | 254.884 | 255.8209
08392 | Red Bluff Sub (RNU)-West of Colorado River centralized RAS. a.Red Bluff Substation. i.Install two (2) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility; and ii.Perform RAS programming and testing to the new centralized RAS relays; and iii.Modify the existing automation program to support the new centralized RAS relays. b.Telecommunications. i.Install required channel banks (including terminal equipment) at the Participating TO’s Red Bluff Substation, supporting the centralized RAS requirements. c.Power System Controls. i.Expand existing HMI points at the Participating TO’s Red Bluff Substation to include points for status and alarms related to the new centralized RAS relays; and ii.Modify the existing centralized RAS program to support the additional relay(s). | CET-ET-CR-WC-839202 | 903531605 | High | 2024-03-01 | 0.78728 | 0.942 | 465.187 | 466.9163 | 0.78728 | 0.942 | 465.187 | 466.9163
08418 | Laguna Bell Substation Interconnection Reliability Network Upgrades | CET-ET-TP-RN-841802 | 903627525 | High | 2024-11-04 | 14.4596 | 1249.395 | 252.53 | 1516.3846 | 14.4596 | 1249.395 | 252.53 | 1516.3846
08454 | Antelope 230kV-Replace circuit breakers. Replace circuit breakers 4072 and 6032 | CET-ET-TP-RL-845400 | 903720208 | High | 2023-12-29 | 61.7524 | 0.85 | 0 | 62.6024 | 61.7524 | 0.85 | 0 | 62.6024
07073 | Red Bluff RNU: Install 220kV line position. | CET-ET-TP-RN-707300 | 902494149 | High | 2024-05-28 | 6.4739 | 7.198 | 592.969 | 606.6409 | 6.4739 | 7.198 | 592.969 | 606.6409
08100 | Whirlwind Substation (NU): a. Utilize the shared 230 kV position at Whirlwind Substation to terminate the Rattlesnake-Whirlwind 220kV Transmission Line. | CET-ET-TP-RN-810000 | 902326568 | High | 2023-10-06 | 0 | 525.577 | 185.163 | 710.74 | 0 | 525.577 | 185.163 | 710.74
08195 | Devers Substation (RNU): Engineer and construct one (1) 220 kV line position which includes the following equipment: i. Two (2) 220 kV circuit breakers; ii. Three (3) 220 kV group operated disconnect switches; iii. One (1) 220 kV group operated disconnect switch with grounding attachment; and iv. Fourteen (14) 220 kV bus support post insulators. b. Protection Relays: i. Install two (2) local breaker failure backup relays, GE C60 or equivalent successor. | CET-ET-TP-RN-819500 | 902748920 | High | 2024-11-25 | 1337.675 | 1950 | 0 | 3287.675 | 1337.675 | 1950 | 0 | 3287.675
08199 | Windhub Substation (RNU) a. Install one (1) 220 kV transmission line position which includes the following equipment: (i) Two (2) 220 kV circuit breakers. (ii) Four (4) sets of 220 kV group-operated disconnect switches. b. Install the following protection relays: (i) Two (2) local breaker failure backup relays. | CET-ET-TP-RL-819901 | 902663178 | High | 2021-08-02 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125
08163 | Red Bluff 2nd 500/230 kV AA Bank (Deliverability Network Upgrade). | CET-ET-TP-RL-816300 | 902494090 | High | 2022-04-26 | 0 | 200 | 0 | 200 | 0 | 200 | 0 | 200
08220 | Red Bluff Sub:Install line/relays/add points. | CET-ET-TP-RN-822004 | 902699211 | High | 2021-12-03 | 0 | 858.33 | 0 | 858.33 | 0 | 858.33 | 0 | 858.33
08201 | Whirlwind Substation (RNU): Whirlwind AA-Bank RAS: Utilize two GE N60 logic processing relays or equivalent successor, identified in Section 2(b)(i).1.c.i of this Appendix A, to send tripping signals to the matching N60 relays located at the Large Generating Facility for loss of one Whirlwind 500/200 kV transformer bank to add the Large Generating Facility to the Whirlwind AA-Bank RAS. | CET-ET-TP-RN-820100 | 902668204 | High | 2023-07-10 | 26.2596 | 671.707 | 244.289 | 942.2556 | 26.2596 | 671.707 | 244.289 | 942.2556
08285 | Whirlwind Substation: a. Install one (1) 230 kV line position which includes the following equipment: i. Two (2) 230 kV circuit breakers and foundations. ii. One (1) 230 kV group operated disconnect switch with grounding attachment. iii. Four (4) sets of 223 kV disconnect switches, steel support structures, and foundations. b. Protection Relays: Two local breaker failure backup relays, General Electric ("GE") C60 or equivalent successor. | CET-ET-TP-RN-828500 | 903099017 | High | 2024-08-05 | 9.4301 | 1605.964 | 968.865 | 2584.2591 | 9.4301 | 1605.964 | 968.865 | 2584.2591
08380 | Kramer Substation (RNU)- Perform one local relay coordination study and re-set/test protection relays to account for the additional interconnection facilities for the interconnection of the Large Generating Facility. | CET-ET-TP-RN-838002 | 903505987 | High | 2024-08-01 | 1.48 | 43.697 | 15.997 | 61.174 | 1.48 | 43.697 | 15.997 | 61.174
08380 | Mojave Desert RAS – tripping infrastructure (GRNU) a. Kramer Substation. i. Install two (2) G.E. N60 logic processing relays or equivalent successor to monitor and send tripping signals to the Large Generating Facility; and ii. Reconnect and test two (2) | CET-ET-TP-RN-838000 | 903505985 | High | 2024-08-01 | 10.7272 | 164.398 | 116.422 | 291.5472 | 10.7272 | 164.398 | 116.422 | 291.5472
08380 | North of Lugo (“NOL”) cRAS – tripping infrastructure (GRNU) a. Kramer Substation. i. Install two (2) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. b. Telecommunication. i. Install req | CET-ET-TP-RN-838001 | 903505986 | High | 2024-08-01 | 5.7276 | 266.697 | 179.6 | 452.0246 | 5.7276 | 266.697 | 179.6 | 452.0246
08380 | Aratina Solar Center 2 Project |  |  |  |  | 17.9348 | 474.792 | 312.019 | 804.7458 | 17.9348 | 474.792 | 312.019 | 804.7458
08448 | Laguna Bell Sub 1.Replace existing 220kV CB 21 with new 220kV CB, 4000A, 63kA, with new foundation 2.Replace existing 220kV CB 22 with new 220kV CB, 4000A, 63kA, with new foundation 3.Replace existing two (2) 230kV group operated DS, horizontal, center | CET-ET-TP-RL-844800 | 903728254 | High | 2024-06-23 | 35.8914 | 4017.51 | 0 | 4053.4014 | 35.8914 | 4017.51 | 0 | 4053.4014
08448 | Reconductor approximately 5 miles of existing Laguna Bell - Mesa No.1 230 kV Line with ACCC conductor. | CET-ET-TP-RL-844801 | 903728255 | High | 2024-06-23 | 51.2237 | 5092.562 | 0 | 5143.7857 | 51.2237 | 5092.562 | 0 | 5143.7857
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 2 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795047 | High | 2024-06-23 | 0.9684 | 100 | 0 | 100.9684 | 0.9684 | 100 | 0 | 100.9684
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 3 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795050 | High | 2024-06-23 | 1.1037 | 100 | 0 | 101.1037 | 1.1037 | 100 | 0 | 101.1037
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 4 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795052 | High | 2024-06-23 | 1.0008 | 100 | 0 | 101.0008 | 1.0008 | 100 | 0 | 101.0008
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 5 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795054 | High | 2024-06-23 | 1.1037 | 100 | 0 | 101.1037 | 1.1037 | 100 | 0 | 101.1037
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 6 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795055 | High | 2024-06-23 | 1.0008 | 100 | 0 | 101.0008 | 1.0008 | 100 | 0 | 101.0008
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 8 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795373 | High | 2024-06-23 | 1.1037 | 100 | 0 | 101.1037 | 1.1037 | 100 | 0 | 101.1037
08448 | Laguna Bell-Mesa No. 1 Reconductor - Section 7 (CAISO TPP Project) | CET-ET-TP-RL-844801 | 903795403 | High | 2024-06-23 | 1.383 | 100 | 0 | 101.383 | 1.383 | 100 | 0 | 101.383
8448 | Laguna Bell-Mesa No. 1 230 kV Line Rating Increase Project |  |  |  |  | 94.7793 | 9810.072 | 0 | 9904.8512 | 94.7793 | 9810.072 | 0 | 9904.8512
| Total Transmission Project Reliability |  |  |  |  | 45484.6718 | 56464.1 | 32338.891 | 134287.6628 | 44566.7564 | 58295.5355 | 32338.891 | 135201.1829
Infrastructure Replacement
03138 | Sylmar Convertor Station: Misc Cap | CET-OT-OT-ME-313800 |  | High | Blanket Specifics | 0 | 4469.694 | 3663.695 | 8133.389 | 0 | 4469.694 | 3663.695 | 8133.389
04651 | Palo Verde Switchrack: Misc Cap | CET-OT-OT-ME-465100 |  | High | Blanket Specifics | 0 | 1187.704 | 6276.855 | 7464.559 | 0 | 1187.704 | 6276.855 | 7464.559
| Total LADWP/Palo Verde - WORK PERFORMED BY OPERATING AGENT |  |  |  |  | 0 | 5657.398 | 9940.55 | 15597.948 | 0 | 5657.398 | 9940.55 | 15597.948
04211 | Replace Bulk Power Circuit Breakers (220kV and Above) | CET-ET-IR-CB-421100 |  | High | Blanket Specifics | 0 | 4737.815 | 3411.171 | 8148.986 | 0 | 4737.815 | 3411.171 | 8148.986
04343 | Non-Bulk Relay Replacement Program ("SRRP") | CET-ET-IR-RP-434301 |  | Low | Blanket Specifics | 0 | 46.815 | 0 | 46.815 | 0 | 46.815 | 0 | 46.815
04756 | Substation Miscellaneous Equipment Additions & Betterment | CET-ET-IR-ME-475600 |  | High | Blanket Specifics | 0 | 8069.9193 | 12368 | 20437.9193 | 0 | 8069.9193 | 12368 | 20437.9193
04837 | Replace SAS Infrastructure (FERC) | CET-ET-IR-RP-483701 |  | High | Blanket Specifics | 0 | 1228.357 | 0 | 1228.357 | 0 | 1228.357 | 0 | 1228.357
05089 | Bulk Power 500kV & 220kV Line Relay Replacement | CET-ET-IR-RP-508900 |  | High | Blanket Specifics | 0 | 5522.148 | 2929.531 | 8451.679 | 0 | 5522.148 | 2929.531 | 8451.679
8399 | Bulk Capital Relay Replacement Program | CET-ET-IR-RP-839900 |  | High | Blanket Specifics | 0 | 184.244 | 0 | 184.244 | 0 | 184.244 | 0 | 184.244
05210 | Substation Transformer Bank Replacement Program (AA-Bank & A-Bank) | CET-ET-IR-TB-521001 |  | High | Blanket Specifics | 0 | 1709.1426 | 328.424 | 2037.5666 | 0 | 1709.1426 | 328.424 | 2037.5666
06197 | On-line Dissolved Gas Analysis of Bulk Power Transformer Banks | CET-ET-IR-ME-619700 |  | High | Blanket Specifics | 0 | 1049.6728 | 700 | 1749.6728 | 0 | 1049.6728 | 700 | 1749.6728
07713 | Substation Switchrack Rebuilds (FERC) | CET-ET-IR-RB-771301 |  | High | Blanket Specifics | 0 | 4935.0673 | 439.9188 | 5374.9861 | 0 | 4935.0673 | 439.9188 | 5374.9861
07716 | Substation Batteries & Chargers (FERC) | CET-ET-IR-ME-771601 |  | High | Blanket Specifics | 0 | 334.453 | 649.944 | 984.397 | 0 | 334.453 | 649.944 | 984.397
07637 | Substation Facility Capital Maintenance | COS-00-RE-MA-NE7637 |  | High | Blanket Specifics | 0 | 11599.5746 | 11996.3399 | 23595.9145 | 0 | 4059.8511 | 4198.719 | 8258.5701
07957 | Devers: Substation Maintenance and Test Building Improvements program | COS-00-RE-AD-SR0004 | 801432305 | High | 2023-08-01 | 9111.2905 | 1047.502 | 0 | 10158.7925 | 6979.2485 | 802.3865 | 0 | 7781.635
07957 | Total Substation Maintenance and Test Building Improvements Program |  |  |  |  | 9111.2905 | 1047.502 | 0 | 10158.7925 | 6979.2485 | 802.3865 | 0 | 7781.635
07392 | Seismic Program - Bus Rel (FERC) | COS-00-SP-BR-000000 |  | High | Blanket Specifics |  | 175 | 125 | 300 |  | 141.9321 | 101.3801 | 243.3122
07392 | Seismic Program - Trans Subs (FERC) | COS-00-SP-TD-000000 |  | High | Blanket Specifics | 0 | 13000 | 11500 | 24500 | 0 | 8108.6301 | 7173.019 | 15281.6491
07392 | Seismic Program - Trans Lines | COS-00-SP-TD-000002 |  | High | Blanket Specifics | 0 | 3300 | 3300 | 6600 | 0 | 2501.089 | 2501.089 | 5002.1779
07392 | Seismic Assessment and Mitigation Program for Transmission Assets |  |  |  |  | 0 | 16475 | 14925 | 31400 | 0 | 10751.6512 | 9775.488 | 20527.1392
Physical Security Enhancement Programs: | [6 empty] | 0 | 0
[7 empty] | 0 | 0
07949 | Protection of Grid Infrastructure Assets (formerly, Physical Security Systems - Electric Facilities) | COS-00-CS-CS-745400 |  | High | Blanket Specifics | 0 | 13991.2813 | 20418.776 | 34410.0573 | 0 | 8372.5878 | 12218.8948 | 20591.4825
07573 | Substation Fence/Gate (Cu Theft) (aka, Security Fence and Lights Upgrade) (FERC) | CET-ET-IR-ME-757301 |  | High | Blanket Specifics | 0 | 341.8164 | 722.0292 | 1063.8456 | 0 | 341.8164 | 722.0292 | 1063.8456
08042 | 500/230 kV (ES-5067): Physical Security Tier 2 | CET-ET-IR-ME-804200 | 902210275 | High | 2023-12-20 | 4726.2592 | 549.142 | 0 | 5275.4012 | 3970.0578 | 461.2793 | 0 | 4431.337
08042 | 500/230 kV (ES-5047): Physical Security Tier 2 | CET-ET-IR-ME-804202 | 902210277 | High | 2023-09-29 | 2715.8842 | 1272.549 | 0 | 3988.4332 | 2715.8842 | 1272.549 | 0 | 3988.4332
08042 | 500/230 kV (ES-8060): Physical Security Tier 2 | CET-ET-IR-ME-804203 | 902210452 | High | 2023-07-28 | 424.8061 | 3617.521 | 607.7 | 4650.0271 | 424.8061 | 3617.521 | 607.7 | 4650.0271
08042 | 500/230 kV (ES-5079): Physical Security Tier 2 | CET-ET-IR-ME-804204 | 902210453 | High | 2023-11-29 | 350.5958 | 3664.4 | 607.7 | 4622.6958 | 312.0302 | 3261.316 | 540.853 | 4114.1992
08042 | 500/230 kV (ES-5070): Physical Security Tier 2 | CET-ET-IR-ME-804201 | 903511341 | High | 2024-08-14 | 449.4716 | 2631.627 | 2360 | 5441.0986 | 179.7886 | 1052.6508 | 944 | 2176.4394
08042 | 500/230 kV (ES-5031): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903897059 | High | 2024-05-03 | 1.853 | 450 | 0 | 451.853 | 1.7416 | 422.955 | 0 | 424.6966
08042 | 500/230 kV (ES-8369): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903897060 | High | 2024-10-15 | 1.927 | 237.182 | 0 | 239.109 | 1.927 | 237.182 | 0 | 239.109
08042 | 500/230 kV (ES-5042): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903994629 | High | 2023-12-01 | 0 | 236.1 | 0 | 236.1 | 0 | 197.1435 | 0 | 197.1435
08042 | 500/230 kV (ES-8076): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903853720 | High | 2023-12-01 | 4.5149 | 236.34 | 0 | 240.8548 | 1.8041 | 94.4415 | 0 | 96.2456
08042 | 500/230 kV (ES-5064): Physical Security Tier 2 | CET-ET-IR-ME-804205 | 902210454 | High | 2023-01-17 | 65.4507 | -0.138 | 0 | 68.635 | 14.3992 | -0.03036 | 0 | 15.0997
08042 | 500/230 kV (ES-5071): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903864281 | High | 2024-02-12 | 2.2473 | 1373 | 3272.5 | 4647.7473 | 0.52565 | 321.1447 | 765.4377 | 1087.1081
08042 | 500/230 kV (ES-8367): Physical Security Tier 2 | CET-ET-IR-ME-804200 | 903897669 | High | 2024-09-23 | 1.853 | 437.531 | 3463.616 | 3903 | 1.853 | 437.531 | 3463.616 | 3903
08042 | 500/230 kV (ES-5023): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903907357 | High | 2024-06-28 | 0 | 363.499 | 937.575 | 1301.074 | 0 | 112.6847 | 290.6483 | 403.3329
08042 | 500/230 kV (ES-5084): Physical Security Tier 2 | CET-ET-IR-ME-804206 | 903978044 | High | 2024-04-29 | 0 | 354.934 | 897.82 | 1252.754 | 0 | 42.5211 | 107.5588 | 150.0799
08042 | Physical Security Projects (Tiers 2 & 3) |  |  |  |  | 8744.8628 | 15423.687 | 12146.911 | 36318.783 | 7624.8175 | 11530.8892 | 6719.8138 | 25876.2514
[7 empty] | 0 | 0
| Total Physical Security Enhancement Programs |  |  |  |  | 8744.8628 | 29756.7847 | 33287.7162 | 71792.686 | 7624.8175 | 20245.2933 | 19660.7378 | 47531.5795
[7 empty] | 0 | 0
| Total Infrastructure Replacement |  |  |  |  | 17856.1532 | 92353.8934 | 90976.5949 | 201189.9638 | 14604.066 | 69334.2142 | 64402.4835 | 148341.4946
Grid Applications
08284 | Colorado River Substation (Removal CRC RAS) | CET-ET-CR-WC-828400 | 903109578 | High | 2024-09-03 | 87.3492 | 816.802 | 0 | 904.1512 | 87.3492 | 816.802 | 0 | 904.1512
08284 | Vista Sub: Install relays/Add points. Vista Substation (RNU): a. Install four (4) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS Inland/Devers extension. b. Install one (1) Ethernet switch associated with the West of Colorado River CRAS Inland/Devers extension. c. Install one (1) satellite clock associated with the West of Colorado River CRAS Inland/Devers extension. d. Install one (1) new standard pre-fabricated drop-in MEER. e. Perform Ground Grid Study.Power System Control Add points to the RTUs at Vista Substation and the Large Generating Facility to support the West of Colorado River CRAS Inland/Devers extension. | CET-ET-GA-CR-828401 | 902699207 | High | 2024-09-03 | 2369.0122 | -4.608 | 0 | 2364.4042 | 2369.0122 | -4.608 | 0 | 2364.4042
08284 | San Bernardino Sub:Install relays/add points San Bernardino Substation (RNU): a. Install two (2) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS Inland/Devers extension. b. Install one (1) Ethernet switch associated with the West of Colorado River CRAS Inland/Devers extension. c. Install one (1) satellite clock associated with the West of Colorado River CRAS Inland/Devers extension. Power System Control Add points to the RTUs at San Bernardino Substation and the Large Generating Facility to support the West of Colorado River CRAS Inland/Devers extension. PIN 8220 | CET-ET-GA-CR-828407 | 902699210 | High | 2024-09-03 | 973.4953 | 22.043 | 0 | 995.5383 | 973.4953 | 22.043 | 0 | 995.5383
08284 | Mira Loma Sub:Add relays/add points Mira Loma Substation (RNU): a. Install two (2) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS Inland/Devers extension. b. Install one (1) Ethernet switch associated with the West of Colorado River CRAS Inland/Devers extension. c. Install one (1) satellite clock associated with the West of Colorado River CRAS Inland/Devers extension. Power System Control Add points to the RTUs at Mira Loma Substation and the Large Generating Facility to support the West of Colorado River CRAS Inland/Devers extension. PIN 8220 | CET-ET-GA-CR-828402 | 902699212 | High | 2024-09-03 | 776.4079 | 3.335 | 0 | 779.7429 | 776.4079 | 3.335 | 0 | 779.7429
08284 | Serrano Sub (RNU): Install relays/add points. | CET-ET-GA-CR-828401 | 902699209 | High | 2024-09-03 | 827.7695 | 10.1 | 0 | 837.8695 | 827.7695 | 10.1 | 0 | 837.8695
08284 | Valley Sub (RNU):Add relays/points. | CET-ET-GA-CR-828400 | 902699208 | High | 2024-09-03 | 1165.435 | 11.632 | 0 | 1177.067 | 1165.435 | 11.632 | 0 | 1177.067
08284 | Etiwanda Sub:Install relays/Add points. | CET-ET-GA-CR-828403 | 902699213 | High | 2024-09-03 | 863.2077 | 0.564 | 0 | 863.7717 | 863.2077 | 0.564 | 0 | 863.7717
08284 | Devers Sub:Install relays/add points Devers Substation (RNU): a. Install two (2) G.E. logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS expansion. Power System Control Add points to the RTUs at Devers Substation and the Large Generating Facility to support the West of Colorado River CRAS expansion. PIN 8220 | CET-ET-GA-CR-828403 | 902699214 | High | 2024-09-03 | 1512.8903 | 20.245 | 0 | 1533.1353 | 1512.8903 | 20.245 | 0 | 1533.1353
8284 | West of Colorado River CRAS Inland/Devers Extension |  |  |  |  | 8575.5672 | 880.113 | 0 | 9455.6802 | 8575.5672 | 880.113 | 0 | 9455.6802
08345 | Install corporate security equipment to support CRAS Mohave, Eldorado and Lugo Substations. | CET-ET-GA-CR-834500 | 1070716 | High | 2024-07-01 | 0 | 0 | 2082 | 2082 | 0 | 0 | 2082 | 2082
08345 | Power system controls (PSC) sofware application updates | CET-ET-GA-CR-834500 | 8345-PCS | High | 2024-07-01 | 0 | 1524 | 2124 | 3648 | 0 | 1524 | 2124 | 3648
08345 | Mohave -Install 150 linear -ft of 4' x 4' cable tray -Install one (1) pair of monitoring relays -Install one (1) SEL-2407 Satellite Clock -Install six (6) sets of tripping relays to trip interconnection customers -Install two (2) Ethernet Switch -Remove existing RAS relays & infrastructure | CET-ET-GA-CR-834500 | 903333163 | High | 2024-07-01 | 111.0715 | 852 | 834 | 1797.0715 | 111.0715 | 852 | 834 | 1797.0715
08345 | Eldorado -Install 150 linear -ft of 4' x 4' cable tray -Install four (4) Ethernet Switches -Install four (4) pairs of monitoring relays -Install fourteen (14) pairs of tripping relays to customers -Install one (1) SEL-2407 Satellite Clock -Remove existing RAS relays & infrastructure | CET-ET-GA-CR-834501 | 903333164 | High | 2024-07-01 | 54.2895 | 583 | 551 | 1188.2895 | 54.2895 | 583 | 551 | 1188.2895
08345 | Lugo -Install 150 linear -ft of 4' x 4' cable tray -Install two (2) Ethernet Switches -Install one (1) pair of monitoring relays -Install one (1) SEL-2407 Satellite Clock -Remove existing RAS relays & infrastructure | CET-ET-GA-CR-834501 | 903333165 | High | 2024-07-01 | 18.7393 | 198 | 189 | 405.7393 | 18.7393 | 198 | 189 | 405.7393
08345 | Total Lugo-Victorville Centralized RAS |  |  |  |  | 184.1003 | 3157 | 5780 | 9121.1003 | 184.1003 | 3157 | 5780 | 9121.1003
06446 | VARIOUS: INSTALL PHASOR MEASUREMENT SYSTEM | CET-ET-GA-EM-644600 |  | High | Blanket Specifics | 0 | 3131.6951 | 2315.161 | 5446.8561 | 0 | 3131.6951 | 2315.161 | 5446.8561
| Total Grid Apps |  |  |  |  | 8759.6675 | 7168.8081 | 8095.161 | 24023.6365 | 8759.6675 | 7168.8081 | 8095.161 | 24023.6365
PWRD Blankets
03363 | Substation Planned Maintenance Replacements | CET-PD-IR-SP-SUBSNW |  | High | Blanket Specifics | 0 | 13624.727 | 11827.7351 | 25452.462 | 0 | 5742.7258 | 4985.3064 | 10728.0322
03363 | Substation Unplanned Maintenance Replacements | CET-PD-BM-SU-SUBSNW |  | High | Blanket Specifics | 0 | 26752.8233 | 29866.1043 | 56618.9277 | 0 | 6787.4655 | 7577.3368 | 14364.8022
03363 | Substation - Storm | CET-PD-ST-SS-SUBSNW |  | High | Blanket Specifics | 0 | 540.7284 | 845.9404 | 1386.6688 | 0 | 4.4709 | 6.9945 | 11.4655
03363 | Substation Maintenance, Breakdown, & Storm |  |  |  |  | 0 | 40918.2787 | 42539.7798 | 83458.0586 | 0 | 12534.6622 | 12569.6377 | 25104.2999
03364 | Transmission Maintenance Planned - Overhead Conductor | CET-PD-IR-TP-789000 |  | High | Blanket Specifics | 0 | 401 | 0 | 401 | 0 | 401 | 0 | 401
03364 | Transmission Breakdown Maintenance Unplanned | CET-PD-BM-TU-TRSJAC |  | High | Blanket Specifics | 0 | 3004.1814 | 3054.6421 | 6058.8235 | 0 | 715.139 | 727.1511 | 1442.2901
03364 | Transmission Tower Corrosion Program | CET-PD-IR-TS-TRSJAC |  | High | Blanket Specifics | 0 | 6913.1631 | 5704.7022 | 12617.8653 | 0 | 4839.2142 | 3993.2915 | 8832.5057
03364 | Transmission Small Civil | CET-PD-IR-TC-TRSJAC |  | Low | Blanket Specifics | 0 | 15144.51 | 18932.4 | 34076.91 | 0 | 5981.2062 | 7477.2038 | 13458.41
03364 | Transmission Grid-Based Maintenance | CET-PD-IR-TG-TRSJAC |  | High | Blanket Specifics | 0 | 19956.6206 | 20354.4721 | 40311.0927 | 0 | 4767.5467 | 4862.5916 | 9630.1382
| Transmission Maintenance & Breakdown Maintenance |  |  |  |  | 0 | 45419.4751 | 48046.2164 | 93465.6915 | 0 | 16704.106 | 17060.238 | 33764.344
03364 | Transmission Deteriorated Pole Repl & Restoration | CET-PD-IR-TR-TRSJAC |  | Low | Blanket Specifics | 0 | 88585.1039 | 102941.2482 | 191526.3521 | 0 | 6506.6142 | 7561.0792 | 14067.6935
04057 | Pole Loading Transmission Pole Replacements | CET-PD-IR-PT-TRSJAC |  | Low | Blanket Specifics | 0 | 26980.2413 | 14824.9264 | 41805.1676 | 0 | 217.8947 | 119.7274 | 337.6221
04056 | Steel Stub Pole Remediation (Trans) | CET-PD-OT-SF-TRORAN |  | Low | Blanket Specifics | 0 | 104.4513 | 105.5663 | 210.0176 | 0 | 1.9678 | 1.9888 | 3.9567
| Transmission Poles (Pole Loading & Deteriorated Pole Programs) |  |  |  |  | 0 | 115669.7964 | 117871.7409 | 233541.5373 | 0 | 6726.4768 | 7682.7954 | 14409.2722
[7 empty] | 0 | 0
07298 | Transmission Line Rating Remediation (Exempt from Licensing) | CET-PD-OT-PJ-729801 |  | High | Blanket Specifics | 0 | 48486.697 | 60183.946 | 108670.643 | 0 | 48486.697 | 60183.946 | 108670.643
03362 | Critical Infrastructure Spares - FERC Spare Transformer Equipment Program (STEP)/Emergency | CET-PD-CI-CI-CRINSP |  | High | Blanket Specifics | 0 | 5033.806 | 0 | 5033.806 | 0 | 5033.806 | 0 | 5033.806
03367 | Substation - Claim | CET-PD-CL-SC-SUBSNW |  | High | Blanket Specifics | 0 | 291.6509 | 346.2309 | 637.8818 | 0 | 5.6288 | 6.6822 | 12.311
03367 | Transmission - Claim | CET-PD-CL-TC-TRSJAC |  | High | Blanket Specifics | 0 | 3571.9394 | 3652.016 | 7223.9554 | 0 | 251.8658 | 257.5122 | 509.378
03367 | Transmission - Storm | CET-PD-ST-TS-TRSJAC |  | High | Blanket Specifics | 0 | 8447.9809 | 8304.0545 | 16752.0354 | 0 | 4009.98 | 3941.6628 | 7951.6428
03367 | Transmission Storm & Claims |  |  |  |  | 0 | 12311.5712 | 12302.3015 | 24613.8727 | 0 | 4267.4745 | 4205.8572 | 8473.3317
08224 | Trans Emerg Dry Fuels Remediation FERC | CET-PD-FR-TF-822601 |  | Low | Blanket Specifics |  | 4.2664 | 4.3544 | 8.6208 |  | 4.2664 | 4.3544 | 8.6208
08224 | EOI Replacements - T (FERC) | CET-PD-WM-TP-822401 |  | Low | Blanket Specifics |  | 262.2255 | 267.5687 | 529.7942 |  | 262.2255 | 267.5687 | 529.7942
08224 | Transmission Splice FERC | CET-PD-WM-TS-822401 |  | Low | Blanket Specifics |  | 6.6 | 6.7014 | 13.3014 |  | 6.6 | 6.7014 | 13.3014
08224 | [5 empty] | 0 | 273.0919 | 278.6245 | 551.7163 | 0 | 273.0919 | 278.6245 | 551.7163
| Total PWRD Blankets |  |  |  |  | 0 | 268112.7164 | 281222.609 | 549335.3254 | 0 | 94026.3145 | 101981.0988 | 196007.4133
Total Non-Incentive Transmission Projects | [5 empty] | 73269.9943 | 431480.6758 | 420763.6889 | 925517.6813 | 69099.9915 | 236115.7116 | 214934.869 | 520151.303
Total Forecast Specific Project Expenditures (Closing by December 2024) | [5 empty] | 73269.9943 | 84353.56 | 58396.235 | 216023.1116 | 69099.9915 | 81956.7636 | 52955.9394 | 204013.4254
Total Forecast Blanket Expenditures (Closing by December 2024) | [5 empty] | 0 | 347127.1158 | 362367.4539 | 709494.5697 | 0 | 154158.948 | 161978.9295 | 316137.8776