## Sheet1
PHFU
As of 12/31/2017
| GL balance | Alberhill | Other
| 15781292 | 15781292 | 0
ISO % |  | 63% | 0%
ISO PHFU | 9942155 | 9942155 | 0

## Jurisdictional Split
Alberhill Substation 800063633
Estm Date 10-07-10
FERC Units of Property
| 353.607 Arrester, Lightning 500kV (Stl Support) | 389700 |  |  | Electrical Common Only
| 353.614 Gas Insulated Switchgear (GIS) | 48957500 |  |  | 352.001 Substructure | 262600
| 353.615 Power Cable | 562200 |  |  | 352.002 Superstructure | 5389800
| 353.616 Bus, Support Struct (Steel/Fdn), High Side | 3443200 |  |  | 352.046 Instrusion Alarm System | 1005000
| 353.617 Bus, High Side | 109300 |  |  | 352.075 Power/Lighting System - Inside | 376400
| 353.618 Relays & Meters, Line Pos | 825300 |  |  | 352.105 Yard Drainage System | 14900
| 353.620 Switch, Disconnect 16kV (Stl Support) | 8000 |  |  | 352.106 Oil Diversion/Containment System | 1488900
| 353.631 Conduit | 461100 |  |  | 352.140 Fence/Wall Perimeter | 7900
| 353.637 Grounding, Station System | 464600 |  |  | 352.165 Paving | 39200
| 353.638 Foundation, Misc High Side | 185500 |  |  | 352.175 Landscaping | 14900
| 353.663 Coupling Capacitor 500kV (Stl Support/Fdn) | 316400 |  |  | 353.130 Fault Recorder | 214200
| 353.668 Trenches, Control | 560800 |  |  | 353.168 Trenches, Power | 3705900
| FERC Total | 56283600 | 62.54% |  | 353.168 Trenches, Control | 1942500
[5 empty] | 353.214 Supervisory Control Unit | 119100
| CPUC Units of Property |  |  |  | 353.425 Power/Lighting System - Equipment | 360400
| 353.802 Ground Bank (Stl Support/Fdn) | 55100 |  |  | 353.430 Conduit | 6700
| 353.803 Transformer, Power | 200000 |  |  | 353.435 Cable Trays | 110200
| 353.803 Transformer, Power 500/115kV | 15993200 |  |  | 353.500 DC Supply System | 12200
| 353.807 Arrester, Lightning 12kV (Stl Support) | 43500 |  |  | 353.505 Storage Battery Charger | 13600
| 353.807 Arrester, Lightning 115kV (Stl Support) | 397600 |  |  | 353.610 DC Generator Set | 202300
| 353.807 Arrester, Lightning 500kV (Stl Support) | 401600 |  |  |  | 15286700 | Common total
| 353.810 Potential Transformer (Stl Support/Fdn) | 74900
| 353.810 Potential Transformer (Stl Support/Fdn) | 188800
| 353.811 Current Transformer (Stl Support) | 61800
| 353.815 Power Cable | 609300
| 353.815 Control Cable | 1052400
| 353.816 Bus Support Struct (Steel/Fdn) | 1408200 |  |  |  | 10372600
| 353.816 Bus Support Struct (Steel/Fdn), High Side | 1693300 |  | Sitework Common Only
| 353.816 Bus Support Struct (Steel/Fdn), Bank | 224500
| 353.816 Bus Support Struct (Steel/Fdn), Low Side | 55600
| 353.817 Bus | 274900
| 353.817 Bus, High Side | 1009700
| 353.817 Bus, Bank | 746200
| 353.818 Relays & Meters, Line Pos | 19200
| 353.818 Relays & Meters, Bank | 718200
| 353.818 Relays & Meters, Bus Par Pos | 507700
| 353.820 Switch, Disconnect 12kV (Stl Support) | 164600
| 353.820 Switch, Disconnect 115kV (Stl Support) | 1593800
| 353.822 Fences & Enclosures - Inside Sub | 269000
| 353.825 Circuit Breaker/Switcher 12kV | 310400
| 353.825 Circuit Breaker/Switcher 115kV | 190300
| 353.825 Circuit Breaker/Switcher 115kV | 3050800
| 353.828 Power/Lighting System - Equipment | 9800
| 353.830 Reactor/Resistor | 651700
| 353.831 Conduit | 129600
| 353.835 Capacitor Bank 115kV | 222100
| 353.837 Grounding, Station System | 507600
| 353.838 Foundation, Misc. | 479400
| 353.838 Foundation, Misc. Bank | 85700
| 353.838 Foundation, Misc. High Side | 184100
| 353.845 Fuse Assembly HV | 32400
| 353.868 Trenches | 91600
| CPUC Total | 33708600 | 37.46%
FERC & CPUC Total |  | 89992200
Alberhill Substation 800063633
Common Electrical |  | 15286700 | Not Included in Percentage Split (new substation)
Common Sitework |  | 10372600 | Not Included in Percentage Split (new substation)
CPUC Units of Property |  | 33708600 | 37.46%
FERC Units of Property |  | 56283600 | 62.54%
Total Loaded Cost |  | 115651500 | 100%
Estimate date 10/07/10