## Sheet1
ISO ALLOCATORS

## OH&UG Lines
Account 563 - Overhead Line Expenses; 567 - Line Rents; 571 - Maintenance of Overhead Lines;
Account 564 - Underground Line Expense & 572 - Maintenance of Underground Transmission Lines
SCE Maintained Line Miles by Voltage - as of December 31, 2018
Overhead Line Miles
| Line Miles |  | ISO Line Miles |  | Non-ISO Line Miles
| Total Miles | % | Total Miles | % | Total Miles | %
Voltage
500 | 1631.6668 | 12.63% | 1631.6668 | 100% | 0 | 0%
220 | 3669.274 | 30.06% | 3316.5788 | 90.39% | 352.6952 | 9.612%
161 | 52.883 | 0.4387% | 52.883 | 100% | 0 | 0%
115 | 1820.309 | 15.57% | 607.4001 | 33.37% | 1212.9089 | 66.63%
66/55/33 | 4984.9582 | 41.3% | 93.8206 | 1.882% | 4891.1376 | 98.12%
| 12159.091 | 100% | 5702.3494 | 46.9% | 6456.7416 | 53.1%
Underground Line Miles
| Underground |  | ISO Line Miles |  | Non-ISO Line Miles
| Total | % | Total Miles | % | Total Miles | %
Voltage
500 | 3.5 | 0 | 3.5 | 100% | 0 | 0%
220 | 0.9941 | 0.281% | 0.9941 | 100% | 0 | 0%
161 | 0 | 0% | 0 | 0% | 0 | 0%
115 | 13.8869 | 5.206% | 0.22 | 1.584% | 13.6669 | 98.42%
66/55/33 | 344.7354 | 94.51% | 0 | 0% | 344.7354 | 100%
| 363.1164 | 100% | 4.7141 | 1.298% | 358.4023 | 98.7%
Total SCE Line Miles
| Total Miles |  | ISO Line Miles |  | Non-ISO Line Miles
| Total | % | Total Miles | % | Total Miles | %
Voltage
500 | 1635.1668 | 12.27% | 1635.1668 | 100% | 0 | 0%
220 | 3670.2681 | 29.21% | 3317.5729 | 90.39% | 352.6952 | 9.61%
161 | 52.883 | 0.4262% | 52.883 | 100% | 0 | 0%
115 | 1834.1959 | 15.28% | 607.6201 | 33.13% | 1226.5758 | 66.87%
66/55/33 | 5329.6936 | 42.82% | 93.8206 | 1.76% | 5235.873 | 98.24%
| 12522.2074 | 100% | 5707.0635 | 45.58% | 6815.1439 | 54.42%

## All Other Non 0% or 100% - CBs
All Other Non 0% or 100% Transmission O&M Accounts
Equipment Counts of December 2018
| Total | ISO | ISO
Voltage | Circuit Breakers | Circuit Breakers | Percentage
Transmission Accounts
500 kV | 200 | 192 | 96%
220kV | 989 | 790 | 79.88%
161kV | 2 | 2 | 100%
115kV | 622 | 89 | 14.31%
92kV | 0 | 0 | 0%
66kV | 1387 | 53 | 3.821%
55kV | 14 | 5 | 35.71%
Transmission Reactor CB's | 112 | 102 | 91.07%
Transmission Total | 3326 | 1233 | 37.07%
Equipment Counts of December 2018
| Total | ISO | ISO
| Circuit Breakers | Circuit Breakers | Percentage
Distribution Accounts
66kV | 1962 | 0 | 0%
33kV | 297 | 0 | 0%
Below 33kV | 6582 | 0 | 0%
Distribution Total | 8841 | 0 | 0%
Total Population
| #REF! | #REF! | #REF!