## Sheet1
ISO ALLOCATORS

## OH&UG Lines
Account 563 - Overhead Line Expenses; 567 - Line Rents; 571 - Maintenance of Overhead Lines;
Account 564 - Underground Line Expense & 572 - Maintenance of Underground Transmission Lines
SCE Maintained Line Miles by Voltage - as of December 31, 2019
Overhead Line Miles
| Line Miles |  | ISO Line Miles |  | Non-ISO Line Miles
| Total Miles | % | Total Miles | % | Total Miles | %
Voltage
500 | 1631.6668 | 12.63% | 1631.6668 | 100% | 0 | 0%
220 | 3675.0646 | 30.06% | 3322.3662 | 90.4% | 352.6984 | 9.597%
161 | 52.8924 | 0.4387% | 52.8924 | 100% | 0 | 0%
115 | 1821.178 | 15.57% | 607.4001 | 33.35% | 1213.7779 | 66.65%
66/55/33 | 4979.4357 | 41.3% | 93.8206 | 1.884% | 4885.6151 | 98.12%
| 12160.2375 | 100% | 5708.1462 | 46.94% | 6452.0913 | 53.06%
Underground Line Miles
| Underground |  | ISO Line Miles |  | Non-ISO Line Miles
| Total | % | Total Miles | % | Total Miles | %
Voltage
500 | 3.5 | 0 | 3.5 | 100% | 0 | 0%
220 | 0.9941 | 0.281% | 0.9941 | 100% | 0 | 0%
161 | 0 | 0% | 0 | 0% | 0 | 0%
115 | 13.8869 | 5.206% | 0.22 | 1.584% | 13.6669 | 98.42%
66/55/33 | 349.4277 | 94.51% | 0 | 0% | 349.4277 | 100%
| 367.8087 | 100% | 4.7141 | 1.282% | 363.0946 | 98.72%
Total SCE Line Miles
| Total Miles |  | ISO Line Miles |  | Non-ISO Line Miles
| Total | % | Total Miles | % | Total Miles | %
Voltage
500 | 1635.1668 | 12.27% | 1635.1668 | 100% | 0 | 0%
220 | 3676.0587 | 29.21% | 3323.3603 | 90.41% | 352.6984 | 9.594%
161 | 52.8924 | 0.4262% | 52.8924 | 100% | 0 | 0%
115 | 1835.0649 | 15.28% | 607.6201 | 33.11% | 1227.4448 | 66.89%
66/55/33 | 5328.8634 | 42.82% | 93.8206 | 1.761% | 5235.0428 | 98.24%
| 12528.0462 | 100% | 5712.8603 | 45.6% | 6815.1859 | 54.4%

## All Other Non 0% or 100% - CBs
All Other Non 0% or 100% Transmission O&M Accounts
Equipment Counts of December 2019
| Total | ISO | ISO
Voltage | Circuit Breakers | Circuit Breakers | Percentage
Transmission Accounts
500 kV | 200 | 193 | 96.5%
220kV | 995 | 814 | 81.81%
161kV | 2 | 2 | 100%
115kV | 622 | 89 | 14.31%
92kV | 0 | 0 | 0%
66kV | 1394 | 54 | 3.874%
55kV | 14 | 5 | 35.71%
Transmission Reactor CB's | 112 | 102 | 91.07%
Transmission Total | 3339 | 1259 | 37.71%
Equipment Counts of December 2018
| Total | ISO | ISO
| Circuit Breakers | Circuit Breakers | Percentage
Distribution Accounts
66kV | 1975 | 0 | 0%
33kV | 295 | 0 | 0%
Below 33kV | 6574 | 0 | 0%
Distribution Total | 8844 | 0 | 0%
Total Population
| #REF! | #REF! | #REF!