## WP Sch 16
|  |  |  | High/ Low |  | Project Total (ISO & non-ISO) |  |  |  | ISO Portion
PIN | Project Title | C-WBS | Order # | Voltage | OD | Prior | 2020 | 2021 | Total | Prior | 2020 | 2021 | Total
Non-Incentive Transmission Projects includes Direct Installation and Removal Expenditures, but excludes any C-WBS or Order # with 0% ISO.
Other Transmission
7756 | Whirlwind Sub (POS): Equip one 220 kV position to terminate the Rattlesnake-Whirlwind 220kV Line | CET-ET-TP-RN-775602 | 901458993 | High | 2018-11-13 | 0 | 70 | 0 | 70 | 0 | 70 | 0 | 70
7775 | Whirlwind Substation (NU): Equip one 220 kV position to terminate the Desert Flower-Whirlwind 220kV Line | CET-ET-TP-RN-777500 | 901515853 | High | 2018-07-25 | 100.258 | 15 | 0 | 115.258 | 100.258 | 15 | 0 | 115.258
| Total Other Transmission |  |  |  |  | 100.258 | 85 | 0 | 185.258 | 100.258 | 85 | 0 | 185.258
8090 | Eldorado-Sloan Canyon T/L: Install one transmission structure with two spans from the SCE dead end rack to the Connecting Customer-owned Last Structure. | CET-ET-AF-CF-809000 | 902249126 | High | 2019-05-15 | 1403.028 | 3 | 0 | 1406.028 | 1403.028 | 3 | 0 | 1406.028
8090 | Eldorado Substation (NU): install the following equipment on a dedicated 220kV double breaker line position (position 25) at the Eldorado Sub to terminate the Bob - Eldorado 220kV T/L. | CET-ET-LG-AF-809000 | 902249125 | High | 2019-12-10 | 4753.706 | 130 | 0 | 4883.706 | 4753.706 | 130 | 0 | 4883.706
8090 | Eldorado – Sloan Canyon 220 kV Interconnection |  |  |  |  | 6156.734 | 133 | 0 | 6289.734 | 6156.734 | 133 | 0 | 6289.734
08088 | Eldorado Substation (NU): Install facilities for a new 500 kV switchrack position to terminate the Eldorado-Harry Allen 500 kV Transmission Line. | CET-ET-LG-AF-808800 | 902245555 | High | 2020-06-16 | 6917.798 | 9952 | 0 | 16869.798 | 6917.798 | 9952 | 0 | 16869.798
08088 | Harry Allen - Eldorado T/L: Install one span from the SCE dead end rack to the Connecting Last Additional Tower | CET-ET-AF-CF-808800 | 902245556 | High | 2021-12-03 | 262.562 | 265 | 81 | 608.562 | 262.562 | 265 | 81 | 608.562
08088 | Harry Allen - Eldorado 500kV Transmission Line Project |  |  |  |  | 7180.36 | 10217 | 81 | 17478.36 | 7180.36 | 10217 | 81 | 17478.36
| Total Added Facilities |  |  |  |  | 13337.094 | 10350 | 81 | 23768.094 | 13337.094 | 10350 | 81 | 23768.094
TSP Projects
5383 | Chino 220/66kV - Add a 4th 280MVA, 220/66kV Transformer Bank and Split the Chino 66kV System | CET-ET-LG-TS-538303 | 901191112 | High | 2020-12-31 | 5601.618 | 562.992 | 0 | 6164.61 | 1960.5663 | 197.0472 | 0 | 2157.6135
6824 | La Fresa Sub (Phase 2): Install new MEER and cut over existing protection and upgrade CTs on existing banks. Upgrade SAS from 5.5 to 6X. | CET-ET-LG-TS-682400 | 900522611 | High | 2019-12-24 | 0 | 1698.915 | 0 | 1698.915 | 0 | 628.5985 | 0 | 628.5985
7113 | El Nido: Install 230 kV (63 kA) double breakers on No. 1 A bank at position 3 and No. 3A bank at position 6. | CET-ET-LG-TS-711300 | 901241164 | High | 2018-06-25 | 0 | 0.443 | 0 | 0.443 | 0 | 0.443 | 0 | 0.443
7834 | Bailey Sub: Install a 28.8 MVAR Capacitor | CET-ET-LG-TS-783400 | 901618623 | Low | 2018-06-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6263 | Vestal: Equip 220 kV A-Bank Positions (Positions 3 & 4) with CBs - PIN 6263 | CET-ET-LG-TS-626302 | 900312889 | High | 2017-08-31 | 0 | -17.36 | 0 | -17.36 | 0 | -16.1448 | 0 | -16.1448
7767 | Johanna Substation: Equip New 220kV position with one 220kV Circuit Breaker and two 220kV Disconnects; Install a new 220/66 kV -280 MVA bank; Extend 66kV rack by installing a new 8 bay low profile bus, bus support structures, foundation, and bus perimeter | CET-ET-LG-TS-776700 | 901487156 | High | 2020-07-01 | 17260.723 | 2536.903 | 0 | 19797.626 | 863.0362 | 126.8451 | 0 | 989.8813
| Total TSP Projects |  |  |  |  | 22862.341 | 4781.893 | 0 | 27644.234 | 2823.6025 | 936.7891 | 0 | 3760.3916
Transmission Project Reliability
7518 | Springville Sub: Redesign high side feed from bank on bus to double CB at 220kV position 4 equipped with two (2) new 3000A 220kV CB’s and disconnects. | CET-ET-TP-RL-751800 | 901007168 | High | 2019-05-23 | 0 | 6.065 | 0 | 6.065 | 0 | 4.852 | 0 | 4.852
7119 | Walnut: Convert the Mesa 220 kV Line Position and 3A & 4A Bank High Side Positions to Double Breaker. | CET-ET-TP-RL-711900 | 900772538 | High | 2019-12-23 | 0 | 116.471 | 0 | 116.471 | 0 | 47.7531 | 0 | 47.7531
7790 | Eagle Mountain Substation: Install a 45 MVAR tertiary reactor (effective 34 MVAR @ 12 kV) | CET-ET-TP-RL-779000 | 901552346 | High | 2018-11-30 | 0 | 1.803 | 0 | 1.803 | 0 | 1.803 | 0 | 1.803
[6 empty] | 0 | [6 empty] | 0
7547 | Eldorado: Engineer, remove and install equipment for changing the 500kV line pos for the Eldorado–Mohave & Eldorado–Moenkopi lines. | CET-ET-TP-RL-754700 | 901107340 | High | 2018-01-23 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10
7547 | Eldorado-Mohave 500kV: Remove two existing transmission structures. Install three new transmission structures. | CET-ET-TP-RL-754701 | 901107560 | High | 2018-01-12 | 7217.442 | 0 | 230 | 7447.442 | 7217.442 | 0 | 230 | 7447.442
7547 | Eldorado-Moenkopi 500 kV: Remove one existing transmission structure. Install one new transmission structure. | CET-ET-TP-RL-754702 | 901107562 | High | 2018-01-19 | 4266.179 | 0 | 0 | 4266.179 | 4266.179 | 0 | 0 | 4266.179
7547 | Total Eldorado-Mohave and Eldorado-Moenkopi 500kV Line Position Swap |  |  |  |  | 11483.621 | 10 | 230 | 11723.621 | 11483.621 | 10 | 230 | 11723.621
7727 | Inyokern Substation: Expand existing MEER at Inyokern Substation. | CET-ET-TP-RL-772700 | 901394462 | Low | 2020-12-16 | 34.698 | 1493.394 | 0 | 1528.092 | 12.8383 | 552.5558 | 0 | 565.394
7727 | Control Substation: Install 12 N60 relays, one satellite clock, and two ethernet switches | CET-ET-TP-RL-772701 | 901394533 | Low | 2020-10-29 | 270.707 | 1206.615 | 0 | 1477.322 | 232.808 | 1037.6889 | 0 | 1270.4969
7727 | Total Digital 395 Project: North-of-Kramer Area Telecom Network and RAS Upgrades |  |  |  |  | 305.405 | 2700.009 | 0 | 3005.414 | 245.6463 | 1590.2447 | 0 | 1835.891
7763 | Lugo 500/220 kV: Install two N60 relays Install one ethernet switch Install one satellite switch PSC- RTU Point additions at Lugo PSC-Modify Lugo-Victorville SPS program and test | CET-ET-TP-RN-776301 | 901484303 | High | 2016-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7763 | Eldorado-Lugo 500 kV line: CA side - Install 85 miles of new OPGW between CA/NV border and Pisgah | CET-ET-TP-RN-776304 | 901665563 | High | 2021-04-14 | 4597.396 | 6453 | 0 | 11050.396 | 4597.396 | 6453 | 0 | 11050.396
7763 | Eldorado-Lugo 500 kV line: NV Side -Install 2 miles of new OPGW between CA/NV border and MI52-T2 | CET-ET-TP-RN-776305 | 901665564 | High | 2021-04-14 | 468.06 | 41 | 0 | 509.06 | 468.06 | 41 | 0 | 509.06
7763 | Pisgah Sub: Install new telecommunication room. | CET-ET-TP-RL-776300 | 901671834 | High | 2018-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7763 | Mohave: Install two Relays and two Switches | CET-ET-TP-RN-776302 | 901484315 | High | 2020-11-19 | 137.941 | 121 | 0 | 258.941 | 137.941 | 121 | 0 | 258.941
7763 | Lugo Sub: Install new control cables | CET-ET-TP-RN-776307 | 902249120 | High | 2020-10-28 | 52.13 | 55 | 0 | 107.13 | 52.13 | 55 | 0 | 107.13
7763 | Eldorado: Install equipment to support N-2 | CET-ET-TP-RN-776308 | 902249121 | High | 2021-05-21 | 18.242 | 1 | 0 | 19.242 | 18.242 | 1 | 0 | 19.242
7763 | Total Lugo-Victorville 500 kV SPS |  |  |  |  | 5273.769 | 6671 | 0 | 11944.769 | 5273.769 | 6671 | 0 | 11944.769
07120 | Chino Sub: equip the No.1A 220kV A-Bank positions with circuit breakers | CET-ET-TP-RL-712000 | 900713964 | High | 2019-08-07 | 0 | 3546.85 | 824.179 | 4371.029 | 0 | 2305.4525 | 535.7164 | 2841.1689
7884 | Tap the remaining Lighthipe 220kV line to Harborgen substation | CET-ET-TP-RL-788402 | 901822249 | High | 2020-12-14 | 531.129 | 25.819 | 10.478 | 567.426 | 531.129 | 25.819 | 10.478 | 567.426
7884 | Harbogen-Long Beach 220kV:Rmv 1 mile of line (REMOVAL ONLY) | CET-ET-TP-RL-788400 | 901822245 | High | 2020-12-14 | 0 | 793.409 | 97.164 | 890.573 | 0 | 793.409 | 97.164 | 890.573
7884 | Lighthipe-Long Beach 220kV:Rmv 1 mile of lne (REMOVAL ONLY) | CET-ET-TP-RL-788401 | 901822246 | High | 2020-12-14 | 0 | 2254.844 | 723.817 | 2978.661 | 0 | 2254.844 | 723.817 | 2978.661
7884 | Long Beach Sub: Remove 220kV switchyard | CET-ET-TP-RL-788403 | 901822250 | High | 2021-03-31 | 46.973 | 111.065 | 65.157 | 223.195 | 46.973 | 111.065 | 65.157 | 223.195
7884 | CCR Project Phase 2 (Removal) | CET-ET-TP-RL-788498 | 7884-Phase2 | High | 2021-12-31 | 0 | 0 | 37598.316 | 37598.316 | 0 | 0 | 21807.0233 | 21807.0233
7884 | Total Cerritos Channel Relocation Project |  |  |  |  | 578.102 | 3185.137 | 38494.932 | 42258.171 | 578.102 | 3185.137 | 22703.6393 | 26466.8783
8019 | CONTROL-SILVER PEAK "A" 55KV Install 11 sets of Remote Fault Indicators (RFIs) | CET-ET-TP-RL-801900 | TD1269146 | Low | 2020-06-05 | 279.961 | 125.279 | 0 | 405.24 | 279.961 | 125.279 | 0 | 405.24
8019 | CONTROL-SILVER PEAK "C" 55KV Install 11 sets of Remote Fault Indicators (RFIs) | CET-ET-TP-RL-801902 | TD1269499 | Low | 2020-07-02 | 164.605 | 112.176 | 0 | 276.781 | 164.605 | 112.176 | 0 | 276.781
8019 | Total Control-Silver Peak "A" Transmission Project |  |  |  |  | 444.566 | 237.455 | 0 | 682.021 | 444.566 | 237.455 | 0 | 682.021
6791 | Lugo 500 kV Substation breaker installation for No. 1AA & No. 2AA banks | CET-ET-TP-RL-679100 | 800308934 | High | 2021-12-08 | 5354.408 | 100 | 1737 | 7191.408 | 5354.408 | 100 | 1737 | 7191.408
7115 | Johanna: Install double breakers on 3A+4A | CET-ET-TP-RL-711500 | 902067053 | High | 2020-12-31 | 2212.027 | 300 | 0 | 2512.027 | 1813.8621 | 246 | 0 | 2059.8621
7241 | Eldorado: Install (2) 500 kV CBs, (3) 500 kV gang operated disconnects and other associated equipment to terminate the 3 AA bank to the number 3 position on the Eldorado 500 kV bus | CET-ET-TP-RL-724100 | 900713966 | High | 2016-07-08 | 0 | 2.317 | 0 | 2.317 | 0 | 2.317 | 0 | 2.317
7248 | New 500/230 kV AA-Bank at Eldorado Connected to the New 220 kV SCE Owned Switchyard | CET-ET-TP-RN-724800 | 900692364 | High | 2018-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7511 | Antelope-Pardee 500kV: Install Marker Balls and Lighting per FAA requirements | CET-PD-OT-LM-751101 | 900719387 | High | 2019-07-01 | 3249.811 | 3.833 | 0 | 3253.644 | 3249.811 | 3.833 | 0 | 3253.644
6420 | Devers Sub: Remove 220 kV CBs and DSs | CET-ET-TP-RN-642007 | 901455361 | High | 2021-10-26 | 0 | 20 | 0 | 20 | 0 | 20 | 0 | 20
6420 | Vista Sub: Remove 220 kV DSs | CET-ET-TP-RN-642011 | 901455365 | High | 2020-02-25 | 0 | 30 | 0 | 30 | 0 | 30 | 0 | 30
6420 | West of Devers 220 kV Trans Line Removals | CET-ET-TP-RN-642018 | 901460766 | High | 2020-12-14 | 0 | 5000 | 4513.436 | 9513.436 | 0 | 5000 | 4513.436 | 9513.436
6420 | Total West of Devers Upgrade Project |  |  |  |  | 0 | 5050 | 4513.436 | 9563.436 | 0 | 5050 | 4513.436 | 9563.436
7227 | Inyo Substation: Replace Inyo phase shifter and new hybrid circuit breaker. Inst | CET-ET-CR-WC-722702 | 902379073 | Low | 2021-03-15 | 226.611 | 3283 | 4943 | 8452.611 | 226.611 | 3283 | 4943 | 8452.611
7227 | Control: Install two N60 relays | CET-ET-TP-RN-722700 | 902448105 | Low | 2021-03-11 | 4.624 | 250 | 115 | 369.624 | 4.624 | 250 | 115 | 369.624
7227 | Total Casa Diablo IV Project Interconnection |  |  |  |  | 231.235 | 3533 | 5058 | 8822.235 | 231.235 | 3533 | 5058 | 8822.235
0
7729 | Red Bluff Sub (NU): Terminate the Black Ranch - Red Bluff 220kV T/L at Red Bluff Sub: Install the following equipment for a dedicated 220kV double breaker line position on a breaker-and-a-half configuration to terminate the Black Ranch - Red Bluff 220kV T | CET-ET-TP-RN-772900 | 901395606 | High | 2020-07-13 | 1121.165 | 1517 | 0 | 2638.165 | 1121.165 | 1517 | 0 | 2638.165
8107 | Kramer Substation (RNU): a. Engineer and construct one 220 kV line position, which includes the following equipment: i. Two 220 kV circuit breakers. ii. Three 220 kV group operated disconnect switches. iii. One (1) 220 kV group operated disco | CET-ET-CR-WC-810701 | 902342409 | High | 2021-11-02 | 17.163 | 169.813 | 2157.269 | 2344.245 | 17.163 | 169.813 | 2157.269 | 2344.245
8091 | Big Creek 4: Install two new N60 relays | CET-ET-TP-RL-809100 | 902260821 | High | 2020-12-01 | 105.919 | 294.561 | 0 | 400.48 | 105.919 | 294.561 | 0 | 400.48
7546 | EPC Vendor Compensation for delay in License/Permit Process | CET-ET-TP-RL-754600 | 7546-1 | High | 2021-12-31 | 0 | 0 | 703 | 703 | 0 | 0 | 703 | 703
7546 | Change Orders for AC Paving, ABB Bypass Switches, H Frame, testing and other studies | CET-ET-TP-RL-754600 | 7546-2 | High | 2021-12-31 | 0 | 0 | 3593 | 3593 | 0 | 0 | 3593 | 3593
7546 | (Removal/Expense) Eldorado Sub: Upgrade Terminal Equipment and Series Capacitors on Eldorado-Lugo 500kV T/L | CET-ET-TP-RL-754600 | 902287734 | High | 2021-12-30 | 0 | 667 | 0 | 667 | 0 | 667 | 0 | 667
7546 | (Removal/Expense) Lugo Sub: Upgrade Terminal Equipment and Series Capacitors on Eldorado-Lugo 500kV T/L | CET-ET-TP-RL-754601 | 902287735 | High | 2021-12-30 | 0 | 664 | 534 | 1198 | 0 | 664 | 534 | 1198
7546 | (Removal/Expense) Mohave Sub: Install Series Capes | CET-ET-TP-RL-754604 | 902287736 | High | 2021-12-30 | 0 | 290 | 0 | 290 | 0 | 290 | 0 | 290
7546 | (Removal/Expense) E-M: Install OPGW, Splice Fiber, and clear Infractions on the Eldorado-Mohave 500 kV T/L | CET-ET-TP-RL-754607 | 902287737 | High | 2021-04-14 | 0 | 896 | 0 | 896 | 0 | 896 | 0 | 896
7546 | (Removal/Expense) L-M (CA): Install OPGW, Splice Fiber, and clear Infractions on the Lugo-Mohave 500 kV T/L (CA) | CET-ET-TP-RL-754608 | 902287738 | High | 2021-04-14 | 0 | 2823 | 0 | 2823 | 0 | 2823 | 0 | 2823
7546 | (Removal/Expense) L-M (NV): Install OPGW, Splice Fiber, and clear Infractions on the Lugo-Mohave 500 kV T/L (NV) | CET-ET-TP-RL-754609 | 902288039 | High | 2021-04-14 | 0 | 176 | 0 | 176 | 0 | 176 | 0 | 176
7546 | (Removal/Expense) Eldorado-Lugo: Correct GO-95 Infractions on the Eldorado-Lugo 500 kV T/L | CET-ET-TP-RL-754610 | 902288040 | High | 2021-04-14 | 0 | 124 | 0 | 124 | 0 | 124 | 0 | 124
7546 | Total Eldorado-Lugo-Mohave (ELM) Series Cap Upgrades Project |  |  |  |  | 0 | 5640 | 4830 | 10470 | 0 | 5640 | 4830 | 10470
7555 | Mesa: Remove 230/66/16kV switchracks & equipment | CET-ET-TP-RL-755505 | 901192482 | High | 2020-08-31 | 0 | 11258.297 | 0 | 11258.297 | 0 | 3602.655 | 0 | 3602.655
7555 | Mira Loma-Vincent 500kV: Remove three structures and 4200 ckt ft of conductor | CET-ET-TP-RL-755507 | 901192484 | High | 2020-12-14 | 0 | 892.039 | 0 | 892.039 | 0 | 892.039 | 0 | 892.039
7555 | Eagle Rock-Mesa 220kV: Remove 2100 ckt ft of conductor | CET-ET-TP-RL-755537 | 902124237 | High | 2020-12-14 | 0 | -2.087 | 0 | -2.087 | 0 | -2.087 | 0 | -2.087
7555 | Lighthipe-Mesa: Remove 8 structures and conductor | CET-ET-TP-RL-755546 | 902124391 | High | 2019-12-31 | 0 | -2.603 | 0 | -2.603 | 0 | -2.603 | 0 | -2.603
7555 | Mesa-Rio Hondo 220kV: Remove 4 structures and 2700 ckt ft of conductor. | CET-ET-TP-RL-755547 | 902124392 | High | 2020-12-14 | 0 | 226.121 | 0 | 226.121 | 0 | 226.121 | 0 | 226.121
7555 | Mesa-Rio Hondo 220kV: Remove 4 structures and 2700 ckt ft of conductor. | CET-ET-TP-RL-755548 | 902124393 | High | 2020-12-14 | 0 | 352.8 | 0 | 352.8 | 0 | 352.8 | 0 | 352.8
7555 | Mesa-Vincent #1 220kV: Remove 3 structures, 2 shoofly ESPs, 800 ckt ft of shoofly conductor, and 2200 ckt ft of conductor | CET-ET-TP-RL-755552 | 902124397 | High | 2019-12-31 | 0 | 13.852 | 0 | 13.852 | 0 | 13.852 | 0 | 13.852
7555 | Mesa-Vincent #2 220kV: Remove 3 structures and 2000 ckt ft of conductor | CET-ET-TP-RL-755554 | 902124579 | High | 2020-12-14 | 0 | -9.548 | 0 | -9.548 | 0 | -9.548 | 0 | -9.548
7555 | Redondo-Vincent 220kV: Remove 1500 ckt ft of shoofly conductor. Shoofly will stay in place >12 months. | CET-ET-TP-RL-755558 | 902124583 | High | 2020-12-14 | 0 | 81.233 | 0 | 81.233 | 0 | 81.233 | 0 | 81.233
7555 | Center-Mesa 220kV: Remove 4 structures and 2800 ckt ft of conductor | CET-ET-TP-RL-755535 | 902132962 | High | 2020-12-14 | 0 | 380.812 | 0 | 380.812 | 0 | 380.812 | 0 | 380.812
7555 | Goodrich-Laguna Bell 220kV: Remove 2 structures, remove 1500 ckt ft of shoofly conductor, and remove 3500 ckt ft of conductor | CET-ET-TP-RL-755538 | 902132963 | High | 2020-12-14 | 0 | 139.566 | 0 | 139.566 | 0 | 139.566 | 0 | 139.566
7555 | Laguna Bell-Rio Hondo 220kV: Remove 2 structures, remove 1 shoofly ESP and 500 ckt ft of shoofly conductor, and remove 2500 ckt ft of conductor | CET-ET-TP-RL-755543 | 902132966 | High | 2020-12-14 | 0 | -2.88 | 0 | -2.88 | 0 | -2.88 | 0 | -2.88
7555 | Mesa-Walnut 220kV: Remove 2800 ckt ft of conductor | CET-ET-TP-RL-755556 | 902124581 | High | 2020-12-14 | 0 | 148.96 | 0 | 148.96 | 0 | 148.96 | 0 | 148.96
7555 | Total Mesa Substation Project |  |  |  |  | 0 | 13476.562 | 0 | 13476.562 | 0 | 5820.92 | 0 | 5820.92
7866 | Magunden Substation: Upgrade six 1200amp disconnects to match rating of the upgraded line. (4hr emergency rating of 1520amp) | CET-ET-TP-RN-786601 | 902175272 | High | 2019-12-11 | 0 | 219.314 | 0 | 219.314 | 0 | 219.314 | 0 | 219.314
7866 | Vestal Substation: Upgrade six 1200amp disconnects to match rating of the upgraded line. (4hr emergency rating of 1520amp) | CET-ET-TP-RN-786602 | 902175273 | High | 2020-02-04 | 1895.975 | 401.334 | 0 | 2297.309 | 1895.975 | 401.334 | 0 | 2297.309
7866 | Total Big Creek Corridor Rating Increase Project |  |  |  |  | 1895.975 | 620.648 | 0 | 2516.623 | 1895.975 | 620.648 | 0 | 2516.623
8029 | Lugo Substation: Replace three 500kV CBs (CB#762, 862, 962), six 500kV disconnects (#761, 763, 861, 863, 961, 963), terminal equipment and line drop at position 6, conductor on CB #862, legs on CB #762, 862, & 962, and 500kV wave trap. This will increase rat | CET-ET-TP-RL-802900 | 902148910 | High | 2021-09-21 | 30.832 | 2995 | 6050 | 9075.832 | 30.832 | 2995 | 6050 | 9075.832
8029 | Lugo-Victorville 500kV Transmission Line (SCE-owned): Fix the appropriate number of spans to achieve 3950 amps normal and 4500 amps emergency on this transmission line. | CET-ET-TP-RL-802901 | 902148911 | High | 2019-05-15 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125
8029 | Total Lugo - Victorville 500kV Transmission Line Thermal Overloads Project |  |  |  |  | 30.832 | 3120 | 6050 | 9200.832 | 30.832 | 3120 | 6050 | 9200.832
8077 | Pisgah 220 kV (Option 2): A. 220 kV Switchrack -8 BCT Upgrades B. Relays -8 Racks -4 L90 -4 C60 | CET-ET-TP-RL-807701 | 902739837 | High | 2021-06-01 | 8.77 | 315.2 | 179 | 502.97 | 8.77 | 315.2 | 179 | 502.97
8077 | Lugo 220 KV Relay Upgrade | CET-ET-TP-RL-807701 | 902739830 | High | 2021-03-05 | 14.519 | 349.5 | 76 | 440.019 | 14.519 | 349.5 | 76 | 440.019
8077 | Eldorado 220 kV (Option 2): Cima-Pisgah #1 220kV (Pos 9N) and Cima-Pisgah #2 220kV (Pos 10N) A. 220 kV Switchrack -6 BCT Upgrades B. Relays -2 Racks -2 L90 -4 C60 | CET-ET-TP-RL-807702 | 902739829 | High | 2021-07-19 | 14.924 | 169 | 39 | 222.924 | 14.924 | 169 | 39 | 222.924
8077 | Inyokern 115 kV: Relays: ‐ 2‐Rack ‐ 1‐L90 ‐ 1‐SEL311C ‐ 4‐C60 | CET-ET-TP-RL-807701 | 902739835 | Low | 2020-10-29 | 1.078 | 259.6 | 0 | 260.678 | 1.078 | 259.6 | 0 | 260.678
8077 | Big Creek 3 220 kV: A. 220 kV Switchrack -17 BCT Upgrades B. Relays -4 Racks -4 SEL587Z | CET-ET-TP-RL-807701 | 902459930 | High | 2020-12-31 | 628.585 | 3340.445 | 0 | 3969.03 | 628.585 | 3340.445 | 0 | 3969.03
8077 | Magunden220 kV: A. 220 kV Switchrack -15 BCT Upgrades -Conduit + pull-boxes B. Relays -4 Racks -4 SEL587Z | CET-ET-TP-RL-807701 | 902459931 | High | 2020-12-31 | 665.545 | 885 | 1258.441 | 2808.986 | 665.545 | 885 | 1258.441 | 2808.986
8077 | Pastoria 220 kV: A. 220 kV Switchrack -6 BCT Upgrades -Conduit + pull-boxes -Remove conduit + pull-boxes B. Relays -8 Racks -8 SEL587Z -Modify Racks | CET-ET-TP-RL-807701 | 902459932 | High | 2020-07-17 | 306.599 | 565.944 | 630 | 1502.543 | 306.599 | 565.944 | 630 | 1502.543
8077 | Total Annual Transmission Reliability Assessment 2016 - Protection Upgrades (San Joaquin Region) |  |  |  |  | 1640.02 | 5884.689 | 2182.441 | 9707.15 | 1640.02 | 5884.689 | 2182.441 | 9707.15
8078 | Antelope (RNU): Install two N60 relays | CET-ET-CR-WC-807802 | 902220556 | High | 2021-03-29 | 19.304 | 23.6 | 23.6 | 66.504 | 19.304 | 23.6 | 23.6 | 66.504
8078 | Antelope Sub (RNU) - Power System Control. i. Expand existing RTU at SCE Antelope Substation and the generation facility to include points for status and alarms related to the new RAS relays ii. Modify the programs for the Tehachapi RAS. iii. Point additions to the existing RTU | CET-ET-CR-WC-807803 | 902220557 | High | 2020-06-01 | 10.82 | 23.6 | 39.298 | 73.718 | 10.82 | 23.6 | 39.298 | 73.718
8078 | Total Antelope 2 Solar Interconnection to Antelope Substation |  |  |  |  | 30.124 | 47.2 | 62.898 | 140.222 | 30.124 | 47.2 | 62.898 | 140.222
8081 | Colorado River Sub (RNU): 1. Install one 220kV line position which includes the following equipment: two 220kV circuit breakers, one 220kV group operated disconnect switch with grounding attachment, three 220kV group operated disconnect swi | CET-ET-TP-RN-808100 | 902286854 | High | 2020-12-01 | 595.806 | 909.396 | 846.617 | 2351.819 | 595.806 | 909.396 | 846.617 | 2351.819
8081 | Colorado River Sub (RNU) - Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the matching N60 relays located at the Large Generating Facility to add the Large Generating Facility to the Colorado River Corri | CET-ET-TP-RN-808101 | 902286855 | High | 2020-12-01 | 32.069 | 122.24 | 47.488 | 201.797 | 32.069 | 122.24 | 47.488 | 201.797
8081 | Colorado River (RNU) - ground grid study for interconnection | CET-ET-TP-RN-808102 | 902286856 | High | 2020-06-30 | 2.154 | 34.346 | 0 | 36.5 | 2.154 | 34.346 | 0 | 36.5
8081 | Total Arlington Solar Project Interconnection to Colorado River Substation |  |  |  |  | 630.029 | 1065.982 | 894.105 | 2590.116 | 630.029 | 1065.982 | 894.105 | 2590.116
8104 | Moorpark 220 kV Switchrack: Relocate the Ormond Beach No. 3 & 4 lines into positions 10N & 11N. Relocate Santa Clara No. 1 & 2 lines into position 12N & 13N. Equip Position 10 with two (2) new 220 kV CBs rated at 4000A/63kA and four (4) new disconnects ra | CET-ET-TP-RL-810400 | 902315805 | High | 2021-02-26 | 4910.752 | 2130.649 | 1076.162 | 8117.563 | 1129.473 | 490.0493 | 247.5173 | 1867.0395
8104 | Pardee 230 kV: Equip vacant Position 16E with two CBs rated at 4000A/63kA and four disconnects rated at 4000A for new Moorpark #4 line. | CET-ET-TP-RL-810401 | 902315808 | High | 2020-11-06 | 3224.529 | 2352.817 | 371.22 | 5948.566 | 3224.529 | 2352.817 | 371.22 | 5948.566
8104 | New Moorpark-Pardee #4 230 kV line: String roughly 25.5 mile section on vacant side of existing structures with 2B-1590. String roughly 6 miles of 1/2" EHS GW on existing structures. | CET-ET-TP-RL-810402 | 902315828 | High | 2020-08-10 | 12149.563 | 17291.896 | 23137.283 | 52578.742 | 12149.563 | 17291.896 | 23137.283 | 52578.742
8104 | Moorpark-Santa Clara #2: String 2B-1590 one mile section on vacant side of existing structures to relocate existing Moorpark-Santa Clara #2 and terminate in Position 13N. | CET-ET-TP-RL-810403 | 902315960 | High | 2020-12-14 | 157.232 | 1688.539 | 289.321 | 2135.092 | 157.232 | 1688.539 | 289.321 | 2135.092
8104 | Moorpark-Pardee No. 1: Relocate Moorpark - Pardee No. 1 230 kV transmission line to position 16E at Pardee Substation. | CET-ET-TP-RL-810404 | 902578087 | High | 2020-11-30 | 61.613 | 1357.228 | 75.085 | 1493.926 | 61.613 | 1357.228 | 75.085 | 1493.926
8104 | Santa Clara: Replace line relays for Moorpark No.1 230 kV line with one (1) G.E L90 relay and one (1) SEL-311L relay | CET-ET-TP-RL-810405 | 902578088 | High | 2020-03-13 | 68.435 | 358.149 | 45.244 | 471.828 | 68.435 | 358.149 | 45.244 | 471.828
8104 | Environmental for Moorpark-Pardee | CET-ET-TP-RL-810402 | 916718 | High | 2021-02-26 | 0 | 1050.441 | 218.42 | 1268.861 | 0 | 1050.441 | 218.42 | 1268.861
8104 | Total Moorpark-Pardee 230 kV No. 4 Circuit Project |  |  |  |  | 20572.124 | 26229.719 | 25212.735 | 72014.578 | 16790.845 | 24589.1193 | 24384.0903 | 65764.0545
7680 | Santiago: Installation of one 225 MVARs synchronous condenser | CET-ET-TP-RL-768000 | 901333497 | High | 2019-12-03 | 0 | 52.445 | 0 | 52.445 | 0 | 49.8227 | 0 | 49.8227
7059 | Red Bluff Sub: Install the following additional equipment for a shared 220kV Line / Bank Position on a Breaker-and-a-Half Configuration | CET-ET-TP-RN-705900 | 900346247 | High | 2020-08-07 | 1450.976 | 600 | 0 | 2050.976 | 1450.976 | 600 | 0 | 2050.976
7073 | Red Bluff RNU: Inst 220kV line position | CET-ET-TP-RN-707300 | 902494149 | High | 2021-12-10 | 1.721 | 0 | 2000 | 2001.721 | 1.721 | 0 | 2000 | 2001.721
8261 | Devers Substation: Revising logic diagrams and reprograming relay settings for total four N60 relays | CET-ET-TP-RL-826100 | 902852557 | High | 2021-02-23 | 0 | 28 | 112 | 140 | 0 | 28 | 112 | 140
8261 | Mirage Substation: Revising logic diagrams and reprograming relay settings for total four N60 relays | CET-ET-TP-RL-826101 | 902852558 | High | 2021-02-23 | 0 | 28 | 112 | 140 | 0 | 28 | 112 | 140
8261 | Total Path 42 (Coachella Valley-Mirage and Mirage-Ramon) RAS |  |  |  |  | 0 | 56 | 224 | 280 | 0 | 56 | 224 | 280
8091 | Springville Sub: Reconnect Big Creek 4 currents and bpallets to relays 37-1A and 37-1B | CET-ET-TP-RL-809101 | 902393260 | High | 2020-06-03 | 56.312 | 179.404 | 0 | 235.716 | 56.312 | 179.404 | 0 | 235.716
8163 | Red Bluff 2nd 500/220 kV AA Bank (Deliverability Network Upgrade) | CET-ET-TP-RL-816300 | 902494090 | High | 2021-04-30 | 102.292 | 4311.704 | 11372.832 | 15786.828 | 102.292 | 4311.704 | 11372.832 | 15786.828
0
8205 | Whirlwind Substation: Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. iii. Power System Controls. 1. Add points to the RTUs at Whirlwind Substation. 2. Modify the existing | CET-ET-TP-RN-820501 | 902642390 | High | 2021-08-05 | 0.887 | 9 | 8 | 17.887 | 0.887 | 9 | 8 | 17.887
8205 | Whirlwind Substation (NU): Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-820502 | 902642391 | High | 2021-08-05 | 1.133 | 253 | 184 | 438.133 | 1.133 | 253 | 184 | 438.133
8205 | Total Bigbeau Project interconnection to the Whirlwind Substation |  |  |  |  | 2.02 | 262 | 192 | 456.02 | 2.02 | 262 | 192 | 456.02
8216 | Colorado River Substation (RNU): a.Install one 220 kV line position, which includes the following equipment: i. Two 220 kV circuit breakers. ii. One 220 kV group operated disconnect switch with grounding attachment. iii. Three 220 kV | CET-ET-TP-RN-821601 | 902660304 | High | 2021-04-23 | 76.719 | 153.845 | 107.698 | 338.262 | 76.719 | 153.845 | 107.698 | 338.262
0
8220 | Power Systems Control (RNU):Add points/RAS Programming | CET-ET-TP-RN-822008 | 902699367 | High | 2021-07-31 | 0.57 | 10 | 0 | 10.57 | 0.57 | 10 | 0 | 10.57
8220 | Valley Sub (RNU):Add relays/points | CET-ET-TP-RN-822001 | 902699208 | High | 2021-04-05 | 27.017 | 75 | 48.594 | 150.611 | 27.017 | 75 | 48.594 | 150.611
8220 | Total Athos Power Plant Project Interconnection at Red Bluff Substation |  |  |  |  | 27.587 | 85 | 48.594 | 161.181 | 27.587 | 85 | 48.594 | 161.181
8227 | Victor (RNU) - Install two GE N60 relays | CET-ET-TP-RN-822700 | 902732437 | High | 2021-03-05 | 63.552 | 516 | 152 | 731.552 | 63.552 | 516 | 152 | 731.552
8201 | Whirlwind Substation (RNU): Whirlwind AA-Bank RAS: Utilize two GE N60 logic processing relays or equivalent successor, identified in Section 2(b)(i).1.c.i of this Appendix A, to send tripping signals to the matching N60 relays located at the Large Gener | CET-ET-TP-RN-820100 | 902668204 | High | 2021-08-17 | 0 | 410 | 441 | 851 | 0 | 410 | 441 | 851
8204 | Whirlwind AA-Bank RAS. i. Whirlwind Substation: Utilize two GE N60 logic processing relays or equivalent successor, identified in Section 2(b)(i).1.c.i of this Appendix A, to send tripping signals to the matching N60 relays located at the Large Generat | CET-ET-TP-RN-820400 | 902650549 | High | 2021-12-31 | 0 | 77 | 80 | 157 | 0 | 77 | 80 | 157
8204 | Tehachapi C-RAS. i. Whirlwind Substation. Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the matching N60 relays located at the Large Generating Facility for loss of Northern Area 500 kV transmission line | CET-ET-TP-RN-820401 | 902722024 | High | 2021-12-31 | 0 | 3 | 3 | 6 | 0 | 3 | 3 | 6
8204 | Whirlwind Sub: Modify the programs to add the Large Generating Facility to the Whirlwind AA-Bank RAS. Expand existing RTU at Whirlwind Substation to include points for status and alarms related to the new Whirlwind AA-Bank RAS relays required to add the | CET-ET-TP-RN-820402 | 902722029 | High | 2021-12-31 | 0 | 4 | 5 | 9 | 0 | 4 | 5 | 9
8204 | Total Rabbitbrush Solar Interconnection at Whirlwind Substation |  |  |  |  | 0 | 84 | 88 | 172 | 0 | 84 | 88 | 172
8223 | Whirlwind AA Bank Centralized RAS. i. Whirlwind Substation. Utilize two GE N60 logic processing relays or equivalent successor, identified under Section 2(b)(i)1.b.i of this Appendix A, to send tripping signals to the Large Generating Facility. Inst | CET-ET-TP-RN-822300 | 902705074 | High | 2021-07-31 | 0 | 64 | 97 | 161 | 0 | 64 | 97 | 161
8223 | Tehachapi CRAS: i. Whirlwind Substation. Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-822301 | 902705075 | High | 2021-07-31 | 0 | 64 | 97 | 161 | 0 | 64 | 97 | 161
8223 | Power System Controls. 1. Add points to the RTUs at Whirlwind Substation. 2. Modify the existing RAS program to support the additional relays. | CET-ET-TP-RN-822302 | 902705077 | High | 2021-07-31 | 0 | 5 | 6 | 11 | 0 | 5 | 6 | 11
8223 | Total Willy Interconnection at Whirlwind Substation |  |  |  |  | 0 | 133 | 200 | 333 | 0 | 133 | 200 | 333
8226 | Antelope Substation- Tehachapi C-RAS (RNU) - 1. Antelope Substation a. Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Telecommunications a. Install channel banks an | CET-ET-TP-RN-822600 | 902726865 | Low | 2021-08-17 | 0 | 8 | 307 | 315 | 0 | 8 | 307 | 315
8226 | Antelope Substation-Plan of Service (RNU) - 1. Install all necessary equipment, including one 66 kV line position which includes the following equipment: a. Two 66 kV circuit breakers. b. Four sets of 66 kV group operated disconnect switches | CET-ET-TP-RN-822602 | 902726867 | Low | 2021-06-29 | 0 | 17 | 783 | 800 | 0 | 17 | 783 | 800
8226 | Antelope Substation-Power System Control (RNU) - Add points to existing RTU at Antelope Substation to include points for new protection relay/status/alarm/controls associated with the Generation Tie-Line. | CET-ET-TP-RN-822603 | 902726869 | Low | 2021-08-03 | 0 | 11 | 5 | 16 | 0 | 11 | 5 | 16
8226 | Total Clover Energy Storage Interconnection at Antelope Substation |  |  |  |  | 0 | 36 | 1095 | 1131 | 0 | 36 | 1095 | 1131
[7 empty] | 0 | 0
| Total Transmission Project Reliability |  |  |  |  | 56957.474 | 90409.512 | 108168.119 | 255535.105 | 52718.2714 | 78635.5554 | 91259.7189 | 222613.5456
Infrastructure Replacement
4211 | Replace Bulk Power Circuit Breakers (220kV and Above) | CET-ET-IR-CB-421100 |  | High | Blanket Specifics | 0 | 2883.831 | 3252.989 | 6136.82 | 0 | 2883.831 | 3252.989 | 6136.82
4329 | Non-Bulk Circuit Breaker Replacement Program (115kV and Below) | CET-ET-IR-CB-432911 |  | Low | Blanket Specifics | 0 | 931.648 | 0 | 931.648 | 0 | 931.648 | 0 | 931.648
3138 | Sylmar Convertor Station: Misc Cap | CET-OT-OT-ME-313800 |  | High | Blanket Specifics | 0 | 2233.5439 | 1248.253 | 3481.7969 | 0 | 2233.5439 | 1248.253 | 3481.7969
03138 | LADWP AC/DC Filter Replacement | CET-OT-OT-ME-313803 | 900713761 | High | 2020-12-01 | 71506.272 | 14369.405 | 0 | 85875.677 | 71506.272 | 14369.405 | 0 | 85875.677
03138 | Total LADWP - WORK PERFORMED BY OPERATING AGENT |  |  |  |  | 71506.272 | 16602.9489 | 1248.253 | 89357.4739 | 71506.272 | 16602.9489 | 1248.253 | 89357.4739
6197 | On-line Dissolved Gas Analysis of Bulk Power Transformer Banks | CET-ET-IR-ME-619700 |  | High | Blanket Specifics | 0 | 4515.937 | 5813.21 | 10329.147 | 0 | 463.4166 | 66.9375 | 530.3541
4343 | Non-Bulk Relay Replacement Program ("SRRP") | CET-ET-IR-RP-434301 |  | Low | Blanket Specifics | 0 | 8063.885 | 18734.919 | 26798.804 | 0 | 768.186 | 1127.288 | 1895.474
5089 | Bulk Power 500kV & 220kV Line Relay Replacement | CET-ET-IR-RP-508900 |  | High | Blanket Specifics | 0 | 4442.387 | 9272.693 | 13715.08 | 0 | 4432.739 | 8853.897 | 13286.636
04756 | Substation Miscellaneous Equipment Additions & Betterment | CET-ET-IR-ME-475600 |  | High | Blanket Specifics | 0 | 36286.674 | 32252.283 | 68538.957 | 0 | 19004.5777 | 14191.766 | 33196.3437
5210 | Substation Transformer Bank Replacement Program (AA-Bank & A-Bank) | CET-ET-IR-TB-521001 |  | High | Blanket Specifics | 0 | 15070.175 | 11229.033 | 26299.208 | 0 | 2805.934 | 1558.192 | 4364.126
07716 | Substation Batteries & Chargers (FERC) | CET-ET-IR-ME-771601 |  | High | Blanket Specifics | 0 | 0 | 40 | 40 | 0 | 0 | 40 | 40
04837 | Replace SAS Infrastructure (FERC) | CET-ET-IR-RP-483701 |  | High | Blanket Specifics | 0 | 482.039 | 1431.481 | 1913.52 | 0 | 482.039 | 1431.481 | 1913.52
7957 | Devers: Substation Maintenance and Test Building Improvements program | COS-00-RE-AD-SR0004 | 801432305 | High | 2019-07-01 | 1468.251 | 3063.105 | 0 | 4531.356 | 1202.0571 | 2507.7641 | 0 | 3709.8212
7959 | Rector: Substation Maintenance and Test Building Improvements program | COS-00-RE-AD-SR0006 | 801432582 | High | 2020-12-01 | 4856.49 | 6764.308 | 0 | 11620.798 | 2808.5082 | 3911.7993 | 0 | 6720.3075
| Total Substation Maintenance and Test Building Improvements Program |  |  |  |  | 6324.741 | 9827.413 | 0 | 16152.154 | 4010.5653 | 6419.5634 | 0 | 10430.1286
7637 | Substation Facility Capital Maintenance | COS-00-RE-MA-NE7637 |  | High | Blanket Specifics | 0 | 11509 | 16533.18 | 28042.18 | 0 | 4028.15 | 5786.613 | 9814.763
7392 | Seismic Program - Trans Subs (FERC) | COS-00-SP-TD-000000 |  | High | Blanket Specifics | 0 | 22095.746 | 21000 | 43095.746 | 0 | 14141.2774 | 13440 | 27581.2774
7392 | Seismic Program - Trans Lines | COS-00-SP-TD-000002 |  | High | Blanket Specifics | 0 | 4000 | 3300 | 7300 | 0 | 4000 | 3300 | 7300
07392 | Seismic Assessment and Mitigation Program for Transmission Assets |  |  |  |  | 0 | 26095.746 | 24300 | 50395.746 | 0 | 18141.2774 | 16740 | 34881.2774
07949 | Protection of Grid Infrastructure Assets (formerly, Physical Security Systems - Electric Facilities) | COS-00-CS-CS-745400 |  | High | Blanket Specifics | 0 | 10295.838 | 13243.2302 | 23539.0682 | 0 | 5956.1423 | 7661.2086 | 13617.3509
07948 | North American Electric Reliability Corporation Critical Infrastructure Protection (NERC CIP) V6 | COS-00-CS-CS-745700 |  | High | Blanket Specifics | 0 | 99.998 | 0 | 99.998 | 0 | 45.9991 | 0 | 45.9991
7573 | Substation Fence/Gate (Cu Theft) (FERC) | CET-ET-IR-ME-757301 |  | High | Blanket Specifics | 0 | 5225.341 | 3724.275 | 8949.616 |  | 2791.3772 | 1989.5077 | 4780.8849
7820 | NERC CIP-14 Physical Security Enhancements | COS-00-CS-CS-782000 |  | High | Blanket Specifics | 0 | 2518.488 | 476.19 | 2994.678 | 0 | 2468.1182 | 466.6662 | 2934.7844
7820 | 500/220 kV (ES-5069): NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782001 | 901656354 | High | 2018-12-04 | 0 | 417.444 | 262.841 | 680.285 | 0 | 355.3283 | 223.7303 | 579.0586
7820 | 220/66 kV (ES-5050): NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782002 | 901656355 | High | 2018-09-20 | 0 | 306.968 | 161.577 | 468.545 | 0 | 267.3384 | 140.7174 | 408.0558
7820 | 500/220 kV (ES-5054): NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782005 | 901656358 | High | 2020-05-13 | 18388.172 | 2960.9 | 1539.828 | 22888.9 | 18388.172 | 2960.9 | 1539.828 | 22888.9
7820 | 500/220 kV (ES-5090): NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782008 | 901657121 | High | 2020-06-17 | 11213.728 | 6771.267 | 2155.498 | 20140.493 | 11213.728 | 6771.267 | 2155.498 | 20140.493
7820 | 500/220 kV (ES-5061): NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782009 | 902072001 | High | 2019-09-26 | 0 | 313.164 | 180.35 | 493.514 | 0 | 313.164 | 180.35 | 493.514
7820 | Substation Physical Security Enhancements Project |  |  |  |  | 29601.9 | 13288.231 | 4776.284 | 47666.415 | 29601.9 | 13136.116 | 4706.7899 | 47444.8059
08042 | 500/220 kV (ES-5080): Perimeter Security Upgrade | CET-ET-IR-ME-804207 | 902158683 | High | 2020-12-30 | 0 | 356.024 | 1720 | 2076.024 | 0 | 356.024 | 1720 | 2076.024
08042 | 500/220 kV (ES-5067): Physical Security Tier 2 | CET-ET-IR-ME-804200 | 902210275 | High | 2021-06-21 | 258.328 | 0.008 | 940.455 | 1198.791 | 211.829 | 0.00656 | 771.1731 | 983.0086
08042 | 500/220 kV (ES-5052): Physical Security Tier 2 | CET-ET-IR-ME-804201 | 902210276 | High | 2021-01-15 | 24.817 | 0 | 147.29 | 172.107 | 24.817 | 0 | 147.29 | 172.107
08042 | 500/220 kV (ES-5047): Physical Security Tier 2 | CET-ET-IR-ME-804202 | 902210277 | High | 2020-11-30 | 8.048 | 2.127 | 143 | 153.175 | 8.048 | 2.127 | 143 | 153.175
08042 | 500/220 kV (ES-8060): Physical Security Tier 2 | CET-ET-IR-ME-804203 | 902210452 | High | 2020-07-17 | 13.087 | 2.24 | 143 | 158.327 | 13.087 | 2.24 | 143 | 158.327
08042 | 500/220 kV (ES-5079): Physical Security Tier 2 | CET-ET-IR-ME-804204 | 902210453 | High | 2021-03-02 | 11.38 | 3.005 | 143 | 157.385 | 10.1282 | 2.6744 | 127.27 | 140.0727
08042 | 220/115/66 kV (ES-5064): Physical Security Tier 3 | CET-ET-IR-ME-804205 | 902210454 | High | 2021-05-25 | 66.528 | 0 | 0 | 66.528 | 66.528 | 0 | 0 | 66.528
08042 | Physical Security Projects (Tiers 2 & 3) |  |  |  |  | 382.188 | 363.404 | 3236.745 | 3982.337 | 334.4372 | 363.072 | 3051.7331 | 3749.2423
| Total Physical Security Enhancement Programs |  |  |  |  | 29984.088 | 29272.812 | 24980.5342 | 84237.4342 | 29936.3372 | 22292.7065 | 17409.2393 | 69638.283
| Total Infrastructure Replacement |  |  |  |  | 107815.101 | 165984.4959 | 149088.5752 | 422888.1721 | 105453.1744 | 99257.0176 | 71706.6558 | 276416.8479
Grid Applications
7666 | Centralized Remedial Action Scheme (C-RAS) Program - Phase 1: Colorado River Corridor RAS | CET-ET-GA-CR-766600 |  | High | Blanket Specifics | 0 | 2039.191 | 7541.85 | 9581.041 | 0 | 2039.191 | 7541.85 | 9581.041
8009 | Northern C-RAS to Tehachapi C-RAS | CET-ET-GA-CR-800900 |  | High | Blanket Specifics | 0 | 1133.318 | 0 | 1133.318 | 0 | 1133.318 | 0 | 1133.318
6446 | Phasor Measurement System Installations | CET-ET-GA-EM-644606 |  | High | Blanket Specifics | 0 | 9900.294 | 5165.434 | 15065.728 | 0 | 3737.0043 | 2174.5 | 5911.5043
| Total Grid Apps |  |  |  |  | 0 | 13072.803 | 12707.284 | 25780.087 | 0 | 6909.5133 | 9716.35 | 16625.8633
PWRD Blankets
03363 | Substation Planned Maintenance Replacements | CET-PD-IR-SP-SUBSNW |  | High | Blanket Specifics | 0 | 6718.0489 | 0 | 6718.0489 | 0 | 357.516 | 0 | 357.516
03363 | Substation Unplanned Maintenance Replacements | CET-PD-BM-SU-SUBSNW |  | High | Blanket Specifics | 0 | 11643.7145 | 11904.5828 | 23548.2973 | 0 | 533.2784 | 545.2261 | 1078.5046
03363 | Substation - Storm | CET-PD-ST-SS-SUBSNW |  | High | Blanket Specifics | 0 | 1642.5885 | 1677.8019 | 3320.3904 | 0 | 362.9922 | 370.7739 | 733.7661
03363 | Substation Maintenance, Breakdown, & Storm |  |  |  |  | 0 | 20004.3519 | 13582.3847 | 33586.7366 | 0 | 1253.7866 | 916 | 2169.7867
7888 | Transmission Maintenance Planned - Pothead Replacement | CET-PD-IR-TP-788800 |  | High | Blanket Specifics | 0 | 956.726 | 4500 | 5456.726 | 0 | 956.726 | 4500 | 5456.726
03364 | Transmission Breakdown Maintenance Unplanned | CET-PD-BM-TU-TREAST |  | High | Blanket Specifics | 0 | 3100 | 3065.27 | 6165.27 | 0 | 737.144 | 728.8856 | 1466.0296
03364 | Transmission Tower Corrosion Program | CET-PD-IR-TS-TRSJAC |  | High | Blanket Specifics | 0 | 6019.946 | 21027.2941 | 27047.2401 | 0 | 6019.946 | 21027.2941 | 27047.2401
03364 | Transmission Grid-Based Maintenance | CET-PD-IR-TG-TRSJAC |  | High | Blanket Specifics | 0 | 15423.7253 | 43078.5422 | 58502.2675 | 0 | 4571.5042 | 12768.2341 | 17339.7382
07511 | Install Tower Lights and Marker Balls per FAA Standards | CET-PD-OT-LM-751101 |  | High | Blanket Specifics | 0 | 3.833 | 0 | 3.833 | 0 | 3.833 | 0 | 3.833
| Transmission Maintenance & Breakdown Maintenance |  |  |  |  | 0 | 25504.2303 | 71671.1063 | 97175.3366 | 0 | 12289.1531 | 39024.4138 | 51313.5669
03364 | Transmission Deteriorated Pole Repl & Restoration | CET-PD-IR-TR-TRMETW |  | High | Blanket Specifics | 0 | 81765.2841 | 95818.5041 | 177583.7882 | 0 | 246.472 | 288.8338 | 535.3058
03364 | Pole Loading Transmission Pole Replacements | CET-PD-IR-PT-TRMETW |  | High | Blanket Specifics | 0 | 16900.4135 | 43979.918 | 60880.3315 | 0 | 50.9443 | 132.5724 | 183.5167
4056 | Steel Stub Pole Remediation (Trans) | CET-PD-OT-SF-TRORAN |  | High | Blanket Specifics | 0 | 124.6713 | 153.9336 | 278.6049 | 0 | 1.9468 | 2.4037 | 4.3504
| Transmission Poles (Pole Loading & Deteriorated Pole Programs) |  |  |  |  | 0 | 98790.3689 | 139952.3557 | 238742.7246 | 0 | 299.3631 | 423.8099 | 723.173
7298 | Transmission Line Rating Remediation (Exempt from Licensing) | CET-PD-OT-PJ-729801 |  | High | Blanket Specifics | 0 | 118322.076 | 92283.767 | 210605.843 | 0 | 92040.094 | 62631.399 | 154671.493
3362 | Critical Infrastructure Spares - FERC Spare Transformer Equipment Program (STEP)/Emergency | CET-PD-CI-CI-CRINSP |  | High | Blanket Specifics | 0 | 8529.3086 | 10200 | 18729.3086 | 0 | 8529.3086 | 10200 | 18729.3086
03367 | Substation - Claim | CET-PD-CL-SC-SUBSNW |  | High | Blanket Specifics | 0 | 173.6735 | 355.0645 | 528.738 | 0 | 4.2566 | 8.7024 | 12.959
03367 | Transmission - Claim | CET-PD-CL-TC-TREAST |  | High | Blanket Specifics | 0 | 3422 | 3510.5648 | 6932.5648 | 0 | 98.6191 | 101.1714 | 199.7905
03367 | Transmission - Storm | CET-PD-ST-TS-TREAST |  | High | Blanket Specifics | 0 | 4778 | 4370.1327 | 9148.1327 | 0 | 1265.9856 | 1157.9165 | 2423.9021
03367 | Transmission Storm & Claims |  |  |  |  | 0 | 8373.6735 | 8235.7619 | 16609.4355 | 0 | 1368.8613 | 1267.7904 | 2636.6517
08224 | Transmission Enhanced Overhead Inspections (EOI) Capital Remediations | CET-PD-WM-TP-822400 |  | High | Blanket Specifics | 0 | 64895.9875 | 8838.7925 | 73734.7799 | 0 | 17521.9166 | 2386.474 | 19908.3906
| Total PWRD Blankets |  |  |  |  | 0 | 279524.0092 | 335925.3757 | 615449.3849 | 0 | 115780.5669 | 114463.413 | 230243.9799
Total Non-Incentive Transmission Projects | [5 empty] | 201072.268 | 629103.7007 | 614809.1463 | 1444985.1149 | 174432.4003 | 329476.3588 | 289613.6117 | 793522.3708
Total Forecast Specific Project Expenditures (Closing by December 2021) | [5 empty] | 201072.268 | 140956.37 | 115785.958 | 457814.596 | 174432.4003 | 121827.3826 | 98632.5757 | 394892.3585
Total Forecast Blanket Expenditures (Closing by December 2021) | [5 empty] | 0 | 488147.3307 | 499023.1883 | 987170.5189 | 0 | 207648.9762 | 190981.0361 | 398630.0123