## WP Schedule 16 ISO Non-Inc
|  |  |  | High/ Low |  | Project Total (ISO & non-ISO) |  |  |  | ISO Portion
PIN | Project Title | C-WBS | Order # | Voltage | OD | Prior | 2022 | 2023 | Total | Prior | 2022 | 2023 | Total
Non-Incentive Transmission Projects include Direct Installation and Removal Expenditures, but exclude any C-WBS or Order # with 0% ISO.
Other Transmission
7861 | Colorado River 500/220kV Substation (NU): Terminate the Centipede-Colorado River 220kV T/L at Colorado River Sub position 1. Install the following equipment for a dedicated 220kV double breaker line position on a breaker-and-a-half configuration. | CET-ET-TP-RN-786100 | 901713069 | High | 2022-10-28 | 75.0031 | 909.448 | 266.24 | 1250.6911 | 75.0031 | 909.448 | 266.24 | 1250.6911
| Total Other Transmission |  |  |  |  | 75.0031 | 909.448 | 266.24 | 1250.6911 | 75.0031 | 909.448 | 266.24 | 1250.6911
08088 | Eldorado Substation (NU): Install facilities for a new 500 kV switchrack position to terminate the Eldorado-Harry Allen 500 kV Transmission Line. | CET-ET-LG-AF-808800 | 902245555 | High | 2020-08-12 | 0 | 393.6 | 98.4 | 492 | 0 | 393.6 | 98.4 | 492
08088 | Harry Allen - Eldorado T/L: Install one span from the SCE dead end rack to the Connecting Last Additional Tower. | CET-ET-AF-CF-808800 | 902245556 | High | 2020-08-13 | 0 | 0.952 | 0 | 0.952 | 0 | 0.952 | 0 | 0.952
08088 | Harry Allen - Eldorado 500kV Transmission Line Project |  |  |  |  | 0 | 394.552 | 98.4 | 492.952 | 0 | 394.552 | 98.4 | 492.952
| Total Added Facilities |  |  |  |  | 0 | 394.552 | 98.4 | 492.952 | 0 | 394.552 | 98.4 | 492.952
TSP Projects
7767 | Johanna Substation: Equip New 220kV position with one 220kV Circuit Breaker and two 220kV Disconnects; Install a new 220/66 kV -280 MVA bank; Extend 66kV rack by installing a new 8 bay low profile bus, bus support structures, foundation, and bus perimeter | CET-ET-LG-TS-776700 | 901487156 | High | 2020-05-14 | 0 | 414.743 | 0 | 414.743 | 0 | 20.7371 | 0 | 20.7371
| Total TSP Projects |  |  |  |  | 0 | 414.743 | 0 | 414.743 | 0 | 20.7371 | 0 | 20.7371
Transmission Project Reliability
7547 | Eldorado-Mohave Restoration Activities | CET-ET-TP-RL-754703 | 903232328 | High | 2023-04-13 | 156.9917 | 250 | 250 | 656.9917 | 156.9917 | 250 | 250 | 656.9917
7727 | Inyokern Substation: Expand existing MEER at Inyokern Substation. | CET-ET-TP-RL-772700 | 901394462 | Low | 2022-11-10 | 264.1667 | 26.995 | 0 | 291.1617 | 97.7417 | 9.9881 | 0 | 107.7298
7727 | Control Substation: Install 12 N60 relays, one satellite clock, and two ethernet switches in the existing MEER at Control Substation. | CET-ET-TP-RL-772701 | 901394533 | Low | 2022-04-29 | 909.9325 | 147.66 | 0 | 1057.5925 | 782.542 | 126.9876 | 0 | 909.5296
7727 | Total Digital 395 Project: North-of-Kramer Area Telecom Network and RAS Upgrades |  |  |  |  | 1174.0992 | 174.655 | 0 | 1348.7542 | 880.2836 | 136.9757 | 0 | 1017.2594
7763 | Eldorado-Lugo 500 kV line: CA side - Install 85 miles of new OPGW between CA/NV border and Pisgah Substation. | CET-ET-TP-RN-776304 | 901665563 | High | 2023-06-01 | 7517.4219 | 3803 | 0 | 11320.4219 | 7517.4219 | 3803 | 0 | 11320.4219
7763 | Eldorado-Lugo 500 kV line: NV Side -Install 2 miles of new OPGW between CA/NV border and MI52-T2. | CET-ET-TP-RN-776305 | 901665564 | High | 2023-06-01 | 657.8744 | 32 | 0 | 689.8744 | 657.8744 | 32 | 0 | 689.8744
7763 | Mohave 500 kV: Install two (2) N60 relays Install one (1) ethernet switch Install one (1) satellite switch 1PSC- RTU Point additions at Mohave substation. | CET-ET-TP-RN-776302 | 901484315 | High | 2023-12-01 | 244.2456 | 96 | 16 | 356.2456 | 244.2456 | 96 | 16 | 356.2456
7763 | Lugo Sub: Install new control cables, update station drawings, and modify settings on existing N60 relays to accommodate monitoring of Lugo-Mohave 500kV line. | CET-ET-TP-RN-776307 | 902249120 | High | 2022-08-29 | 25.5259 | 10 | 0 | 35.5259 | 25.5259 | 10 | 0 | 35.5259
7763 | Eldorado: Install equipment to support N-2 monitoring of Eldorado-Lugo 500kV and Lugo-Mohave 500kV lines. | CET-ET-TP-RN-776308 | 902249121 | High | 2023-06-01 | 47.4517 | 10 | 0 | 57.4517 | 47.4517 | 10 | 0 | 57.4517
7763 | Total Lugo-Victorville 500 kV SPS |  |  |  |  | 8492.5195 | 3951 | 16 | 12459.5195 | 8492.5195 | 3951 | 16 | 12459.5195
07120 | Chino Sub: equip the No.1A 220kV A-Bank positions with circuit breakers. Equip the Mira Loma No. 1 220kV line position with circuit breakers. Install new 220/66kV MEER (including relays). Install new 12kV MEER (including relays) | CET-ET-TP-RL-712000 | 900713964 | High | 2021-04-27 | 0 | -2.34 | 0 | -2.34 | 0 | -1.521 | 0 | -1.521
8019 | CONTROL-SILVER PEAK "A" 55KV Install 11 sets of Remote Fault Indicators (RFIs) | CET-ET-TP-RL-801900 | TD1269146 | Low | 2022-10-17 | 666.1835 | 14.386 | 0 | 680.5695 | 666.1835 | 14.386 | 0 | 680.5695
8019 | CONTROL-SILVER PEAK "C" 55KV Install 11 sets of Remote Fault Indicators (RFIs) | CET-ET-TP-RL-801902 | TD1269499 | Low | 2022-10-17 | 213.8954 | 16.769 | 0 | 230.6644 | 213.8954 | 16.769 | 0 | 230.6644
8019 | Total Control-Silver Peak "A" Transmission Project |  |  |  |  | 880.0789 | 31.155 | 0 | 911.2339 | 880.0789 | 31.155 | 0 | 911.2339
7115 | Johanna: Install double breakers on 3A+4A. | CET-ET-TP-RL-711500 | 902067053 | High | 2021-12-20 | 0 | 840.218 | 0 | 840.218 | 0 | 688.9788 | 0 | 688.9788
7227 | Inyo Substation: Replace Inyo phase shifter and new hybrid circuit breaker. Install 2 pairs of protection relays. | CET-ET-TP-RN-722701 | 902379073 | High | 2021-10-18 | 5450.9145 | 416 | 0 | 5866.9145 | 5450.9145 | 416 | 0 | 5866.9145
7227 | Control: Install two N60 relays | CET-ET-TP-RN-722700 | 902448105 | Low | 2022-09-20 | 55.7508 | 314 | 0 | 369.7508 | 55.7508 | 314 | 0 | 369.7508
7227 | Total Casa Diablo IV Project Interconnection |  |  |  |  | 5506.6653 | 730 | 0 | 6236.6653 | 5506.6653 | 730 | 0 | 6236.6653
0
8107 | Kramer Substation (RNU): a. Engineer and construct one 220 kV line position, which includes the following equipment: i. Two 220 kV circuit breakers. ii. Three 220 kV group operated disconnect switches. iii. One (1) 220 kV group operated disconnect switch with grounding attachment. | CET-ET-TP-RN-810701 | 902342409 | High | 2022-11-18 | 918.217 | 1225.326 | 1154.839 | 3298.382 | 918.217 | 1225.326 | 1154.839 | 3298.382
8090 | Eldorado Substation (NU): install the following equipment on a dedicated 220kV double breaker line position (position 25) at the Eldorado Sub to terminate the Eldorado-Sloan Canyon 220kV T/L. | CET-ET-LG-AF-809000 | 902249125 | High | 2020-05-12 | 0 | 22 | 0 | 22 | 0 | 22 | 0 | 22
8171 | Eldorado Substation (Reliability Network Upgrades): a. Install one (1) 220 kV transmission line position, which includes the following equipment: i. Two (2) 220 kV circuit breakers. ii. One (1) 220 kV group operated disconnect switch with grounding attachment. iii. Three (3) 220 kV group operated disconnect switches. iv. Fourteen (14) 220 kV bus support insulators. v. Perform ground grid study. vi. Ivanpah RAS: 1. Install two (2) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Perform RAS programming and testing to the new Ivanpah RAS relays. vii. Lugo-Victorville RAS: 1. Install two (2) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. 2. Perform RAS programming and testing to the new Lugo-Victorville RAS relays. b. Protection Relays: Two (2) local breaker failure backup relays Power System Controls i. Perform RAS programming and testing to the new Ivanpah RAS relays. ii. Add points to the RTUs at the Participating TO-Owned Eldorado 220 kV Substation and the Large Generating Facility to support the Ivanpah RAS. iii. Perform RAS programming and testing to the new Lugo-Victorville RAS relays. iv. Add points to the RTUs at the Participating TO-Owned Eldorado 220 kV Substation and the Large Generating Facility to support the Lugo-Victorville RAS | CET-ET-TP-RN-817100 | 902460358 | High | 2023-06-28 | 91.4998 | 1016 | 2458.9 | 3566.3998 | 91.4998 | 1016 | 2458.9 | 3566.3998
8207 | Colorado River Substation (RNU) (i) Colorado River Substation. 1. Engineer and construct one (1) 220 kV line position which includes the following equipment: a. Two (2) 220 kV circuit breakers; b. Three (3) 220 kV group operated disconnect switches; c. One (1) 220 kV group operated disconnect switch with grounding attachment; and d. Fourteen (14) 220 kV bus support post insulators; e. One (1) ground grid study. 2. Protection Relays: a. Install two (2) local breaker failure backup (‘LBFB”) relays, GE C60 or equivalent models. Colorado River Corridor centralized RAS (cRAS) – generator tripping infrastructure (RNU). 1. Colorado River Substation: a. Install two (2) G.E. N60 logic processing relays or equivalent successor, at the Participating TO’s Colorado River Substation and to send additional tripping signals to the matching N60 relays or equivalent successor located at the Large Generating Facility to add the Large Generating Facility to the Colorado River Corridor centralized RAS. b. Perform centralized RAS programming and testing to the new centralized RAS relays. c. Perform one (1) relay coordination study and re-set/test protection relays to account for the interconnection of the Large Generating Facility. | CET-ET-TP-RN-820700 | 902598927 | High | 2023-09-25 | 19.9056 | 155 | 400 | 574.9056 | 19.9056 | 155 | 400 | 574.9056
8214 | Red Bluff Substation (RNU): 1. Engineer and construct one (1) 220 kV line position which includes the following equipment: i. Two (2) 220 kV circuit breakers; ii. Three (3) 220 kV group operated disconnect switches; iii. One (1) 220 kV group operated disconnect switch with grounding attachment; and iv. Fourteen (14) 220 kV bus support post insulators. 2. Protection Relays: i. Install two (2) local breaker failure backup relays, GE C60 or equivalent successor. 3. Perform ground grid study West of Colorado River centralized RAS (RNU): 1. Red Bluff Substation: i. Install two (2) GE N60 logic processing relays, or equivalent successor, at the Participating TO’s Red Bluff Substation and to send tripping signals to the matching N60 relays, or equivalent successor, located at the Large Generating Facility to add the Large Generating Facility to the West of Colorado River centralized RAS. 2. Telecommunications: i. Install required channel banks, cross connects, fiber optic cable, and associated equipment, supporting the centralized RAS requirements at the Participating TO’s Red Bluff Substation. Add monitoring infrastructure to monitor the Red Bluff 2nd AA Bank (RNU): 1. Red Bluff Substation. i. Install two (2) GE N60 logic processing relays or equivalent successor for transmission line outage detection (Red Bluff 2nd AA bank) 2. Power System Control. i. Add points to the existing RTUs at Red Bluff Substation to support centralized RAS requirements. 3. Telecommunications. i. Install required channel banks, cross connects, and associated equipment (including terminal equipment) at Red Bluff Substation to support the monitoring centralized RAS requirements. | CET-ET-TP-RN-821401 | 902630576 | High | 2023-06-13 | 3.7794 | 807.5 | 650 | 1461.2794 | 3.7794 | 807.5 | 650 | 1461.2794
7546 | (Removal/Expense) Eldorado Sub: Upgrade Terminal Equipment and Series Capacitors on Eldorado-Lugo 500kV T/L. | CET-ET-TP-RL-754600 | 902287734 | High | 2023-06-30 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10
7546 | (Removal/Expense) Lugo Sub: Upgrade Terminal Equipment and Series Capacitors on Eldorado-Lugo 500kV T/L. | CET-ET-TP-RL-754601 | 902287735 | High | 2023-06-30 | 0 | 512 | 0 | 512 | 0 | 512 | 0 | 512
7546 | (Removal/Expense) Mohave Sub: Install Series Capes. | CET-ET-TP-RL-754604 | 902287736 | High | 2022-06-30 | 0 | 3 | 0 | 3 | 0 | 3 | 0 | 3
7546 | (Removal/Expense) E-M: Install OPGW, Splice Fiber, and clear Infractions on the Eldorado-Mohave 500 kV T/L. | CET-ET-TP-RL-754607 | 902287737 | High | 2021-04-26 | 0 | 175 | 0 | 175 | 0 | 175 | 0 | 175
7546 | (Removal/Expense) L-M (CA): Install OPGW, Splice Fiber, and clear Infractions on the Lugo-Mohave 500 kV T/L (CA). | CET-ET-TP-RL-754608 | 902287738 | High | 2022-06-01 | 0 | 956 | 14 | 970 | 0 | 956 | 14 | 970
7546 | (Removal/Expense) L-M (NV): Install OPGW, Splice Fiber, and clear Infractions on the Lugo-Mohave 500 kV T/L (NV). | CET-ET-TP-RL-754609 | 902288039 | High | 2022-06-01 | 0 | 345 | 0 | 345 | 0 | 345 | 0 | 345
7546 | (Removal/Expense) Eldorado-Lugo: Correct GO-95 Infractions on the Eldorado-Lugo 500 kV T/L. | CET-ET-TP-RL-754610 | 902288040 | High | 2023-06-01 | 0 | 344 | 0 | 344 | 0 | 344 | 0 | 344
7546 | Total Eldorado-Lugo-Mohave (ELM) Series Cap Upgrades Project |  |  |  |  | 0 | 2345 | 14 | 2359 | 0 | 2345 | 14 | 2359
7555 | Mesa: Remove 230/66/16kV switchracks & equipment, substructures, and foundations. | CET-ET-TP-RL-755505 | 901192482 | High | 2022-12-30 | 0 | 1555.556 | 0 | 1555.556 | 0 | 497.7779 | 0 | 497.7779
7555 | Total Mesa Substation Project |  |  |  |  | 0 | 1555.556 | 0 | 1555.556 | 0 | 497.7779 | 0 | 497.7779
7558 | Magunden-Springville 230 kV No.1: Remove 14 existing 220kV lattice structures; Install nine new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 130'), and four new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 185') which will support an approximate 2000' span across the lake, within the current ROW. Total project length is approximately 2 miles. | CET-ET-TP-RL-755800 | 901192344 | High | 2022-02-25 | 3631.6636 | 2604.258 | 762.5 | 6998.4216 | 3631.6636 | 2604.258 | 762.5 | 6998.4216
7558 | Magunden-Springville 230 kV No.2: Remove 14 existing 220kV lattice structures; Install nine new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 130'), and four new H-Frame hybrid TSP single circuit 220kV structures, (total above ground height up to 185') which will support an approximate 2000' span across the lake, within the current ROW. Total project length is approximately 2 miles. | CET-ET-TP-RL-755801 | 901192345 | High | 2022-01-20 | 4458.6515 | 904.258 | 762.5 | 6125.4095 | 4458.6515 | 904.258 | 762.5 | 6125.4095
7558 | Magunden-Springville No.1 & No.2 Tower Replacement ("Lake Success Towers in Water") |  |  |  |  | 8090.3152 | 3508.516 | 1525 | 13123.8312 | 8090.3152 | 3508.516 | 1525 | 13123.8312
8077 | Inyokern 115 kV Relay Upgrades for ATRA | CET-ET-TP-RL-807709 | 902739835 | Low | 2022-07-05 | 236.0109 | 118.619 | 0 | 354.6299 | 236.0109 | 118.619 | 0 | 354.6299
8077 | Control 115 kV CBs and MEER for ATRA | CET-ET-TP-RL-807706 | 902739832 | Low | 2022-08-31 | 2723.0199 | 2403.463 | 0 | 5126.4829 | 2723.0199 | 2403.463 | 0 | 5126.4829
8077 | Kramer 115 kV Relay Upgrades for ATRA | CET-ET-TP-RL-807710 | 902739836 | Low | 2022-06-20 | 664.88 | 951.885 | 0 | 1616.765 | 332.44 | 475.9425 | 0 | 808.3825
8077 | Tortilla 115 kV CBs nand MEER for ATRA | CET-ET-TP-RL-807713 | 902739979 | Low | 2022-06-01 | 710.303 | 924.048 | 0 | 1634.351 | 710.303 | 924.048 | 0 | 1634.351
8077 | Antelope 230kV Circuit Breaker Replacement | CET-ET-TP-RL-807701 |  | High | 2023-12-01 | 0 | 284 | 1160 | 1444 | 0 | 284 | 1160 | 1444
8077 | Vincent 230kV Circuit Breaker Replacement | CET-ET-TP-RL-807701 |  | High | 2023-12-01 | 0 | 1000 | 8281 | 9281 | 0 | 1000 | 8281 | 9281
8077 | Vista 230kV Circuit Breaker Replacement | CET-ET-TP-RL-807701 |  | High | 2023-12-01 | 0 | 289 | 433 | 722 | 0 | 289 | 433 | 722
8077 | Whirlwind 230kV Circuit Breaker Replacement | CET-ET-TP-RL-807701 |  | High | 2023-12-01 | 0 | 120 | 492 | 612 | 0 | 120 | 492 | 612
8077 | Laguna Bell - Mesa No. 1 Transmission Line Rating Increase | CET-ET-TP-RL-807701 |  | High | 2023-12-01 | 0 | 1000 | 13590 | 14590 | 0 | 1000 | 13590 | 14590
8077 | Laguna Bell Transmission Substation | CET-ET-TP-RL-807701 |  | High | 2023-12-01 | 0 | 544 | 2173 | 2717 | 0 | 544 | 2173 | 2717
8077 | Total Annual Transmission Reliability Assessment 2016 - Protection Upgrades (ATRA) |  |  |  |  | 4334.2137 | 7635.015 | 26129 | 38098.2287 | 4001.7737 | 7159.0725 | 26129 | 37289.8462
8078 | Antelope (RNU): Install two N60 relays. | CET-ET-TP-RN-807800 | 902220556 | High | 2022-12-30 | 243.7725 | 231.96 | 0 | 475.7325 | 243.7725 | 231.96 | 0 | 475.7325
8078 | Antelope Sub (RNU) - Power System Control. i. Expand existing RTU at SCE Antelope Substation and the generation facility to include points for status and alarms related to the new RAS relays ii. Modify the programs for the Tehachapi RAS. iii. Point additions to the existing RTU at SCE Antelope Substation for new protection relay status/alarm/control. | CET-ET-TP-RN-807801 | 902220557 | High | 2022-06-01 | 13.0732 | 63.6 | 0 | 76.6732 | 13.0732 | 63.6 | 0 | 76.6732
8078 | Antelope 2 Solar Project Reliability Network Upgrades at Antelope Substation |  |  |  |  | 256.8457 | 295.56 | 0 | 552.4057 | 256.8457 | 295.56 | 0 | 552.4057
8081 | Colorado River Sub (RNU): 1. Install one 220kV line position which includes the following equipment: two 220kV circuit breakers, one 220kV group operated disconnect switch with grounding attachment, three 220kV group operated disconnect switches, fourteen (14) 220kV bus support post insulators. 2. Install two (2) local breaker failure backup relays, GE C60 or equivalent successor. | CET-ET-TP-RN-808100 | 902286854 | High | 2021-10-13 | 0 | 60 | 0 | 60 | 0 | 60 | 0 | 60
8081 | Colorado River Sub (RNU) - Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the matching N60 relays located at the Large Generating Facility to add the Large Generating Facility to the Colorado River Corridor RAS. | CET-ET-TP-RN-808101 | 902286855 | High | 2021-12-02 | 0 | 20 | 0 | 20 | 0 | 20 | 0 | 20
8081 | Arlington Solar Project Reliability Network Upgrades at Colorado River Substation |  |  |  |  | 0 | 80 | 0 | 80 | 0 | 80 | 0 | 80
8104 | Moorpark 230 kV Switchrack: Relocate the Ormond Beach No. 3 & 4 lines into positions 10N & 11N. Relocate Santa Clara No. 1 & 2 lines into position 12N & 13N. Equip Position 10 with two (2) new 230 kV CBs rated at 4000A/63kA and four (4) new disconnects rated at 4000A. In Position 12, remove and install one (1) new 220kV CB rated at 4000A, 63kA (CB No. 55). Terminate new Pardee #4 line in Position 12S. | CET-ET-TP-RL-810400 | 902315805 | High | 2022-05-31 | 7000.5093 | 375.934 | 0 | 7376.4433 | 1610.1171 | 86.4648 | 0 | 1696.582
8104 | Pardee 230 kV: Equip vacant Position 16E with two CBs rated at 4000A/63kA and four disconnects rated at 4000A for new Moorpark #4 line. | CET-ET-TP-RL-810401 | 902315808 | High | 2021-04-30 | 0 | 42.153 | 0 | 42.153 | 0 | 42.153 | 0 | 42.153
8104 | New Moorpark-Pardee #4 230 kV line: String roughly 25.5 mile section on vacant side of existing structures with 2B-1590. String roughly 6 miles of 1/2" EHS GW on existing structures. | CET-ET-TP-RL-810402 | 902315828 | High | 2022-01-14 | 38623.9097 | 1432.026 | 0 | 40055.9357 | 38623.9097 | 1432.026 | 0 | 40055.9357
8104 | Moorpark-Pardee No. 1: Relocate Moorpark - Pardee No. 1 230 kV transmission line to position 16E at Pardee Substation. | CET-ET-TP-RL-810404 | 902578087 | High | 2021-04-05 | 0 | 2.938 | 0 | 2.938 | 0 | 2.938 | 0 | 2.938
8104 | Total Moorpark-Pardee 230 kV No. 4 Circuit Project |  |  |  |  | 45624.419 | 1853.051 | 0 | 47477.47 | 40234.0268 | 1563.5818 | 0 | 41797.6087
7073 | Red Bluff RNU: Install 220kV line position. | CET-ET-TP-RN-707300 | 902494149 | High | 2023-10-16 | 4.7889 | 312 | 312 | 628.7889 | 4.7889 | 312 | 312 | 628.7889
8098 | Calcite Substation (RNU)- Engineer and construct one (1) 230 kV line position, which will include the following elements: -Two (2) 230 kV circuit breakers. -Three (3) 230 kV group operated disconnect switches. -One (1) 230 kV group operated disconnect switch with grounding attachment. -Fourteen (14) 220 kV post insulators. -Local breaker failure backup relays, General Electric C60. | CET-ET-TP-RN-809800 | 902310803 | High | 2023-09-26 | 0.79334 | 0 | 0 | 0.79334 | 0.79334 | 0 | 0 | 0.79334
8100 | Whirlwind Substation (NU): a. Utilize the shared 230 kV position at Whirlwind Substation to terminate the Rattlesnake-Whirlwind 220kV Transmission Line. | CET-ET-TP-RN-810000 | 902326568 | High | 2023-06-28 | 0 | 179.037 | 350 | 529.037 | 0 | 179.037 | 350 | 529.037
8195 | Devers Substation (RNU): Engineer and construct one (1) 220 kV line position which includes the following equipment: i. Two (2) 220 kV circuit breakers; ii. Three (3) 220 kV group operated disconnect switches; iii. One (1) 220 kV group operated disconnect switch with grounding attachment; and iv. Fourteen (14) 220 kV bus support post insulators. b. Protection Relays: i. Install two (2) local breaker failure backup relays, GE C60 or equivalent successor. | CET-ET-TP-RN-819500 | 902748920 | High | 2022-11-09 | 172.3276 | 1526 | 1000 | 2698.3276 | 172.3276 | 1526 | 1000 | 2698.3276
8199 | Windhub Substation (RNU) a. Install one (1) 220 kV transmission line position which includes the following equipment: (i) Two (2) 220 kV circuit breakers. (ii) Four (4) sets of 220 kV group-operated disconnect switches. b. Install the following protection relays: (i) Two (2) local breaker failure backup relays. | CET-ET-TP-RL-819901 | 902663178 | High | 2021-07-28 | 0 | 59.691 | 100 | 159.691 | 0 | 59.691 | 100 | 159.691
8214 | Power System Control (RNU) - Expand CRAS RTUs at Red Bluff Substation to include points for status and alarms related to the new CRAS relays. Modify the CRAS program to support the additional relays. | CET-ET-TP-RN-821400 | 902631060 | High | 2022-02-01 | 0 | 22.5 | 15 | 37.5 | 0 | 22.5 | 15 | 37.5
8091 | Springville Sub: Reconnect Big Creek 4 currents and bpallets to relays 37-1A and 37-1B. | CET-ET-TP-RL-809101 | 902393260 | High | 2021-05-12 | 0 | 1.786 | 0 | 1.786 | 0 | 1.786 | 0 | 1.786
8163 | Red Bluff 2nd 500/230 kV AA Bank (Deliverability Network Upgrade). | CET-ET-TP-RL-816300 | 902494090 | High | 2022-04-29 | 18821.3869 | 1150 | 1000 | 20971.3869 | 18821.3869 | 1150 | 1000 | 20971.3869
7059 | Red Bluff Substation (NU): Install the following additional equipment for a dedicated 220kV Line/Bank Position on a Breaker-and-a-Half Configuration to terminate the Almasol 220kV Gen Tie Line at an existing Bank Position: " One 220kV 3000A - 50kA Circuit Breaker " Two 220kV 3000A - 80kA Horizontal-Mounted Group-Operated Disconnect Switches " One Grounding Switch Attachment " 2-1590KCMIL ACSR Conductors " One GE C60 Breaker Management Relays inside existing Control Room " Also remove 220kV Bus Supports with associated steel pedestals Power Systems Controls: Expand the RTU at Red Bluff Substation to install additional points required for the Generation Tie-Line. | CET-ET-TP-RN-705900 | 900346247 | High | 2021-02-02 | 0 | 52.889 | 0 | 52.889 | 0 | 52.889 | 0 | 52.889
0
8205 | Whirlwind Substation: Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. iii. Power System Controls. 1. Add points to the RTUs at Whirlwind Substation. 2. Modify the existing RAS program to support the additional relays. | CET-ET-TP-RN-820501 | 902642390 | High | 2022-02-28 | 7.1084 | 0 | 0 | 7.1084 | 7.1084 | 0 | 0 | 7.1084
8205 | Whirlwind Substation (NU): Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-820502 | 902642391 | High | 2022-06-20 | 225.8828 | 0 | 0 | 225.8828 | 225.8828 | 0 | 0 | 225.8828
8205 | Bigbeau Project Reliability Network Upgrades |  |  |  |  | 232.9912 | 0 | 0 | 232.9912 | 232.9912 | 0 | 0 | 232.9912
8216 | Colorado River Substation (RNU): a.Install one 230 kV line position, which includes the following equipment: i. Two 230 kV circuit breakers. ii. One 230 kV group operated disconnect switch with grounding attachment. iii. Three 230 kV group operated disconnect switches. iv. Fourteen 230 kV bus support post insulators. | CET-ET-TP-RN-821601 | 902660304 | High | 2022-05-03 | 1231.2438 | 491.667 | 1000 | 2722.9108 | 1231.2438 | 491.667 | 1000 | 2722.9108
0
8220 | Valley Sub (RNU):Add relays/points. | CET-ET-TP-RN-822001 | 902699208 | High | 2022-06-30 | 728.8442 | 1000 | 0 | 1728.8442 | 728.8442 | 1000 | 0 | 1728.8442
8220 | Serrano Sub (RNU): Install relays/add points. | CET-ET-TP-RN-822002 | 902699209 | High | 2022-09-30 | 573.8948 | 750 | 0 | 1323.8948 | 573.8948 | 750 | 0 | 1323.8948
8220 | Red Bluff Sub:Install line/relays/add points. | CET-ET-TP-RN-822004 | 902699211 | High | 2021-10-08 | 0 | 93.767 | 950 | 1043.767 | 0 | 93.767 | 950 | 1043.767
8220 | Etiwanda Sub:Install relays/Add points. | CET-ET-TP-RN-822006 | 902699213 | High | 2022-06-01 | 749.4495 | 500 | 0 | 1249.4495 | 749.4495 | 500 | 0 | 1249.4495
8220 | Athos Power Plant Project Reliability Network Upgrades |  |  |  |  | 2052.1884 | 2343.767 | 950 | 5345.9554 | 2052.1884 | 2343.767 | 950 | 5345.9554
8227 | Victor (RNU) - Install two GE N60 relays. | CET-ET-TP-RN-822700 | 902732437 | High | 2021-05-29 | 411.2935 | 100 | 300 | 811.2935 | 411.2935 | 100 | 300 | 811.2935
8201 | Whirlwind Substation (RNU): Whirlwind AA-Bank RAS: Utilize two GE N60 logic processing relays or equivalent successor, identified in Section 2(b)(i).1.c.i of this Appendix A, to send tripping signals to the matching N60 relays located at the Large Generating Facility for loss of one Whirlwind 500/200 kV transformer bank to add the Large Generating Facility to the Whirlwind AA-Bank RAS. | CET-ET-TP-RN-820100 | 902668204 | High | 2023-06-15 | 10.9011 | 612.066 | 75 | 697.9671 | 10.9011 | 612.066 | 75 | 697.9671
8241 | Coolwater 220kV Substation (RNU)-Add Project to North of Lugo Centralized RAS – Install two N60 Relays. | CET-ET-TP-RN-824100 | 903103547 | High | 2022-09-21 | 0 | 235 | 0 | 235 | 0 | 235 | 0 | 235
8285 | Whirlwind Substation. a. Install one (1) 230 kV line position which includes the following equipment: i. Two (2) 230 kV circuit breakers and foundations. ii. One (1) 230 kV group operated disconnect switch with grounding attachment. iii. Four (4) sets of 223 kV disconnect switches, steel support structures, and foundations. b. Protection Relays: Two local breaker failure backup relays, General Electric ("GE") C60 or equivalent successor. | CET-ET-TP-RN-828500 | 903099017 | High | 2023-06-28 | 0 | 587.262 | 2220.065 | 2807.327 | 0 | 587.262 | 2220.065 | 2807.327
8204 | Whirlwind AA-Bank RAS. i. Whirlwind Substation: Utilize two GE N60 logic processing relays or equivalent successor, identified in Section 2(b)(i).1.c.i of this Appendix A, to send tripping signals to the matching N60 relays located at the Large Generating Facility for loss of one Whirlwind 500/200 kV transformer bank to add the Large Generating Facility to the Whirlwind AA-Bank RAS. ii. Telecommunication. Install required channel bank, fiber optic cable, and associated equipment (including terminal equipment), supporting the Whirlwind AA-Bank RAS requirements at Rattlesnake switchyard and Whirlwind Substation. Notwithstanding that certain telecommunication equipment, including the telecommunications terminal equipment, will be located on the Interconnection Customer’s side of the Point of Change of Ownership, the Participating TO shall own, operate and maintain such telecommunication equipment as part of the Participating TO’s Interconnection Facilities." | CET-ET-TP-RN-820400 | 902650549 | High | 2023-05-19 | 0 | 343.051 | 120.157 | 463.208 | 0 | 343.051 | 120.157 | 463.208
8204 | Tehachapi C-RAS. i. Whirlwind Substation. Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the matching N60 relays located at the Large Generating Facility for loss of Northern Area 500 kV transmission lines to add the Large Generating Facility to the Tehachapi CRAS. Telecommunication. Install required channel bank, fiber optic cable, and associated equipment (including terminal equipment), supporting the Tehachapi CRAS requirements at Whirlwind Substation. Notwithstanding that certain telecommunication equipment, including the telecommunications terminal equipment, will be located on the Interconnection Customer’s side of the Point of Change of Ownership, the Participating TO shall own, operate and maintain such telecommunication equipment as part of the Participating TO’s Interconnection Facilities." | CET-ET-TP-RN-820401 | 902722024 | High | 2023-05-19 | 337.1453 | 77.578 | 50.653 | 465.3763 | 337.1453 | 77.578 | 50.653 | 465.3763
8204 | Whirlwind Sub: Modify the programs to add the Large Generating Facility to the Whirlwind AA-Bank RAS. Expand existing RTU at Whirlwind Substation to include points for status and alarms related to the new Whirlwind AA-Bank RAS relays required to add the Large Generating Facility to Whirlwind RAS. Expand existing RTU at Whirlwind Substation to include points for status and alarms related to the new Tehachapi CRAS relays required to add the Large Generating Facility to the Tehachapi CRAS. | CET-ET-TP-RN-820402 | 902722029 | High | 2023-01-11 | 0 | 19.15 | 6.702 | 25.852 | 0 | 19.15 | 6.702 | 25.852
8204 | Rabbitbrush Solar Project Reliability Network Upgrades |  |  |  |  | 337.1453 | 439.779 | 177.512 | 954.4363 | 337.1453 | 439.779 | 177.512 | 954.4363
8223 | Whirlwind AA Bank Centralized RAS. i. Whirlwind Substation. Utilize two GE N60 logic processing relays or equivalent successor, identified under Section 2(b)(i)1.b.i of this Appendix A, to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-822300 | 902705074 | High | 2021-07-30 | 6.6206 | 322.823 | 115.305 | 444.7486 | 6.6206 | 322.823 | 115.305 | 444.7486
8223 | Tehachapi CRAS: i. Whirlwind Substation. Install two GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-822301 | 902705075 | High | 2021-07-30 | 5.169 | 324.275 | 115.305 | 444.749 | 5.169 | 324.275 | 115.305 | 444.749
8223 | Willy Interconnection at Whirlwind Substation |  |  |  |  | 11.7896 | 647.098 | 230.61 | 889.4976 | 11.7896 | 647.098 | 230.61 | 889.4976
8238 | Valley Substation: West or Colorado River CRAS Inland/Devers Extension –Monitoring Infrastructure. 1. successor for transmission line outage detection. 2. Install one (1) Ethernet switch. 3. Install one (1) satellite clock. 4. Power System Controls. a. Perform RAS programming and testing to the new RAS relays. b. Add points to the RTUs at Valley Substation. | CET-ET-TP-RN-823801 | 902760264 | High | 2023-03-07 | 1.2056 | 27 | 20 | 48.2056 | 1.2056 | 27 | 20 | 48.2056
8238 | San Bernardino Substation: West or Colorado River CRAS Inland/Devers Extension –Monitoring Infrastructure. 1. Install two (2) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection. 2. Install one (1) Ethernet switch. 3. Install one satellite clock. Power System Controls. a. Perform RAS programming and testing to the new RAS relays. b. Add points to the RTUs at San Bernardino Substation" | CET-ET-TP-RN-823803 | 902760266 | High | 2022-04-20 | 0.38376 | 27 | 20 | 47.3838 | 0.38376 | 27 | 20 | 47.3838
8238 | San Bernardino Substation: West of Colorado River CRAS – Devers Extension – generation addition. 1. Install four (4) G.E. N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility associated with the West of Colorado River CRAS-Devers Extention-Generation Addition. | CET-ET-TP-RN-823804 | 902760267 | High | 2022-06-30 | 344.4085 | 40 | 0 | 384.4085 | 344.4085 | 40 | 0 | 384.4085
8238 | Etiwanda Substation: West or Colorado River CRAS Inland/Devers Extension –Monitoring Infrastructure. 1. Install two (2) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection. 2. Install one (1) Ethernet switch. 3. Install one (1) satellite clock. | CET-ET-TP-RN-823806 | 902760269 | High | 2022-08-15 | 1.753 | 22 | 20 | 43.7529 | 1.753 | 22 | 20 | 43.7529
8238 | Total Mountainview Generating Station Pmax Increase Project |  |  |  |  | 347.7508 | 116 | 60 | 523.7508 | 347.7508 | 116 | 60 | 523.7508
0
8246 | Victor Substation- North of Lugo CRAS –Monitoring infrastructure i. Install four (4) GE N60 logic processing relays or equivalent successor for transmission line outage detection. ii. Install one (1) SEL-2407 satellite clock. iii. Install two (2) GE D400 Gateways | CET-ET-TP-RN-824600 | 902768480 | High | 2023-08-18 | 0.99953 | 204.265 | 109.989 | 315.2535 | 0.99953 | 204.265 | 109.989 | 315.2535
8246 | Lugo Substation- North of Lugo CRAS –Monitoring infrastructure i. Install four (4) GE N60 logic processing relays or equivalent successor for AA bank outage detection. ii. Install one (1) SEL-2407 satellite clock. iii. Install two (2) GE D400 Gateways | CET-ET-TP-RN-824601 | 902768481 | High | 2023-05-05 | 1.5819 | 204.385 | 110.053 | 316.0199 | 1.5819 | 204.385 | 110.053 | 316.0199
8246 | Kramer Substation- North of Lugo CRAS –Monitoring infrastructure Install two (2) GE N60 logic processing relays to send tripping signals to the Large Generating Facility. Power System Controls. i. Perform CRAS programming and testing to the new CRAS relays. ii. Add Points to the RTUs | CET-ET-TP-RN-824602 | 902768482 | High | 2023-12-08 | 0.86034 | 204.593 | 110.166 | 315.6193 | 0.86034 | 204.593 | 110.166 | 315.6193
8246 | Roadway Substation 115/33 North of Lugo CRAS – generator addition. (a) Roadway Substation. Install two (2) GE N60 logic processing relays to send tripping signals to the Large Generating Facility. Power System Controls. i. Perform CRAS programming and testing to the new CRAS relays. ii. Add Points to the RTUs at Roadway Substation. i. Install two (2) GE N60 logic processing relays or equivalent successor for transmission line outage detection. ii. Install two (2) GE N60 logic processing relays or equivalent successor for circuit breaker monitoring. iii. Install one (1) SEL-2407 satellite clock. iv. Install two (2) GE D400 Gateways. Add Points to the RTUs at Roadway Substation. | CET-ET-TP-RN-824603 | 902768483 | Low | 2023-05-05 | 2.6666 | 203.892 | 109.788 | 316.3466 | 2.6666 | 203.892 | 109.788 | 316.3466
8246 | Roadway Substation– generator addition. Mojave Desert RAS. Install two (2) GE N60 logic processing relays to send tripping signals to the Large Generating Facility. Power Systems Controls. Perform RAS programming and testing to the new RAS relays. Add points to the RTU at Roadway Substation and the Interconnection Customer's Large Generating Facility. | CET-ET-TP-RN-824604 | 902768484 | Low | 2022-05-03 | 162.2256 | 35.949 | 19.357 | 217.5316 | 162.2256 | 35.949 | 19.357 | 217.5316
8246 | Baldy Mesa Project Reliability Network Upgrades |  |  |  |  | 168.334 | 853.084 | 459.353 | 1480.771 | 168.334 | 853.084 | 459.353 | 1480.771
8298 | Windhub Substation. i. Install one (1) 220 kV line position which includes the following equipment. 1. Two (2) 220 kV circuit breakers. 2. One (1) 220 kV group operated disconnect switch with grounding attachment. 3. Three (3) 220 kV group operated disconnect switches. 4. Fourteen (14) 220 kV bus support post insulators. ii. Protection Relays: 1. Install two (2) local breaker failure backup relays. | CET-ET-TP-RN-829803 | 903123443 | High | 2023-01-19 | 582.6453 | 965.117 | 235.168 | 1782.9303 | 582.6453 | 965.117 | 235.168 | 1782.9303
8298 | Tehachapi centralized RAS – generator addition i. Windhub Substation. Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-TP-RN-829800 | 903123440 | High | 2022-12-27 | 14.1995 | 77.663 | 172.228 | 264.0905 | 14.1995 | 77.663 | 172.228 | 264.0905
8298 | Windhub AA Bank centralized RAS – monitoring infrastructure i. Windhub Substation. 1. Install eight (8) GE N60 logic processing relays or equivalent successor to monitor and send tripping signals to the generating facilities. 2. Install two (2) Ethernet switches. 3. Install one (1) satellite clock. ii. Power System Controls. 1. Modify the existing RAS program to support the additional relays. 2. Install two (2) RTUs for monitoring of affected lines. iii. Corporate Security. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets, per compliance standards, at Windhub Substation. | CET-ET-TP-RN-829801 | 903123441 | High | 2023-01-25 | 25.4435 | 515.046 | 486.825 | 1027.3145 | 25.4435 | 515.046 | 486.825 | 1027.3145
8298 | Windhub AA Bank centralized RAS – generation addition i. Windhub Substation. Install two (2) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. Power System Controls. 1. Perform RAS programming and testing to the new RAS relays for the tripping signals. 2. Add points to the RTU at Windhub Substation for the tripping signals. | CET-ET-TP-RN-829802 | 903123442 | High | 2023-01-25 | 6.2341 | 102.415 | 62.042 | 170.6911 | 6.2341 | 102.415 | 62.042 | 170.6911
8298 | Bellefield Solar Farm Reliability Network Upgrades |  |  |  |  | 628.5224 | 1660.241 | 956.263 | 3245.0264 | 628.5224 | 1660.241 | 956.263 | 3245.0264
8294 | Pardee Substation Upgrade 220kV Position 17 CB's (#4172, 5172, 6172) and Position 19 CB's (#4192, 5192, 6192) and associated equipment. | CET-ET-TP-RL-829400 | 903135849 | High | 2022-12-12 | 70.4273 | 2366.262 | 6186.102 | 8622.7913 | 70.4273 | 2366.262 | 6186.102 | 8622.7913
8294 | Pardee-Sylmar 220kV Transmission Line [North Coast Grid ET-00664-04601]: Replace one structure with a 15’ taller tower (M0-T2), including new foundations, in order to mitigate line clearance issues. | CET-ET-TP-RL-829401 | 903135850 | High | 2022-11-14 | 22.8345 | 934.405 | 0 | 957.2395 | 22.8345 | 934.405 | 0 | 957.2395
8294 | Pardee-Sylmar 220kV Transmission Line [Metro West Grid ET-00664-04645]: Raise four towers by 15’ (M9-T3, M9-T4, M10-T1, M10-T2) in order to mitigate line clearance issues. Note: Scope will also include lowering one subtrans/distribution crossing (between M10-T3 to M10-T4), which may be separated into a new element at a future point in time. | CET-ET-TP-RL-829402 | 903135851 | High | 2022-12-30 | 43.7986 | 1959.712 | 0 | 2003.5105 | 43.7986 | 1959.712 | 0 | 2003.5105
8294 | Sylmar Substation (Work to be paid for by SCE but performed by LADWP): Upgrade 220kV Position E8 CB's | CET-ET-TP-RL-829400 | 1002527 | High | 2023-06-01 | 0 | 1003 | 6186.102 | 7189.102 | 0 | 1003 | 6186.102 | 7189.102
8294 | Pardee-Sylmar No. 1 and No. 2 230kV Line Rating Increase Project |  |  |  |  | 137.0603 | 6263.379 | 12372.204 | 18772.6433 | 137.0603 | 6263.379 | 12372.204 | 18772.6433
8355 | Tehachapi CRAS – Monitoring infrastructure i. Whirlwind Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Whirlwind Substation. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTU at W Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Whirlwind Substations. | CET-ET-TP-RN-835500 | 903429710 | High | 2023-10-11 | 6.0875 | 128.47 | 162.383 | 296.9404 | 6.0875 | 128.47 | 162.383 | 296.9404
8355 | Tehachapi CRAS – Monitoring infrastructure ii. Vincent Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Vincent Substation. 2. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTUs at Vincent Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Vincent Substations. | CET-ET-TP-RN-835502 | 903429712 | High | 2023-10-11 | 0.54634 | 98.47 | 197.924 | 296.9403 | 0.54634 | 98.47 | 197.924 | 296.9403
8355 | Tehachapi CRAS – Monitoring infrastructure Midway Substation. Install four (4) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Midway Substation. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. 2. Install lightwave, routers, firewall access switches, data traffic monitoring devices, and data circuits to support centralized RAS network at Windhub and Midway substations. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTUs at Midway Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Midway Substation. | CET-ET-TP-RN-835503 | 903429713 | High | 2023-10-11 | 0.43709 | 98.47 | 198.033 | 296.9401 | 0.43709 | 98.47 | 198.033 | 296.9401
8355 | Tehachapi CRAS – Monitoring infrastructure Windhub Substation. 1. Install two (2) GE N60 logic processing relays or equivalent successor to monitor and detect transmission line outages at Windhub Substation. 2. Install two (2) ethernet switches. 3. Install one (1) satellite clock. 4. Perform centralized RAS programming and testing to the new centralized RAS relays. Telecommunication. 1. Install required channel banks, cross connects and associated equipment (including terminal equipment) at the Generating Facility supporting the centralized RAS tripping requirements. 2. Install lightwave, routers, firewall access switches, data traffic monitoring devices, and data circuits to support centralized RAS network at Windhub and Midway substations. vi. Power System Controls. 1. Perform centralized RAS programming and testing to the new centralized RAS relays. 2. Add points to the RTU at Windhub Substation. 3. Install data gateway appliances. vii. Corporate Security. 1. Install corporate security approved cabinets/cameras/other security measures to monitor and protect Participating TO’s assets per compliance standards, at Antelope, Midway, Whirlwind, Windhub Substations. | CET-ET-TP-RN-835504 | 903429714 | High | 2023-10-11 | 5.0505 | 98.47 | 193.42 | 296.9405 | 5.0505 | 98.47 | 193.42 | 296.9405
8355 | TOT909-Q1631 -Glenfeliz Solar Farm |  |  |  |  | 12.1214 | 423.88 | 751.76 | 1187.7614 | 12.1214 | 423.88 | 751.76 | 1187.7614
8358 | Eldorado Substation IF (RNU) Sloan Canyon RAS a. Install two (2) GE N60 logic processing relays or equivalent successor for AA bank outage detection for participation of the Sloan Canyon RAS programming and testing to the new RAS relays. b. Install one (1) Satellite clock c. Perform programming and testing to the new RAS relays. Eldorado Sub (PSC) RNU a. Add points to the RTUs at Eldorado Substation and the Interconnection Customer’s Generating Facility (Mark for Deletion pending detailed Engineering) | CET-ET-TP-RN-835800 | 903427639 | High | 2023-02-06 | 21.7345 | 685 | 236 | 942.7345 | 21.7345 | 685 | 236 | 942.7345
8359 | Eldorado RNU (IF) a. Install two (2) GE N60 logic processing relays (two relays total) or equivalent successor for logic processing and sending generation trip signals to the Generating Facility Eldorado (PSC) a. Perform RAS programming and testing to the new RAS relays at Eldorado Substation. b. Add points to the RTUs at Eldorado Substation and the Interconnection Customer’s Generating Facility. | CET-ET-TP-RN-835801 | 903427640 | High | 2023-02-06 | 10.258 | 262 | 91 | 363.258 | 10.258 | 262 | 91 | 363.258
8358 | TOT796/Q1341, Yellow Pine 2, LLC, Install Reliability Network Upgrades Eldorado 500/220kV (T)7588 |  |  |  |  | 31.9925 | 947 | 327 | 1305.9925 | 31.9925 | 947 | 327 | 1305.9925
| Total Transmission Project Reliability |  |  |  |  | 100162.181 | 45497.338 | 55254.506 | 200914.025 | 94145.5333 | 43486.0488 | 55254.506 | 192886.088
Infrastructure Replacement
3138 | Sylmar Convertor Station: Misc Cap | CET-OT-OT-ME-313800 |  | High | Blanket Specifics | 0 | 5818.999 | 2647 | 8465.999 | 0 | 5818.999 | 2647 | 8465.999
04651 | Palo Verde Switchrack: Misc Cap | CET-OT-OT-ME-465100 |  | High | Blanket Specifics | 0 | 759.111 | 927 | 1686.111 | 0 | 759.111 | 927 | 1686.111
| Total LADWP/Palo Verde - WORK PERFORMED BY OPERATING AGENT |  |  |  |  | 0 | 6578.11 | 3574 | 10152.11 | 0 | 6578.11 | 3574 | 10152.11
4211 | Replace Bulk Power Circuit Breakers (220kV and Above) | CET-ET-IR-CB-421100 |  | High | Blanket Specifics | 0 | 5123.98 | 5928.237 | 11052.217 | 0 | 5123.98 | 5928.237 | 11052.217
4343 | Non-Bulk Relay Replacement Program ("SRRP") | CET-ET-IR-RP-434301 |  | Low | Blanket Specifics | 0 | 3052.867 | 3192.262 | 6245.129 | 0 | 3052.867 | 3192.262 | 6245.129
4756 | Substation Miscellaneous Equipment Additions & Betterment | CET-ET-IR-ME-475600 |  | High | Blanket Specifics | 0 | 12474.582 | 23252.055 | 35726.637 | 0 | 12211.0462 | 23252.055 | 35463.1012
4837 | Replace SAS Infrastructure (FERC) | CET-ET-IR-RP-483701 |  | High | Blanket Specifics | 0 | 1087.841 | 100.3 | 1188.141 | 0 | 1088.2237 | 100.3 | 1188.5237
5089 | Bulk Power 500kV & 220kV Line Relay Replacement | CET-ET-IR-RP-508900 |  | High | Blanket Specifics | 0 | 8841.968 | 10248.057 | 19090.025 | 0 | 8841.968 | 10248.057 | 19090.025
5210 | Substation Transformer Bank Replacement Program (AA-Bank & A-Bank) | CET-ET-IR-TB-521001 |  | High | Blanket Specifics | 0 | 3663.283 | 4377.371 | 8040.654 | 0 | 3663.283 | 4377.371 | 8040.654
6197 | On-line Dissolved Gas Analysis of Bulk Power Transformer Banks | CET-ET-IR-ME-619700 |  | High | Blanket Specifics | 0 | 1974.797 | 669.375 | 2644.172 | 0 | 1937.8062 | 669.375 | 2607.1812
7713 | Substation Switchrack Rebuilds (FERC) | CET-ET-IR-RB-771301 |  | High | Blanket Specifics | 0 | 16817.849 | 7855.386 | 24673.235 | 0 | 988.8895 | 461.8967 | 1450.7862
7716 | Substation Batteries & Chargers (FERC) | CET-ET-IR-ME-771601 |  | High | Blanket Specifics | 0 | 998.942 | 649.944 | 1648.886 | 0 | 998.942 | 649.944 | 1648.886
7957 | Devers: Substation Maintenance and Test Building Improvements program | COS-00-RE-AD-SR0004 | 801432305 | High | 2021-12-01 | 4448.5694 | 4701.3057 | 798.6944 | 9948.5694 | 4448.5694 | 3848.959 | 653.8911 | 8951.4194
| Total Substation Maintenance and Test Building Improvements Program |  |  |  |  | 4448.5694 | 4701.3057 | 798.6944 | 9948.5694 | 4448.5694 | 3848.959 | 653.8911 | 8951.4194
7637 | Substation Facility Capital Maintenance | COS-00-RE-MA-NE7637 |  | High | Blanket Specifics | 0 | 15247.1773 | 15301.12 | 30548.2973 | 0 | 5336.5121 | 5355.392 | 10691.9041
7392 | Seismic Program - Trans Subs (FERC) | COS-00-SP-TD-000000 |  | High | Blanket Specifics | 0 | 17800.004 | 22000 | 39800.004 | 0 | 11392.0026 | 14080 | 25472.0026
7392 | Seismic Program - Trans Lines | COS-00-SP-TD-000002 |  | High | Blanket Specifics | 0 | 3150 | 4000 | 7150 | 0 | 3150 | 4000 | 7150
07392 | Seismic Assessment and Mitigation Program for Transmission Assets |  |  |  |  | 0 | 20950.004 | 26000 | 46950.004 | 0 | 14542.0026 | 18080 | 32622.0026
Physical Security Enhancement Programs:
07949 | Protection of Grid Infrastructure Assets (formerly, Physical Security Systems - Electric Facilities) | COS-00-CS-CS-745400 |  | High | Blanket Specifics | 0 | 15073.438 | 16620.789 | 31694.227 | 0 | 8719.9839 | 9615.1264 | 18335.1103
7573 | Substation Fence/Gate (Cu Theft) (aka, Security Fence and Lights Upgrade) (FERC) | CET-ET-IR-ME-757301 |  | High | Blanket Specifics | 0 | 8828.055 | 6265.425 | 15093.48 | 0 | 3611.4274 | 3192.2967 | 6803.7242
7820 | 220/66 kV (ES-5050): NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782002 | 901656355 | High | 2018-09-17 | 0 | 13.041 | 0 | 13.041 | 0 | 10.824 | 0 | 10.824
7820 | 500/230 kV (ES-5054): NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782005 | 901656358 | High | 2020-05-22 | 0 | 0.645 | 0 | 0.645 | 0 | 0.645 | 0 | 0.645
7820 | 500/230 kV (ES-5090): NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782008 | 901657121 | High | 2020-05-13 | 0 | 24.626 | 0 | 24.626 | 0 | 24.626 | 0 | 24.626
7820 | 500/230 kV (ES-5061): NERC CIP-14 Physical Security Enhancements | CET-ET-IR-ME-782009 | 902072001 | High | 2021-07-27 | 0 | 0.335 | 0 | 0.335 | 0 | 0.335 | 0 | 0.335
7820 | Substation Physical Security Enhancements Project |  |  |  |  | 0 | 38.647 | 0 | 38.647 | 0 | 36.43 | 0 | 36.43
08042 | 500/230 kV (ES-5067): Physical Security Tier 2 | CET-ET-IR-ME-804200 | 902210275 | High | 2022-12-21 | 766.1274 | 5435.892 | 0 | 6202.0194 | 628.2245 | 4457.4314 | 0 | 5085.6559
08042 | 500/230 kV (ES-5047): Physical Security Tier 2 | CET-ET-IR-ME-804202 | 902210277 | High | 2023-09-29 | 342.6923 | 700 | 2505.865 | 3548.5573 | 342.6923 | 700 | 2505.865 | 3548.5573
08042 | 500/230 kV (ES-8060): Physical Security Tier 2 | CET-ET-IR-ME-804203 | 902210452 | High | 2022-12-30 | 28.1895 | 700 | 3928.579 | 4656.7685 | 28.1895 | 700 | 3928.579 | 4656.7685
08042 | 500/230 kV (ES-5079): Physical Security Tier 2 | CET-ET-IR-ME-804204 | 902210453 | High | 2023-11-29 | 25.3697 | 700 | 3689.035 | 4414.4047 | 22.5791 | 623 | 3283.2411 | 3928.8202
08042 | 500/230 kV (ES-5070): Physical Security Tier 2 | CET-ET-IR-ME-804202 | 903511341 | High | 2023-05-19 | 76.3897 | 700 | 12457.115 | 13233.5047 | 76.3897 | 700 | 12457.115 | 13233.5047
08042 | Physical Security Projects (Tiers 2 & 3) |  |  |  |  | 1238.7686 | 8235.892 | 22580.594 | 32055.2546 | 1098.075 | 7180.4314 | 22174.8001 | 30453.3066
| Total Physical Security Enhancement Programs |  |  |  |  | 1238.7686 | 32176.032 | 45466.808 | 78881.6086 | 1098.075 | 19548.2728 | 34982.2233 | 55628.5711
| Total Infrastructure Replacement |  |  |  |  | 5687.338 | 133688.738 | 147413.6094 | 286789.6853 | 5546.6444 | 87760.862 | 111525.0041 | 204832.5104
Grid Applications
8278 | El Nido Substation- CRAS Relays and Network Gear | CET-ET-GA-CR-827800 | 903054557 | High | 2022-03-04 | 326.9294 | 170.771 | 0 | 497.7004 | 326.9294 | 170.771 | 0 | 497.7004
8278 | El Segundo Substation- CRAS Relays & Network Gear: DISC & remove existing El Nido/El Segundo CRAS | CET-ET-GA-CR-827801 | 903054558 | High | 2022-03-04 | 0 | 50.945 | 0 | 50.945 | 0 | 50.945 | 0 | 50.945
8278 | La Cienega Substation- CRAS Relays & Network Gear: DISC & remove existing El Nido/El Segundo CRAS | CET-ET-GA-CR-827802 | 903054579 | High | 2022-03-04 | 354.1279 | 51.448 | 0 | 405.5759 | 354.1279 | 51.448 | 0 | 405.5759
8278 | La Fresa Substation-CRAS Relays & Network Gear La Fresa Substation: DISC & remove existing El Nido | CET-ET-GA-CR-827803 | 903054581 | High | 2022-03-04 | 190.4847 | 86.58 | 0 | 277.0647 | 190.4847 | 86.58 | 0 | 277.0647
8278 | El Nido/El Segundo CRAS RGOOSE (Routable Generic Object Oriented Substation Environment) Conversion |  |  |  |  | 871.5419 | 359.744 | 0 | 1231.2859 | 871.5419 | 359.744 | 0 | 1231.2859
8284 | Colorado River Substation (Q1402 Atlas Solar Tripping):Install ten (10) GE N60 logic processing relays or equivalent successor to send tripping signals to the Large Generating Facility. | CET-ET-GA-CR-828403 | 903110310 | High | 2022-12-30 | 9.0905 | 452 | 760 | 1221.0905 | 9.0905 | 452 | 760 | 1221.0905
8284 | Colorado River Substation (Removal CRC RAS) | CET-ET-GA-CR-828402 | 903109578 | High | 2022-11-15 | 31.5724 | 102 | 142.428 | 276.0004 | 31.5724 | 102 | 142.428 | 276.0004
8284 | Vista Sub: Install relays/Add points. Vista Substation (RNU): a. Install four (4) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS Inland/Devers extension. b. Install one (1) Ethernet switch associated with the West of Colorado River CRAS Inland/Devers extension. c. Install one (1) satellite clock associated with the West of Colorado River CRAS Inland/Devers extension. d. Install one (1) new standard pre-fabricated drop-in MEER. e. Perform Ground Grid Study.Power System Control Add points to the RTUs at Vista Substation and the Large Generating Facility to support the West of Colorado River CRAS Inland/Devers extension. | CET-ET-GA-CR-828401 | 902699207 | High | 2022-06-13 | 1113.4973 | 400 | 0 | 1513.4973 | 1113.4973 | 400 | 0 | 1513.4973
8284 | San Bernardino Sub:Install relays/add points San Bernardino Substation (RNU): a. Install two (2) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS Inland/Devers extension. b. Install one (1) Ethernet switch associated with the West of Colorado River CRAS Inland/Devers extension. c. Install one (1) satellite clock associated with the West of Colorado River CRAS Inland/Devers extension. Power System Control Add points to the RTUs at San Bernardino Substation and the Large Generating Facility to support the West of Colorado River CRAS Inland/Devers extension. PIN 8220 | CET-ET-GA-CR-828407 | 902699210 | High | 2022-06-30 | 354.7 | 350 | 0 | 704.7 | 354.7 | 350 | 0 | 704.7
8284 | Mira Loma Sub:Add relays/add points Mira Loma Substation (RNU): a. Install two (2) G.E. N60 logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS Inland/Devers extension. b. Install one (1) Ethernet switch associated with the West of Colorado River CRAS Inland/Devers extension. c. Install one (1) satellite clock associated with the West of Colorado River CRAS Inland/Devers extension. Power System Control Add points to the RTUs at Mira Loma Substation and the Large Generating Facility to support the West of Colorado River CRAS Inland/Devers extension. PIN 8220 | CET-ET-GA-CR-828402 | 902699212 | High | 2022-06-30 | 697.5868 | 500 | 0 | 1197.5868 | 697.5868 | 500 | 0 | 1197.5868
8284 | Devers Sub:Install relays/add points Devers Substation (RNU): a. Install two (2) G.E. logic processing relays or equivalent successor for transmission line outage detection associated with the West of Colorado River CRAS expansion. Power System Control Add points to the RTUs at Devers Substation and the Large Generating Facility to support the West of Colorado River CRAS expansion. PIN 8220 | CET-ET-GA-CR-828403 | 902699214 | High | 2022-09-14 | 1005.4186 | 507.888 | 0 | 1513.3066 | 1005.4186 | 507.888 | 0 | 1513.3066
8284 | West of Colorado River CRAS Inland/Devers Extension |  |  |  |  | 3211.8658 | 2311.888 | 902.428 | 6426.1818 | 3211.8658 | 2311.888 | 902.428 | 6426.1818
6446 | VARIOUS: INSTALL PHASOR MEASUREMENT SYSTEM | CET-ET-GA-EM-644600 |  | High | Blanket Specifics | 0 | 8237.624 | 5142.56 | 13380.184 | 0 | 6207.9648 | 2770.06 | 8978.0248
| Total Grid Apps |  |  |  |  | 4083.4077 | 10909.256 | 6044.988 | 21037.6517 | 4083.4077 | 8879.5968 | 3672.488 | 16635.4925
PWRD Blankets
03363 | Substation Planned Maintenance Replacements | CET-PD-IR-SP-SUBSNW |  | High | Blanket Specifics | 0 | 13000.0001 | 13500 | 26500.0001 | 0 | 691.8242 | 718.4328 | 1410.257
03363 | Substation Unplanned Maintenance Replacements | CET-PD-BM-SU-SUBSNW |  | High | Blanket Specifics | 0 | 26388.3556 | 26388.3555 | 52776.7111 | 0 | 1208.5783 | 1208.5783 | 2417.1567
03363 | Substation - Storm | CET-PD-ST-SS-SUBSNW |  | High | Blanket Specifics | 0 | 1033.3684 | 1033.3684 | 2066.7368 | 0 | 228.3619 | 228.3619 | 456.7238
03363 | Substation Maintenance, Breakdown, & Storm |  |  |  |  | 0 | 40421.7241 | 40921.7239 | 81343.448 | 0 | 2128.7644 | 2155.373 | 4284.1374
7890 | Transmission Maintenance Planned - Overhead Conductor | CET-PD-IR-TP |  | High | Blanket Specifics | 0 | 1503.836 | 0 | 1503.836 | 0 | 1503.836 | 0 | 1503.836
7891 | Transmission Maintenance Planned - Pole Replacement | CET-PD-IR-TP-789100 |  | Low | Blanket Specifics | 0 | 176.141 | 0 | 176.141 | 0 | 176.141 | 0 | 176.141
03364 | Transmission Breakdown Maintenance Unplanned | CET-PD-BM-TU-TRSJAC |  | High | Blanket Specifics | 0 | 2811.0477 | 2873.2349 | 5684.2826 | 0 | 668.4345 | 683.2219 | 1351.6563
03364 | Transmission Tower Corrosion Program | CET-PD-IR-TS-TRSJAC |  | High | Blanket Specifics | 0 | 5254.6244 | 20873.9144 | 26128.5389 | 0 | 3678.2371 | 14611.7401 | 18289.9772
03364 | Transmission Grid-Based Maintenance | CET-PD-IR-TG-TRSJAC |  | High | Blanket Specifics | 0 | 31156.8337 | 31812.2357 | 62969.0694 | 0 | 9234.7077 | 9428.9651 | 18663.6729
| Transmission Maintenance & Breakdown Maintenance |  |  |  |  | 0 | 40902.4829 | 55559.385 | 96461.8679 | 0 | 15261.3563 | 24723.9271 | 39985.2834
03364 | Transmission Deteriorated Pole Repl & Restoration | CET-PD-IR-TR-TRSJAC |  | Low | Blanket Specifics | 0 | 115989.9452 | 112599.1616 | 228589.1068 | 0 | 5544.3194 | 5382.2399 | 10926.5593
03364 | Pole Loading Transmission Pole Replacements | CET-PD-IR-PT-TRSJAC |  | Low | Blanket Specifics | 0 | 19881.218 | 24366.3756 | 44247.5936 | 0 | 242.5509 | 297.2698 | 539.8206
4056 | Steel Stub Pole Remediation (Trans) | CET-PD-OT-SF-TRORAN |  | Low | Blanket Specifics | 0 | 153.8282 | 191.1018 | 344.93 | 0 | 2.402 | 2.9841 | 5.3861
| Transmission Poles (Pole Loading & Deteriorated Pole Programs) |  |  |  |  | 0 | 136024.9915 | 137156.639 | 273181.6304 | 0 | 5789.2723 | 5682.4938 | 11471.7661
7298 | Transmission Line Rating Remediation (Exempt from Licensing) | CET-PD-OT-PJ-729801 |  | High | Blanket Specifics | 0 | 64588.3499 | 65503.0633 | 130091.4132 | 0 | 64588.3499 | 65503.0633 | 130091.4132
3362 | Critical Infrastructure Spares - FERC Spare Transformer Equipment Program (STEP)/Emergency | CET-PD-CI-CI-CRINSP |  | High | Blanket Specifics | 0 | 6200 | 4216.394 | 10416.394 | 0 | 6200 | 4216.394 | 10416.394
03367 | Substation - Claim | CET-PD-CL-SC-SUBSNW |  | High | Blanket Specifics | 0 | 141.304 | 141.304 | 282.608 | 0 | 3.4633 | 3.4633 | 6.9265
03367 | Transmission - Claim | CET-PD-CL-TC-TRSJAC |  | High | Blanket Specifics | 0 | 1609.5906 | 1644.2588 | 3253.8493 | 0 | 46.387 | 47.3861 | 93.7731
03367 | Transmission - Storm | CET-PD-ST-TS-TRSJAC |  | High | Blanket Specifics | 0 | 4008.0738 | 4099.8792 | 8107.953 | 0 | 1061.9849 | 1086.3098 | 2148.2946
4057 | RE Erosion Control CEMA Creek Fire | CET-OT-CM-ST-CEMAST | 903237253 | High | 2022-11-01 | 2781.8247 | 4000 | 700 | 7481.8247 | 2781.8247 | 4000 | 700 | 7481.8247
| Transmission Storm & Claims |  |  |  |  | 2781.8247 | 9758.9684 | 6585.442 | 19126.235 | 2781.8247 | 5111.8352 | 1837.1592 | 9730.819
08224 | Transmission Enhanced Overhead Inspections (EOI) Capital Remediations | CET-PD-WM-TP-822400 |  | Low | Blanket Specifics | 0 | 439.2524 | 239.0573 | 678.3097 | 0 | 439.2524 | 239.0573 | 678.3097
| Total PWRD Blankets |  |  |  |  | 0 | 297896.5166 | 309942.6472 | 610620.9885 | 0 | 99079.578 | 104118.4104 | 205979.813
Total Non-Incentive Transmission Projects | [5 empty] | 112789.7544 | 490149.844 | 519259.4479 | 1122199.0463 | 106632.4131 | 240970.075 | 275174.1058 | 622776.5939
Total Forecast Specific Project Expenditures (Closing by December 2023) | [5 empty] | 112789.7544 | 66863.5577 | 80600.8624 | 260254.1744 | 106632.4131 | 62548.2383 | 80050.2652 | 249230.9166
Total Forecast Blanket Expenditures (Closing by December 2023) | [5 empty] | 0 | 423286.2863 | 438658.5855 | 861944.8718 | 0 | 178421.8367 | 195123.8405 | 373545.6772