## Active SC Flags
SolutionCode | MeasureCatalogName | Custom/Deemed | Permit | Date Eligible | Note
AC-10166 | Optimize supply fan VFD - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-11250 | Ultrasonic Humidifiers | Custom | 2 - Sometimes | 2013-01-01
AC-11324 | Under-floor Air Distribution with Displacement Ventilation - Operational | Custom | 2 - Sometimes | 2013-01-01
AC-12348 | New Construction - Above Code Systems Design - Variable Speed Drives | Custom | 1 - Always | 2013-01-01
AC-12765 | Optimize chiller sequencing - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-15987 | Chilled water reset - retrocommisioning | Custom | 2 - Sometimes | 2013-01-01
AC-16729 | Adjust chiller water lockout - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-18574 | Frictionless compressor retrofit - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
AC-19384 | Kitchen exhaust fan - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-19642 | Optimize Carbon Dioxide (CO2) Demand Control Ventilation - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-19755 | Adjust or re-fit fan belts - retrocommissioning | Custom | 2 - Sometimes | 2017-06-19
AC-19756 | Condenser water reset - retrocommissioning | Custom | 2 - Sometimes | 2017-06-19
AC-19757 | Removal or adjustment of fan sound attenuators - retrocommissioning | Custom | 2 - Sometimes | 2017-06-19
AC-19758 | Trim pump impeller - retrocommissioning | Custom | 2 - Sometimes | 2017-06-19
AC-19759 | Cooling system tune-ups - retrocommissioning | Custom | 2 - Sometimes | 2017-06-19
AC-19760 | Clean evaporator coils - retrocommissioning | Custom | 2 - Sometimes | 2017-06-19
AC-19761 | Adjust refrigerant level - retrocommissioning | Custom | 2 - Sometimes | 2017-06-19
AC-19762 | Repair ductwork with aerosol sealant - retrocommissioning | Custom | 2 - Sometimes | 2017-06-19
AC-19763 | Fan static pressure reset - retrocommissioning | Custom | 2 - Sometimes | 2017-06-19
AC-19765 | Repair cooling medium piping leaks - retrocommissioning | Custom | 2 - Sometimes | 2017-06-19
AC-19789 | Economizer - air side - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19790 | HVAC Occupancy Sensor - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19792 | Indirect evaporative cooling - dual stage - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19793 | Condenser fan - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19794 | HVAC Occupancy Sensor Thermostat - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19795 | Exhaust fan VFD controls for CO DCV in enclosed parking structures - Add-on Equipment | Custom | 2 - Sometimes | 2017-06-19
AC-19845 | Optimize room temperature setpoints - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-20033 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (150 to 299 tons, 0.54 Max kW/ton, 0.34 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20034 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (150 to 299 tons, 0.572 Max kW/ton, 0.36 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20035 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (300 to 399 tons, 0.506 Max kW/ton, 0.332 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20036 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (300 to 399 tons, 0.536 Max kW/ton, 0.351 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20037 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (400 to 599 tons, 0.497 Max kW/ton, 0.323 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20038 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (400 to 599 tons, 0.527 Max kW/ton, 0.342 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20039 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (>= 600 tons, 0.497 Max kW/ton, 0.323 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20040 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (>= 600 tons, 0.527 Max kW/ton, 0.342 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20041 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (< 150 tons, 0.591 Max kW/ton, 0.374 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20043 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (< 150 tons, 0.626 Max kW/ton, 0.396 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20074 | Water Cooled Variable Speed Screw Chiller (150 to 299 tons, 0.578 Max kW/ton, 0.374 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20076 | Water Cooled Variable Speed Screw Chiller (150 to 299 tons, 0.612 Max kW/ton, 0.396 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20078 | Water Cooled Variable Speed Screw Chiller (300 to 599 tons, 0.531 Max kW/ton, 0.349 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20080 | Water Cooled Variable Speed Screw Chiller (300 to 599 tons, 0.563 Max kW/ton, 0.369 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20082 | Water Cooled Variable Speed Screw Chiller (75 to 149 tons, 0.638 Max kW/ton, 0.417 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20084 | Water Cooled Variable Speed Screw Chiller (75 to 149 tons, 0.675 Max kW/ton, 0.441 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20086 | Water Cooled Variable Speed Screw Chiller (>= 600 tons, 0.497 Max kW/ton, 0.323 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20089 | Water Cooled Variable Speed Screw Chiller (>= 600 tons, 0.527 Max kW/ton, 0.342 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20091 | Water Cooled Variable Speed Screw Chiller (< 75 tons, 0.663 Max kW/ton, 0.425 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20093 | Water Cooled Variable Speed Screw Chiller (< 75 tons, 0.702 Max kW/ton, 0.45 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-20094 | Air Cooled Chiller CS (>= 150 tons, 11.1 EER, 15.4 IPLV) Chiller replacing Air Cooled CS Chiller (>= 150 tons, 10.1 EER, 14 IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC020-01
AC-20095 | Air Cooled CS Chiller (>= 150 tons, 12.1 EER, 16.9 IPLV) Chiller replacing Air Cooled CS Chiller (>= 150 tons, 10.1 EER, 14 IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC020-01
AC-20096 | Air Cooled CS Chiller (< 150 tons, 11.1 EER, 15.1 IPLV) Chiller replacing Air Cooled CS Chiller (< 150 tons, 10.1 EER, 13.7 IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC020-01
AC-20097 | Air Cooled CS Chiller (< 150 tons, 12.1 EER, 16.6 IPLV) Chiller replacing Air Cooled CS Chiller (< 150 tons, 10.1 EER, 13.7 IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC020-01
AC-20326 | Decrease Refrigerant Charge System with thermal expansion valve (TXV) - Typical (8% rated charge) spltSEER replacing Typical refrigerant overcharged state with TXV | Deemed | 1 - Always | 2019-01-01 | SWSV006-01
AC-20327 | Increase Refrigerant Charge System with No thermal expansion valve (TXV) - Typical (8% rated charge) spltSEER replacing Typical refrigerant overcharged state with No TXV | Deemed | 1 - Always | 2019-01-01 | SWSV006-01
AC-20328 | Increase Refrigerant Charge System with thermal expansion valve (TXV) - Typical (8% rated charge) spltSEER replacing Typical refrigerant overcharged state with TXV | Deemed | 1 - Always | 2019-01-01 | SWSV006-01
AC-20329 | Decrease Refrigerant Charge System with No thermal expansion valve (TXV) - Typical (8% rated charge) spltSEER replacing Typical refrigerant overcharged state with No TXV | Deemed | 1 - Always | 2019-01-01 | SWSV006-01
AC-20766 | Computer Room Air Conditioning Unit Component upgrade – Fan | Custom | 2 - Sometimes | 2018-10-30
AC-20867 | Air Handling Unit (VAV only) >25 hp – Accelerated Replacement, To-Standard Practice | Custom | 2 - Sometimes | 2019-02-14
AC-21061 | Optimize HVAC system high volume low speed circulation fans - operational | Custom | 2 - Sometimes | 2019-05-06
AC-21113 | Air Cooled Constant Speed Screw Chiller (>= 150 tons, 11.1 EER, 15.4 IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC020-01
AC-21114 | Air Cooled Constant Speed Screw Chiller (>= 150 tons, 12.1 EER, 16.9 IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC020-01
AC-21115 | Air Cooled Constant Speed Screw Chiller (< 150 tons, 11.1 EER, 15.1 IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC020-01
AC-21116 | Air Cooled Constant Speed Screw Chiller (< 150 tons, 12.1 EER, 16.6 IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC020-01
AC-21137 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (150 to 299 tons, 0.54 Max kW/ton, 0.34 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21138 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (150 to 299 tons, 0.572 Max kW/ton, 0.36 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21139 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (300 to 399 tons, 0.506 Max kW/ton, 0.332 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21140 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (300 to 399 tons, 0.536 Max kW/ton, 0.351 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21141 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (400 to 599 tons, 0.497 Max kW/ton, 0.323 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21142 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (400 to 599 tons, 0.527 Max kW/ton, 0.342 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21143 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (>= 600 tons, 0.497 Max kW/ton, 0.323 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21144 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (>= 600 tons, 0.527 Max kW/ton, 0.342 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21145 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (< 150 tons, 0.591 Max kW/ton, 0.374 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21146 | Water Cooled Centrifugal Chiller w/1 conventional VSD compressor and condenser relief (< 150 tons, 0.626 Max kW/ton, 0.396 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21147 | Water Cooled Variable Speed Screw Chiller (150 to 299 tons, 0.578 Max kW/ton, 0.374 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21148 | Water Cooled Variable Speed Screw Chiller (150 to 299 tons, 0.612 Max kW/ton, 0.396 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21149 | Water Cooled Variable Speed Screw Chiller (300 to 599 tons, 0.531 Max kW/ton, 0.349 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21150 | Water Cooled Variable Speed Screw Chiller (300 to 599 tons, 0.563 Max kW/ton, 0.369 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21151 | Water Cooled Variable Speed Screw Chiller (75 to 149 tons, 0.638 Max kW/ton, 0.417 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21152 | Water Cooled Variable Speed Screw Chiller (75 to 149 tons, 0.675 Max kW/ton, 0.441 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21153 | Water Cooled Variable Speed Screw Chiller (>= 600 tons, 0.497 Max kW/ton, 0.323 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21154 | Water Cooled Variable Speed Screw Chiller (>= 600 tons, 0.527 Max kW/ton, 0.342 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21155 | Water Cooled Variable Speed Screw Chiller (< 75 tons, 0.663 Max kW/ton, 0.425 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21156 | Water Cooled Variable Speed Screw Chiller (< 75 tons, 0.702 Max kW/ton, 0.45 Max IPLV) | Deemed | 1 - Always | 2018-01-01 | SWHC005-01
AC-21212 | 100% outside air to minimum outside air HVAC conversion - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-21299 | Unitary Air-Cooled, Packaged AC, < 55 kBTU/h, 15 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21300 | Unitary Air-Cooled, Packaged AC, < 55 kBTU/h, 16 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21301 | Unitary Air-Cooled, Packaged AC, < 55 kBTU/h, 17 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21302 | Unitary Air-Cooled, Packaged AC, < 55 kBTU/h, 18 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21303 | Unitary Air-Cooled, Packaged AC, 55 - 65 kBTU/h, 15 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21304 | Unitary Air-Cooled, Packaged AC, 55 - 65 kBTU/h, 16 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21305 | Unitary Air-Cooled, Packaged AC, 55 - 65 kBTU/h, 17 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21306 | Unitary Air-Cooled, Packaged AC, 55 - 65 kBTU/h, 18 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21307 | Unitary Air-Cooled, Split AC, < 45 kBTU/h, 15 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21308 | Unitary Air-Cooled, Split AC, < 45 kBTU/h, 16 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21309 | Unitary Air-Cooled, Split AC, < 45 kBTU/h, 17 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21310 | Unitary Air-Cooled, Split AC, < 45 kBTU/h, 18 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21311 | Unitary Air-Cooled, Split AC, 45 - 55 kBTU/h, 15 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21312 | Unitary Air-Cooled, Split AC, 45 - 55 kBTU/h, 16 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21313 | Unitary Air-Cooled, Split AC, 45 - 55 kBTU/h, 17 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21314 | Unitary Air-Cooled, Split AC, 45 - 55 kBTU/h, 18 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21315 | Unitary Air-Cooled, Packaged HP, < 55 kBTU/h, 15 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21316 | Unitary Air-Cooled, Packaged HP, < 55 kBTU/h, 16 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21317 | Unitary Air-Cooled, Packaged HP, < 55 kBTU/h, 17 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21318 | Unitary Air-Cooled, Packaged HP, 55 - 65 kBTU/h, 15 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21319 | Unitary Air-Cooled, Packaged HP, 55 - 65 kBTU/h, 16 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21320 | Unitary Air-Cooled, Packaged HP, 55 - 65 kBTU/h, 17 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21321 | Unitary Air-Cooled, Split HP, < 55 kBTU/h, 15 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21322 | Unitary Air-Cooled, Split HP, < 55 kBTU/h, 16 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21323 | Unitary Air-Cooled, Split HP, < 55 kBTU/h, 17 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21325 | Unitary Air-Cooled, Split HP, 55 - 65 kBTU/h, 15 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21326 | Unitary Air-Cooled, Split HP, 55 - 65 kBTU/h, 16 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21327 | Unitary Air-Cooled, Split HP, 55 - 65 kBTU/h, 17 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21328 | Unitary Air-Cooled, Split HP, 55 - 65 kBTU/h, 18 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21353 | Unitary Air-Cooled, Split HP, < 55 kBTU/h, 18 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21442 | Increase Refrigerant Charge - System with No thermal expansion valve (TXV) - (4% rated charge) | Deemed | 1 - Always | 2019-01-01 | SWSV006-01
AC-21443 | Increase Refrigerant Charge - System with thermal expansion valve (TXV) - (4% rated charge) | Deemed | 1 - Always | 2019-01-01 | SWSV006-01
AC-21444 | Increase Refrigerant Charge - System with No thermal expansion valve (TXV) - (16% rated charge) | Deemed | 1 - Always | 2019-01-01 | SWSV006-01
AC-21445 | Increase Refrigerant Charge - System with thermal expansion valve (TXV) - (16% rated charge) | Deemed | 1 - Always | 2019-01-01 | SWSV006-01
AC-21453 | Supply fan (industrial only) – VFD – add-on equipment | Custom | 2 - Sometimes | 2019-09-26
AC-21454 | Unitary Air-Cooled, Split AC, 55 - 65 kBTU/h, 15 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21455 | Unitary Air-Cooled, Split AC, 55 - 65 kBTU/h, 16 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21456 | Unitary Air-Cooled, Split AC, 55 - 65 kBTU/h, 17 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21457 | Unitary Air-Cooled, Split AC, 55 - 65 kBTU/h, 18 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21458 | Unitary Air-Cooled, Packaged HP, < 55 kBTU/h, 18 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21459 | Unitary Air-Cooled, Packaged HP, 55 - 65 kBTU/h, 18 SEER, with No Economizer | Deemed | 1 - Always | 2020-05-28 | SWHC014-01
AC-21478 | Insulating cool air ducts – add-on equipment | Custom | 2 - Sometimes | 2019-10-28
AC-21479 | Insulating chiller water pipes – add-on equipment | Custom | 2 - Sometimes | 2019-10-28
AC-21480 | Insulating refrigerant pipes – add-on equipment | Custom | 2 - Sometimes | 2019-10-28
AC-21481 | Insulating condenser water pipes – add-on equipment | Custom | 2 - Sometimes | 2019-10-28
AC-21517 | Res DXHP SEER>=15 and HSPF>=8.7 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21518 | Res DXHP SEER>=16 and HSPF>=9 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21519 | Res DXHP SEER>=17 and HSPF>=9.4 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21520 | Res DXHP SEER>=18 and HSPF>=9.7 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21521 | Res DXHP SEER>=15 and HSPF>=8.7 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21522 | Res DXHP SEER>=16 and HSPF>=9 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21523 | Res DXHP SEER>=17 and HSPF>=9.4 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21524 | Res DXHP SEER>=18 and HSPF>=9.7 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21528 | Commercial IEER-rated package heat pump, 135 to 239 kBtu/h IEER14.5 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21529 | Commercial IEER-rated package heat pump, 135 to 239 kBtu/h IEER15.5 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21530 | Commercial IEER-rated package heat pump, 240 to 760 kBtu/h IEER12.0 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21531 | Commercial IEER-rated package heat pump, 240 to 760 kBtu/h IEER13.0 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21532 | Commercial IEER-rated package heat pump, 65 to 134 kBtu/h IEER14.0 COP3.4 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21533 | Commercial IEER-rated package heat pump, 65 to 134 kBtu/h IEER15.0 COP3.4 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21534 | Commercial SEER-rated package heat pump 1 stage, < 65 kBtu/h SEER15 HSPF8.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21535 | Commercial SEER-rated package heat pump 2 stage, < 65 kBtu/h SEER15 HSPF8.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21536 | Commercial SEER-rated package heat pump, < 65 kBtu/h SEER16 HSPF8.5 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21537 | Commercial SEER-rated package heat pump, < 65 kBtu/h SEER17 HSPF9.0 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21538 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER15 HSPF8.7 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21539 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER16 HSPF9.0 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21540 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER17 HSPF9.4 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21541 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER18 HSPF9.7 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21542 | Commercial IEER-rated package heat pump, 135 to 239 kBtu/h IEER14.5 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21543 | Commercial IEER-rated package heat pump, 135 to 239 kBtu/h IEER15.5 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21544 | Commercial IEER-rated package heat pump, 240 to 760 kBtu/h IEER12.0 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21545 | Commercial IEER-rated package heat pump, 240 to 760 kBtu/h IEER13.0 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21546 | Commercial IEER-rated package heat pump, 65 to 134 kBtu/h IEER14.0 COP3.4 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21547 | Commercial IEER-rated package heat pump, 65 to 134 kBtu/h IEER15.0 COP3.4 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21548 | Commercial SEER-rated package heat pump 1 stage, < 65 kBtu/h SEER15 HSPF8.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21549 | Commercial SEER-rated package heat pump 2 stage, < 65 kBtu/h SEER15 HSPF8.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21550 | Commercial SEER-rated package heat pump, < 65 kBtu/h SEER16 HSPF8.5 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21551 | Commercial SEER-rated package heat pump, < 65 kBtu/h SEER17 HSPF9.0 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21552 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER15 HSPF8.7 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21553 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER16 HSPF9.0 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21554 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER17 HSPF9.4 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21555 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER18 HSPF9.7 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21560 | Ductless Mini-Split Heat Pump (SEER 15, HSPF 8.5) (NR) | Deemed | 1 - Always | 2020-01-01 | SWHC044-01
AC-21561 | Ductless Mini-Split Heat Pump (SEER 16, HSPF 8.8) (NR) | Deemed | 1 - Always | 2020-01-01 | SWHC044-01
AC-21562 | Ductless Mini-Split Heat Pump (SEER 17, HSPF 9.4) (NR) | Deemed | 1 - Always | 2020-01-01 | SWHC044-01
AC-21563 | Ductless Mini-Split Heat Pump (SEER 18, HSPF 9.8) (NR) | Deemed | 1 - Always | 2020-01-01 | SWHC044-01
AC-21572 | Ductless Mini-Split Heat Pump (SEER 15, HSPF 8.5) (NC) | Deemed | 1 - Always | 2020-01-01 | SWHC044-01
AC-21573 | Ductless Mini-Split Heat Pump (SEER 16, HSPF 8.8) (NC) | Deemed | 1 - Always | 2020-01-01 | SWHC044-01
AC-21574 | Ductless Mini-Split Heat Pump (SEER 17, HSPF 9.4) (NC) | Deemed | 1 - Always | 2020-01-01 | SWHC044-01
AC-21575 | Ductless Mini-Split Heat Pump (SEER 18, HSPF 9.8) (NC) | Deemed | 1 - Always | 2020-01-01 | SWHC044-01
AC-21576 | Res DXHP SEER>=15 and HSPF>=8.7 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21577 | Res DXHP SEER>=16 and HSPF>=9 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21578 | Res DXHP SEER>=17 and HSPF>=9.4 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21579 | Res DXHP SEER>=18 and HSPF>=9.7 | Deemed | 1 - Always | 2020-01-01 | SWHC045-01
AC-21580 | Commercial IEER-rated package heat pump, 135 to 239 kBtu/h IEER14.5 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21581 | Commercial IEER-rated package heat pump, 135 to 239 kBtu/h IEER15.5 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21582 | Commercial IEER-rated package heat pump, 240 to 760 kBtu/h IEER12.0 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21583 | Commercial IEER-rated package heat pump, 240 to 760 kBtu/h IEER13.0 COP3.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21584 | Commercial IEER-rated package heat pump, 65 to 134 kBtu/h IEER14.0 COP3.4 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21585 | Commercial IEER-rated package heat pump, 65 to 134 kBtu/h IEER15.0 COP3.4 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21586 | Commercial SEER-rated package heat pump 1 stage, < 65 kBtu/h SEER15 HSPF8.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21587 | Commercial SEER-rated package heat pump 2 stage, < 65 kBtu/h SEER15 HSPF8.2 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21588 | Commercial SEER-rated package heat pump, < 65 kBtu/h SEER16 HSPF8.5 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21589 | Commercial SEER-rated package heat pump, < 65 kBtu/h SEER17 HSPF9.0 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21590 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER15 HSPF8.7 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21591 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER16 HSPF9.0 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21592 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER17 HSPF9.4 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21593 | Commercial SEER-rated split heat pumps, < 65 kBtu/h SEER18 HSPF9.7 | Deemed | 1 - Always | 2020-01-01 | SWHC046-01
AC-21817 | supply fan software-controlled switch reluctance motor > 3 HP - normal replacement | Custom | 2 - Sometimes | 2020-06-19 | New Code
AC-21818 | supply fan software-controlled switch reluctance motor > 3 HP - accelerated replacement | Custom | 2 - Sometimes | 2020-06-19 | New Code
AC-21964 | Duct Seal High to Low Maintenance | Deemed | 1 - Always | 2019-01-01 | SWSV001-01
AC-24456 | Optimize return fan VFD - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-25486 | Adjust zone temperature deadband retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-27534 | Optimize fan static pressure controls - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-28476 | Optimize exhaust fan VFD - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-32109 | Improved chiller sequencing - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-32882 | Direct Evaporative Pre-Cooler for Condensing Units - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-34251 | Central plant consolidation | Custom | 2 - Sometimes | 2013-01-01
AC-34264 | Energy efficient fan blade retrofits - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
AC-35444 | HVAC Time Clock Control - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-37684 | Optimize VAV box flow- retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-38143 | Optimize HVAC control loop tuning - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-39548 | Variable speed chiller plant optimization - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-43210 | Chiller (HVAC) Compressor - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-43654 | HVAC zone control - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-48273 | Optimize chiller water compressor VFD - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-48587 | Optimize zone set-up and setback- retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-48675 | Optimize exhaust fan schedule - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-49858 | Adjust chiller water reset retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-56476 | Optimize return fan schedule - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-56543 | Optimize sizing of cooling equipment - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-56832 | Economizer – Split DX System with VAV controls - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-57213 | Optimize HVAC boiler sequencing - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-58687 | Calibrate HVAC sensor - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-59267 | HVAC chilled water pump system upgrades | Custom | 2 - Sometimes | 2013-01-01
AC-59408 | Reconfigure HVAC condenser water system - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-59483 | Automatic sash closer controls - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-59491 | Adjust supply air temperature reset retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-59688 | New Construction - Above Code Systems Design - Furnaces | Custom | 1 - Always | 2013-01-01
AC-59837 | New Construction - Above Code Systems Design - HVAC Energy Reduction | Custom | 1 - Always | 2013-01-01
AC-59870 | Optimize space statice pressure controls - retrocommissioning | Custom | 2 - Sometimes | 2013-06-25
AC-60036 | Duct Seal Med to Low Maintenance | Deemed | 1 - Always | 2019-01-01 | SWSV001-01
AC-60598 | Variable air volume for fumehoods | Custom | 2 - Sometimes | 2013-01-01
AC-60890 | Optimize HVAC flow sensor - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-61048 | Reduce deck static pressure retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-61734 | Computer room air handling unit - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-63339 | Data center HVAC flow management retrofit [AR ONLY] | Custom | 2 - Sometimes | 2013-01-01
AC-64388 | Optimum start/stop EMS control - rcx | Custom | 2 - Sometimes | 2013-01-01
AC-65241 | New Construction - Above Code Systems Design - Chillers | Custom | 1 - Always | 2013-01-01
AC-65342 | Optimize HVAC boiler schedule - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-68030 | Constant air volume to variable air volume conversions – retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-68473 | Economizer - water side - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-68894 | Optimize HVAC water loop balancing - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-69803 | Removal or adjustment of inlet guide vanes for fans with VFDs - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-69858 | Hot water pump motor - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-70454 | Chiller heat reclaim - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-70772 | Evaporative precoolers - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-71612 | High Efficiency Computer Room Air Conditioner | Custom | 1 - Always | 2013-01-01
AC-72117 | Pressure Independent CHW Valves on AHU CHW Coils | Custom | 2 - Sometimes | 2013-01-01
AC-72304 | New Construction - Above Code Systems Design - Multiple Fan Array Air Handling System | Custom | 1 - Always | 2013-01-01
AC-73518 | Optimize sizing of heating equipment - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-74199 | Chilled water loop heat reclaim | Custom | 2 - Sometimes | 2013-01-01
AC-74933 | New Construction - Above Code Systems Design - Heat Pumps | Custom | 1 - Always | 2013-01-01
AC-74984 | Condenser water pump motor - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-75930 | HVAC - energy management system (EMS) - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-76274 | Data center airside HVAC controls retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-78325 | Optimize air handler controls- retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-78487 | Economized cooling using fluid coolers | Custom | 2 - Sometimes | 2013-01-01
AC-78722 | Ventilation fan - VFD - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-79531 | HVAC Compressor Controls | Custom | 2 - Sometimes | 2013-01-01
AC-79695 | Revise supply fan schedule retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-81711 | Multiple fan array air handling system | Custom | 2 - Sometimes | 2013-01-01
AC-84943 | Adjust condenser water reset retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-85607 | Optimize HVAC temperature sensor- retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-86734 | Optimize fan static pressure reset - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-86944 | Cooling tower system retrofit - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
AC-87564 | Hot and cold deck reset - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-87967 | Perform air balance - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-89223 | Optimize HVAC pressure setting - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-89556 | Optimize HVAC chiller plant schedule - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-89604 | New Construction - Above Code Systems Design - Air-Cooled Package A/C | Custom | 1 - Always | 2013-01-01
AC-89657 | Optimize hot water reset - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-89843 | Reduced air change rate - Retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-90217 | Optimize HVAC condenser water or cooling tower pump sequencing- retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-90765 | Optimize outdoor air intake - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-91543 | Replace or optimize HVAC condenser/cooling tower media - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-94699 | Air Flow Adjustment spltSEER | Deemed | 1 - Always | 2019-01-01 | SWSV009-01
AC-96037 | Ventilation thermostat controls - Add-on Equipment | Custom | 2 - Sometimes | 2013-01-01
AC-98043 | New Construction - Above Code Design - Premium Efficiency Motors | Custom | 1 - Always | 2013-01-01
AC-98234 | Optimize HVAC condenser water or cooling tower fan schedule - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
AC-98504 | Optimize hot water pump VFD retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-11099 | Chilled water pump optimization flow configuration | Custom | 2 - Sometimes | 2013-01-01
PM-15246 | Optimize pump timer controls - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-15662 | Optimize chilled water pump sequencing- retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-19854 | Optimize chilled water pump schedule - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-23156 | Optimize hot water pump schedule - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-23862 | Optimize chilled water pump VFD - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-26354 | Chilled water pump retrofit - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
PM-30194 | Optimize chilled water pump configuration - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-35263 | Condenser water pump retrofit - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
PM-39807 | Optimize condenser water pump schedule - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-46398 | Condenser water pump optimization flow configuration | Custom | 2 - Sometimes | 2013-01-01
PM-50934 | Optimize condenser water pump VFD - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-58473 | Chilled water pump constant flow to variable flow conversion - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
PM-60798 | Optimize condenser water pump configuration - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-69548 | Condenser water pump constant flow to variable flow conversion | Custom | 2 - Sometimes | 2013-01-01
PM-83657 | Optimize hot water pump sequencing- retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PM-90501 | Adjust hot water lockout - retrocommissioning | Custom | 2 - Sometimes | 2013-01-01
PR-11217 | 48' EE high volume low speed exhaust or circulation fans - NEW | Custom | 2 - Sometimes | 2013-01-01
PR-21527 | Process pipe insulation - retrocommissioning | Custom | 2 - Sometimes | 2019-11-07
PR-21647 | High efficiency fluid cooler with VSD – normal replacement | Custom | 2 - Sometimes | 2020-01-13
PR-21833 | Industrial process cooling tower - VFD - add-on equipment | Custom | 2 - Sometimes | 2020-09-02 | New Code
PR-46373 | New Construction - Above Code Systems Design - Data Center Cooling | Custom | 1 - Always | 2013-01-01
PR-48391 | 20'- 26' EE high volume low speed exhaust or circulation fans - NEW | Custom | 2 - Sometimes | 2013-01-01
PR-48786 | 36 inches EE high volume low speed exhaust or circulation fans - accelerated replacement | Custom | 2 - Sometimes | 2013-01-01
PR-67181 | 72 inch circulation fans with VFDs | Custom | 2 - Sometimes | 2013-01-01
PR-87855 | 57 inches - 60 inches EE high volume low speed exhaust or circulation fans - normal replacement | Custom | 2 - Sometimes | 2013-01-01
RF-21441 | Condenser fan - VFD - add-on equipment | Custom | 2 - Sometimes | 2019-09-06
RF-21451 | VFD on evaporator coil fan - new | Custom | 2 - Sometimes | 2019-09-19
RF-21476 | Continuously variable electric expansion valve – normal replacement | Custom | 2 - Sometimes | 2019-10-24
RF-21526 | Refrigerant pipe insulation (industrial only) - retrocommissioning | Custom | 2 - Sometimes | 2019-11-07
RF-21646 | Electronically commutated motor (ECM) evaporator fan with controller (<1HP) – accelerated replacement, to-code | Custom | 2 - Sometimes | 2020-01-07
RF-21739 | [SEM ONLY] Refrigeration system upsize suction header – normal replacement | Custom | 2 - Sometimes | 2020-04-23
WB-20125 | Public Sector HOPPs Whole Building Measure | Custom | 2 - Sometimes | 2017-10-01
WB-21715 | [NMEC Only] Whole building comprehensive retrofit - commercial | Custom | 2 - Sometimes | 2020-03-30
WB-21749 | [AB793 FASP ONLY] Whole building comprehensive retrofit - commercial | Custom | 2 - Sometimes | 2020-05-14
WB-78495 | New Construction - Above Code Comprehensive Design - Overall Building Performance | Custom | 1 - Always | 2013-01-01
WB-89405 | New Construction - Above Code Design - Comprehensive Whole House | Custom | Residential | 2013-01-01
AC-21663 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 15 (EER = 12.8) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21664 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 16 (EER = 12.5) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21665 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 17 (EER = 13.3) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21666 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 18 (EER = 14) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21667 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 19 (EER = 14.8) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21668 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 20 (EER = 15.6) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21669 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 21 (EER = 16.4) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21656 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 15 (EER = 12.8) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21657 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 16 (EER = 12.5) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21658 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 17 (EER = 13.3) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21659 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 18 (EER = 14) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21660 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 19 (EER = 14.8) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21661 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 20 (EER = 15.6) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21662 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 21 (EER = 16.4) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21652 | Residential SEER-rated split Heat Pumps, SEER = 15 (EER = 12.8), HSPF = 8.7 (COP = 3.68) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21653 | Residential SEER-rated split Heat Pumps, SEER = 16 (EER = 12.5), HSPF = 9 (COP = 3.57) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21655 | Residential SEER-rated split Heat Pumps, SEER = 17 (EER = 13.3), HSPF = 9.4 (COP = 3.74) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21654 | Residential SEER-rated split Heat Pumps, SEER = 18 (EER = 14), HSPF = 9.7 (COP = 3.86) - AR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21681 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 15 (EER = 12.8) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21682 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 16 (EER = 12.5) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21683 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 17 (EER = 13.3) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21684 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 18 (EER = 14) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21685 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 19 (EER = 14.8) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21686 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 20 (EER = 15.6) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21687 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 21 (EER = 16.4) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21674 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 15 (EER = 12.8) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21675 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 16 (EER = 12.5) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21676 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 17 (EER = 13.3) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21677 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 18 (EER = 14) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21678 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 19 (EER = 14.8) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21679 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 20 (EER = 15.6) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21680 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 21 (EER = 16.4) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21670 | Residential SEER-rated split Heat Pumps, SEER = 15 (EER = 12.8), HSPF = 8.7 (COP = 3.68) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21671 | Residential SEER-rated split Heat Pumps, SEER = 16 (EER = 12.5), HSPF = 9 (COP = 3.57) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21672 | Residential SEER-rated split Heat Pumps, SEER = 17 (EER = 13.3), HSPF = 9.4 (COP = 3.74) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21673 | Residential SEER-rated split Heat Pumps, SEER = 18 (EER = 14), HSPF = 9.7 (COP = 3.86) - NR only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21699 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 15 (EER = 12.8) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21700 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 16 (EER = 12.5) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21701 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 17 (EER = 13.3) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21702 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 18 (EER = 14) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21703 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 19 (EER = 14.8) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21704 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 20 (EER = 15.6) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21705 | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 21 (EER = 16.4) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21692 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 15 (EER = 12.8) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21693 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 16 (EER = 12.5) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21694 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 17 (EER = 13.3) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21695 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 18 (EER = 14) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21696 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 19 (EER = 14.8) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21697 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 20 (EER = 15.6) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21698 | Residential SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 21 (EER = 16.4) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21688 | Residential SEER-rated split Heat Pumps, SEER = 15 (EER = 12.8), HSPF = 8.7 (COP = 3.68) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21689 | Residential SEER-rated split Heat Pumps, SEER = 16 (EER = 12.5), HSPF = 9 (COP = 3.57) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21691 | Residential SEER-rated split Heat Pumps, SEER = 17 (EER = 13.3), HSPF = 9.4 (COP = 3.74) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01
AC-21690 | Residential SEER-rated split Heat Pumps, SEER = 18 (EER = 14), HSPF = 9.7 (COP = 3.86) - NC only | Deemed | 1 - Always | 2020-07-10 | SWHC049-01

## Retired SC Flag
SolutionCode | MeasureCatalogName | Custom/Deemed | Date Eligible | Date Ineligible
AC-10944 | 300-599 tons above T24 by at least 20%IPLV and 0.0%FL High Efficiency Water-Cooled Constant Speed Centrifugal Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-11211 | <65 kBtu/hr 20 SEER - 24 SEER Mini-Split (Res) Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-11520 | <55 kBtu/hr 16 SEER Mini-Split Heat Pump DX Equipment replacing <55 kBtu/hr 14 SEER Split System Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-11635 | <55 kBtu/hr 19 SEER Multi-Split Heat Pump DX Equipment replacing <55 kBtu/hr 14 SEER Split System Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-11667 | 14.5 SEER Split System Heat Pump - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-11935 | >1450 Ton Water Cooled Centrifugal Chiller | Custom | 2013-01-01 | 2018-01-01
AC-11999 | 14.5 SEER Package System Heat Pump - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-12479 | A-C compressor replacements | Custom | 2013-01-01 | 2019-09-01
AC-12980 | 55-65 kBtu/hr 16 SEER Mini-Split Heat Pump DX Equipment replacing 55-65 kBtu/hr 14 SEER Split System Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-13224 | Single package vertical air conditioners | Custom | 2013-01-01 | 2018-05-16
AC-13564 | <65 kBtu/hr 15 SEER - <17 SEER Mini-Split (Res) Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-14337 | 45-65 kBtu/hr 17 SEER - <20 SEER Mini-Split Air Conditioner (Res) DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-17382 | With Damper Direct Evap Cooler | Deemed | 2018-01-01 | 2019-12-31
AC-18332 | 15 SEER Package/Split System Heat Pump - Quality Installation DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-18657 | 65 - 134 KBTU/H, EER = 11.5 AND MIN IEER = 13 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18658 | 65 - 134 KBTU/H, EER = 12 AND MIN IEER = 13.5 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18659 | 65 - 134 KBTU/H, EER = 12.5 AND MIN IEER = 14 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18660 | 65 - 134 KBTU/H, EER = 13 AND MIN IEER = 15 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18661 | 65 - 134 KBTU/H – ToCode | Deemed | Never Created | Never Created
AC-18662 | 135 - 240 KBTU/H, EER = 11.5 AND MIN IEER = 13 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18664 | 135 - 240 KBTU/H, EER = 12.5 AND MIN IEER = 14 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18665 | 135 - 240 KBTU/H - ToCode | Deemed | Never Created | Never Created
AC-18666 | 240 - 760 KBTU/H, EER = 10.8 AND MIN IEER = 12.2 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18667 | 240 - 760 KBTU/H, EER = 11.5 AND MIN IEER = 12.7 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18668 | 240 - 760 KBTU/H, EER = 12.5 AND MIN IEER = 15.5 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18670 | 240 - 760 KBTU/H – ToCode | Deemed | Never Created | Never Created
AC-18671 | 760 - KBTU/H, EER = 10.2 AND MIN IEER = 11.6 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18672 | 760 - KBTU/H, EER = 11 AND MIN IEER = 12.3 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18673 | 760 - KBTU/H, EER = 12 AND MIN IEER = 13.8 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-18674 | 760 - KBTU/H - ToCode | Deemed | Never Created | Never Created
AC-18675 | Air Cooled Constant Speed Screw Chiller w/1 Compressor (>= 150 tons, 10.5 Min EER, 14.5 Min IPLV) | Deemed | 2017-01-01 | 2017-12-31
AC-18676 | Air Cooled Constant Speed Screw Chiller w/1 Compressor (>= 150 tons, 11.5 Min EER, 14.5 Min IPLV) | Deemed | 2017-01-01 | 2017-12-31
AC-18677 | Air Cooled Constant Speed Screw Chiller w/1 Compressor (>= 150 tons, 11 Min EER, 14.5 Min IPLV) | Deemed | 2017-01-01 | 2017-12-31
AC-18678 | Air Cooled Constant Speed Screw Chiller w/1 Compressor (< 150 tons, 10.5 Min EER, 13.8 Min IPLV) | Deemed | 2017-01-01 | 2017-12-31
AC-18679 | Air Cooled Constant Speed Screw Chiller w/1 Compressor (< 150 tons, 11.5 Min EER, 15.8 Min IPLV) | Deemed | 2017-01-01 | 2017-12-31
AC-18680 | Air Cooled Constant Speed Screw Chiller w/1 Compressor (< 150 tons, 11 Min EER, 14.2 Min IPLV) | Deemed | 2017-01-01 | 2017-12-31
AC-18689 | 135 - 240 KBTU/H, EER = 12 AND MIN IEER = 13.5 EER-rated packaged Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2019-12-31
AC-19091 | <55kBtuh 15 SEER (12 EER) Packaged Air Conditioner | Deemed | Never Created | Never Created
AC-19092 | <55kBtuh 16 SEER (12.4 EER) Packaged Air Conditioner | Deemed | Never Created | Never Created
AC-19093 | <55kBtuh 17 SEER (13 EER) Packaged Air Conditioner | Deemed | Never Created | Never Created
AC-19095 | <55kBtuh 18 SEER (14 EER) Packaged Air Conditioner | Deemed | Never Created | Never Created
AC-19096 | 55to65kBtuh 15 SEER (12 EER) Packaged Air Conditioner | Deemed | Never Created | Never Created
AC-19097 | 55to65kBtuh 16 SEER (12.4 EER) Packaged Air Conditioner | Deemed | Never Created | Never Created
AC-19098 | 55to65kBtuh 17 SEER (13 EER) Packaged Air Conditioner | Deemed | Never Created | Never Created
AC-19099 | 55to65kBtuh 18 SEER (14 EER) Packaged Air Conditioner | Deemed | Never Created | Never Created
AC-19100 | <45kBtuh 15 SEER (12.5 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19101 | <45kBtuh 16 SEER (13 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19102 | <45kBtuh 17 SEER (13.5 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19103 | <45kBtuh 18 SEER (14 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19104 | 45to55kBtuh 15 SEER (12.5 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19105 | 45to55kBtuh 16 SEER (13 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19106 | 45to55kBtuh 17 SEER (13.5 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19107 | 45to55kBtuh 18 SEER (14 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19108 | 55to65kBtuh 15 SEER (12.5 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19109 | 55to65kBtuh 16 SEER (13 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19110 | 55to65kBtuh 17 SEER (13.5 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19111 | 55to65kBtuh 18 SEER (14 EER) Split System Air Conditioner | Deemed | Never Created | Never Created
AC-19112 | <55kBtuh 15 SEER (12 EER) Packaged Heat Pump | Deemed | Never Created | Never Created
AC-19113 | <55kBtuh 16 SEER (12.4 EER) Packaged Heat Pump | Deemed | Never Created | Never Created
AC-19114 | <55kBtuh 17 SEER (13 EER) Packaged Heat Pump | Deemed | Never Created | Never Created
AC-19115 | <55kBtuh 18 SEER (14 EER) Packaged Heat Pump | Deemed | Never Created | Never Created
AC-19116 | 55to65kBtuh 15 SEER (12 EER) Packaged Heat Pump | Deemed | Never Created | Never Created
AC-19117 | 55to65kBtuh 16 SEER (12.4 EER) Packaged Heat Pump | Deemed | Never Created | Never Created
AC-19118 | 55to65kBtuh 17 SEER (13 EER) Packaged Heat Pump | Deemed | Never Created | Never Created
AC-19119 | 55to65kBtuh 18 SEER (14 EER) Packaged Heat Pump | Deemed | Never Created | Never Created
AC-19120 | <55kBtuh 15 SEER (12.5 EER) Split System Heat Pump | Deemed | Never Created | Never Created
AC-19124 | <55kBtuh 16 SEER (13 EER) Split System Heat Pump | Deemed | Never Created | Never Created
AC-19125 | <55kBtuh 17 SEER (13.5 EER) Split System Heat Pump | Deemed | Never Created | Never Created
AC-19126 | <55kBtuh 18 SEER (14 EER) Split System Heat Pump | Deemed | Never Created | Never Created
AC-19127 | 55to65kBtuh 15 SEER (12.5 EER) Split System Heat Pump | Deemed | Never Created | Never Created
AC-19128 | 55to65kBtuh 16 SEER (13 EER) Split System Heat Pump | Deemed | Never Created | Never Created
AC-19129 | 55to65kBtuh 17 SEER (13.5 EER) Split System Heat Pump | Deemed | Never Created | Never Created
AC-19130 | 55to65kBtuh 18 SEER (14 EER) Split System Heat Pump | Deemed | Never Created | Never Created
AC-19134 | Air-Cooled Chiller-<150 tons- Tier 1- 10.50 EER AND 14.262 IPLV (NEW) | Deemed | 2017-01-01 | 2017-12-31
AC-19135 | Air-Cooled Chiller-<150 tons- Tier 2- 11.00 EER AND 14.941 IPLV (NEW) | Deemed | 2017-01-01 | 2017-12-31
AC-19136 | Air-Cooled Chiller-<150 tons- Tier 3- 11.50 EER AND 15.620 IPLV (NEW) | Deemed | 2017-01-01 | 2017-12-31
AC-19137 | Air-Cooled Chiller-≥150 tons- Tier 1- 10.50 EER AND 14.262 IPLV (NEW) | Deemed | 2017-01-01 | 2017-12-31
AC-19138 | Air-Cooled Chiller-≥150 tons- Tier 2- 11.00 EER AND 14.941 IPLV (NEW) | Deemed | 2017-01-01 | 2017-12-31
AC-19139 | Air-Cooled Chiller-≥150 tons- Tier 3- 11.50 EER AND 15.620 IPLV (NEW) | Deemed | 2017-01-01 | 2017-12-31
AC-19317 | (Non Res) Direct Evap Cooler | Deemed | 2016-01-01 | 2016-12-31
AC-19538 | Quality Installation + Efficiency Upgrade- Split Air Conditioner SEER 15.0 Replacing SEER 14.0 | Deemed | 2017-01-01 | 2018-12-31
AC-19539 | Quality Installation + Efficiency Upgrade- Split Air Conditioner SEER 16.0 Replacing SEER 14.0 | Deemed | 2017-01-01 | 2018-12-31
AC-19540 | Quality Installation + Efficiency Upgrade- Split Air Conditioner SEER 17.0 Replacing SEER 14.0 | Deemed | 2017-01-01 | 2018-12-31
AC-19541 | Quality Installation + Efficiency Upgrade-Split Heat Pump SEER 15.0 Replacing SEER 14.0 | Deemed | 2017-01-01 | 2018-12-31
AC-19542 | Quality Installation + Efficiency Upgrade-Split Heat Pump SEER 16.0 Replacing SEER 14.0 | Deemed | 2017-01-01 | 2018-12-31
AC-19543 | Quality Installation + Efficiency Upgrade-Split Heat Pump SEER 17.0 Replacing SEER 14.0 | Deemed | 2017-01-01 | 2018-12-31
AC-19544 | RE-HV-ResAC-lt45kBtuh-15S | Deemed | 2017-01-01 | 2018-12-31
AC-19545 | RE-HV-ResAC-lt45kBtuh-16S | Deemed | 2017-01-01 | 2018-12-31
AC-19546 | RE-HV-ResAC-lt45kBtuh-17S | Deemed | 2017-01-01 | 2018-12-31
AC-19547 | RE-HV-ResAC-45to65kBtuh-15S | Deemed | 2017-01-01 | 2018-12-31
AC-19548 | RE-HV-ResAC-45to65kBtuh-16S | Deemed | 2017-01-01 | 2018-12-31
AC-19549 | RE-HV-ResAC-45to65kBtuh-17S | Deemed | 2017-01-01 | 2018-12-31
AC-19551 | RE-HV-ResHP-15p0S-8p7H | Deemed | 2017-01-01 | 2018-12-31
AC-19552 | RE-HV-ResHP-16p0S-9p0H | Deemed | 2017-01-01 | 2018-12-31
AC-19553 | RE-HV-ResHP-17p0S-9p4H | Deemed | 2017-01-01 | 2018-12-31
AC-19554 | Res-GasFurnace-AFUE90 | Deemed | Never Created | Never Created
AC-19555 | Res-GasFurnace-AFUE92 | Deemed | Never Created | Never Created
AC-19556 | Res-GasFurnace-AFUE94 | Deemed | Never Created | Never Created
AC-19764 | Lock thermostat from public access - operational | Custom | 2017-06-19 | 2019-10-24
AC-20018 | High Efficiency Single Package Vertical Heat Pump | Deemed | 2018-01-01 | 2019-12-31
AC-20042 | 15 SEER Split System Heat Pump - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-21019 | 75–149 tons above T24 by at least 12.6%IPLV and 5.1%FL High Efficiency Water-Cooled Variable Speed Screw or Scroll Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-22155 | 240-760 kBtu/hr To Code Savings Portion Air Source Unitary Air Conditioner DX Equipment | Deemed | Never Created | Never Created
AC-22324 | Indirect evaporative cooling - single stage | Custom | 2013-01-01 | 2015-03-31
AC-22408 | 55to65kBtu/hr 17 SEER (13 EER) Package System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-25482 | 15 SEER Package System Heat Pump - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-26490 | <45kBtu/hr 17 SEER (13.5 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-28103 | >= 300 tons above T24 by at least 10.0%IPLV and 0.0%FL High Efficiency Water-Cooled Variable Speed Screw or Scroll Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-28544 | CAV to semi-VAV conversion with wireless sensor network & VFD | Custom | 2013-01-01 | 2019-10-23
AC-29485 | 14.5 SEER Package System Air Conditioner - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-31588 | <55kBtu/hr 18 SEER (14 EER) Package System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-31814 | 55-65 kBtu/hr 16 SEER Multi-Split Heat Pump DX Equipment replacing 55-65 kBtu/hr 14 SEER Split System Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-32778 | 16 SEER Package System Heat Pump - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-32890 | Evaporative cooling unit | Custom | 2013-01-01 | 2015-03-31
AC-33209 | Data center passive rear-door cooling or in-row cooling configuration | Custom | 2013-01-01 | 2019-09-01
AC-37274 | Install Blow Molding Machine Exhaust Hood | Custom | 2013-05-10 | 2019-09-01
AC-37735 | <55kBtu/hr 17 SEER (13 EER) Package System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-38033 | <55 kBtu/hr 16 SEER Multi-Split Heat Pump DX Equipment replacing <55 kBtu/hr 14 SEER Split System Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-38208 | 55-65 kBtu/hr 19 SEER Mini-Split Heat Pump DX Equipment replacing 55-65 kBtu/hr 14 SEER Split System Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-38845 | 150-299 tons above T24 by at least 16.5%IPLV and 8.1%FL High Efficiency Water-Cooled Variable Speed Centrifugal Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-38900 | 16 SEER Split System Heat Pump - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-39620 | 150-299 tons above T24 by at least 12.7%IPLV and 6.1%FL High Efficiency Water-Cooled Variable Speed Centrifugal Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-40390 | Insulating cool air ducts - Weatherization | Custom | 2013-01-01 | 2019-10-22
AC-40721 | <45 kBtu/hr 17 SEER - 20 SEER Multi-Split Air Conditioner (Res) DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-40797 | 14 SEER Split System Air Conditioner - Quality Installation DX Equipment replacing 13 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-40798 | 150-299 tons above T24 by at least 17%IPLV and 11.0%FL High Efficiency Water-Cooled Variable Speed Centrifugal Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-45930 | 150 - 299 tons better than T24 by at least 38% (Tier 3) High Efficiency Water-Cooled Variable Speed Centrifugal Compressor Chiller | Deemed | 2013-01-01 | 2014-06-30
AC-45968 | Indirect evaporative cooling - dual stage | Custom | 2013-01-01 | 2015-03-31
AC-45990 | 13 SEER Package/Split System Air Conditioner - Quality Installation DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-46105 | <45kBtu/hr 15 SEER (12.5 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-46584 | VRF (variable refrigerant flow) air conditioning system | Custom | 2013-01-01 | 2018-09-07
AC-46848 | <65 kBtu/hr 15 SEER - <17 SEER Multi-Split (Res) Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-47269 | <65 kBtu/hr 17 SEER - 20 SEER Multi-Split (Res) Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-50319 | <45kBtu/hr 18 SEER (14 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-50375 | <55kBtu/hr 15 SEER (12 EER) Package System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-50853 | <45kBtu/hr To Code Savings Portion Split System Air Conditioner DX Equipment | Deemed | Never Created | Never Created
AC-50888 | Two-stage (Indirect-Direct) Evap Cooler replacing standard compressor-based DX space cooling | Deemed | 2018-01-01 | 2019-12-31
AC-50980 | 300-599 tons above T24 by at least 5% IPLV and 6.6% FL High Efficiency Water-Cooled Variable Speed Centrifugal Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-51423 | 300-599 tons above T24 by at least 10%IPLV and 11.6%FL High Efficiency Water-Cooled Variable Speed Centrifugal Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-51802 | 135-240 kBtu/hr To Code Savings Portion Water-Source Heat Pump | Deemed | 2016-01-01 | 2017-12-31
AC-53468 | 45-65 kBtu/hr 20 SEER - 24 SEER Mini-Split Air Conditioner (Res) DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-53523 | <55kBtu/hr To Code Savings Portion Split System Heat Pump | Deemed | Never Created | Never Created
AC-53855 | <55kBtu/hr 17 SEER (13.5 EER) Split System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-55426 | 55-65 kBtu/hr 19 SEER Multi-Split Heat Pump DX Equipment replacing 55-65 kBtu/hr 14 SEER Split System Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-55674 | 14.5 SEER Split System Air Conditioner - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-56876 | Other Evaporative Cooler Applications | Custom | 2013-01-01 | 2013-01-01
AC-56930 | 45to55kBtu/hr To Code Savings Portion Split System Air Conditioner DX Equipment | Deemed | Never Created | Never Created
AC-57164 | Plug Load Occupancy Sensor - Add-on Equipment | Custom | 2013-01-01 | 2019-09-01
AC-59729 | <55kBtu/hr 17 SEER (13 EER) Package System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-59807 | Other HVAC Systems | Custom | 2013-01-01 | 2013-01-01
AC-59866 | 14 SEER Package/Split System Air Conditioner - Quality Installation DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-60134 | 55to65kBtu/hr 16 SEER (12.4 EER) Package System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-60816 | >= 300 tons better than T24 by at least 38% (Tier 3) High Efficiency Water-Cooled Variable Speed Centrifugal Compressor Chiller | Deemed | 2013-01-01 | 2014-06-30
AC-61092 | 15 SEER Split System Air Conditioner - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-61202 | <55kBtu/hr 18 SEER (14 EER) Split System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-61866 | 55to65kBtu/hr 17 SEER (13.5 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-62068 | 55to65kBtu/hr 18 SEER (14 EER) Package System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-62602 | 55to65kBtu/hr 15 SEER (12.5 EER) Split System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-62767 | <45 kBtu/hr 20 SEER - 24 SEER Mini-Split Air Conditioner (Res) DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-64666 | <45 kBtu/hr 15 SEER - <17 SEER Multi-Split Air Conditioner (Res) DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-65322 | 15 SEER Package/Split System Air Conditioner - Quality Installation DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-65475 | <55kBtu/hr 18 SEER (14 EER) Package System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-65546 | <45 kBtu/hr 17 SEER - <20 SEER Mini-Split Air Conditioner (Res) DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-65806 | 55to65kBtu/hr 17 SEER (13 EER) Package System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-65847 | Cooling tower - VFD - Add-on Equipment | Custom | 2013-01-01 | 2019-09-23
AC-65986 | Variable Speed Drive on Air Handler Motor Controls | Deemed | 2016-01-01 | 2017-12-31
AC-66457 | <55 kBtu/hr 19 SEER Mini-Split Heat Pump DX Equipment replacing <55 kBtu/hr 14 SEER Split System Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-66543 | 45to55kBtu/hr 17 SEER (13.5 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-67584 | Insulating chiller water pipes - Weatherization | Custom | 2013-01-01 | 2019-10-22
AC-67740 | <55kBtu/hr To Code Savings Portion Package System Air Conditioner DX Equipment | Deemed | Never Created | Never Created
AC-68495 | Tie Into Central Plant | Custom | 2013-01-01 | 2018-09-07
AC-68664 | 150-299 tons above T24 by at least 22.8%IPLV and 15.0%FL High Efficiency Water-Cooled Variable Speed Screw or Scroll Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-69051 | 135-240 kBtu/hr To Code Savings Portion Air Source Unitary Air Conditioner DX Equipment | Deemed | Never Created | Never Created
AC-69545 | 55to65kBtu/hr To Code Savings Portion Package System Air Conditioner DX Equipment | Deemed | Never Created | Never Created
AC-69747 | 55to65kBtu/hr 15 SEER (12.5 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-70367 | <55 kBtu/hr 22 SEER Mini-Split Heat Pump DX Equipment replacing <55 kBtu/hr 14 SEER Split System Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-70613 | 45to55kBtu/hr 15 SEER (12.5 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-71681 | 55to65kBtu/hr 16 SEER (13 EER) Split System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-71716 | 65-135 kBtu/hr To Code Savings Portion Air Source Unitary Air Conditioner DX Equipment | Deemed | Never Created | Never Created
AC-72539 | ≥760 kBtu/hr To Code Savings Portion Air Source Unitary Air Conditioner DX Equipment | Deemed | Never Created | Never Created
AC-73081 | 55to65kBtu/hr To Code Savings Portion Package System Heat Pump | Deemed | Never Created | Never Created
AC-73283 | <55kBtu/hr 15 SEER (12.5 EER) Split System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-74365 | >= 600 tons above T24 by at least 20%IPLV and 0.0%FL High Efficiency Water-Cooled Constant Speed Centrifugal Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-75087 | 55to65kBtu/hr 18 SEER (14 EER) Package System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-75420 | 55to65kBtu/hr To Code Savings Portion Split System Air Conditioner DX Equipment | Deemed | Never Created | Never Created
AC-76515 | <65 kBtu/hr 17 SEER - <20 SEER Mini-Split (Res) Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-76846 | Air flow management system with wireless sensor network for data centers | Custom | 2013-01-01 | 2019-09-01
AC-77878 | 55to65kBtu/hr 16 SEER (12.4 EER) Package System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-77978 | >240 kBtu/hr To Code Savings Portion Water-Source Heat Pump | Deemed | 2016-01-01 | 2017-12-31
AC-78177 | 75-149 tons above T24 by at least 18.4%IPLV and 11.4%FL High Efficiency Water-Cooled Variable Speed Screw or Scroll Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-78252 | >= 600 tons aboveT24 by at least 10%IPLV and 11.6%FL High Efficiency Water-Cooled Variable Speed Centrifugal Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-78342 | 16 SEER Split System Air Conditioner - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-78424 | (Res) Direct Evap Cooler | Deemed | 2018-01-01 | 2019-12-31
AC-79806 | 16 SEER Package/Split System Air Conditioner - Quality Installation DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-80196 | 13 SEER Package/Split System Heat Pump - Quality Installation DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-80487 | 18 SEER Split System Air Conditioner - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-81566 | <55kBtu/hr 16 SEER (12.4 EER) Package System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-83228 | <55kBtu/hr To Code Savings Portion Package System Heat Pump | Deemed | Never Created | Never Created
AC-83486 | <45kBtu/hr 16 SEER (13 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-85671 | New Construction - Above Code Systems Approach HVAC (not approved for payment) | Custom | 2013-01-01 | 2019-10-23
AC-86266 | 45-65 kBtu/hr 15 SEER - <17 SEER Multi-Split Air Conditioner (Res) DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-86967 | 55to65kBtu/hr 16 SEER (13 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-87169 | 55to65kBtuh 18 SEER (14 EER) Split System Air Conditioner | Deemed | 2018-01-01 | 2020-05-27
AC-87532 | 55to65kBtu/hr 15 SEER (12 EER) Package System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-88382 | >= 600 tons above T24 by at least 5%IPLV and 6.6%FL High Efficiency Water-Cooled Variable Speed Centrifugal Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-88738 | 55-65 kBtu/hr 22 SEER Mini-Split Heat Pump DX Equipment replacing 55-65 kBtu/hr 14 SEER Split System Heat Pump | Deemed | 2016-01-01 | 2016-12-31
AC-89065 | Insulating refrigerant pipes - Weatherization | Custom | 2013-01-01 | 2019-10-22
AC-89140 | <65kBtu/hr To Code Savings Portion Water-Source Heat Pump | Deemed | 2016-01-01 | 2017-12-31
AC-89224 | >= 300 tons above T24 by at least 22.7%IPLV and 10.0%FL High Efficiency Water-Cooled Variable Speed Screw or Scroll Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-89435 | 55to65kBtuh 18 SEER (14 EER) Split System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-89637 | <55kBtu/hr 16 SEER (13 EER) Split System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-90421 | 150 - 299 tons above T24 by at least 20%IPLV and 0.0%FL High Efficiency Water-Cooled Constant Speed Centrifugal Compressor Chiller | Deemed | 2016-01-01 | 2016-12-31
AC-90433 | 15 SEER Package System Air Conditioner - Quality Installation DX Equipment replacing 14 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-91427 | <45 kBtu/hr 15 SEER - <17 SEER Mini-Split Air Conditioner (Res) DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-91546 | > 540 Ton Water Cooled Screw/Scroll Chiller | Custom | 2013-01-01 | 2018-01-01
AC-91809 | 14 SEER Split System Heat Pump - Quality Installation DX Equipment replacing 13 SEER AC | Deemed | 2016-01-01 | 2016-12-31
AC-92105 | <55kBtu/hr 16 SEER (12.4 EER) Package System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-93670 | Thermal Energy Storage Energy Savings | Custom | 2013-01-01 | 2019-09-01
AC-94444 | 55to65kBtu/hr 17 SEER (13.5 EER) Split System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-96580 | 45to55kBtu/hr 18 SEER (14 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-96799 | 45-65 kBtu/hr 15 SEER - <17 SEER Mini-Split Air Conditioner (Res) DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-97648 | 45to55kBtu/hr 16 SEER (13 EER) Split System Air Conditioner DX Equipment | Deemed | 2018-01-01 | 2020-05-27
AC-97980 | <55kBtu/hr 15 SEER (12 EER) Package System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
AC-98074 | 14 SEER Package/Split System Heat Pump - Quality Installation DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-98263 | 65-135 kBtu/hr To Code Savings Portion Water-Source Heat Pump | Deemed | 2016-01-01 | 2017-12-31
AC-98675 | Insulating condenser water pipes - Weatherization | Custom | 2013-01-01 | 2019-10-22
AC-98919 | 55to65kBtu/hr To Code Savings Portion Split System Heat Pump | Deemed | Never Created | Never Created
AC-99212 | 45-65 kBtu/hr 17 SEER - 20 SEER Multi-Split Air Conditioner (Res) DX Equipment | Deemed | 2016-01-01 | 2016-12-31
AC-99784 | 55to65kBtu/hr 15 SEER (12 EER) Package System Heat Pump | Deemed | 2018-01-01 | 2020-05-27
PR-21210 | 50'-56' EE high volume low speed exhaust or circulation fans - NEW and RETROFIT | Custom | 2013-01-01 | 2018-09-07
WH-48372 | HVAC package system with heat recovery unit supplying heat to domestic hot water | Custom | 2013-05-10 | 2019-10-23